AT-TPC Weekly Meeting Minutes 5/21/2009

Topics Discussed

Micromegas

- Krista showed gain curves for system of Ar/Isobutane(10%) gas at various pressures.

- Conditioning procedure of applied voltage to micromega has not been resolved.  Abby has contacted collogue for suggestions.

Flammable Gas System

- Daisuke presented current and new gas system.  New system has been approved for construction by the safety committee.

  - Discussed system design specifics of no dry N2 dilution for the gas relief line.

  - Krista will look into possibility of filter for lab dry N2 line, as opposed to purchasing bottles of pure N2 for dilution purposes.

  - Hui will look into lab policy on use of N2, specifically quantity limits and cleanliness of the gas.

- Filling and Venting Procedures were discussed.  Suggested that an added step to the venting procedure confirms that the direct pumping valve is indeed closed before venting of chamber (a safety step).

- Next meeting with the safety committee will be to review constructed system.

Laser System

- Terry presented possible translation table for purchase.  It would need to be fitted out with controls.  Terry will look into the specifications of the model and report findings at next meeting.

ReA3 Status

- On schedule to move yoke to new ReA3 area on June 15.   Leveling pads for yoke are still in design process and must be fabricated before move can occur.

Electronics

- The ‘FemStuc’ system will be installed on the 3-5 of June.

- Currently working on preparing necessary connections between FemStuc, chamber, and PC ahead of time.

Other

- Discussed possible modification of chamber o-ring, feedthrus, and nylon interior components.  Decided that these modifications will wait until we are also ready to make changes for new electronics feethrus.