## Sheet1
RUN | Date | Source | Gas |  | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
228Th source with a collimator
18 | 2009-06-12 | 228Th | Ar+Isobutane(10%) 1 atm |  | -260 | -1 | 120 | 1000 | 160793 | 2
19 | 2009-06-12 | 228Th | Ar+Isobutane(10%) 1 atm |  | -260 | -1 | 120 | 1000 | 160793 | 2
[9 empty] | total | 4
20 | 2009-06-12 | 228Th | Ar+Isobutane(10%) 1 atm |  | -310 | -1 | 600 | 1000 | 132574 | 1.649 | Stopped at Nevent ~ 1.2 k
21 | 2009-06-12 | 228Th | Ar+Isobutane(10%) 1 atm |  | -310 | -1 | 600 | 1000 | 160793 | 2
[9 empty] | total | 3.649
With a decoupling capacitor of 33.02 nF (c.f., 0.22 nF in RUN18-21)
23 | 2009-06-26 | 228Th | Ar+Isobutane(10%) 1 atm |  | -250 | -0.9 | 120 | 1000 | 61745 | 0.76801
24 | 2009-06-26 | 228Th | Ar+Isobutane(10%) 1 atm |  | -250 | -0.9 | 120 | 1000 | 171465 | 2.1327
25 | 2009-06-26 | 228Th | Ar+Isobutane(10%) 1 atm |  | -250 | -0.9 | 120 | 1000 | 161999 | 2.015
26 | 2009-06-26 | 228Th | Ar+Isobutane(10%) 1 atm |  | -250 | -0.9 | 120 | 1000 | 10693 | 0.133
27 | 2009-06-26 | 228Th | Ar+Isobutane(10%) 1 atm |  | -250 | -0.9 | 120 | 1000 | 347072 | 4.317
[9 empty] | total | 9.3658
New gas cylinder, Over atomospheric pressure (1.1 atm) (c.f., RUN18-27 1atm), High Kathode voltage
28 | 2009-06-26 | 228Th | Ar+Isobutane(10%) 1.1 atm |  | -300 | -2 | 360 | 1000 | 328316 | 4.0837
29 | 2009-06-26 | 228Th | Ar+Isobutane(10%) 1.1 atm |  | -300 | -2 | 360 | 1000 | 45197 | 0.56218
30 | 2009-06-26 | 228Th | Ar+Isobutane(10%) 1.1 atm |  | -300 | -2 | 360 | 1000 | 535860 | 6.6652
30.1 | 2009-06-26 | 228Th | Ar+Isobutane(10%) 1.1 atm |  | -300 | -2 | 360 | 1000 | 287400 | 3.5748
[9 empty] | total | 14.8859
RUN | Date | nEvents | Amplitude [0x] |  | [0d] | TPC |  |  | Data size [KB] | Event # | Memo
On-board pulser calibration; Mode = calibration
32 | 2009-07-01 | 2 | BF30 |  | 48944 | Connected |  |  | 643 | 7.9979
32.1 | 2009-07-01 | 2 | BF00 |  | 48896 | Connected |  |  | 643 | 7.9979
32.2 | 2009-07-01 | 2 | BE00 |  | 48640 | Connected |  |  | 643 | 7.9979
32.3 | 2009-07-01 | 2 | BDC0 |  | 48576 | Connected |  |  | 643 | 7.9979
32.4 | 2009-07-01 | 2 | BDD0 |  | 48592 | Connected |  |  | 643 | 7.9979
32.5 | 2009-07-01 | 2 | BD00 |  | 48384 | Connected |  |  | 643 | 7.9979
RUN | Date | Source | Gas |  | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
The pads were externally grounded with a load resistance of 11 MOhm, while the photoMOS of the FEC was switched off.
33 | 2009-07-06 | 228Th | Ar+Isobutane(10%) 1.1 atm |  | -300 | -2 | 360 | 1000 | 264264 | 3.287
34 | 2009-07-06 | 228Th | Ar+Isobutane(10%) 1.1 atm |  | -300 | -2 | 360 | 1000 | 241592 | 3.005
35 | 2009-07-06 | 228Th | Ar+Isobutane(10%) 1.1 atm |  | -300 | -2 | 360 | 1000 | 523301 | 6.509
35.1 | 2009-07-06 | 228Th | Ar+Isobutane(10%) 1.1 atm |  | -300 | -2 | 360 | 1000 | 240627 | 2.993
[9 empty] | total | 15.794
RUN | Date | Source | Gas |  | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
The rate of the alpha source was increased by increasing the aperture of the collimator. The pads were externally grounded with a load resistance of 11 Mohm. The photoMOS of the FEC has been switched off.
36 | 2009-07-07 | 228Th | Ar+Isobutane(10%) 1.1 atm |  | -300 | -2 | 360 | 1000 | 523301 | 6.509
36.1 | 2009-07-07 | 228Th | Ar+Isobutane(10%) 1.1 atm |  | -300 | -2 | 360 | 1000 | 280665 | 3.491
[9 empty] | total | 10
RUN | Date | Source | Gas |  | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
Low pressure run (P = ~0.7 atm)
39 | 2009-07-08 | 228Th | Ar+Isobutane(10%) 0.7 atm |  | -250 | -2 | 360 | 1000 | 523301 | 6.509
39.1 | 2009-07-08 | 228Th | Ar+Isobutane(10%) 0.7 atm |  | -250 | -2 | 360 | 1000 | 280665 | 3.491
40 | 2009-07-08 | 228Th | Ar+Isobutane(10%) 0.7 atm |  | -250 | -2 | 360 | 1000 | 523301 | 6.509
40.1 | 2009-07-08 | 228Th | Ar+Isobutane(10%) 0.7 atm |  | -250 | -2 | 360 | 1000 | 227362 | 2.828
RUN | Date | Source | Gas |  | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
New Gas Ar+CO2(30%)
41 | 2009-07-09 | 228Th | Ar+CO2(30%) 1.1 atm |  | -400 | -2 | 360 | 1000
42 | 2009-07-09 | 228Th | Ar+CO2(30%) 1.1 atm |  | -500 | -2 | 360 | 1000
43 | 2009-07-09 | 228Th | Ar+CO2(30%) 1.1 atm |  | -525 | -2 | 360 | 1000
44 | 2009-07-09 | 228Th | Ar+CO2(30%) 1.1 atm |  | -550 | -2 | 360 | 1000
45 | 2009-07-09 | 228Th | Ar+CO2(30%) 1.1 atm |  | -500 | -2 | 360 | 1000
[9 empty] | total | 19.337
RUN | Date | Source | Gas |  | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
241Am at P = ~1.0 atm
46 | 2009-07-10 | 241Am | Ar+Isobutane(10%) 1.0 atm |  | -260 | -2 | 120 | 1000 | 523301 | 6.509
46.1 | 2009-07-10 | 241Am | Ar+Isobutane(10%) 1.0 atm |  | -260 | -2 | 120 | 1000 | 280665 | 3.491
[9 empty] | total | 10
241Am at P = ~0.65 atm
47 | 2009-07-10 | 241Am | Ar+Isobutane(10%) 0.65 atm |  | -210 | -2 | 120 | 1000 | 523301 | 6.509
47.1 | 2009-07-10 | 241Am | Ar+Isobutane(10%) 0.65 atm |  | -210 | -2 | 120 | 1000 | 280665 | 3.491
[9 empty] | total | 10
RUN | Date | Source | Gas |  | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
241Am in He+CO2(10%) at P = ~1.0 atm
48 | 2009-07-20 | 241Am | He+CO2 (10%) 1.0 atm |  | -350 | -2 | 120 | 1000 | 80396 | 0.99999
RUN | Date | Source | Gas | uMega ID | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
241Am in Ar+Isobutane(10%), P = ~0.5 atm
50 | 2009-07-28 | 241Am | Ar+Isobutane(10%) 0.5 atm | 1b | -210 | -1 | 120 | 1000 | 523301 | 6.509
50.1 | 2009-07-28 | 241Am | Ar+Isobutane(10%) 0.5 atm | 1b | -210 | -1 | 120 | 1000 | 280665 | 3.491
[9 empty] | total | 10
241Am in He+CO2(10%), P = ~1.0 atm
51 | 2009-07-28 | 241Am | He+CO2(10%) 1.0 atm | 1b | -250 | -2 | 120 | 1000 | 401983 | 5
241Am in He+CO2(15%), P = ~1.0 atm
52 | 2009-07-28 | 241Am | He+CO2(15%) 1.0 atm | 1b | -270 | -2 | 120 | 1000 | 523301 | 6.509
52.1 | 2009-07-28 | 241Am | He+CO2(15%) 1.0 atm | 1b | -270 | -2 | 120 | 1000 | 120354 | 1.497
[9 empty] | total | 8.006
241Am in He+CO2(20%), P = ~1.0 atm
53 | 2009-07-29 | 241Am | He+CO2(20%) 1.0 atm | 1b | -320 | -2 | 120 | 1000 | 523301 | 6.509
53.1 | 2009-07-29 | 241Am | He+CO2(20%) 1.0 atm | 1b | -320 | -2 | 120 | 1000 | 280665 | 3.491
[9 empty] | total | 10
241Am in He+CO2(30%), P = ~1.0 atm
54 | 2009-07-29 | 241Am | He+CO2(30%) 1.0 atm | 1b | -350 | -2 | 120 | 1000 | 523301 | 6.509
54.1 | 2009-07-29 | 241Am | He+CO2(30%) 1.0 atm | 1b | -350 | -2 | 120 | 1000 | 280665 | 3.491
[9 empty] | total | 10
RUN | Date | Source | Gas | uMega ID | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
electronics calibration
70 | 2009-08-31 | pulser | NA |  | 0 | 0 | 120120120120 |  |  | 0.924 | 3FFF, 3C00, 3A00, 3800, 3400, 3000
71 | 2009-08-31 | pulser | NA |  | 0 | 0 | 120120120120 |  |  | 0.924 | BFFF, BF00, BE00, BC00, B800, B000 | electronics disconnected from chamber
72 | 2009-08-31 | pulser | NA |  | 0 | 0 | 120120120120 | 1000 |  | 0.924 | BF80, BF00, BE80, BE00, BD7F, BD00
73 | 2009-08-31 | pulser | NA |  | 0 | 0 | 120120120120 | 1000 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00
74 | 2009-08-31 | pulser | NA |  | 0 | 0 | 600120120120 |  |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00
75 | 2009-08-31 | pulser | NA |  | 0 | 0 | 600120120120 |  |  | 0.924 | BF80, BF00, BE80, BE00, BD7F, BD00
76 | 2009-09-02 | pulser | NA |  | 0 | 0 | 600600600600 |  |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00
77 | 2009-09-02 | pulser | NA |  | 0 | 0 | 600600600600 |  |  | 0.924 | aborted
78 | 2009-09-02 | pulser | NA |  | 0 | 0 | 600600600600 |  |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00
RUN | Date | Source | Gas | uMega ID | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
gain test with 55Fe source
84 | 2009-09-08 | 55Fe | He+CO2(10%) 1.0 atm | 1b | -400 | -2 | 120 | 1000 |  | 0.05
85 | 2009-09-08 | 55Fe | He+CO2(10%) 1.0 atm | 1b | -450 | -2 | 120 | 1000 |  | 0.05
RUN | Date | Source | Gas | uMega ID | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
gain test with 241Am source
88 | 2009-09-09 | 241Am | He+CO2(10%) 1.0 atm | 1b | -200 | -1 | 120 | 1000 |  | 1 | nice tracks
89 | 2009-09-09 | 241Am | He+CO2(10%) 1.0 atm | 1b | -200 | -2 | 120 | 1000 |  | 0.05 | crap
90 | 2009-09-09 | 241Am | He+CO2(10%) 1.0 atm | 1b | -330 | -2 | 120 | 1000 |  | 0.05 | crap
91 | 2009-09-09 | 241Am | He+CO2(10%) 1.0 atm | 1b | -300 | -1.5 | 120 | 1000 |  | 0.05
92 | 2009-09-09 | 241Am | He+CO2(10%) 1.0 atm | 1b | -200 | -1 | 120 | 1000 |  | 0.05 | nice tracks
93 | 2009-09-09 | 241Am | He+CO2(10%) 1.0 atm | 1b | -220 | -1 | 120 | 1000 |  | 0.05 | nice tracks
94 | 2009-09-09 | 241Am | He+CO2(10%) 1.0 atm | 1b | -240 | -1 | 120 | 1000 |  | 0.05 | nice tracks
95 | 2009-09-09 | 241Am | He+CO2(10%) 1.0 atm | 1b | -260 | -1 | 120 | 1000 |  | 0.05 | nice tracks - check if saturated
96 | 2009-09-09 | 241Am | He+CO2(10%) 1.0 atm | 1b | -280 | -1 | 120 | 1000 |  | 0.05 | umega tripped - strip 4 hot
RUN | Date | Source | Gas |  | HV umegas [V] | Kathode [kV] | ADC full scale range [fC] | Peaking time [ns] | Data size [KB] | Event # [k] | Memo
97 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 120120120120 | 1000 |  | 0.924 | BF80, BF00, BE80, BE00, BD7F, BD00 | disconnected adapter board
98 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 120120120120 | 1000 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00 | connected adapter board
99 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 120120120120 | 1000 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00 | disconnected adapter board
100 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 120120120120 | 1000 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00 | connected adapter board
101 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -200 | -1 | 120 | 1000 |  | 0.05 | double tracks
102 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -300 | -1 | 120 | 1000 |  | 0.05 | adc range saturated
103 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -350 | -1 | 120 | 1000 |  | 0.05 | adc range saturated
104 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1.5 | 120 | 1000 |  | 0.05 | broad track
105 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1 | 120 | 1000 |  | 0.05 | good tracks
106 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -2 | 120 | 1000 |  | 0.05 | good tracks
sparking began at a cathode voltage of -2.2kV
107 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1 | 240 | 1000 |  | 0.05
108 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1 | 360 | 1000 |  | 0.05
109 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1 | 600 | 1000 |  | 0.05 | maximum adc range
110 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -200 | -1 | 600 | 1000 |  | 0.05
111 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1 | 600 | 1000 |  | 0.05
112 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -300 | -1 | 600 | 1000 |  | 0.05
113 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -350 | -1 | 600 | 1000 |  | 0.05
114 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -400 | -1 | 600 | 1000 |  | 0.05 | BAD!!!! sparking??
115 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1 | 600 | 100 |  | 0.05
116 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1 | 600 | 500 |  | 0.05
117 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1 | 600 | 1000 |  | 0.05
118 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1 | 600 | 1500 |  | 0.05
119 | 2009-09-11 | 241Am | He+CO2(10%) 1.0 atm | 2b | -250 | -1 | 600 | 2000 |  | 0.05
120 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 600 | 100 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00 | connected adapter board
121 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 600 | 500 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00 | connected adapter board
122 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 600 | 1000 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00 | connected adapter board
123 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 600 | 1500 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00 | connected adapter board
124 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 600 | 2000 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00 | connected adapter board
125 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 240 | 1000 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00 | connected adapter board
126 | 2009-09-11 | pulser | NA | 2b | 0 | 0 | 360 | 1000 |  | 0.924 | 3F80, 3F00, 3E80, 3E00, 3D7F, 3D00 | connected adapter board
127 | 2009-09-18 | 241Am | P10 1.0atm | 2b | -300 | -2 | 600 | 1000 |  | 0.05
128 | 2009-09-18 | 241Am | P10 1.0atm | 2b | -300 | -2 | 600 | 1000 |  | 0.05
129 | 2009-09-18 | 241Am | P10 1.0atm | 2b | -275 | -1 | 600 | 1000 |  | 0.05
130 | 2009-09-28 | 241Am | He+CO2(5%) 1.0 atm | 2b | -200 | -1 | 600 | 1000 |  | 0.05 | BAD!!!!
131 | 2009-09-28 | 241Am | He+CO2(5%) 1.0 atm | 2b | -175 | -1 | 600 | 1000 |  | 0.05 | good tracks
132 | 2009-09-29 | 241Am | He+CO2(7%) 1.0 atm | 2b | -175 | -1 | 600 | 1000 |  | 0.05
133 | 2009-09-29 | 241Am | He+CO2(7%) 1.0 atm | 2b | -200 | -1 | 600 | 1000 |  | 0.05