AT-TPC Meeting Minutes   7/16/2009

Translation Table

- Box was opened and there appeared to be damage to the y-dimension translation table.

  - Indent on inside of box matches the bent end of the y-dimension motor box.

  - Optical disk (which determines/reads the position of the motor) has been smashed

- Next step will be to test the x-dimension motor using the provided software.

Gas System

- Original work order was rejected by the design department.

- A new work order was submitted to the detector lab.

- Unsure of reason first work order was rejected, may need information to determine appropriate department for submission.

Data Analysis

- Hongwei presented slides on his analysis code.  These have been posted on the group wiki page as data analysis.pdf.

  - Slides focused on chi-squared minimization of dE/dx measurements, range calculations, charge to energy transformations, and determining an appropriate definition of a ‘good’ event.

  - Work on determining the source of apparent differential nonlinearities is ongoing.

Chamber Work

- A new gas mixture of He/10%CO2 will be tested.

- Work on the cathode circuit will continue.