IRFU/CEA Saclay

GET -

Hardware description of the GET system

User Requirements Document

Issue: 	0

Revision: 	0

Reference: 	WiKi-reference

Created: 	05-feb-2009

Last modified:

Prepared By: 	Frédéric Druillole

This document has been prepared using the CERN PSS-05 Templates. The CERN PSS-05 Templates have been prepared by the Information and Programming Technology Group, ECP Division, CERN (The European Laboratory for Particle Physics) and conform to the PSS-05 Software Engineering Standards (ISBN 0-13-106568-8) defined by ESA (European Space Agency) BSSC (Board for Software Standardization and Control).

- Abstract

Example: This document describes the requirements and constraints for the read-out electronics of the Time Projection Chambers (TPCs) foreseen at the T2K 280 m neutrino oscillation experiment. It addresses both hardware and software aspects, and groups in a single document the various requirements, capabilities and constraints that have been identified. The purpose of the document is to provide the most complete, accurate, and up-to-date list of specifications for the system being designed.

- Document Status Sheet

Maintain document history information in the table below. The Document Status Sheet (DSS) provides a history of issues and revisions of the document with a comment indicating the reason for the revision. Note that the Document Title and the Document Reference Number should never change from one revision to another.

Table 1 Document Status Sheet

| 1. Document Title: T2K 280 m TPC - Read-out Electronics - System and User Requirements Document |  |  |  |
| --- | --- | --- | --- |
| 2. Document Reference Number: EDMS blabla |  |  |  |
| 3. Issue | 4. Revision | 5. Date | 6. Reason for change |
| 0 | 0 | 19 July 2005 | Creation |

- Document Change Record

Record all changes between this and previous revision in a Document Change Record (DCR) table. A new DCR per revision is required.

Table 2 Document Change Record (of changes made since issue ... )

| Document Change Record |  |  | DCR No. |  |
| --- | --- | --- | --- | --- |
|  |  |  | Date |  |
|  |  |  | Originator |  |
|  |  |  | Approved By |  |
| 1. Document Title |  |  |  |  |
| 2. Document Reference Number |  |  | [Document Reference Number] |  |
| 3. Document Issue / Revision Number |  |  | [Document Issue]/[Document Revision Number] |  |
| 4. Page | 5. Paragraph | 6. Reason for Change |  |  |

- Table of Contents

Abstract	iii

Document Status Sheet	iii

Document Change Record	iv

Table of Contents	v

List of Figures	vi

List of Tables	vii

1	Introduction	1

1.1	Purpose of the document	1

1.2	Scope of the system	1

1.3	Definitions, acronyms and abbreviations	1

1.3.1	[Definitions]	1

1.3.2	[Acronyms]	1

1.3.3	[Abbreviations]	2

1.4	References	2

1.5	Overview of the document	2

2	General Description	3

2.1	Product perspective	3

2.2	General capabilities	3

2.3	General constraints	3

2.4	User characteristics	3

2.5	Operational environment	4

2.6	Assumptions and dependencies	4

3	Specific Requirements	5

3.1	Capability Requirements	5

3.1.1	Data Acquisition	5

3.1.2	Synchronization	8

3.2	Constraint requirements	10

3.2.1	General	11

3.2.2	[subsection]	16

4	List of User Requirements	17

A  [Appendix Heading]	19

- List of Figures

Erreur ! Aucune entrée de table d'illustration n'a été trouvée.

- List of Tables

Table 1 Document Status Sheet

Table 2 Document Change Record (of changes made since issue ... )

# 1	Introduction

## 1.1	Purpose of the document

The purpose of this document is to define the most complete and accurate set of constraints and requirements to drive the design of the read-out electronics of the TPCs. All relevant parameters, desired performance figures, operating ranges, functionalities, etc shall appear in this authoritative document.

## 1.2	Scope of the system

The system being discussed in this document is the global set of electronic hardware (and the associated software) that connects at the back of the gas amplification modules of the TPC’s on one end, and that interfaces to the common Data AcQuisition (DAQ) system of the T2K 280 m experimental setup on the other end. The system considered includes two main blocks: the part mounted directly at the back of the TPC modules inside the magnet, and the part located outside of the magnet. The former shall be referred to as “on-detector electronics” and the latter as “off-detector electronics”.

## 1.3	Definitions, acronyms and abbreviations

Specify special terms, acronyms and abbreviations used in the document. The subsections may be re-organized as necessary. For each definition, acronym or abbreviation use a paragraph pair of either DL1 Term and DL1 Description paragraphs, or, of DL1 Term RIH and DL1 Description paragraphs.

### 1.3.1	[Definitions]

### 1.3.2	[Acronyms]

ASIC

Application Specific Integrated Circuit

ESA

European Space Agency

CERN

European Laboratory for Particle Physics

### 1.3.3	[Abbreviations]

## 1.4	References

List all external documents referenced in this document

- T2K 280 m Conceptual Design Report

## 1.5	Overview of the document

Provide an overview of the document.

# 2	General Description

## 2.1	Product perspective

Describe related external systems and subsystems.

## 2.2	General capabilities

The read-out electronics of the TPCs is responsible for amplifying, shaping and digitizing the signal of the ~85.000 pads of these detectors. At the front-end side, low noise is critical and some flexibility is needed to accommodate a wide range of options (gas amplification technology, gas mix). The large number of channels combined to a sampling rate of several MHz lead to a peak data rate of several Tbit/s, although the average event rate is rather low (a few Hz). After digitization, the system is responsible for grouping the relevant data into event fragments and sending them to the common DAQ system of the experiment. In addition to the main capabilities, the system being discussed in this document performs some of the tasks required for the correct and safe operation of the TPCs: local system configuration, detector calibration and performance monitoring, intra-TPC system synchronization and interface with an experiment-wide synchronization network, interface to the DAQ and run control systems, low voltage power distribution.

## 2.3	General constraints

On-detector TPC electronics is mounted at the back of the gas amplification system, in the space left available between the detector planes and the magnet (or possibly a calorimeter surrounding the TPCs). In this confined environment, space is scarce, power dissipation should be minimized, though water cooling seems unavoidable, access is limited to maintenance periods, and tolerance to (a modest) magnetic field is required. Compatibility at the mechanical and electrical level with the general infrastructure of the experiment must be assured. For the integration of the TPCs in an experiment-wide data acquisition and run control system, the system must conform to the commonly agreed hardware and software interfaces. Local safety regulations for underground experiments must be followed and compliance with all the fire, seismic and environmental directives that apply must be granted.

## 2.4	User characteristics

Describe who will use the software and when.

## 2.5	Operational environment

Describe what external systems do and their interfaces with the product.

## 2.6	Assumptions and dependencies

Describe the assumptions upon which the requirements depend.

# 3	Specific Requirements

List all specific requirements, with attributes.

User requirements fall into two categories: capabilities needed by users to solve a problem or achieve an objective; constraints placed by users on how the problem is to be solved or the objective achieved.

## 3.1	Capability Requirements

Capability requirements describe functions and operations needed by users. Quantitative statements that specify performance and accuracy attributes should form part of the specification of a capability.

Space and time dimensions can be useful for organising capability requirements. It is often convenient to describe capability requirements in terms of a sequence of operations.

- [Statement Title]

[UR Statement]

Need  [How essential is this UR]

Priority  [Priority for incremental delivery]

Stability  [How subject to change is this UR]

Source  [Name of person, group, document, ... from which the UR originates]

Clarity  [If more than one interpretation possible, this must be qualified]

Verifiability  [Check that UR is incorporated into the design, is implemented in the software, and can be tested]

[Any Other Attribute] [Value of any other attribute]

### 3.1.1	Data Acquisition

- Event acquisition rate and system dead-time

The system must be able to acquire the data of all TPC channels and transfer to the DAQ system at least the non-empty values with no dead-time at a maximum rate that shall be specified. The maximum acceptable average event rate is 20 Hz. The maximum peak event rate is 20 Hz. Consequently, the minimum interval between 2 consecutive acceptable events is 50 ms. The maximum dead-time of the system after each event is 50 ms.

Need  mandatory

Stability  to be discussed

Source  [Name of person, group, document, ... from which the UR originates]

Verifiability

# 4	List of User Requirements

UR-01	[Statement Title]	5

UR-02	Event acquisition rate and system dead-time	5

- A  [Appendix Heading]