## Slide 1: Update of Prototype AT-TPC
April 1, 2010
Weekly meeting
Daisuke Suzuki, NSCL

## Slide 2: Project management
Preliminary Project Plan; In March
Kick-off meeting; March 25, 2010
Project Plan published; March 29, 2010
I:\departments\projectmanagement\Projects\AT-TPC\prototype
pSAD; In review
Planning Estimates-P4; Undertaken

## Slide 3: New test room update
Drawing by P. Zeller
New test room
ReA3
Clean room
Utilities (120/208 V AC, Compressed Air, Dry N2, Exhaust) complete
Clean room construction; April 5, 2010
Scroll pump (Edwards XDS10 No gas ballast); May 28, 2010

## Slide 4: Material of field cage frame
Comment by Daniel
G10 is a source of outgas.
Alternatives
Glass
Laminate; e.g., G10-CR (Cryogenic Grade) by John Yurkon
G10-CR (Cryogenic Grade) is an electrical and mechanical grade of glass cloth laminate impregnated and cured with a non-brominated epoxy resin. G10-CR is used in applications were flame retardancy isn't an issue. G10-CR contains no halogens and can be used in nuclear and space applications such as satellites, requiring stringent temperature demands in sub-zero environments, have very little risk of fire. G-10-CR is an excellent choice when working with liquid nitrogen and cryo lab applications.
R. G. Phillips et al., Electrical Insulation and Dielectric Phenomena, 1988. Annual Report (1988) 41.
G10
Teflon
Polyethylene
High outgas