Radiation Monitors

Info

Across no only the tunnel, but the entire facility where the LINAC beamline, ReA beamline, and K500 beamline are, there are many radiation monitors in the surrounding areas. These monitors are part of the PPS system, and are incredibly important to the safety of personnel in the FRIB facility. These monitors will tell us how much radiation is present in each monitors area, and will alarm if radiation levels reach a dangerous point.

Tips/Notes

Location

LINAC Tunnel

Target Hall/VPS

ARIS/Transfer Hall

Experimental Vaults

Front End

Devices/PV's

Personnel