# Setting DCCTs
### Disclaimer
While the setting of DCCTs is referenced in several procedures, there is no official guideline for what to set them to. The instructions below are just what has somehow become common practice.
### Current practice
Currently operators are setting the DCCTs using the following steps:
1. Disarm DCCT, note the magnet setpoint
2. Set the negative and positive thresholds to 0.2% pf current magnet setpoint
3. Clear the DCCT alarm, arm the DCCT
### Setting the values
Most operators use their phone calculator or their computer calculator to make this calculation, the calculation usually fallows this syntax:
(Current magnet setpoint) * 0.002 = threshold
## Links
- DCCT Operation instructions
- DCCT info page