## Slide 1: Pressure Tests
2024-05-13

## Slide 2: Weird CoBo 1, AsAd 0 Behavior

## Slide 3: Doesn’t appear in any other AsAd

## Slide 4: Disappeared on Friday

## Slide 5: Noise FFT search
The biggest source of noise was from mains hum, at 60 Hz and odd multiples of 60 Hz
Noise from the preamp seemed to be smaller in power, and occurred at 146 Hz, 372 Hz, 2.98 kHz, 10 kHz, and 16 kHz
Our system clock for GET runs at 50 MS/s, or 20 ns per bin
This means that if our noise is higher frequency than 50 MHz or much lower than 100 kHz, we either can’t see it, or it gets background subtracted easily

## Slide 6: Tuesday Test @ 1100 torr
MM: 530 V
MM: 522.5 V

## Slide 7: We also noticed that adjusting the pressure and MM voltage moves the location of the peaks in the pad traces
Increasing voltage moves the peaks to later bins
Increasing pressure moves the peaks to earlier bins
Easy fix, requires adjusting the gate delay parameter in the GET config file

## Slide 8: Run 388 - MM: 580 V – 1351 torr – 554 sccm

## Slide 9: Run 388 - MM: 580 V – 1351 torr – 554 sccm

## Slide 10: Test @ 1400 torr (DATAQ = 1447 torr)
Run 389

## Slide 11: Test @ 1500 torr (DATAQ = 1544 torr)
Run 390

## Slide 12: Test @ 1600 torr (DATAQ = 1643 torr)
Run 392