## Slide 1: 29-04-2024

## Slide 2: 1039 is a bit cleaner now
I have added labels to a lot of the boxes that are on the shelves
We have a lot of parts from GADGET I that I am not sure if we still need, we could consider a nicer way to store these
We should still remove one of the tables from 1039 before we bring in the HPGe to create more space
Either table will be a bit tricky to remove

## Slide 3: Dirty/Clean Power Sources
The power to our NIM crates, AsAd boards, and oscilloscope are now on clean power
Everything else is on dirty power: scroll pump, computers (including the Mac minis), CoBos

## Slide 4: ATTPC Pads

## Slide 5: ATTPC Pads

## Slide 6: ATTPC does not use wires to ground their AsAd boards

## Slide 7: Greatly reduced noise when we use lower impedance grounding wires from the AsAd boards to the support plate/detector

## Slide 8: Next:
Get HA doc fully squared away so that we can operate at higher pressure
Buy extra o-ring and union for adding valve and operating at higher pressure (re-check machine shop area for the right size o-ring)