## Slide 1: NSCL Proton Detector
David Perez Loureiro
September 14th 2015

## Slide 2: Conceptual Design

## Slide 3: MicroMEGAS Detectors
Drift Region
  Particles ionize the gas along their trajectories
  Electrons drift to anode pads under an applied field (~100 V/cm)
Amplification Region
  Avalanche multiplication
  Signal induced in readout pads
  Fast timing, robust, cost effective, good energy resolution
HV1
HV2
E1
200 V/cm
E2
50 kV/cm
30 cm
100 mm
Cathode
MicroMesh
Drift Region
Amplification Region
Readout Pad
b
ne
p
e-
e-
e-
e-
Y. Giomataris et al. Nucl. Instr. and Meth. A, 376 (1996), p. 29
e-

## Slide 4
83 equipotential strips
(3mm wide)
0.5 mm gap
Kapton layer (0.3 mm)
1.5cm
3cm
1cm
Gating Grid
Corona Ring 5mm radius
14cm
Variable Ring
Variable ring allows to change the field lines in the region near the mesh placed at 5mm from micromesh

## Slide 6
Electric field below 5kV/cm. Safe for sparking
Ar-iso 2.5% 1 atm 1cm
VB= 5981 V
Ar-iso 5% 1 atm 1cm
VB= 7323 V
Ar-iso 10% 1 atm 1cm
VB= 9611 V

## Slide 7
E
200 V  V
0 V
+V
-V
+V
Gating grid: Allows to control the amount of electrons
reaching the amplification area

## Slide 8
Cathode
Katton
Some tabs in the Kapton layer of the cage will hold
it to the cathode and the Gating grid frame
with screws
GG frame
Katton
Bottom view of cathode