Radioactive Check Source Use Log

To Be Completed Weekly

If the source is in use and not accessible for verification, please note on the log.

| User: Lijie Sun | Instrument: Gamma Probe |
| --- | --- |
| Isotope: 137Cs | Instrument SN: 351164 |
| Source Serial: M4038 | Expected CPM Reading: 8000 |
| Activity/Date: 0.1031uCi,10/24/2013 | Authorized Location: Room 1035 |

| Date | Source Intact? | Reading in CPM | Location Verified? | Initials |
| --- | --- | --- | --- | --- |
| 8/2/24 | Yes | 8000 | 1035 | LS |