Radioactive Check Source Use Log

**To Be Completed Weekly**

*If the source is in use and not accessible for verification, please note on the log.*

|  |  |
| --- | --- |
| **User: Lijie Sun** | **Instrument: Gamma Probe** |
| **Isotope: 137Cs** | **Instrument SN: 351164** |
| **Source Serial: M4038** | **Expected CPM Reading: 8000** |
| **Activity/Date: 0.1031uCi,10/24/2013** | **Authorized Location: Room 1035** |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Date** | **Source**  **Intact?** | **Reading in**  **CPM** | **Location Verified?** | **Initials** |
| 8/2/24 | Yes | 8000 | 1035 | LS |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |