Radioactive Check Source Use Log

**To Be Completed Weekly**

*If the source is in use and not accessible for verification, please note on the log.*

|  |  |
| --- | --- |
| **User: Lijie Sun** | **Instrument: Alpha Probe** |
| **Isotope: 241Am** | **Instrument SN: 256177** |
| **Source Serial: Z7117** | **Expected CPM Reading: 16,000** |
| **Activity/ Date: 0.099uCi, 9/1/1984** | **Authorized Location: Rm 1035** |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Date** | **Source****Intact?** | **Reading in****CPM** | **Location Verified?** | **Initials** |
| 9/6/2024 | Yes | 16,000 | Yes, 1035 | LS |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |