Radioactive Check Source Use Log

To Be Completed Weekly

If the source is in use and not accessible for verification, please note on the log.

| User: Lijie Sun | Instrument: Alpha Probe |
| --- | --- |
| Isotope: 241Am | Instrument SN: 256177 |
| Source Serial: Z7117 | Expected CPM Reading: 16,000 |
| Activity/ Date: 0.099uCi, 9/1/1984 | Authorized Location: Rm 1035 |

| Date | Source Intact? | Reading in CPM | Location Verified? | Initials |
| --- | --- | --- | --- | --- |
| 9/6/2024 | Yes | 16,000 | Yes, 1035 | LS |