Radioactive Check Source Use Log

# FRIB-T10401-FM-000029-R001

Issued 18 July 2013

Prepared by	Approved by

7/18/2013

7/18/2013

X

Rebecca DeZess Health Physicist II

X

Peter Grivins

Environmental Safety, Health and Quality Man... Signed by: Peter Grivins

Table of Contents not needed

Revision History

| Revision | Issued | Changes |
| --- | --- | --- |
|  | 11 June 2011 | Original issue on Alfresco |
| R001 | 18 July 2013 | Updated format and content for Portal |

Authorizing Document

Radioactive Materials Check-Out Policy (FRIB-T10401-PO-000015).

Authorized Documents

None.

None.

Authorized Committees and Boards

Radioactive Check Source Use Log

To Be Completed Weekly

If the source is in use and not accessible for verification, please note on the log.

| User: Lijie Sun | Instrument: Beta Probe |
| --- | --- |
| Isotope: 55Fe | Instrument SN: 101032 |
| Source Serial: SSZ7212 | Expected CPM Reading: 14,000 |
| Activity/ Date: 1000uCi, 3/1/1992 | Authorized Location: Rm 1035 |

| Date | Source Intact? | Reading in CPM | Location Verified? | Initials |
| --- | --- | --- | --- | --- |
| 8/13/2023 | Yes | 14,000 | Yes, 1035 | LS |
| 8/20/2023 | Yes | In chamber | Yes, 1035 | LS |
| 8/27/2023 | Yes | In chamber | Yes, 1035 | LS |
| 9/4/2023 | Yes | In chamber | Yes, 1035 | LS |
| 9/11/2023 | Yes | In chamber | Yes, 1035 | LS |
| 9/18/2023 | Yes | In chamber | Yes, 1035 | LS |
| 9/25/2023 | Yes | In chamber | Yes, 1035 | LS |
| 10/2/2023 | Yes | In chamber | Yes, 1035 | LS |
| 10/9/2023 | Yes | In chamber | Yes, 1035 | LS |
| 10/16/2023 | Yes | In chamber | Yes, 1035 | LS |