## Slide 1: Ge-Mesh Signal Timing Histogram (only events where the mesh triggered)
Runs 451-555 gated on mesh logic
Runs 101-149 gated on mesh logic
At run 162 we delayed the Ge signal by 4 us to see the full drift time of the TPC, for some reason both end at +6 us

## Slide 2: Some gain drift in south germanium
On the order of 0.4% across the runs throughout the experiment
  For gammas at 511 keV this is a 2 keV effect
  For gammas at 1461 keV this is a ~6 keV effect
Runs 150-555

## Slide 3: Some gain drift in south germanium
On the order of 0.4% across the runs throughout the experiment
  For gammas at 511 keV this is a 2 keV effect
  For gammas at 1461 keV this is a ~6 keV effect
Runs 150-555

## Slide 4: Compton Edge
Compton edge of 1461 keV gamma begins at ~1244 keV
Max E =

## Slide 5: Alpha-550 keV gamma gated North spectrum