## Slide 1
You must fill out the daily FRIB access form https://frib.msu.edu/q. Maintain at least 6 ft distance.
Wear face mask and gloves at all times when working in the lab. Do not exceed the posted occupancy limit of each office/room.

## Slide 2
I had one idea that might be completely wrong. I wonder if back-scattering of the 31S nuclei from head-on collisions with gold nuclei might be able to modify the energy we measure for the long-lived 31S first excited state to be lower than the rest energy. The Rutherford cross section gets very large at low energies, increasing the chance of back-scattering for 31S ions that are almost stopped. I know that Oliver's simulation includes a parameterization for scattering of the 31S, but does it include the possibility of nuclear backscattering? Maybe something to consider.
Chris
Since your analysis seems to favor a value for the 31S 1st excited state energy between 1246 and 1247 keV, whereas NNDC evaluates the number to be 1248.87 +/- 0.09 keV, I spent a little bit of time looking at the values from past measurements for the 31S 1st excited state energy that go into the NNDC value. I mainly looked at the Ouellet's 2013 A=31 evaluation.
I found a value as low as 1247.6 +/- 0.3 keV from Antti Saastamoinen's work on 31Cl decay, which NNDC disregards for being too different from other measurements and for not fitting well with the other gamma-ray energies in their 31S gamma-decay scheme.
As you know, Mike Bennett's value was 1248.4 +/- 0.2 keV, also from 31Cl decay, which also suggests a somewhat lower value than NNDC.
The value from 32Ar(beta p) decay is 1248.4 +/- 0.3 keV, which is also lower than NNDC.
So I think it is possible that the true energy could be significantly lower than the NNDC value and probably their 90 eV uncertainty is unrealistic.

## Slide 3
Somehow the reaction experiments tend to yield higher values. I didn't have time to check, but I wonder if they make Doppler-shift corrections based on literature values of the lifetime. If the lifetime they use is wrong it might influence their deduced energy.
I would be amazed if the true value is less than Antti's value. That would be a 14-sigma discrepancy with NNDC! But maybe it is possible.
If we want to understand the NNDC value better, then we probably need to read the reaction papers to understand what they did.
Chris
A little bit more:
In the attached paper by Doherty (after the A=31 evaluation) they measure 1248.5 +/- 0.1 keV, which is also lower than NNDC.
I see that the NNDC value is strongly influenced by the value of 1248.9 +/- 0.1 keV from Jenkins et al. (attached). For quite a while, I have had concerns about the accuracy of the energies reported in that paper, so I don't really trust that number.
The papers I haven't had a chance to look at are the (3He,n gamma) measurements from many decades ago, which also apparently report precise values around 1248.9 +/- 0.2 keV.
Chris

## Slide 4
32S(3He,α)31S
Offline Ion Source (OLIS)
Radiofrequency Quadrupole (RFQ)
Carbon foil for charge stripping
Drift-Tube Linac (DTL)
Au target foil implanted with 3He.
target ladder LN2 cooled copper shroud
Dopppler Shift Liftetimes (DSL) chamber
Cooling of the target a surrounding cold trap
Condensation of water
Electrical beam currents from collimator and target ladder.
Ortec B Series silicon surface barrier detectors with 150 mm2 active area.
solid angle coverage
α-gated γ spectrum
No need to make thinner target, which will reduce the conduction of heat.
If τ ≈ 10 fs, we may be able to obtain the result with 1-fs uncertainty.
If τ < 1 fs, we may be able to obtain the upper limit

## Slide 5
Beam / Projectile / Incident particle | 32S
Target | 3He
Foil | Au
Beam energy | 128 MeV
Implanted areal density | 6×1017 ions/cm2
Center of mass energy | 10.97 MeV
Thickness of Au foil | 25 μm
Range of 32S in Au | 12.5 μm
Coulomb barrier VB | 5.532 MeV
RC | 7.4 fm
bgr | 5 fm
Ejectile / Fragment / Projectile-like fragment | 32S
Recoil / Residual / Target-like fragment | 3He
Kinematically allowed θlab for Ejectile | 0°– 5.38°
Kinematically allowed θlab for Recoil | 0°– 90°
Kinematically allowed Elab for Ejectile | 87.88–128 MeV
Kinematically allowed Elab for Recoil | 0 MeV@90°– 40.12 MeV@0°
Grazing angle θgr(cm) | 38.7°
Grazing angle θgr(lab) | 3.1°
Compound nucleus | 35Ar
Q value of 32S(3He,α)31S | 5.533 MeV
Q value of 32S(3He)35Ar | 11.963 MeV
Compound nucleus excitation energy | 10.97 + 11.963 = 22.934 MeV
Compound nucleus recoil energy | 117.029 MeV
Experimental fusion cross section | 823 mb
Compound nucleus formation cross section | 822 mb
Energy range for α particle | 0.64–45.06
32S(3He,α)31S cross section | 95 mb

## Slide 6
Catkin2.03.xls
http://nrv.jinr.ru/nrv/webnrv/qcalc/

## Slide 7
128 MeV 32S beam = 12 MeV 3He beam
Center of mass kinetic energy of ECM: 128*3/(3+32)=12*32/(3+32)≈11 MeV
2.585 MeV 100Ru beam = 0.02585 MeV 1H beam
Center of mass kinetic energy of ECM: 2.585*1/(1+100)=0.02585*100/(1+100)=0.02559 MeV

## Slide 8
Notes: Center-of-mass energy
Relative kinetic energy
ECM 卢希庭《原子核物理》

## Slide 9
128 MeV 32S beam = 12 MeV 3He beam
Center of mass kinetic energy of ECM: 128*3/(3+32)=12*32/(3+32)≈11 MeV

## Slide 10
358 MeV 59Cu beam
Center of mass kinetic energy of ECM: 358*1/(1+59)=6 MeV

## Slide 11
Textbook

## Slide 12
http://nrv.jinr.ru/nrv/mobilenrv/kinematics/Kinematics2Body.html

## Slide 14
http://skisickness.com/2010/04/relativistic-kinematics-calculator/

## Slide 15
http://skisickness.com/2010/04/21/
http://nrv.jinr.ru/nrv/mobilenrv/kinematics/Kinematics2Body.html

## Slide 16
http://skisickness.com/2010/04/relativistic-kinematics-calculator/

## Slide 17
Eα gate = 49±1 MeV
51.1 < Eα < 53.0 MeV
81.2 > E31S > 79.3 MeV

## Slide 18
Acceptance angle α < 14°
corresponds to
31S < 4°

## Slide 19
Acceptance angle α < 14°
corresponds to
50.8 < Eα < 54.0 MeV
Eα gate = 49±1 MeV
51.1 < Eα < 53.0 MeV
78.3 < E31S < 81.6 MeV
77.0 < E31S < 80.2 MeV

## Slide 20
Acceptance angle α < 14°
corresponds to
31S < 3.5°

## Slide 21
Acceptance angle α < 14°
corresponds to
31S < 3.9°

## Slide 22
79.1 < E31S < 82.3 MeV
77.8 < E31S < 81.0 MeV

## Slide 23
Seems no difference between quantum-mechanical option or classical option.

## Slide 27
Cathleen's Thesis Page 51
E24Mg = 105 MeV
E24Mg = 110 MeV

## Slide 28
PACE4
E24Mg = 75 MeV
E24Mg = 80 MeV
E24Mg = 85 MeV
E24Mg = 90 MeV
E24Mg = 95 MeV
E24Mg = 100 MeV

## Slide 29
Chart: PACE4
| 40 | 50 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100 | 105 | 110
All | 103.506 | 411.94 | 597.217 | 663.416 | 715.924 | 759.753 | 794.869 | 823.625 | 848.194 | 867.505 | 883.143 | 895.892 | 905.995
23Mg | 2.13 | 28 | 21.8 | 27.9 | 44.7 | 52.5 | 66.8 | 42.3 | 46.9 | 48.8 | 73.8 | 76.2 | 81.9

## Slide 33
Chart: α
| 5 | 15 | 25 | 35 | 45 | 55 | 65 | 75 | 85
 | 40 | 30 | 20 | 20 | 10 | 5 | 4 | 6 | 0
Chart: α
| 1 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140
23Mg gs | 389 | 383 | 365 | 336 | 297 | 249 | 193 | 134 | 73.1 | 25.7 | 6.36 | 1.88 | 0.763
23Mg 7787 | 33.8 | 36.9 | 49.5 | 93.9 | -1
Chart: α
| 5 | 15 | 25 | 35 | 45 | 55 | 65 | 75 | 85
 | 90 | 60 | 50 | 50 | 20 | 4 | 0.5 | 0.2 | 0.05
LISE++
PACE4
PACE4
LISE++
23Mg
31S
23Mg
31S
I wouldn't put a whole lot of trust in the PACE4 angular distribution, we just used it because we lacked a better number. You would expect transfer in inverse kinematics to be more backward focused than that, I think. There also exists some normal kinematics transfer data at that beam energy that you could also look at, being careful about the transformation to inverse kinematics.
Chart: α
| 1 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140
31S gs | 385 | 379 | 361 | 332 | 293 | 246 | 192 | 133 | 74.8 | 29.5 | 8.86 | 2.96 | 1.27
31S 6390 | 4.77 | 5.06 | 6.11 | 8.66 | 15.6 | 50.3

## Slide 34
For the 24Mg(3He,α)23Mg reaction, the angular range of the α particles corresponding to the astrophysically important resonances are fully covered by our detectors.

## Slide 36
Catkin2.03.xls

## Slide 37
LISE Kinematics calculator
3He(32S,31S)α

## Slide 38
LISE Kinematics calculator
3He(32S,31S)α

## Slide 39
Sometimes, the energy shown in the table is wrong because of "double valued energy".
Find the energy in the graph.
11 MeV/u
LISE Kinematics calculator
3He(32S,31S)α

## Slide 40
4 MeV/u
LISE Kinematics calculator
3He(32S,31S)α

## Slide 41
LISE Kinematics calculator
3He(32S,31S)α

## Slide 42
LISE Kinematics calculator
3He(32S,31S)α

## Slide 43
E(4He) lab ≤ 44 MeV
θ(4He)lab ≤ 55°
E(4He) ≤ 56 MeV
θ(4He)lab ≤ 180°
Ex(31S) gs
Ex(31S) 6.4 MeV

## Slide 44
3He(24Mg,23Mg)α

## Slide 45
3He(24Mg,23Mg)α

## Slide 46
3He(24Mg,23Mg)α

## Slide 47
3He(24Mg,23Mg)α

## Slide 48
3He(24Mg,23Mg)α
Q function The kinematics of the transfer reaction in the lab frame

## Slide 49
3He(24Mg,23Mg)α

## Slide 50
3He(24Mg,23Mg)α

## Slide 51
Target
DSSD
SD
24.1 mm
5.7 mm
25 mm
46°
DSL2
18.4 mm
Target
DSSD
SD
24.1 mm
5.7 mm
25 mm
54°
DSL2
18.4 mm
Angular coverage

## Slide 52
Target
DSSD
SD
24.1 mm
5.7 mm
25 mm
46°
DSL2
18.4 mm
Angular coverage
Target
DSSD
SD
24.1 mm
5.7 mm
25 mm
56°
DSL2
18.4 mm
corner

## Slide 53
Target
DSSD
SD
17.5 mm
5 mm
25 mm
48°
DSL2
Target
DSSD
SD
13.2 mm
8.4 mm
25 mm
49°
DSL2

## Slide 54
31S*
32S
1
2

## Slide 55
Author | Literature | Reaction
Rituparna Kanungo | PRC2006 | 3He(20Ne,α)19Ne
Subramanian Mythili | PRC2008 | 3He(20Ne,α)19Ne
Naomi Galinski | PRC2014 | 3He(16O,α)15O
Oliver Kirsebom | PRC2016 | 3He(24Mg,α)23Mg

## Slide 56
Good point Cathleen. I usually tried to select a delta E detector thickness that would allow for it to absorb ~10-30% of the alpha energy. These experiments have been mounted at incident energies from 1.7-4 A MeV. It might be best to err on the thinner side. We’ve used delta E thicknesses from 25 to 500 µm.
Barry
Has the DSSD been purchased yet? If not, I would very highly encourage you to consider a thinner detector (my guess is ~200 um, but calculations should back this up). If you try to run the 23Mg at a similar beam energy to last time, the alphas will lose most (if not all, I haven't actually calculated) of their energy in the dE. The choice of 500 um dE in the first 32S run was a choice driven by budget, not physics. It meant we only had to buy one detector instead of two.
Cathleen

## Slide 57
451 1.80(12) ps
0
2052 79(20) fs
7787 <12 fs or 10(3) fs
7803 T = 3/2 IAS
3/2+
5/2+
7/2+
5/2+
7/2+
5/2+
22Na
23Mg
23Al
452
1599
2052
5752
7352
7335
5735
7802
Sp = 7581
3+

## Slide 59
Author | Rituparna Kanungo | Subramanian Mythili | Naomi Galinski | Oliver Kirsebom
Literature | PRC2006 | PRC2008 | PRC2014 | PRC2016
Reaction | 3He(20Ne,α)19Ne | 3He(20Ne,α)19Ne | 3He(16O,α)15O | 3He(24Mg,α)23Mg
Beam | 20Ne5+ | 20Ne5+ | 16O5+ | 24Mg
Beam energy | 34 MeV | 34 MeV | 50 MeV | 75 MeV
Beam current |  | 75 nA | 40 nA | 
Beam spot | 2 mm diameter | <2 mm diameter | 3 mm diameter | 2.5 mm diameter
Target | 3He-implanted Au foil | 3He-implanted Au foil | 3He-implanted Au foil | 3He-implanted Au foil
Au foil | 12.5 μm | 1 cm×1 cm×12.5 μm | 25.4 μm | 22.6(2) μm
Implanted 3He | 30 keV 0.1 μm | 30 keV 0.1 μm | 30 keV 0.1 μm | 30 keV 0.07 μm
areal density | 6×1017 cm–2 | 6×1017 cm–2 | 6.6×1017 cm–2 | 6.6×1017 cm–2
ΔE thickness | 25 μm | 25 μm | 100 μm | 100 μm
E thickness | 500 μm | 500 μm | 500 μm | 500 μm
Active area | 150 mm2 | 150 mm2 | 150 mm2 | 150 mm2
Angular acceptance | <20° | 19° |  | 
Solid angle | 360 msr | 350 msr |  | 
ΔE range | 4 MeV |  | 11 MeV | 25 MeV
Remaining E range | 30 MeV |  | 35 MeV | 40 MeV
Eα of astrophysically | 12 MeV | 12 MeV | 20 MeV | 21 MeV
Eα in ΔE | 2 MeV | 2 MeV | 6 MeV | 
Eα in E | 10 MeV | 10 MeV | 14 MeV | 

## Slide 60
Author | Rituparna Kanungo | Subramanian Mythili | Naomi Galinski | Oliver Kirsebom
Literature | PRC2006 | PRC2008 | PRC2014 | PRC2016
Reaction | 3He(20Ne,α)19Ne | 3He(20Ne,α)19Ne | 3He(16O,α)15O | 3He(24Mg,α)23Mg
Lifetime (fs) |  |  |  | 

## Slide 61
Author | Oliver Kirsebom | Cathleen Fry
Literature | PRC2016 | 
Reaction | 3He(24Mg, 23Mg)α | 3He(32S,31S)α
Beam | 24Mg | 32S
Beam energy | 75 MeV | 128 MeV
Beam current |  | 
Beam spot | 2.5 mm diameter | 
Target | 3He-implanted Au foil | 3He-implanted Au foil
Au foil | 22.6(2) μm | 2.5 cm×2.5 cm×25 μm
Implanted 3He | 30 keV 0.07 μm | 35 keV
areal density | 6.6×1017 cm–2 | 6×1017 cm–2
ΔE thickness | 100 μm | 500 or 87 μm
E thickness | 500 μm | 1000 μm
Active area | 150 mm2 | 150 mm2
ΔE range | 25 MeV | 40 or 25 MeV
Remaining E range | 40 MeV | 50 or 80 MeV

## Slide 64
Structurally interesting:
Shape Transition
Shape Coexistence
Soft/Rigid Triaxiality
Subshell Evolution
The delays outlined above mean that we are expecting an overall curtailed user program for 2020. As a consequence of this, we are cancelling the Summer 2020 Call for Proposals and both the SAP and MMS-EEC Meetings. Shifts that were due to expire in June 2020 will be extended by 6 months at least.

## Slide 65
A. Goldkuhle et al., Phys. Rev. C 102, 054334 (2020). Lifetime measurements of excited states in neutron-rich 53Ti Benchmarking effective shell-model interactions

## Slide 66
C. Morse et al., Phys. Rev. C 102, 054328 (2020). Quadrupole and octupole collectivity in 143Ba

## Slide 67
P. Petkov et al., Phys. Rev. C 96, 034326 (2017). Lifetime measurements with improved precision in 30,32S and possible influence of large-scale clustering on the appearance of strongly deformed states

## Slide 68
lowSiBias.root
highSiBias.root
lowBiasCuts.root
highBiasCuts.root

## Slide 69
finalSort.root PID
moreAlphaEgates.root PID
firstAddback.root PID
Cathleen's Thesis

## Slide 70
α
pα
d
3He
3He_ex
Notes: TCanvas *c1 = new TCanvas("c1", "c1",1200,800);
c1->SetFillColor(0);
c1->SetBorderMode(0);
c1->SetBorderSize(2);
c1->SetFrameBorderMode(0);
c1->SetFrameBorderMode(0);
PID->GetXaxis()->SetTitle("E (MeV)");
PID->GetXaxis()->SetRangeUser(0,70);
PID->GetXaxis()->CenterTitle(true);
PID->GetXaxis()->SetLabelFont(132);
PID->GetXaxis()->SetLabelSize(0.06);
PID->GetXaxis()->SetTitleSize(0.06);
PID->GetXaxis()->SetTitleOffset(1.1);
PID->GetXaxis()->SetTitleFont(132);
PID->GetYaxis()->SetTitle("#DeltaE (MeV)");
PID->GetYaxis()->SetRangeUser(0,20);
PID->GetYaxis()->CenterTitle(true);
PID->GetYaxis()->SetLabelFont(132);
PID->GetYaxis()->SetLabelSize(0.06);
PID->GetYaxis()->SetTitleSize(0.06);
PID->GetYaxis()->SetTitleOffset(0.8);
PID->GetYaxis()->SetTitleFont(132);
PID->GetYaxis()->SetNdivisions(505);
PID->GetZaxis()->SetLabelFont(132);
PID->GetZaxis()->SetLabelSize(0.05);
PID->GetZaxis()->SetTitleSize(0.05);
PID->GetZaxis()->SetTitleFont(132);
PID->Draw("colz");
gPad->SetLogz();
TFile *_file0 = TFile::Open("lowBiasCuts.root");
alphas->SetLineColor(2);
alphas->SetLineWidth(4);
alphas->Draw();

## Slide 71
Notes: TCanvas *c1 = new TCanvas("c1", "c1",1200,800);
c1->SetFillColor(0);
c1->SetBorderMode(0);
c1->SetBorderSize(2);
c1->SetFrameBorderMode(0);
c1->SetFrameBorderMode(0);
PID->GetXaxis()->SetTitle("E (MeV)");
PID->GetXaxis()->SetRangeUser(0,70);
PID->GetXaxis()->CenterTitle(true);
PID->GetXaxis()->SetLabelFont(132);
PID->GetXaxis()->SetLabelSize(0.06);
PID->GetXaxis()->SetTitleSize(0.06);
PID->GetXaxis()->SetTitleOffset(1.1);
PID->GetXaxis()->SetTitleFont(132);
PID->GetYaxis()->SetTitle("#DeltaE (MeV)");
PID->GetYaxis()->SetRangeUser(0,20);
PID->GetYaxis()->CenterTitle(true);
PID->GetYaxis()->SetLabelFont(132);
PID->GetYaxis()->SetLabelSize(0.06);
PID->GetYaxis()->SetTitleSize(0.06);
PID->GetYaxis()->SetTitleOffset(0.8);
PID->GetYaxis()->SetTitleFont(132);
PID->GetYaxis()->SetNdivisions(505);
PID->GetZaxis()->SetLabelFont(132);
PID->GetZaxis()->SetLabelSize(0.05);
PID->GetZaxis()->SetTitleSize(0.05);
PID->GetZaxis()->SetTitleFont(132);
PID->Draw("colz");

## Slide 72
31S*
32S
1
2

## Slide 73
moreAlphaEgates.root
hGriffinAddback_alpha_t0
Cathleen's Thesis

## Slide 74
moreAlphaEgates.root
nice.root
divide.root

## Slide 75
moreAlphaEgates.root
nice.root
Cathleen's Thesis

## Slide 76
τ = 200 fs
τ = 320 fs
τ = 480 fs
20000 # number of simulated DETECTED events
128000 # beam energy (keV)
16 # Z beam
32 # A beam
2 # Z target
3 # A target
2 # Z ejectile
4 # A ejectile
2234 # excitation energy of initial state in 23Mg (keV)
0 # excitation energy of final state in 23Mg (keV)
180.2783 # lifetime of initial state in 23Mg (fs)
../SimOutput/S31_Eg2234_tau180.root # name of ROOT output file

## Slide 77
Ex6000->Ex4000
Eg2000
Ex2000->Ex0
Eg2000
Counts per kev
Emean
Emax
Ex

## Slide 78
τ=289±37 fs
τ=320±79 fs (NuDat)

## Slide 79
50 MeV α gated 1249 keV γ
τ=721±173 fs (NuDat)

## Slide 80
49 MeV α gated 1247 keV γ
τ=721±173 fs (NuDat)

## Slide 81
48-MeV α gated 2234 keV γ ray from the 2234-keV second excited state of 31S

## Slide 82
50-MeV α gated 1248 keV γ ray from the 1248-keV first excited state of 31S

## Slide 83
49-MeV α gated 1248 keV γ ray from the 1248-keV second excited state of 31S

## Slide 84
47-MeV α gated 3076 keV γ ray from the 3076-keV third excited state of 31S

## Slide 85
50 MeV α gated 1247 keV γ
τ=721±173 fs (NuDat)

## Slide 86
τ=1821 fs
2130/ln(2)=3072.94043709 fs

## Slide 87
Six unshifted peaks for energy calibration

## Slide 88
Eγ = 7631.7(20) and 7645.5(20) keV
56Fe(n,γ)57Fe

## Slide 89
0 deg GRIFFIN
0 deg GRIFFIN with addback

## Slide 90
Eγ = 6128.50(14) keV (Present data)
Eγ = 6128.63(4) keV (NuDat)

## Slide 91
Simulated spectrum
Emean = 2814.04(0) keV
Emax = 2812.81(0) keV
Measured spectrum
Emean = 2815.20(4) keV
Emax = 2813.99(11) keV
NuDat
Eγ = 2814.06(20) keV
Notes: hGriffinAddback_0->Draw

## Slide 94
(keV) | Description
6129.89 | The excitation energy from NuDat, input to the simulation
6129.24 | The equivalent parameter μ for the EMG in the simulation if this is a 31S γ-ray line
6128.63 | The equivalent parameter μ for the EMG in the simulation if this is a 16O γ-ray line
6129.23 | Parameter μ from the EMG fit of the simulated peak
6127.09 | The maximum from the EMG fit of the simulated peak
6130.62 | Parameter μ from the EMG fit of the measured peak
6128.49 | The maximum from the EMG fit of the measured peak
6126.54 | The equivalent maximum for the EMG in the simulation if this is a 16O γ-ray line
6127.88 | The maximum corresponding to the minimum χ2 when the simulated peak is compared with the measured peak
Ein → recoil correction → Simulation (μ→max) → Comparison → χ2 minimization → Eout

## Slide 95
Maximum (keV) | Description
6128.59 | EMG fit the simulated peak
6128.49 | EMG fit the data
6128.67 | χ2 minimization simu vs simu
6128.49 | χ2 minimization data vs simu
6128.63 | NuDat
Maximum (keV) | Description
2814.04 | EMG fit the simulated peak
2813.99 | EMG fit the data
2814.10 | χ2 minimization simu vs simu
2813.96 | χ2 minimization data vs simu
2814.06 | NuDat
DSL Eγ (keV) | NuDat Eγ (keV) | Origin
279.0(5) | 279.01(5) | 197Au
547.6(4) | 547.5(3) | 197Au
2813.99(11) | 2814.06(20) | 39K
3597.0(3) | 3597.26(25) | 39K
3735.90(21) | 3736.5(3) | 40Ca
6128.49(25) | 6128.63(4) | 16O
Six unshifted peaks as energy calibration standards
Calibration seems accurate.
EMG fit or χ2 minimization yield the same energy values

## Slide 96
Range for calculating χ2

## Slide 97
Range for calculating χ2

## Slide 98
Range for bkg fit
Range for bkg fit

## Slide 99
Range for bkg fit
Range for bkg fit

## Slide 100
Range for calculating χ2

## Slide 101
Range for calculating χ2

## Slide 102
Range for bkg fit
Range for bkg fit

## Slide 103
Range for bkg fit
Range for bkg fit

## Slide 104
ROOT6
ROOT5

## Slide 105
Simulated spectrum
Emean = 6129.23(4) keV
Emax = 6127.09(8) keV
Measured spectrum
Emean = 6130.62(7) keV
Emax = 6128.49(25) keV
NuDat
Eγ = 6128.63(4) keV

## Slide 106
Oliver
EMG
Eγ = 1248.4 keV
τ = 4 ps

## Slide 107
GRIFFIN 0 deg
GRIFFIN 90 deg
GRIFFIN 0 deg crystal 0
GRIFFIN 0 deg crystal 1
GRIFFIN 0 deg crystal 2
GRIFFIN 0 deg crystal 3
GRIFFIN 90 deg crystal 4
GRIFFIN 90 deg crystal 5
GRIFFIN 90 deg crystal 6
GRIFFIN 90 deg crystal 7
hGriff_0->Draw("")
hGriff_90->Draw("same")
hGriffin_0->Draw("same")
hGriffin_1->Draw("same")
hGriffin_2->Draw("same")
hGriffin_3->Draw("same")
hGriffin_4->Draw("same")
hGriffin_5->Draw("same")
hGriffin_6->Draw("same")
hGriffin_7->Draw("same")

## Slide 108
GRIFFIN 0 deg
GRIFFIN 0 deg crystal 0
GRIFFIN 0 deg crystal 1
GRIFFIN 0 deg crystal 2
GRIFFIN 0 deg crystal 3
GRIFFIN 90 deg
GRIFFIN 90 deg crystal 4 correct calibration
GRIFFIN 90 deg crystal 5 incorrect calibration
GRIFFIN 90 deg crystal 6 incorrect calibration
GRIFFIN 90 deg crystal 7 incorrect calibration
Crystal 5\6\7 the 547-keV line was aligned with the 279-keV line

## Slide 109
GRIFFIN 0 deg crystal 0
GRIFFIN 0 deg crystal 1
GRIFFIN 0 deg crystal 2
GRIFFIN 0 deg crystal 3
GRIFFIN 90 deg crystal 4

## Slide 110
GRIFFIN 0 deg
GRIFFIN 0 deg crystal 0+1+2+3 histogram-level summing
GRIFFIN 0 deg addback event-level summing
TH1F*h0=new TH1F(*hGriffin_0);
h0->Add(h0,hGriffin_1);
h0->Add(h0,hGriffin_2);
h0->Add(h0,hGriffin_3);
h0->Draw();
hGriff_0->Draw("same");
hGriffinAddback_0->Draw("same"); //for response function

## Slide 111
hGriff_0->Draw("");
hGriffinAddback_0->Draw("same");
hGriffin_0->Draw("same")
hGriffin_1->Draw("same")
hGriffin_2->Draw("same")
hGriffin_3->Draw("same")

## Slide 113
hGriffinAddback_alpha0->Draw(""); //gated on alpha particles
hGriffinAddback_alpha_t0->Draw("same"); //gated on alpha particles and time
hGriffinAddback_alpha50_t0->Draw("same"); //part of the blue spectrum, for lifetime analysis
hGriffinAddback_alpha44_t0->Draw("same"); //part of the blue spectrum, for lifetime analysis

## Slide 114
TCanvas *c1 = new TCanvas("c1", "c1",1200,800);
hGriff_0->SetLineColor(1);
hGriff_0->GetYaxis()->SetRangeUser(0.5,1E9);
hGriff_0->Draw();
gPad->SetLogy(1);
hGriffinAddback_alpha_t0->SetLineColor(2);
hGriffinAddback_alpha_t0->Draw("same");
hGriffinAddback_alpha39_t0->SetLineColor(4);
hGriffinAddback_alpha39_t0->Draw("same");

## Slide 115
hGriff_0g_alphas->Draw(""); //gated on alpha particles
hGriff_0g_alphas_t->Draw("same"); //gated on alpha particles and time

## Slide 116
hGriff_0g_alphas->Draw(""); //gated on alpha particles
hGriffinAddback_alpha0->Draw("same"); //gated on alpha particles

## Slide 117
hGriff_0g_alphas_t->Draw(""); //gated on alpha particles and time
hGriffinAddback_alpha_t0->Draw("same"); //gated on alpha particles and time

## Slide 118
Constant
Linear
Quadratic
Cubic
Quartic
Quintic
Sextic
Septic
Octic
Degree of a polynomial

## Slide 119
EMG

## Slide 122
SimS31_Ea48_Eg2234_tau270.png

## Slide 123
SimS31_Ea47_Eg2234_tau270.png

## Slide 126
17 Eγ
43 τ

## Slide 127
731 χ2

## Slide 128
basin / well / bowl

## Slide 133
valley / canyon / trench

## Slide 144
Ex (keV) | Eγ (keV) | BR (%) | Eα (MeV) Oliver's simulation | Eα (MeV) LISE calculation
1248.43(20) | 1248.40(20) | 100 | 49.2 | 49.2
2234.06(20) | 2233.97(20) | 99.7(62) | 47.3 | 47.3
3076.40(31) | 3076.24(20) | 93(6) | 45.7 | 45.7
4970.7(9) | 4970.2(9) | 100 | 42.0 | 42.0
5156.1(6) | 5155.7(6) | 90(11) | 41.6 | 41.6
6279.0(6) | 4044.7(30) | 60.6(37) | 39.3 | 39.3
6390.2(7) | 4155.84(31) | 44.4(27) | 39.1 | 39.1
α window

## Slide 145
Eγ = 4045 keV, τ = 1 fs
Eγ = 4045 keV, τ = 20 fs

## Slide 149
Oliver
EMG
Eγ = 3000 keV
τ = 20 ps
Emean
Emax
1.3 keV
Ex = 3000 keV
Eγ = 2999.84 keV
Emean = 2999.84 keV
Emax = 2998.57 keV

## Slide 150
Chart: Energy (keV)
| 500 | 1000 | 2000 | 3000 | 4000 | 5000 | 6000 | 7000 | 8000
 | 0.05742 | 0.42413 | 0.9216 | 1.2735 | 1.5646 | 1.8241 | 2.0649 | 2.2938 | 2.5144
Emax_Emean_EMG.C//The energy difference between Emax and Emean (μ) for the EMG function used by DSL simulation

## Slide 158
Fit projection
Fit projection
Fit slice
Last week

## Slide 159
Eγ = 2234 keV, τ = 480 fs
Blue: before
Red: now

## Slide 161
1σ
1σ
smooth the wrinkle
2D χ2

## Slide 162
Prob_Ea47Eg2234_2D->Draw("colz")
Prob_Ea47Eg2234_2D->Draw("cont4")
Prob_Ea47Eg2234_2D->Draw("surf2")

## Slide 165
Prob_Ea47Eg2234_2D_x->Draw()
Prob_Ea47Eg2234_2D_y->Draw()
Prob_Ea47Eg2234_2Dinterpolate_x->Draw()
Prob_Ea47Eg2234_2Dinterpolate_y->Draw()
16% 50% 84%

## Slide 166
No smooth
Smooth

## Slide 167
Chi2_Ea46Eg3076_2D->Draw("cont4 or colz or surf2")
No smooth
Smooth

## Slide 168
1σ
1σ
No smooth
Chi2_Ea47Eg2234_2Dmin->Draw("colz")

## Slide 169
No smooth
1σ
1σ

## Slide 173
1σ
1σ
Smooth

## Slide 174
Eγ = 1246 keV slice
Eγ = 1248 keV slice
Eγ = 1247 keV slice

## Slide 175
Ex = 1248.43(20) keV | Eγ (keV) | τ (fs)
Literature | 1248.40(20) | 
χ2 2D |  | 
χ2 2D |  | 
χ2 1D 1246-keV slice |  | 
χ2 1D 1247-keV slice |  | 
χ2 1D 1248-keV slice |  | 
χ2 1D 1400-fs slice |  | 
χ2 1D 1400-fs slice |  | 
χ2 1D 2600-fs slice |  | 
Ex = 1248.43(20) keV | Eγ (keV) | τ (fs)
Literature | 1248.40(20) | 
χ2 2D |  | 
χ2 2D |  | 
χ2 1D 1246-keV slice |  | 
χ2 1D 1247-keV slice |  | 
χ2 1D 1248-keV slice |  | 
χ2 1D 1400-fs slice |  | 
χ2 1D 1400-fs slice |  | 
χ2 1D 2600-fs slice |  | 

## Slide 176
χ2 | 1240 | 1241 | 1242 | 1243 | 1244 | 1245 | 1246 | 1247 | 1248 | 1249 | 1250 | 1251 | 1252 | 1253 | 1254 | 1255 | 1256
200 | 479 | 489 | 496 | 507 | 516 | 522 | 530 | 537 | 543 | 549 | 552 | 556 | 559 | 562 | 565 | 568 | 571
400 | 258 | 261 | 268 | 278 | 293 | 311 | 334 | 375 | 412 | 446 | 470 | 485 | 494 | 503 | 511 | 518 | 524
600 | 213 | 207 | 201 | 196 | 199 | 200 | 224 | 257 | 318 | 375 | 425 | 453 | 472 | 486 | 494 | 504 | 511
800 | 214 | 203 | 195 | 180 | 168 | 160 | 170 | 200 | 259 | 326 | 389 | 434 | 463 | 479 | 494 | 502 | 512
1000 | 232 | 221 | 205 | 189 | 166 | 144 | 143 | 165 | 221 | 292 | 362 | 419 | 455 | 481 | 494 | 506 | 515
1200 | 258 | 247 | 227 | 202 | 171 | 141 | 130 | 146 | 194 | 263 | 337 | 406 | 449 | 480 | 496 | 510 | 519
1400 | 288 | 271 | 248 | 222 | 180 | 147 | 127 | 138 | 180 | 242 | 320 | 389 | 448 | 480 | 502 | 513 | 523
1600 | 318 | 297 | 273 | 237 | 195 | 154 | 128 | 130 | 166 | 223 | 306 | 377 | 442 | 479 | 503 | 516 | 527
1800 | 338 | 315 | 293 | 255 | 212 | 162 | 133 | 131 | 160 | 217 | 294 | 373 | 438 | 481 | 505 | 520 | 530
2000 | 357 | 341 | 309 | 276 | 227 | 175 | 140 | 132 | 155 | 207 | 286 | 366 | 437 | 483 | 509 | 524 | 534
2200 | 375 | 354 | 329 | 289 | 239 | 186 | 147 | 136 | 151 | 198 | 275 | 356 | 433 | 481 | 510 | 525 | 536
2400 | 395 | 375 | 348 | 306 | 257 | 195 | 154 | 138 | 152 | 197 | 270 | 358 | 432 | 485 | 515 | 529 | 540
2600 | 411 | 390 | 360 | 322 | 265 | 206 | 160 | 141 | 150 | 192 | 267 | 350 | 429 | 484 | 515 | 531 | 541
2800 | 425 | 408 | 376 | 339 | 277 | 218 | 166 | 144 | 151 | 193 | 265 | 353 | 433 | 489 | 518 | 535 | 545
3000 | 441 | 419 | 389 | 349 | 291 | 227 | 175 | 148 | 151 | 191 | 260 | 348 | 429 | 486 | 519 | 535 | 547
3200 | 456 | 438 | 404 | 363 | 302 | 237 | 182 | 155 | 152 | 192 | 256 | 352 | 425 | 492 | 520 | 539 | 547
3400 | 467 | 453 | 416 | 380 | 313 | 246 | 189 | 158 | 156 | 192 | 259 | 351 | 432 | 495 | 524 | 542 | 551
3600 | 475 | 457 | 426 | 384 | 321 | 253 | 194 | 161 | 156 | 189 | 259 | 346 | 433 | 493 | 526 | 541 | 553
3800 | 485 | 464 | 433 | 392 | 330 | 262 | 200 | 165 | 156 | 190 | 252 | 349 | 424 | 496 | 524 | 544 | 553
4000 | 496 | 475 | 444 | 401 | 339 | 266 | 207 | 167 | 159 | 190 | 256 | 345 | 431 | 495 | 528 | 545 | 556
4200 | 499 | 485 | 449 | 413 | 344 | 277 | 212 | 171 | 160 | 190 | 252 | 346 | 428 | 496 | 527 | 547 | 556
4400 | 513 | 495 | 465 | 419 | 357 | 281 | 216 | 176 | 163 | 191 | 255 | 349 | 431 | 501 | 531 | 549 | 558
4600 | 523 | 500 | 475 | 428 | 364 | 289 | 223 | 177 | 165 | 192 | 254 | 346 | 432 | 499 | 534 | 550 | 560
4800 | 531 | 506 | 484 | 433 | 373 | 295 | 227 | 181 | 167 | 192 | 255 | 344 | 432 | 497 | 533 | 550 | 562
5000 | 534 | 516 | 485 | 443 | 378 | 304 | 231 | 185 | 168 | 189 | 253 | 345 | 431 | 501 | 534 | 552 | 562
5200 | 540 | 525 | 493 | 451 | 387 | 311 | 238 | 188 | 169 | 193 | 253 | 348 | 433 | 502 | 537 | 554 | 563
5400 | 546 | 531 | 498 | 460 | 388 | 314 | 239 | 191 | 171 | 194 | 253 | 347 | 433 | 503 | 537 | 555 | 564
The bottom 10% χ2 values are highlighted in red.

## Slide 177
τ = 200–5400 fs projection
Eγ = 1232–1264 keV projection

## Slide 178
Eγ = 1248 keV slice
Eγ = 1248 keV slice

## Slide 179
τ = 2600 fs slice
Ex = 1248.43(20) keV | Eγ (keV) | τ (fs)
Literature | 1248.40(20) | 
χ2 2D |  | 
χ2 1D 1246-keV slice |  | 
χ2 1D 1248-keV slice |  | 
χ2 1D 1400-fs slice |  | 
χ2 1D 2600-fs slice |  | 
Ex = 1248.43(20) keV | Eγ (keV) | τ (fs)
Literature | 1248.40(20) | 
χ2 2D |  | 
χ2 1D 1246-keV slice |  | 
χ2 1D 1248-keV slice |  | 
χ2 1D 1400-fs slice |  | 
χ2 1D 2600-fs slice |  | 
τ = 1400 fs slice
Eγ = 1248 keV slice

## Slide 180
pol6
pol3

## Slide 181
τ = 270 fs slice
Eγ = 2232 keV slice
τ = 0 fs slice
Eγ = 3076 keV slice

## Slide 182
τ = 2 fs slice
Eγ = 4969 keV slice

## Slide 183
χ2 | 2218 | 2220 | 2222 | 2224 | 2226 | 2228 | 2230 | 2232 | 2234 | 2236 | 2238 | 2240 | 2242 | 2244 | 2246 | 2248 | 2250
80 | 349.9 | 351.8 | 350.4 | 348.2 | 345.0 | 344.7 | 345.4 | 349.2 | 354.5 | 360.0 | 367.3 | 374.1 | 382.4 | 392.5 | 401.6 | 410.3 | 420.0
90 | 343.3 | 345.6 | 344.2 | 341.2 | 337.9 | 336.8 | 336.9 | 340.6 | 345.1 | 351.7 | 356.7 | 364.9 | 372.8 | 382.1 | 390.3 | 399.6 | 410.2
100 | 337.4 | 338.7 | 338.1 | 333.9 | 330.7 | 328.2 | 328.7 | 333.1 | 336.3 | 342.4 | 348.9 | 357.4 | 365.0 | 375.0 | 383.9 | 392.1 | 402.8
110 | 330.7 | 333.1 | 332.0 | 329.0 | 324.6 | 322.5 | 323.1 | 325.1 | 326.5 | 332.5 | 338.0 | 346.1 | 355.2 | 364.7 | 373.0 | 380.6 | 392.7
120 | 327.3 | 327.3 | 324.8 | 325.1 | 319.3 | 316.1 | 316.4 | 318.6 | 322.1 | 324.4 | 331.7 | 338.4 | 349.0 | 355.2 | 366.2 | 375.4 | 385.4
130 | 321.9 | 323.3 | 322.0 | 320.2 | 318.0 | 312.0 | 312.5 | 314.1 | 317.2 | 322.2 | 326.4 | 332.8 | 340.1 | 349.8 | 358.9 | 366.8 | 379.3
140 | 318.2 | 318.2 | 318.1 | 314.6 | 310.2 | 306.7 | 307.7 | 308.8 | 310.5 | 313.3 | 320.1 | 326.0 | 332.8 | 341.8 | 349.1 | 360.6 | 367.2
150 | 316.9 | 314.5 | 313.0 | 309.7 | 307.1 | 302.3 | 302.4 | 303.6 | 302.2 | 309.4 | 314.0 | 317.7 | 327.6 | 335.4 | 344.3 | 353.0 | 360.8
160 | 312.6 | 313.4 | 309.9 | 305.7 | 300.6 | 299.7 | 297.0 | 301.4 | 302.0 | 305.5 | 310.6 | 316.3 | 324.1 | 330.2 | 338.2 | 347.4 | 355.1
170 | 314.4 | 309.7 | 308.8 | 302.7 | 300.4 | 298.1 | 296.1 | 296.4 | 297.0 | 302.5 | 305.1 | 309.1 | 320.3 | 325.0 | 331.5 | 341.8 | 347.6
180 | 310.1 | 307.9 | 304.7 | 302.0 | 298.1 | 297.3 | 295.3 | 292.1 | 293.6 | 297.3 | 300.2 | 308.3 | 313.4 | 320.5 | 326.7 | 337.9 | 345.2
190 | 306.4 | 304.7 | 303.6 | 300.9 | 294.9 | 292.1 | 289.8 | 291.2 | 291.9 | 296.0 | 300.2 | 303.5 | 310.5 | 314.4 | 322.8 | 333.2 | 341.0
200 | 305.0 | 303.0 | 301.4 | 296.8 | 291.8 | 291.9 | 290.5 | 289.7 | 290.5 | 290.9 | 295.7 | 300.8 | 306.4 | 313.9 | 320.7 | 328.1 | 335.1
210 | 305.6 | 304.2 | 302.4 | 297.7 | 292.3 | 290.8 | 286.6 | 286.7 | 288.2 | 291.3 | 295.8 | 299.3 | 304.8 | 308.5 | 317.5 | 326.2 | 334.1
220 | 303.7 | 305.2 | 300.9 | 295.9 | 290.8 | 290.2 | 286.0 | 288.2 | 287.9 | 288.2 | 294.3 | 298.1 | 302.6 | 309.2 | 315.9 | 325.6 | 332.2
230 | 306.6 | 303.3 | 299.2 | 293.9 | 291.6 | 286.7 | 287.8 | 286.3 | 286.9 | 289.0 | 293.1 | 297.7 | 299.3 | 308.7 | 311.1 | 318.6 | 326.7
240 | 304.0 | 302.4 | 302.3 | 295.0 | 290.9 | 288.9 | 285.0 | 286.2 | 287.9 | 287.2 | 291.0 | 293.4 | 296.6 | 303.7 | 307.7 | 316.9 | 322.0
250 | 304.6 | 303.5 | 300.1 | 296.4 | 292.4 | 287.9 | 287.7 | 286.2 | 284.7 | 285.4 | 290.5 | 293.6 | 297.1 | 306.3 | 309.9 | 315.2 | 322.1
260 | 305.9 | 303.8 | 297.8 | 294.7 | 293.1 | 287.1 | 286.0 | 285.8 | 285.2 | 284.8 | 291.3 | 295.9 | 300.2 | 304.3 | 310.4 | 315.3 | 321.4
270 | 306.0 | 301.8 | 303.7 | 299.9 | 290.7 | 288.9 | 283.7 | 282.7 | 287.0 | 289.2 | 291.8 | 294.2 | 299.3 | 303.8 | 310.5 | 313.4 | 318.0
280 | 308.5 | 303.3 | 303.2 | 298.7 | 291.7 | 289.5 | 284.6 | 285.3 | 287.0 | 288.3 | 290.1 | 291.8 | 298.8 | 302.9 | 310.3 | 314.2 | 319.2
290 | 309.0 | 305.7 | 303.0 | 295.2 | 294.3 | 289.1 | 290.8 | 286.0 | 286.0 | 287.1 | 290.6 | 291.7 | 297.7 | 302.8 | 308.0 | 312.2 | 316.0
300 | 310.7 | 307.8 | 305.6 | 300.5 | 293.2 | 293.3 | 287.5 | 290.8 | 291.0 | 287.8 | 290.6 | 295.4 | 297.9 | 302.8 | 308.3 | 313.3 | 318.4
310 | 310.5 | 310.1 | 305.9 | 300.6 | 294.0 | 294.4 | 287.5 | 287.4 | 289.8 | 290.8 | 294.1 | 297.8 | 300.8 | 300.1 | 306.7 | 314.6 | 313.8
320 | 315.1 | 312.0 | 310.9 | 302.8 | 296.8 | 293.5 | 292.5 | 292.1 | 290.4 | 292.3 | 293.9 | 296.9 | 300.8 | 301.0 | 308.2 | 315.7 | 317.3
330 | 317.2 | 313.5 | 308.6 | 302.1 | 299.4 | 293.2 | 291.4 | 293.5 | 293.2 | 295.7 | 297.2 | 298.3 | 298.8 | 306.5 | 310.0 | 312.0 | 318.6
340 | 318.6 | 316.4 | 311.1 | 304.1 | 300.4 | 296.9 | 294.4 | 292.6 | 293.9 | 294.1 | 296.5 | 301.4 | 301.4 | 303.9 | 312.0 | 314.9 | 320.9
350 | 321.9 | 317.6 | 312.5 | 311.6 | 301.2 | 297.8 | 295.4 | 294.8 | 295.0 | 296.8 | 298.8 | 300.4 | 302.8 | 306.6 | 314.7 | 314.2 | 320.0
360 | 320.5 | 322.6 | 316.3 | 309.0 | 305.4 | 297.2 | 297.8 | 295.1 | 297.2 | 297.8 | 299.5 | 301.8 | 306.6 | 308.8 | 316.7 | 316.0 | 319.7
370 | 328.0 | 323.2 | 315.7 | 309.1 | 303.8 | 300.0 | 296.7 | 295.3 | 298.4 | 299.3 | 300.8 | 304.2 | 305.0 | 312.8 | 312.8 | 320.2 | 323.3
380 | 326.9 | 323.2 | 318.3 | 311.8 | 305.7 | 302.6 | 300.0 | 297.8 | 299.6 | 300.6 | 302.9 | 307.8 | 305.6 | 310.5 | 315.8 | 318.8 | 323.1
390 | 329.7 | 327.5 | 322.7 | 315.3 | 309.6 | 306.5 | 301.9 | 300.4 | 299.7 | 303.2 | 302.6 | 308.1 | 309.1 | 312.4 | 314.5 | 319.2 | 324.0
400 | 331.0 | 329.2 | 322.2 | 316.9 | 309.9 | 307.7 | 305.7 | 305.0 | 303.8 | 302.2 | 304.4 | 307.4 | 310.1 | 311.2 | 321.8 | 322.7 | 326.7
410 | 333.6 | 333.7 | 325.5 | 320.7 | 316.5 | 312.1 | 304.0 | 305.4 | 303.6 | 305.3 | 310.9 | 311.9 | 313.5 | 315.4 | 319.5 | 324.0 | 328.1
420 | 337.3 | 335.9 | 331.9 | 321.4 | 316.3 | 311.6 | 307.2 | 306.6 | 308.2 | 309.0 | 310.1 | 314.1 | 312.6 | 315.7 | 321.7 | 328.2 | 327.3
430 | 337.2 | 336.9 | 329.6 | 323.2 | 315.6 | 312.4 | 310.2 | 311.3 | 309.2 | 309.2 | 313.6 | 316.3 | 316.3 | 317.3 | 322.5 | 326.3 | 331.2
440 | 341.2 | 337.4 | 331.2 | 325.2 | 319.2 | 313.1 | 312.7 | 312.1 | 312.6 | 309.4 | 315.3 | 316.2 | 315.9 | 322.6 | 326.1 | 326.7 | 332.4
450 | 344.7 | 340.6 | 334.4 | 329.0 | 320.6 | 315.0 | 313.2 | 313.5 | 315.4 | 317.3 | 318.0 | 318.0 | 319.9 | 323.3 | 329.5 | 333.0 | 335.3
460 | 341.9 | 340.7 | 333.8 | 330.4 | 321.7 | 316.2 | 316.4 | 315.1 | 315.0 | 312.2 | 317.6 | 319.1 | 321.7 | 323.8 | 325.2 | 329.7 | 333.6
470 | 347.3 | 343.7 | 339.6 | 332.8 | 323.9 | 320.9 | 316.0 | 316.7 | 316.4 | 319.7 | 318.3 | 323.6 | 323.9 | 325.1 | 330.7 | 332.7 | 335.3
480 | 350.3 | 348.8 | 340.8 | 337.1 | 328.4 | 323.8 | 321.1 | 321.5 | 321.2 | 322.0 | 323.1 | 323.3 | 323.3 | 327.1 | 329.7 | 333.1 | 337.8
490 | 350.1 | 349.1 | 342.8 | 336.9 | 327.3 | 324.0 | 321.8 | 321.2 | 319.8 | 322.5 | 325.4 | 325.1 | 327.3 | 328.1 | 331.3 | 336.8 | 338.1
500 | 352.9 | 352.7 | 348.7 | 341.5 | 334.0 | 328.7 | 326.0 | 323.7 | 325.4 | 326.5 | 327.8 | 328.9 | 328.5 | 329.0 | 334.1 | 335.8 | 341.4
The bottom 10% χ2 values are highlighted in red.

## Slide 184
1σ
1σ
Smooth
Chi2_Ea47Eg2234_2Dmin->Draw("colz")

## Slide 185
Ex = 2234.06(20) keV | Eγ (keV) | τ (fs)
Literature | 2233.97(20) | unknown
χ2 2D |  | 
χ2 1D 2232-keV slice |  | 
χ2 1D 2234-keV slice |  | 
χ2 1D 270-fs slice |  | 
Ex = 2234.06(20) keV | Eγ (keV) | τ (fs)
Literature | 2233.97(20) | unknown
χ2 2D |  | 
χ2 1D 2232-keV slice |  | 
χ2 1D 2234-keV slice |  | 
χ2 1D 270-fs slice |  | 
Eγ = 2234 keV slice
Eγ = 2232 keV slice
τ = 270 fs slice

## Slide 186
χ2 | 3060 | 3062 | 3064 | 3066 | 3068 | 3070 | 3072 | 3074 | 3076 | 3078 | 3080 | 3082 | 3084 | 3086 | 3088 | 3090 | 3092
0 | 223.6 | 210.3 | 195.0 | 177.2 | 155.4 | 130.3 | 109.3 | 97.2 | 94.7 | 100.0 | 111.9 | 125.8 | 141.5 | 159.1 | 177.6 | 194.8 | 210.0
1 | 225.6 | 212.5 | 197.8 | 179.7 | 159.0 | 134.0 | 112.3 | 99.4 | 95.3 | 98.9 | 108.9 | 122.5 | 139.6 | 154.8 | 172.4 | 189.9 | 206.5
2 | 226.8 | 214.5 | 199.8 | 183.4 | 161.8 | 136.8 | 114.8 | 100.4 | 95.7 | 98.5 | 106.7 | 120.0 | 135.3 | 152.6 | 169.8 | 187.6 | 204.1
3 | 228.4 | 216.2 | 201.9 | 184.7 | 164.5 | 139.9 | 117.4 | 101.9 | 95.4 | 97.1 | 105.4 | 118.9 | 134.3 | 150.5 | 168.8 | 186.3 | 203.0
4 | 229.6 | 217.9 | 204.0 | 187.9 | 167.4 | 143.1 | 119.1 | 103.5 | 96.2 | 97.6 | 103.3 | 115.2 | 130.5 | 147.7 | 165.2 | 182.2 | 198.4
5 | 231.7 | 219.4 | 206.1 | 190.0 | 171.2 | 146.1 | 122.6 | 104.9 | 97.5 | 97.0 | 103.3 | 113.3 | 128.3 | 143.3 | 162.5 | 180.2 | 196.9
6 | 232.7 | 221.6 | 207.8 | 192.1 | 173.6 | 149.8 | 124.8 | 107.1 | 97.8 | 97.3 | 102.1 | 111.8 | 124.8 | 141.1 | 158.8 | 176.2 | 193.0
7 | 233.3 | 222.1 | 208.9 | 192.9 | 173.1 | 150.1 | 127.6 | 109.0 | 99.5 | 96.1 | 100.7 | 110.5 | 123.9 | 139.8 | 156.4 | 175.3 | 192.5
8 | 235.8 | 224.9 | 212.4 | 196.7 | 178.8 | 156.1 | 132.5 | 112.4 | 100.7 | 97.0 | 100.7 | 107.4 | 119.1 | 133.4 | 150.9 | 168.3 | 185.9
9 | 236.6 | 226.7 | 214.1 | 199.2 | 180.5 | 158.3 | 134.7 | 115.5 | 103.2 | 97.7 | 98.4 | 106.6 | 117.9 | 132.6 | 147.7 | 164.7 | 181.5
10 | 237.7 | 227.6 | 215.4 | 200.7 | 182.7 | 160.4 | 135.8 | 116.2 | 103.7 | 99.2 | 99.9 | 106.0 | 116.5 | 129.8 | 145.1 | 161.4 | 178.1
11 | 238.3 | 228.5 | 216.6 | 201.9 | 184.1 | 161.9 | 138.1 | 118.5 | 105.3 | 98.7 | 99.6 | 105.5 | 115.8 | 128.3 | 142.8 | 159.2 | 176.6
12 | 239.9 | 230.6 | 219.0 | 204.6 | 186.8 | 165.7 | 142.4 | 122.9 | 107.7 | 99.3 | 98.9 | 104.8 | 114.2 | 125.7 | 139.6 | 155.5 | 172.0
13 | 240.0 | 230.9 | 219.2 | 204.9 | 187.8 | 166.2 | 143.5 | 122.5 | 108.9 | 101.0 | 99.3 | 104.1 | 113.2 | 125.5 | 139.4 | 154.6 | 170.7
14 | 241.4 | 232.4 | 221.0 | 207.6 | 190.5 | 170.1 | 146.5 | 124.9 | 109.7 | 102.2 | 101.1 | 104.1 | 110.8 | 121.9 | 136.3 | 152.1 | 167.2
15 | 242.5 | 234.0 | 222.8 | 209.6 | 193.6 | 172.6 | 148.4 | 127.6 | 113.1 | 104.3 | 99.8 | 102.7 | 109.7 | 120.8 | 134.4 | 148.8 | 165.0
16 | 243.5 | 234.9 | 224.2 | 211.6 | 195.1 | 175.6 | 151.7 | 131.6 | 115.1 | 104.0 | 100.1 | 103.0 | 110.7 | 120.6 | 131.8 | 146.3 | 163.0
17 | 243.8 | 235.6 | 225.1 | 212.4 | 196.4 | 175.9 | 153.1 | 131.7 | 115.8 | 106.0 | 102.1 | 103.7 | 109.9 | 118.9 | 131.1 | 144.4 | 158.4
18 | 245.0 | 236.7 | 226.2 | 213.6 | 198.7 | 178.5 | 155.9 | 134.4 | 117.9 | 107.6 | 103.2 | 103.0 | 108.5 | 117.5 | 129.4 | 142.8 | 157.3
19 | 245.5 | 237.8 | 227.5 | 214.9 | 200.0 | 181.0 | 158.1 | 136.5 | 119.0 | 108.7 | 103.9 | 103.6 | 108.8 | 117.1 | 128.0 | 141.0 | 155.1
20 | 246.2 | 238.4 | 228.5 | 216.6 | 201.6 | 182.6 | 160.4 | 138.1 | 121.8 | 109.4 | 104.6 | 104.2 | 108.9 | 115.6 | 126.7 | 139.9 | 153.7
21 | 247.3 | 239.9 | 230.6 | 219.0 | 204.5 | 185.6 | 163.6 | 141.2 | 124.3 | 112.5 | 106.2 | 104.6 | 107.8 | 115.4 | 125.0 | 135.8 | 149.2
22 | 247.5 | 240.3 | 231.1 | 219.7 | 204.9 | 187.2 | 165.9 | 143.6 | 125.4 | 113.1 | 106.4 | 105.7 | 108.2 | 115.0 | 123.8 | 135.9 | 149.2
23 | 248.2 | 241.1 | 232.0 | 221.0 | 206.5 | 189.0 | 167.1 | 146.3 | 126.9 | 114.2 | 107.0 | 105.8 | 108.7 | 114.9 | 123.8 | 135.1 | 147.0
24 | 248.6 | 241.7 | 232.6 | 221.1 | 207.6 | 190.0 | 169.1 | 146.4 | 128.0 | 115.0 | 109.0 | 107.2 | 108.9 | 113.2 | 122.8 | 133.7 | 146.5
The bottom 10% χ2 values are highlighted in red.

## Slide 187
1σ
1σ
Smooth

## Slide 188
Ex = 3076.40(31) keV | Eγ (keV) | τ (fs)
Literature | 3076.24(20) | unknown
χ2 2D |  | 
χ2 1D 3076-keV slice |  | 
χ2 1D 0-fs slice |  | 
χ2 1D 1-fs slice |  | 
Ex = 3076.40(31) keV | Eγ (keV) | τ (fs)
Literature | 3076.24(20) | unknown
χ2 2D |  | 
χ2 1D 3076-keV slice |  | 
χ2 1D 0-fs slice |  | 
χ2 1D 1-fs slice |  | 
Eγ = 3076 keV slice
τ = 1 fs slice
τ = 0 fs slice

## Slide 189
χ2 | 4955 | 4957 | 4959 | 4961 | 4963 | 4965 | 4967 | 4969 | 4971 | 4973 | 4975 | 4977 | 4979 | 4981 | 4983 | 4985 | 4987
0 | 204.4 | 187.5 | 169.5 | 153.5 | 139.4 | 129.4 | 123.3 | 120.3 | 123.0 | 127.6 | 136.6 | 146.3 | 158.1 | 169.0 | 180.1 | 192.9 | 203.6
1 | 206.8 | 190.9 | 173.6 | 156.4 | 141.4 | 129.7 | 122.7 | 120.2 | 122.6 | 127.5 | 134.5 | 143.9 | 154.5 | 166.3 | 178.8 | 190.9 | 201.2
2 | 211.8 | 195.7 | 178.4 | 161.5 | 145.4 | 132.8 | 125.3 | 120.1 | 121.4 | 124.9 | 132.8 | 140.6 | 151.3 | 162.2 | 173.7 | 185.7 | 198.8
3 | 213.3 | 199.1 | 181.8 | 164.7 | 149.2 | 135.7 | 125.4 | 121.3 | 120.9 | 125.0 | 130.8 | 139.7 | 148.8 | 160.9 | 171.6 | 183.3 | 194.1
4 | 218.0 | 202.8 | 186.9 | 168.8 | 153.1 | 139.9 | 128.2 | 123.4 | 120.5 | 123.4 | 127.7 | 136.5 | 146.1 | 155.7 | 168.1 | 179.7 | 191.5
5 | 219.5 | 206.4 | 191.0 | 172.3 | 155.9 | 142.2 | 130.9 | 125.0 | 122.9 | 122.3 | 127.3 | 135.0 | 143.7 | 153.2 | 163.8 | 175.5 | 186.6
6 | 221.7 | 208.5 | 194.0 | 175.5 | 160.3 | 145.1 | 133.8 | 126.1 | 122.8 | 121.9 | 127.2 | 131.8 | 141.7 | 151.1 | 161.8 | 171.4 | 184.5
7 | 224.8 | 212.1 | 196.5 | 181.1 | 163.9 | 150.2 | 137.2 | 128.1 | 123.5 | 123.9 | 125.7 | 132.7 | 139.5 | 148.8 | 158.2 | 170.3 | 180.1
8 | 228.0 | 214.4 | 200.6 | 184.0 | 167.8 | 151.9 | 139.6 | 130.8 | 125.3 | 122.5 | 124.6 | 129.8 | 138.0 | 145.4 | 156.6 | 165.7 | 177.0
9 | 228.4 | 215.2 | 201.5 | 184.6 | 168.6 | 154.0 | 140.5 | 130.8 | 125.1 | 125.0 | 125.4 | 131.2 | 136.3 | 144.9 | 155.5 | 165.1 | 176.6
10 | 232.0 | 219.5 | 204.8 | 188.7 | 173.0 | 158.6 | 145.6 | 135.9 | 129.4 | 126.6 | 126.9 | 129.2 | 134.4 | 142.0 | 150.6 | 161.7 | 171.9
11 | 233.0 | 220.8 | 207.2 | 191.8 | 175.4 | 159.8 | 146.3 | 135.5 | 129.9 | 126.0 | 126.5 | 128.7 | 133.8 | 141.6 | 148.8 | 159.4 | 169.7
12 | 235.5 | 222.9 | 209.9 | 194.6 | 179.6 | 163.1 | 151.1 | 139.0 | 132.2 | 125.6 | 126.6 | 128.6 | 134.1 | 139.5 | 148.8 | 157.6 | 167.3
13 | 237.6 | 225.2 | 213.2 | 198.2 | 183.0 | 167.2 | 154.1 | 140.8 | 132.5 | 128.3 | 127.0 | 129.3 | 132.3 | 138.0 | 146.3 | 154.6 | 166.0
14 | 238.7 | 227.1 | 214.4 | 199.9 | 184.6 | 168.9 | 155.4 | 144.0 | 135.5 | 130.5 | 129.5 | 131.6 | 135.1 | 138.3 | 145.6 | 153.7 | 162.5
15 | 239.5 | 229.0 | 217.3 | 203.1 | 187.4 | 172.1 | 158.7 | 146.7 | 138.7 | 132.8 | 130.9 | 130.3 | 134.1 | 137.2 | 142.7 | 150.9 | 160.4
16 | 240.9 | 231.0 | 218.2 | 205.3 | 190.8 | 175.7 | 160.8 | 148.6 | 139.7 | 133.9 | 129.1 | 129.3 | 130.7 | 136.2 | 143.2 | 150.8 | 158.7
17 | 242.9 | 232.4 | 220.8 | 206.4 | 193.9 | 176.3 | 162.7 | 148.8 | 140.3 | 134.3 | 131.4 | 130.7 | 131.6 | 135.3 | 142.7 | 149.4 | 157.8
18 | 243.8 | 234.2 | 221.9 | 210.2 | 195.0 | 179.5 | 165.1 | 152.9 | 143.0 | 137.5 | 134.2 | 132.7 | 131.9 | 136.2 | 142.6 | 150.0 | 155.4
19 | 244.9 | 235.0 | 223.3 | 209.7 | 196.5 | 182.5 | 166.7 | 153.7 | 144.7 | 138.0 | 133.9 | 133.3 | 133.0 | 136.1 | 143.1 | 147.7 | 155.7
20 | 245.0 | 235.7 | 224.1 | 212.4 | 197.1 | 182.5 | 168.7 | 156.3 | 145.6 | 140.7 | 135.1 | 132.9 | 134.0 | 138.2 | 141.5 | 147.7 | 155.2
21 | 246.9 | 238.2 | 226.2 | 213.6 | 198.7 | 184.3 | 171.4 | 157.6 | 147.8 | 139.8 | 135.2 | 135.0 | 133.8 | 137.6 | 140.4 | 148.1 | 153.3
22 | 247.4 | 238.6 | 228.0 | 216.4 | 202.1 | 187.6 | 173.3 | 160.9 | 150.4 | 143.5 | 137.5 | 135.2 | 135.6 | 139.6 | 141.8 | 146.4 | 152.8
23 | 248.7 | 239.2 | 228.6 | 216.8 | 203.3 | 188.5 | 175.0 | 161.4 | 150.8 | 141.7 | 137.5 | 135.2 | 136.1 | 137.2 | 141.2 | 146.3 | 152.7
24 | 249.7 | 241.0 | 229.6 | 218.9 | 205.2 | 191.7 | 176.9 | 165.3 | 152.2 | 145.5 | 138.1 | 136.9 | 135.4 | 137.7 | 140.3 | 145.0 | 150.6
The bottom 10% χ2 values are highlighted in red.

## Slide 190
1σ
Smooth

## Slide 191
Eγ = 4969 keV slice
Eγ = 4971 keV slice

## Slide 192
τ = 2 fs slice
τ = 1 fs slice
τ = 0 fs slice
Ex = 4970.7(9) keV | Eγ (keV) | τ (fs)
Literature | 4970.2(9) | unknown
χ2 2D |  | 
χ2 1D 4969-keV slice |  | 
χ2 1D 4971-keV slice |  | 
χ2 1D 0-fs slice |  | 
χ2 1D 1-fs slice |  | 
χ2 1D 2-fs slice |  | 
Ex = 4970.7(9) keV | Eγ (keV) | τ (fs)
Literature | 4970.2(9) | unknown
χ2 2D |  | 
χ2 1D 4969-keV slice |  | 
χ2 1D 4971-keV slice |  | 
χ2 1D 0-fs slice |  | 
χ2 1D 1-fs slice |  | 
χ2 1D 2-fs slice |  | 

## Slide 193
1σ
Smooth

## Slide 194
χ2 | 5140 | 5142 | 5144 | 5146 | 5148 | 5150 | 5152 | 5154 | 5156 | 5158 | 5160 | 5162 | 5164 | 5166 | 5168 | 5170 | 5172
0 | 174.9 | 169.4 | 163.8 | 159.5 | 154.3 | 151.3 | 148.3 | 146.9 | 144.8 | 145.5 | 146.4 | 146.9 | 149.4 | 152.4 | 157.1 | 160.4 | 165.5
1 | 176.8 | 170.5 | 164.7 | 160.2 | 155.3 | 152.1 | 148.4 | 146.6 | 145.2 | 145.5 | 145.5 | 146.5 | 148.3 | 151.3 | 155.3 | 158.9 | 163.8
2 | 179.3 | 172.8 | 166.5 | 161.1 | 156.6 | 152.7 | 148.9 | 146.8 | 145.6 | 144.9 | 143.9 | 145.5 | 147.8 | 150.5 | 153.4 | 157.7 | 162.1
3 | 180.6 | 174.3 | 168.4 | 162.4 | 157.4 | 153.3 | 149.8 | 147.4 | 145.3 | 144.8 | 145.0 | 146.1 | 147.6 | 148.8 | 152.8 | 156.8 | 161.1
4 | 182.6 | 176.2 | 169.6 | 164.7 | 159.7 | 155.4 | 151.0 | 148.2 | 145.9 | 145.4 | 144.2 | 145.6 | 146.2 | 148.5 | 150.9 | 155.3 | 159.5
5 | 184.1 | 177.8 | 171.5 | 166.2 | 160.5 | 156.5 | 152.2 | 149.5 | 147.2 | 145.6 | 145.0 | 145.4 | 146.6 | 148.2 | 150.8 | 154.3 | 158.4
6 | 185.2 | 179.2 | 172.8 | 167.4 | 161.6 | 157.0 | 152.6 | 149.8 | 147.4 | 145.4 | 144.7 | 144.8 | 145.2 | 148.0 | 149.8 | 152.8 | 157.0
7 | 186.3 | 180.2 | 174.0 | 168.5 | 163.0 | 158.1 | 153.9 | 150.2 | 148.0 | 146.5 | 144.9 | 145.2 | 144.9 | 146.7 | 149.5 | 152.5 | 156.2
8 | 188.6 | 182.3 | 176.3 | 170.7 | 165.1 | 160.1 | 155.1 | 151.7 | 148.9 | 147.1 | 145.7 | 145.2 | 146.2 | 146.9 | 149.5 | 151.5 | 155.3
9 | 190.0 | 183.7 | 177.6 | 171.5 | 166.4 | 160.7 | 156.1 | 152.0 | 149.5 | 147.3 | 145.4 | 144.8 | 144.9 | 146.3 | 147.8 | 150.2 | 153.8
10 | 191.5 | 186.0 | 179.6 | 173.6 | 167.5 | 162.8 | 157.8 | 153.7 | 150.7 | 147.4 | 145.5 | 145.2 | 145.0 | 146.2 | 147.0 | 149.7 | 152.6
11 | 192.3 | 186.8 | 180.4 | 174.4 | 169.4 | 164.2 | 158.8 | 154.4 | 150.9 | 149.5 | 147.3 | 145.6 | 146.0 | 147.0 | 148.3 | 150.3 | 152.3
12 | 193.4 | 188.0 | 181.9 | 176.5 | 170.6 | 165.4 | 160.3 | 156.3 | 152.7 | 149.2 | 147.7 | 146.4 | 145.5 | 145.9 | 147.6 | 149.6 | 151.8
13 | 195.0 | 189.2 | 183.8 | 177.0 | 171.8 | 166.4 | 161.4 | 157.4 | 153.5 | 150.4 | 148.3 | 147.1 | 146.2 | 146.0 | 146.9 | 149.0 | 150.5
14 | 196.3 | 190.8 | 185.4 | 179.5 | 173.8 | 168.1 | 163.3 | 158.6 | 154.7 | 151.9 | 149.3 | 147.3 | 146.7 | 145.9 | 146.9 | 148.1 | 150.5
15 | 196.6 | 191.6 | 186.4 | 180.5 | 174.7 | 168.9 | 164.1 | 160.2 | 155.9 | 153.4 | 150.1 | 148.3 | 147.2 | 147.1 | 147.8 | 148.6 | 150.7
16 | 197.7 | 192.6 | 186.8 | 181.3 | 175.7 | 170.5 | 165.2 | 161.1 | 156.6 | 153.8 | 149.9 | 149.2 | 147.1 | 147.5 | 147.0 | 148.1 | 150.2
17 | 198.5 | 193.3 | 188.3 | 182.3 | 177.1 | 171.4 | 167.1 | 162.2 | 157.9 | 154.6 | 151.7 | 149.9 | 148.5 | 147.5 | 148.6 | 149.1 | 150.8
18 | 199.2 | 194.3 | 189.3 | 183.6 | 178.1 | 173.2 | 168.1 | 163.6 | 159.2 | 155.9 | 153.7 | 150.7 | 149.5 | 148.2 | 148.8 | 148.9 | 150.8
19 | 199.6 | 195.4 | 189.8 | 184.8 | 178.8 | 174.0 | 168.9 | 164.7 | 160.0 | 156.5 | 153.9 | 151.4 | 150.0 | 149.3 | 149.3 | 150.0 | 150.4
20 | 200.2 | 195.8 | 190.6 | 185.1 | 180.1 | 174.4 | 170.0 | 165.5 | 161.4 | 157.8 | 155.0 | 152.5 | 150.3 | 149.2 | 149.5 | 149.8 | 151.2
21 | 200.7 | 196.7 | 191.3 | 186.4 | 181.7 | 176.1 | 170.9 | 166.7 | 162.7 | 159.3 | 154.6 | 153.3 | 151.8 | 150.3 | 150.0 | 149.4 | 151.2
22 | 201.9 | 198.1 | 193.1 | 187.9 | 182.8 | 177.7 | 173.0 | 167.9 | 163.6 | 159.9 | 156.8 | 154.3 | 151.8 | 150.3 | 149.9 | 150.2 | 150.6
23 | 201.9 | 198.3 | 193.3 | 188.1 | 183.6 | 178.2 | 173.3 | 168.2 | 164.3 | 160.8 | 157.5 | 154.4 | 152.3 | 151.6 | 150.5 | 150.5 | 151.4
24 | 202.7 | 198.7 | 194.4 | 189.7 | 184.4 | 179.8 | 174.7 | 170.2 | 165.9 | 162.2 | 159.1 | 155.7 | 154.2 | 152.1 | 152.0 | 150.5 | 151.9
The bottom 10% χ2 values are highlighted in red.

## Slide 195
τ = 2 fs slice
τ = 0 fs slice

## Slide 196
Eγ = 5160 keV slice
Eγ = 5156 keV slice
Eγ = 5158 keV slice
Ex = 5156.1(6) keV | Eγ (keV) | τ (fs)
Literature | 5155.7(6) | unknown
χ2 2D |  | 
χ2 1D 5156-keV slice |  | 
χ2 1D 5158-keV slice |  | 
χ2 1D 5160-keV slice |  | 
χ2 1D 0-fs slice |  | 
χ2 1D 2-fs slice |  | 
Ex = 5156.1(6) keV | Eγ (keV) | τ (fs)
Literature | 5155.7(6) | unknown
χ2 2D |  | 
χ2 1D 5156-keV slice |  | 
χ2 1D 5158-keV slice |  | 
χ2 1D 5160-keV slice |  | 
χ2 1D 0-fs slice |  | 
χ2 1D 2-fs slice |  | 

## Slide 197
TH1D* py=Chi2_Ea49Eg1248_2D->ProjectionY("py")
TH1D* px=Chi2_Ea49Eg1248_2D->ProjectionX("px")
TH2F *hChisquare2D = new TH2F(h_name,h_name, Nbinsx_Tau, Xlow, Xup, Nbinsy_Eg, Ylow, Yup);
hChisquare2D->Draw("surf2");

## Slide 198
No smooth

## Slide 199
TGraph2D *gChisquare2D = new TGraph2D();
gChisquare2D->Draw("surf2");
TH1D *hChisquare1DX=gChisquare2D->Project("x");
TH1D *hChisquare1DY=gChisquare2D->Project("y");
gChisquare2D->SetNpx(default = 40);
Sum of Eγ
Sum of τ

## Slide 202
Red: stopping power * 1
Blue: stopping power * 0.3
Green: stopping power * 3.0
Red: stopping power * 1
Blue: stopping power * 1.1

## Slide 206
~1000 χ2 values

## Slide 207
~1000 χ2 values
Stopping power +10%

## Slide 208
~1000 χ2 values
Stopping power –10%

## Slide 214
Ex = 1248.43(20) keV | Eγ (keV) | τ (fs)
Literature | 1248.40(20) | 
χ2 2D |  | 
χ2 2D SP–10% |  | 
χ2 2D SP+10% |  | 
χ2 1D 1400-fs slice |  | 
χ2 1D 1400-fs slice SP–10% |  | 
χ2 1D 1400-fs slice SP+10% |  | 
χ2 1D 1400-fs slice fit range |  | 
χ2 1D 1246-keV slice |  | 
χ2 1D 1246-keV slice SP–10% |  | 
χ2 1D 1246-keV slice SP+10% |  | 
χ2 1D 1246-keV slice fit range |  | 
Tentative result |  | 
Ex = 1248.43(20) keV | Eγ (keV) | τ (fs)
Literature | 1248.40(20) | 
χ2 2D |  | 
χ2 2D SP–10% |  | 
χ2 2D SP+10% |  | 
χ2 1D 1400-fs slice |  | 
χ2 1D 1400-fs slice SP–10% |  | 
χ2 1D 1400-fs slice SP+10% |  | 
χ2 1D 1400-fs slice fit range |  | 
χ2 1D 1246-keV slice |  | 
χ2 1D 1246-keV slice SP–10% |  | 
χ2 1D 1246-keV slice SP+10% |  | 
χ2 1D 1246-keV slice fit range |  | 
Tentative result |  | 

## Slide 222
20 keV
31S

## Slide 224
ionIoni->SetStepFunction(0.1, 0.05*um);
ionIoni->SetStepFunction(0.1, 0.05*um);

## Slide 225
2006 keV
26Mg
111.11 keV
Eγ = 2000 keV
1994 keV
τ = 0
τ = 100 ps

## Slide 226
1249 0.50(12) ps
0
2234 222(55) fs
6279 T = 3/2 IAS
6390
1/2+
3/2+
5/2+
3/2+
3/2+
30P
31S
1248
2234
4156
5141
6278
4045
6390
Sp = 6130.9(4)
1+
3076
1/2+
3314
3284
5/2+
3076
4971
3/2–
5156
1/2+
4970
5156
4208
3106
2183
3/2+
5030
2995

## Slide 240
1248

## Slide 249
Regardless of α window,
the 1525 peak is always there.

## Slide 250
Regardless of α window,
the 1525 peak is always there.

## Slide 251
Regardless of α window,
the 1227 and 1248 peaks are always there.

## Slide 320
31S
4156
5141
6390
3314
3106
2183
1/2+
3/2+
5/2+
3/2+
3/2+
1/2+
5/2+
3/2–
1/2+
3/2+

## Slide 321
31S
4156
5141
6390
3314
3106
2183
1/2+
3/2+
5/2+
3/2+
3/2+
1/2+
5/2+
3/2–
1/2+
3/2+

## Slide 322
31S
4156
5141
6390
3314
3106
2183
1/2+
3/2+
5/2+
3/2+
3/2+
1/2+
5/2+
3/2–
1/2+
3/2+

## Slide 323
31S
4156
5141
6390
3314
3106
2183
1/2+
3/2+
5/2+
3/2+
3/2+
1/2+
5/2+
3/2–
1/2+
3/2+

## Slide 324
31S
4156
5141
6390
3314
3106
2183
1/2+
3/2+
5/2+
3/2+
3/2+
1/2+
5/2+
3/2–
1/2+
3/2+

## Slide 325
1/2+
3/2+
5/2+
3/2+
3/2+
31S
4156
5141
6390
1/2+
3314
5/2+
3/2–
1/2+
3106
2183
3/2+

## Slide 326
Eα = 39 MeV
Eα = 40 MeV
Eα = 41 MeV
Eα = 42 MeV

## Slide 327
Eα = 37 MeV
Eα = 38 MeV
Eα = 39 MeV

## Slide 345
bkghigh = average

## Slide 346
base delete above average

## Slide 347
base delete above average+sqrt(average)

## Slide 348
bkglow = 0

## Slide 349
bkglow delete above average-sqrt(average)

## Slide 356
Bkg fitexclude.c

## Slide 366
A zoomed-in view of the background

## Slide 370
A zoomed-in view of the background

## Slide 374
χ2 = 23/42
b = 1.78(20)
χ2 = 13/37
b = 1.49(20)

## Slide 375
χ2 = 35/60
b = 1.92(18)
χ2 = 11/35
b = 1.45(20)

## Slide 376
χ2 = 22/35
b = 1.39(20)
χ2 = 13.6/33
b = 1.31(20)

## Slide 377
χ2 = 7.3/31
b = 1.23(21)
χ2 = 7.2/30
b = 1.18(21)

## Slide 378
χ2 = 77/41
b = 3.35(28)
χ2 = 45.8/32
b = 2.91(30)

## Slide 379
χ2 = 58/40
b = 3.01(28)
χ2 = 34.8/29
b = 2.59(32)

## Slide 380
Normal error
χ2 fit
Normal error
Likelihood fit

## Slide 381
Poisson error
χ2 fit
Poisson error
Likelihood fit

## Slide 382
1σ uncertainty band
3σ uncertainty band

## Slide 383
hSega->SetBinErrorOption(TH1::kPoisson);
hSega->SetBinErrorOption(TH1::kNormal);
Empty bins are ignored

## Slide 384
68% uncertainty band

## Slide 385
90% uncertainty band

## Slide 388
D = 14 mm
D = 19 mm
D = 24 mm

## Slide 389
Poisson error
Maximum Likelihood fit

## Slide 390
Poisson error
Maximum Likelihood fit

## Slide 391
Poisson error
Maximum Likelihood fit

## Slide 392
Poisson error
Maximum Likelihood fit

## Slide 393
Poisson error
Maximum Likelihood fit

## Slide 394
Poisson error
Maximum Likelihood fit

## Slide 395
Poisson error
Maximum Likelihood fit

## Slide 396
Poisson error
Maximum Likelihood fit

## Slide 397
Poisson error
Maximum Likelihood fit

## Slide 398
Poisson error
Maximum Likelihood fit

## Slide 399
Poisson error
Maximum Likelihood fit

## Slide 400
Poisson error
Maximum Likelihood fit

## Slide 401
Poisson error
Maximum Likelihood fit

## Slide 407
Eα = 49±1 MeV
Eα = 50±1 MeV
Eα = 48±1 MeV
Eα = 47±1 MeV
Eα = 47±1 MeV
Eα = 48±1 MeV
Eα = 46±1 MeV
Eα = 49±1 MeV
Eα = 45±1 MeV
Ex = 2234 keV
Eγ = 2234 keV
Ex = 1248 keV
Eγ = 1248 keV
γ-ray spectra gated on different α gates
Notes: const double E0_gamma=1248; //Ex=1248
const int startpeak=1234; //has to be even number
const int endpeak=1352; //has to be even number
const int up=200; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=100; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=49;
double T0_lifetime = 0;
int Lifetimestep = 100; // read in simulation files
double centroid=E0_gamma; //centroid=E0_gamma; for even energy 1246, 1248, 1250, etc; centroid=E0_gamma-1; for odd energy 1245, 1247, 1249, etc;
int Yaxisrange=60;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha49_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha49_t0->Draw()
hGriffinAddback_alpha50_t0->SetLineWidth(2)
hGriffinAddback_alpha50_t0->SetLineColor(1)
hGriffinAddback_alpha50_t0->Draw("same")
hGriffinAddback_alpha48_t0->SetLineWidth(2)
hGriffinAddback_alpha48_t0->SetLineColor(3)
hGriffinAddback_alpha48_t0->Draw("same")
hGriffinAddback_alpha47_t0->SetLineWidth(2)
hGriffinAddback_alpha47_t0->SetLineColor(4)
hGriffinAddback_alpha47_t0->Draw("same")
hGriffinAddback_alpha49_t0->SetLineWidth(2)
hGriffinAddback_alpha49_t0->SetLineColor(2)
hGriffinAddback_alpha49_t0->Draw("sames")
const double E0_gamma=2234; //Ex=2234
const int startpeak=2222; //has to be even number
const int endpeak=2420; //has to be even number
const int up=320; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=140; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=47;
double T0_lifetime = 80; //=80
int Lifetimestep = 10;
double centroid=E0_gamma;
int Yaxisrange=20;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha47_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha47_t0->Draw()
hGriffinAddback_alpha48_t0->SetLineWidth(2)
hGriffinAddback_alpha48_t0->SetLineColor(1)
hGriffinAddback_alpha48_t0->Draw("same")
hGriffinAddback_alpha46_t0->SetLineWidth(2)
hGriffinAddback_alpha46_t0->SetLineColor(3)
hGriffinAddback_alpha46_t0->Draw("same")
hGriffinAddback_alpha49_t0->SetLineWidth(2)
hGriffinAddback_alpha49_t0->SetLineColor(6)
hGriffinAddback_alpha49_t0->Draw("same")
hGriffinAddback_alpha45_t0->SetLineWidth(2)
hGriffinAddback_alpha45_t0->SetLineColor(4)
hGriffinAddback_alpha45_t0->Draw("same")
hGriffinAddback_alpha47_t0->SetLineWidth(2)
hGriffinAddback_alpha47_t0->SetLineColor(2)
hGriffinAddback_alpha47_t0->Draw("sames")

## Slide 408
Ex = 1248 keV
Eγ = 1248 keV
Escape peak check
Notes: int E1, E2, E3, E4, start, end;
E1=1248; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = E1-1050; end = E1+2050;
hGriffinAddback_alpha49_t0->GetXaxis()->SetRangeUser(start,end);
hGriffinAddback_alpha49_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_alpha49_t0->Draw();
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriffinAddback_alpha49_t0->FindBin(E1);
bin2=hGriffinAddback_alpha49_t0->FindBin(E2);
bin3=hGriffinAddback_alpha49_t0->FindBin(E3);
bin4=hGriffinAddback_alpha49_t0->FindBin(E4);
Y1=hGriffinAddback_alpha49_t0->GetBinContent(bin1)+2;
Y2=hGriffinAddback_alpha49_t0->GetBinContent(bin2)+5;
Y3=hGriffinAddback_alpha49_t0->GetBinContent(bin3)+5;
Y4=hGriffinAddback_alpha49_t0->GetBinContent(bin4)+10;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1+3,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1+3,"1248"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2+3,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2+3,"1248+511"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3+3,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3+3,"1248+1022"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4+3,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4+3,"1248-511"); tx4->Draw();
TArrow *ar5 = new TArrow(1283,13,1283,17,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(1283,17,"1283"); tx5->SetTextColor(2); tx5->Draw();
TArrow *ar6 = new TArrow(1794,13,1794,17,0.01,"<|"); ar6->SetLineWidth(2); ar6->SetLineColor(2); ar6->SetAngle(40); ar6->Draw();
TText *tx6=new TText(1794,17,"1283+511"); tx6->SetTextColor(2); tx6->Draw();
TArrow *ar7 = new TArrow(2305,13,2305,17,0.01,"<|"); ar7->SetLineWidth(2); ar7->SetLineColor(2); ar7->SetAngle(40); ar7->Draw();
TText *tx7=new TText(2305,17,"1283+1022"); tx7->SetTextColor(2); tx7->Draw();
TArrow *ar8 = new TArrow(772,13, 772,17,0.01,"<|"); ar8->SetLineWidth(2); ar8->SetLineColor(2); ar8->SetAngle(40); ar8->Draw();
TText *tx8=new TText(772,17,"1283-511"); tx8->SetTextColor(2); tx8->Draw();

## Slide 409
Notes: hGriffinAddback_alpha49_t0->Draw();
hGriffinAddback_alpha49_t0->GetXaxis()->SetRangeUser(200,3000);
TArrow *ar5 = new TArrow(1283,13,1283,17,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(1283,17,"1283"); tx5->SetTextColor(2); tx5->Draw();
TArrow *ar6 = new TArrow(1794,8,1794,12,0.01,"<|"); ar6->SetLineWidth(2); ar6->SetLineColor(2); ar6->SetAngle(40); ar6->Draw();
TText *tx6=new TText(1794,12,"1283+511"); tx6->SetTextColor(2); tx6->Draw();
TArrow *ar7 = new TArrow(2305,13,2305,17,0.01,"<|"); ar7->SetLineWidth(2); ar7->SetLineColor(2); ar7->SetAngle(40); ar7->Draw();
TText *tx7=new TText(2305,17,"1283+1022"); tx7->SetTextColor(2); tx7->Draw();
TArrow *ar8 = new TArrow(772,13, 772,17,0.01,"<|"); ar8->SetLineWidth(2); ar8->SetLineColor(2); ar8->SetAngle(40); ar8->Draw();
TText *tx8=new TText(772,17,"1283-511"); tx8->SetTextColor(2); tx8->Draw();
hGriffinAddback_alpha49_t0->Draw();
hGriffinAddback_alpha49_t0->GetXaxis()->SetRangeUser(200,3000);
TArrow *ar5 = new TArrow(1254,13,1254,17,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(4); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(1254,17,"1254"); tx5->SetTextColor(4); tx5->Draw();
TArrow *ar6 = new TArrow(1765,13,1765,17,0.01,"<|"); ar6->SetLineWidth(2); ar6->SetLineColor(4); ar6->SetAngle(40); ar6->Draw();
TText *tx6=new TText(1765,17,"1254+511"); tx6->SetTextColor(4); tx6->Draw();
TArrow *ar7 = new TArrow(2276,13,2276,17,0.01,"<|"); ar7->SetLineWidth(2); ar7->SetLineColor(4); ar7->SetAngle(40); ar7->Draw();
TText *tx7=new TText(2276,17,"1254+1022"); tx7->SetTextColor(4); tx7->Draw();
TArrow *ar8 = new TArrow(743,13,743,17,0.01,"<|"); ar8->SetLineWidth(2); ar8->SetLineColor(4); ar8->SetAngle(40); ar8->Draw();
TText *tx8=new TText(743,17,"1254-511"); tx8->SetTextColor(4); tx8->Draw();

## Slide 410
Eα = 42±1 MeV
Eα = 43±1 MeV
Eα = 41±1 MeV
Eα = 44±1 MeV
Eα = 40±1 MeV
Eα = 46±1 MeV
Eα = 47±1 MeV
Eα = 45±1 MeV
Eα = 48±1 MeV
Eα = 44±1 MeV
Ex = 4971 keV
Eγ = 4970 keV
Ex = 3076 keV
Eγ = 3076 keV
Notes: const double E0_gamma=3076; //Ex=3076
const int startpeak=3246; //has to be even number
const int endpeak=3326; //has to be even number
const int up=354; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-70; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=46;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha46_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha46_t0->Draw()
hGriffinAddback_alpha47_t0->SetLineWidth(2)
hGriffinAddback_alpha47_t0->SetLineColor(1)
hGriffinAddback_alpha47_t0->Draw("same")
hGriffinAddback_alpha45_t0->SetLineWidth(2)
hGriffinAddback_alpha45_t0->SetLineColor(3)
hGriffinAddback_alpha45_t0->Draw("same")
hGriffinAddback_alpha48_t0->SetLineWidth(2)
hGriffinAddback_alpha48_t0->SetLineColor(6)
hGriffinAddback_alpha48_t0->Draw("same")
hGriffinAddback_alpha44_t0->SetLineWidth(2)
hGriffinAddback_alpha44_t0->SetLineColor(4)
hGriffinAddback_alpha44_t0->Draw("same")
hGriffinAddback_alpha46_t0->SetLineWidth(2)
hGriffinAddback_alpha46_t0->SetLineColor(2)
hGriffinAddback_alpha46_t0->Draw("sames")
const double E0_gamma=4971; //Ex=4971
const int startpeak=5268; //has to be even number
const int endpeak=5370; //has to be even number
const int up=531; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-153; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=42;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma-1;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha42_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha42_t0->Draw()
hGriffinAddback_alpha43_t0->SetLineWidth(2)
hGriffinAddback_alpha43_t0->SetLineColor(1)
hGriffinAddback_alpha43_t0->Draw("same")
hGriffinAddback_alpha41_t0->SetLineWidth(2)
hGriffinAddback_alpha41_t0->SetLineColor(3)
hGriffinAddback_alpha41_t0->Draw("same")
hGriffinAddback_alpha44_t0->SetLineWidth(2)
hGriffinAddback_alpha44_t0->SetLineColor(6)
hGriffinAddback_alpha44_t0->Draw("same")
hGriffinAddback_alpha40_t0->SetLineWidth(2)
hGriffinAddback_alpha40_t0->SetLineColor(4)
hGriffinAddback_alpha40_t0->Draw("same")
hGriffinAddback_alpha42_t0->SetLineWidth(2)
hGriffinAddback_alpha42_t0->SetLineColor(2)
hGriffinAddback_alpha42_t0->Draw("sames")

## Slide 411
Ex = 4971 keV
Eγ = 4970 keV
Notes: hGriffinAddback_alpha46_t0->Rebin(2);
int E1, E2, E3, E4, start, end;
E1=3302; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = E1-550; end = E1+1150;
hGriffinAddback_alpha46_t0->GetXaxis()->SetRangeUser(start,end);
hGriffinAddback_alpha46_t0->GetYaxis()->SetRangeUser(0,50);
hGriffinAddback_alpha46_t0->Draw();
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriffinAddback_alpha46_t0->FindBin(E1);
bin2=hGriffinAddback_alpha46_t0->FindBin(E2);
bin3=hGriffinAddback_alpha46_t0->FindBin(E3);
bin4=hGriffinAddback_alpha46_t0->FindBin(E4);
Y1=hGriffinAddback_alpha46_t0->GetBinContent(bin1)+7;
Y2=hGriffinAddback_alpha46_t0->GetBinContent(bin2)+2;
Y3=hGriffinAddback_alpha46_t0->GetBinContent(bin3)+3;
Y4=hGriffinAddback_alpha46_t0->GetBinContent(bin4)+5;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1+3,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1+3,"3076"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2+3,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2+3,"+511"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3+3,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3+3,"+511*2"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4+3,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4+3,"-511"); tx4->Draw();

## Slide 412
Eα = 42±1 MeV
Eα = 43±1 MeV
Eα = 41±1 MeV
Eα = 44±1 MeV
Eα = 40±1 MeV
Ex = 5156 keV
Eγ = 5156 keV
Red: the most probable alpha energy window
Notes: const double E0_gamma=5156; //Ex=5156
const int startpeak=5450; //has to be even number
const int endpeak=5584; //has to be even number
const int up=570; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-198; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=42;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha38_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha40_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha41_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha42_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha43_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha44_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha46_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha47_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha42_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha42_t0->Draw()
hGriffinAddback_alpha43_t0->SetLineWidth(2)
hGriffinAddback_alpha43_t0->SetLineColor(1)
hGriffinAddback_alpha43_t0->Draw("same")
hGriffinAddback_alpha41_t0->SetLineWidth(2)
hGriffinAddback_alpha41_t0->SetLineColor(3)
hGriffinAddback_alpha41_t0->Draw("same")
hGriffinAddback_alpha44_t0->SetLineWidth(2)
hGriffinAddback_alpha44_t0->SetLineColor(6)
hGriffinAddback_alpha44_t0->Draw("same")
hGriffinAddback_alpha40_t0->SetLineWidth(2)
hGriffinAddback_alpha40_t0->SetLineColor(4)
hGriffinAddback_alpha40_t0->Draw("same")
hGriffinAddback_alpha42_t0->SetLineWidth(2)
hGriffinAddback_alpha42_t0->SetLineColor(2)
hGriffinAddback_alpha42_t0->Draw("sames")

## Slide 413
Ex = 5156 keV
Eγ = 5156 keV
Notes: int E1, E2, E3, E4, start, end;
E1=5537; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = E1-550; end = E1+1150;
hGriffinAddback_alpha42_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_alpha42_t0->GetYaxis()->SetRangeUser(0,62);
hGriffinAddback_alpha42_t0->Draw();
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriffinAddback_alpha42_t0->FindBin(E1);
bin2=hGriffinAddback_alpha42_t0->FindBin(E2);
bin3=hGriffinAddback_alpha42_t0->FindBin(E3);
bin4=hGriffinAddback_alpha42_t0->FindBin(E4);
Y1=hGriffinAddback_alpha42_t0->GetBinContent(bin1)+2;
Y2=hGriffinAddback_alpha42_t0->GetBinContent(bin2)+2;
Y3=hGriffinAddback_alpha42_t0->GetBinContent(bin3)+2;
Y4=hGriffinAddback_alpha42_t0->GetBinContent(bin4)+6;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1+3,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1+3,"5156"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2+3,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2+3,"+511"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3+3,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3+3,"+511*2"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4+3,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4+3,"-511"); tx4->Draw();

## Slide 414
Eα = 45±1 MeV
Eα = 46±1 MeV
Eα = 44±1 MeV
Eα = 47±1 MeV
Eα = 43±1 MeV
Eα = 45±1 MeV
Eα = 46±1 MeV
Eα = 44±1 MeV
Eα = 47±1 MeV
Eα = 43±1 MeV
Ex = 3435 keV
Eγ = 2186 keV
Ex = 3435 keV
Eγ = 3435 keV
Notes: const double E0_gamma=3435; //Ex=3435
const int startpeak=3636; //has to be even number
const int endpeak=3716; //has to be even number
const int up=381; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-81; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=45;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha38_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha40_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha41_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha42_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha43_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha44_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha46_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha47_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha45_t0->Draw()
hGriffinAddback_alpha46_t0->SetLineWidth(2)
hGriffinAddback_alpha46_t0->SetLineColor(1)
hGriffinAddback_alpha46_t0->Draw("same")
hGriffinAddback_alpha44_t0->SetLineWidth(2)
hGriffinAddback_alpha44_t0->SetLineColor(3)
hGriffinAddback_alpha44_t0->Draw("same")
hGriffinAddback_alpha47_t0->SetLineWidth(2)
hGriffinAddback_alpha47_t0->SetLineColor(6)
hGriffinAddback_alpha47_t0->Draw("same")
hGriffinAddback_alpha43_t0->SetLineWidth(2)
hGriffinAddback_alpha43_t0->SetLineColor(4)
hGriffinAddback_alpha43_t0->Draw("same")
hGriffinAddback_alpha45_t0->SetLineWidth(2)
hGriffinAddback_alpha45_t0->SetLineColor(2)
hGriffinAddback_alpha45_t0->Draw("sames")
const double E0_gamma=2186; //Ex=3435
const int startpeak=2314; //has to be even number
const int endpeak=2364; //has to be even number
const int up=242; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-40; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=45;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha38_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha40_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha41_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha42_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha43_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha44_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha46_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha47_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha45_t0->Draw()
hGriffinAddback_alpha46_t0->SetLineWidth(2)
hGriffinAddback_alpha46_t0->SetLineColor(1)
hGriffinAddback_alpha46_t0->Draw("same")
hGriffinAddback_alpha44_t0->SetLineWidth(2)
hGriffinAddback_alpha44_t0->SetLineColor(3)
hGriffinAddback_alpha44_t0->Draw("same")
hGriffinAddback_alpha47_t0->SetLineWidth(2)
hGriffinAddback_alpha47_t0->SetLineColor(6)
hGriffinAddback_alpha47_t0->Draw("same")
hGriffinAddback_alpha43_t0->SetLineWidth(2)
hGriffinAddback_alpha43_t0->SetLineColor(4)
hGriffinAddback_alpha43_t0->Draw("same")
hGriffinAddback_alpha45_t0->SetLineWidth(2)
hGriffinAddback_alpha45_t0->SetLineColor(2)
hGriffinAddback_alpha45_t0->Draw("sames")

## Slide 415
Ex = 3435 keV
Eγ = 2186 keV
Ex = 3435 keV
Eγ = 3435 keV
Notes: int E1, E2, E3, E4, start, end;
E1=3685; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = E1-550; end = E1+1150;
hGriffinAddback_alpha45_t0->GetXaxis()->SetRangeUser(start,end);
hGriffinAddback_alpha45_t0->GetYaxis()->SetRangeUser(0,15);
hGriffinAddback_alpha45_t0->Draw();
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriffinAddback_alpha45_t0->FindBin(E1);
bin2=hGriffinAddback_alpha45_t0->FindBin(E2);
bin3=hGriffinAddback_alpha45_t0->FindBin(E3);
bin4=hGriffinAddback_alpha45_t0->FindBin(E4);
Y1=hGriffinAddback_alpha45_t0->GetBinContent(bin1)+2;
Y2=hGriffinAddback_alpha45_t0->GetBinContent(bin2)+2;
Y3=hGriffinAddback_alpha45_t0->GetBinContent(bin3)+2;
Y4=hGriffinAddback_alpha45_t0->GetBinContent(bin4)+5;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1+3,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1+3,"3435"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2+3,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2+3,"+511"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3+3,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3+3,"+511*2"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4+3,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4+3,"-511"); tx4->Draw();
hGriffinAddback_alpha45_t0->Rebin(2);
int E1, E2, E3, E4, start, end;
E1=2345; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = E1-550; end = E1+1150;
hGriffinAddback_alpha45_t0->GetXaxis()->SetRangeUser(start,end);
hGriffinAddback_alpha45_t0->GetYaxis()->SetRangeUser(0,62);
hGriffinAddback_alpha45_t0->Draw();
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriffinAddback_alpha45_t0->FindBin(E1);
bin2=hGriffinAddback_alpha45_t0->FindBin(E2);
bin3=hGriffinAddback_alpha45_t0->FindBin(E3);
bin4=hGriffinAddback_alpha45_t0->FindBin(E4);
Y1=hGriffinAddback_alpha45_t0->GetBinContent(bin1)+6;
Y2=hGriffinAddback_alpha45_t0->GetBinContent(bin2)+2;
Y3=hGriffinAddback_alpha45_t0->GetBinContent(bin3)+4;
Y4=hGriffinAddback_alpha45_t0->GetBinContent(bin4)+6;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1+3,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1+3,"2345"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2+3,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2+3,"+511"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3+3,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3+3,"+511*2"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4+3,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4+3,"-511"); tx4->Draw();

## Slide 416
Eα = 41±1 MeV
Eα = 42±1 MeV
Eα = 40±1 MeV
Eα = 43±1 MeV
Eα = 39±1 MeV
Eα = 44±1 MeV
Eα = 45±1 MeV
Eα = 43±1 MeV
Eα = 46±1 MeV
Eα = 42±1 MeV
Ex = 5518 keV
Eγ = 4270 keV
Ex = 4085 keV
Eγ = 2838 keV
Notes: const double E0_gamma=2838; //Ex=4085
const int startpeak=2998; //has to be even number
const int endpeak=3070; //has to be even number
const int up=316; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-66; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=44;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha38_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha40_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha41_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha42_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha43_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha44_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha46_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha47_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha44_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha44_t0->Draw()
hGriffinAddback_alpha45_t0->SetLineWidth(2)
hGriffinAddback_alpha45_t0->SetLineColor(1)
hGriffinAddback_alpha45_t0->Draw("same")
hGriffinAddback_alpha43_t0->SetLineWidth(2)
hGriffinAddback_alpha43_t0->SetLineColor(3)
hGriffinAddback_alpha43_t0->Draw("same")
hGriffinAddback_alpha46_t0->SetLineWidth(2)
hGriffinAddback_alpha46_t0->SetLineColor(6)
hGriffinAddback_alpha46_t0->Draw("same")
hGriffinAddback_alpha42_t0->SetLineWidth(2)
hGriffinAddback_alpha42_t0->SetLineColor(4)
hGriffinAddback_alpha42_t0->Draw("same")
hGriffinAddback_alpha44_t0->SetLineWidth(2)
hGriffinAddback_alpha44_t0->SetLineColor(2)
hGriffinAddback_alpha44_t0->Draw("sames")
const double E0_gamma=4270; //Ex=5518
const int startpeak=4520; //has to be even number
const int endpeak=4610; //has to be even number
const int up=452; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-126; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=41;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha38_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha40_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha41_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha42_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha43_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha44_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha46_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha47_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha41_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha41_t0->Draw()
hGriffinAddback_alpha42_t0->SetLineWidth(2)
hGriffinAddback_alpha42_t0->SetLineColor(1)
hGriffinAddback_alpha42_t0->Draw("same")
hGriffinAddback_alpha40_t0->SetLineWidth(2)
hGriffinAddback_alpha40_t0->SetLineColor(3)
hGriffinAddback_alpha40_t0->Draw("same")
hGriffinAddback_alpha43_t0->SetLineWidth(2)
hGriffinAddback_alpha43_t0->SetLineColor(6)
hGriffinAddback_alpha43_t0->Draw("same")
hGriffinAddback_alpha39_t0->SetLineWidth(2)
hGriffinAddback_alpha39_t0->SetLineColor(4)
hGriffinAddback_alpha39_t0->Draw("same")
hGriffinAddback_alpha41_t0->SetLineWidth(2)
hGriffinAddback_alpha41_t0->SetLineColor(2)
hGriffinAddback_alpha41_t0->Draw("sames")

## Slide 417
Ex = 5518 keV
Eγ = 4270 keV
Ex = 4085 keV
Eγ = 2838 keV
Notes: hGriffinAddback_alpha44_t0->Rebin(2);
hGriffinAddback_alpha44_t0->GetXaxis()->SetRangeUser(2450,4150);
hGriffinAddback_alpha44_t0->GetYaxis()->SetRangeUser(0,70);
hGriffinAddback_alpha44_t0->Draw();
int E1, E2, E3, E4;
E1=3049; E2=E1+511; E3=E1+511*2; E4=E1-511;
TArrow *ar1 = new TArrow(E1,20,E1,25,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,25,"2838"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,10,E2,15,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,15,"3349"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,8,E3,13,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,13,"3860"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,16,E4,21,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,21,"2327"); tx4->Draw();
hGriffinAddback_alpha41_t0->Rebin(2);
int E1, E2, E3, E4, start, end;
E1=4580; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = E1-550; end = E1+1150;
hGriffinAddback_alpha41_t0->GetXaxis()->SetRangeUser(start,end);
hGriffinAddback_alpha41_t0->GetYaxis()->SetRangeUser(0,19);
hGriffinAddback_alpha41_t0->Draw();
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriffinAddback_alpha41_t0->FindBin(E1);
bin2=hGriffinAddback_alpha41_t0->FindBin(E2);
bin3=hGriffinAddback_alpha41_t0->FindBin(E3);
bin4=hGriffinAddback_alpha41_t0->FindBin(E4);
Y1=hGriffinAddback_alpha41_t0->GetBinContent(bin1)+2;
Y2=hGriffinAddback_alpha41_t0->GetBinContent(bin2)+2;
Y3=hGriffinAddback_alpha41_t0->GetBinContent(bin3)+2;
Y4=hGriffinAddback_alpha41_t0->GetBinContent(bin4)+2;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1+3,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1+3,"4270"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2+3,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2+3,"+511"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3+3,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3+3,"+511*2"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4+3,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4+3,"-511"); tx4->Draw();

## Slide 418
Eα = 39±1 MeV
Eα = 40±1 MeV
Eα = 38±1 MeV
Eα = 41±1 MeV
Eα = 37±1 MeV
Eα = 40±1 MeV
Eα = 41±1 MeV
Eα = 39±1 MeV
Eα = 42±1 MeV
Eα = 38±1 MeV
Ex = 6542 keV
Eγ = 5293 keV
Ex = 5775 keV
Eγ = 3541 keV
Notes: const double E0_gamma=3541; //Ex=5775
const int startpeak=3742; //has to be even number
const int endpeak=3834; //has to be even number
const int up=415; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-71; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=40;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha38_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha40_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha41_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha42_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha43_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha44_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha46_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha47_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha40_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha40_t0->Draw()
hGriffinAddback_alpha41_t0->SetLineWidth(2)
hGriffinAddback_alpha41_t0->SetLineColor(1)
hGriffinAddback_alpha41_t0->Draw("same")
hGriffinAddback_alpha39_t0->SetLineWidth(2)
hGriffinAddback_alpha39_t0->SetLineColor(3)
hGriffinAddback_alpha39_t0->Draw("same")
hGriffinAddback_alpha42_t0->SetLineWidth(2)
hGriffinAddback_alpha42_t0->SetLineColor(6)
hGriffinAddback_alpha42_t0->Draw("same")
hGriffinAddback_alpha38_t0->SetLineWidth(2)
hGriffinAddback_alpha38_t0->SetLineColor(4)
hGriffinAddback_alpha38_t0->Draw("same")
hGriffinAddback_alpha40_t0->SetLineWidth(2)
hGriffinAddback_alpha40_t0->SetLineColor(2)
hGriffinAddback_alpha40_t0->Draw("sames")
const double E0_gamma=5294; //Ex=6542
const int startpeak=5600; //has to be even number
const int endpeak=5720; //has to be even number
const int up=560; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-150; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=39;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma-1;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha37_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha38_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha40_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha41_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha42_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha43_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha44_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha46_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha47_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha39_t0->Draw()
hGriffinAddback_alpha40_t0->SetLineWidth(2)
hGriffinAddback_alpha40_t0->SetLineColor(1)
hGriffinAddback_alpha40_t0->Draw("same")
hGriffinAddback_alpha38_t0->SetLineWidth(2)
hGriffinAddback_alpha38_t0->SetLineColor(3)
hGriffinAddback_alpha38_t0->Draw("same")
hGriffinAddback_alpha41_t0->SetLineWidth(2)
hGriffinAddback_alpha41_t0->SetLineColor(6)
hGriffinAddback_alpha41_t0->Draw("same")
hGriffinAddback_alpha37_t0->SetLineWidth(2)
hGriffinAddback_alpha37_t0->SetLineColor(4)
hGriffinAddback_alpha37_t0->Draw("same")
hGriffinAddback_alpha39_t0->SetLineWidth(2)
hGriffinAddback_alpha39_t0->SetLineColor(2)
hGriffinAddback_alpha39_t0->Draw("sames")

## Slide 419
Ex = 6542 keV
Eγ = 5293 keV
Ex = 5775 keV
Eγ = 3541 keV
3541+511=4052, 3541+511*2=4563
Are there any known 4052/4563 keV γ rays originating from a 31S state around 5.9 MeV?
No.
5293+511=5804, 5293+511*2=6315
Are there any known 5804/6315 keV γ rays originating from a 31S state around 6.4 MeV?
No.
Notes: //hGriffinAddback_alpha40_t0->Rebin(2);
int E1, E2, E3, E4, start, end;
E1=3803; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = E1-550; end = E1+1150;
hGriffinAddback_alpha40_t0->GetXaxis()->SetRangeUser(start,end);
hGriffinAddback_alpha40_t0->GetYaxis()->SetRangeUser(0,38);
hGriffinAddback_alpha40_t0->Draw();
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriffinAddback_alpha40_t0->FindBin(E1);
bin2=hGriffinAddback_alpha40_t0->FindBin(E2);
bin3=hGriffinAddback_alpha40_t0->FindBin(E3);
bin4=hGriffinAddback_alpha40_t0->FindBin(E4);
Y1=hGriffinAddback_alpha40_t0->GetBinContent(bin1)+3;
Y2=hGriffinAddback_alpha40_t0->GetBinContent(bin2)+10;
Y3=hGriffinAddback_alpha40_t0->GetBinContent(bin3)+10;
Y4=hGriffinAddback_alpha40_t0->GetBinContent(bin4)+2;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1+3,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1+3,"3541"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2+3,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2+3,"+511"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3+3,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3+3,"+511*2"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4+3,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4+3,"-511"); tx4->Draw();
int E1, E2, E3, E4, start, end;
E1=5673; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = E1-550; end = E1+1150;
hGriffinAddback_alpha39_t0->GetXaxis()->SetRangeUser(start,end);
hGriffinAddback_alpha39_t0->GetYaxis()->SetRangeUser(0,16);
hGriffinAddback_alpha39_t0->Draw();
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriffinAddback_alpha39_t0->FindBin(E1);
bin2=hGriffinAddback_alpha39_t0->FindBin(E2);
bin3=hGriffinAddback_alpha39_t0->FindBin(E3);
bin4=hGriffinAddback_alpha39_t0->FindBin(E4);
Y1=hGriffinAddback_alpha39_t0->GetBinContent(bin1)+1;
Y2=hGriffinAddback_alpha39_t0->GetBinContent(bin2)+1;
Y3=hGriffinAddback_alpha39_t0->GetBinContent(bin3)+1;
Y4=hGriffinAddback_alpha39_t0->GetBinContent(bin4)+2;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1+3,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1+3,"5293"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2+3,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2+3,"+511"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3+3,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3+3,"+511*2"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4+3,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4+3,"-511"); tx4->Draw();

## Slide 420
Eα = 39±1 MeV
Eα = 40±1 MeV
Eα = 38±1 MeV
Eα = 41±1 MeV
Eα = 37±1 MeV
Eα = 39±1 MeV
Eα = 40±1 MeV
Eα = 38±1 MeV
Eα = 41±1 MeV
Eα = 37±1 MeV
Ex = 6390 keV
Eγ = 5141 keV
Ex = 6390 keV
Eγ = 4156 keV
Notes: const double E0_gamma=4156; //Ex=6390
const int startpeak=4404; //has to be even number
const int endpeak=4494; //has to be even number
const int up=450; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-110; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=39;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha37_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha38_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha40_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha41_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha42_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha43_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha44_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha46_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha47_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha39_t0->Draw()
hGriffinAddback_alpha40_t0->SetLineWidth(2)
hGriffinAddback_alpha40_t0->SetLineColor(1)
hGriffinAddback_alpha40_t0->Draw("same")
hGriffinAddback_alpha38_t0->SetLineWidth(2)
hGriffinAddback_alpha38_t0->SetLineColor(3)
hGriffinAddback_alpha38_t0->Draw("same")
hGriffinAddback_alpha41_t0->SetLineWidth(2)
hGriffinAddback_alpha41_t0->SetLineColor(6)
hGriffinAddback_alpha41_t0->Draw("same")
hGriffinAddback_alpha37_t0->SetLineWidth(2)
hGriffinAddback_alpha37_t0->SetLineColor(4)
hGriffinAddback_alpha37_t0->Draw("same")
hGriffinAddback_alpha39_t0->SetLineWidth(2)
hGriffinAddback_alpha39_t0->SetLineColor(2)
hGriffinAddback_alpha39_t0->Draw("sames")
const double E0_gamma=5141; //Ex=6390
const int startpeak=5464; //has to be even number
const int endpeak=5554; //has to be even number
const int up=551; //E0_gamma+up has to be even number, if E0 is odd, up should be odd
const int down=-181; //E0_gamma-down has to be even number, if E0 is odd, down should be odd
const int Ea=39;
double T0_lifetime = 0;
int Lifetimestep = 1;
double centroid=E0_gamma;
int Yaxisrange=15;
const double Ebin_gamma=E0_gamma;
const double minrange=Ebin_gamma-down;
const double maxrange=Ebin_gamma+up;
hGriffinAddback_alpha37_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha38_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha40_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha41_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha42_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha43_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha44_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha45_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha46_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha47_t0->GetXaxis()->UnZoom();
hGriffinAddback_alpha39_t0->GetXaxis()->SetRangeUser(minrange,maxrange)
hGriffinAddback_alpha39_t0->Draw()
hGriffinAddback_alpha40_t0->SetLineWidth(2)
hGriffinAddback_alpha40_t0->SetLineColor(1)
hGriffinAddback_alpha40_t0->Draw("same")
hGriffinAddback_alpha38_t0->SetLineWidth(2)
hGriffinAddback_alpha38_t0->SetLineColor(3)
hGriffinAddback_alpha38_t0->Draw("same")
hGriffinAddback_alpha41_t0->SetLineWidth(2)
hGriffinAddback_alpha41_t0->SetLineColor(6)
hGriffinAddback_alpha41_t0->Draw("same")
hGriffinAddback_alpha37_t0->SetLineWidth(2)
hGriffinAddback_alpha37_t0->SetLineColor(4)
hGriffinAddback_alpha37_t0->Draw("same")
hGriffinAddback_alpha39_t0->SetLineWidth(2)
hGriffinAddback_alpha39_t0->SetLineColor(2)
hGriffinAddback_alpha39_t0->Draw("sames")

## Slide 421
Ex = 6390 keV
Eγ = 5141 keV
Ex = 6390 keV
Eγ = 4156 keV
Notes: //hGriffinAddback_alpha39_t0->Rebin(2);
int E1, E2, E3, E4, start, end;
E1=4470; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = E1-550; end = E1+1150;
hGriffinAddback_alpha39_t0->GetXaxis()->SetRangeUser(start,end);
hGriffinAddback_alpha39_t0->GetYaxis()->SetRangeUser(0,26);
hGriffinAddback_alpha39_t0->Draw();
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriffinAddback_alpha39_t0->FindBin(E1);
bin2=hGriffinAddback_alpha39_t0->FindBin(E2);
bin3=hGriffinAddback_alpha39_t0->FindBin(E3);
bin4=hGriffinAddback_alpha39_t0->FindBin(E4);
Y1=hGriffinAddback_alpha39_t0->GetBinContent(bin1)+1;
Y2=hGriffinAddback_alpha39_t0->GetBinContent(bin2)+3;
Y3=hGriffinAddback_alpha39_t0->GetBinContent(bin3)+3;
Y4=hGriffinAddback_alpha39_t0->GetBinContent(bin4)+7;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1+3,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1+3,"4156"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2+3,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2+3,"+511"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3+3,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3+3,"+511*2"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4+3,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4+3,"-511"); tx4->Draw();
//hGriffinAddback_alpha39_t0->Rebin(2);
int E1, E2, E3, E4, start, end;
E1=5525; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = E1-550; end = E1+1150;
hGriffinAddback_alpha39_t0->GetXaxis()->SetRangeUser(start,end);
hGriffinAddback_alpha39_t0->GetYaxis()->SetRangeUser(0,14);
hGriffinAddback_alpha39_t0->Draw();
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriffinAddback_alpha39_t0->FindBin(E1);
bin2=hGriffinAddback_alpha39_t0->FindBin(E2);
bin3=hGriffinAddback_alpha39_t0->FindBin(E3);
bin4=hGriffinAddback_alpha39_t0->FindBin(E4);
Y1=hGriffinAddback_alpha39_t0->GetBinContent(bin1)+1;
Y2=hGriffinAddback_alpha39_t0->GetBinContent(bin2)+3;
Y3=hGriffinAddback_alpha39_t0->GetBinContent(bin3)+2;
Y4=hGriffinAddback_alpha39_t0->GetBinContent(bin4)+2;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1+3,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(4); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1+3,"5141"); tx1->SetTextColor(4); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2+3,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2+3,"+511"); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3+3,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3+3,"+511*2"); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4+3,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4+3,"-511"); tx4->Draw();

## Slide 422
Peak shape animations
Bayesian posterior distribution (only statistical uncertainty) in the bottom right corner.

## Slide 424
Background function:
One linear

## Slide 425
Background function:
Two linear + step

## Slide 436
4156 final test

## Slide 446
Ungated γ ray spectrum
1248 invisible
Ungated 0 deg detector
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1248; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0->GetXaxis()->SetRangeUser(start,end);
//hGriff_0->GetYaxis()->SetRangeUser(0,85);
hGriff_0->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0->FindBin(E1);
bin2=hGriff_0->FindBin(E2);
bin3=hGriff_0->FindBin(E3);
bin4=hGriff_0->FindBin(E4);
Y1=hGriff_0->GetBinContent(bin1)*Above;
Y2=hGriff_0->GetBinContent(bin2)*Above;
Y3=hGriff_0->GetBinContent(bin3)*Above;
Y4=hGriff_0->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1248+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1248+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1248-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 447
Ungated 0 deg detector

## Slide 448
Ungated γ ray spectrum
1254 invisible
Ungated 0 deg detector
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1254; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0->GetXaxis()->SetRangeUser(start,end);
//hGriff_0->GetYaxis()->SetRangeUser(0,85);
hGriff_0->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0->FindBin(E1);
bin2=hGriff_0->FindBin(E2);
bin3=hGriff_0->FindBin(E3);
bin4=hGriff_0->FindBin(E4);
Y1=hGriff_0->GetBinContent(bin1)*Above;
Y2=hGriff_0->GetBinContent(bin2)*Above;
Y3=hGriff_0->GetBinContent(bin3)*Above;
Y4=hGriff_0->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1254"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1254+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1254-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 449
Ungated 0 deg detector

## Slide 450
Ungated 0 deg detector
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1283; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0->GetXaxis()->SetRangeUser(start,end);
//hGriff_0->GetYaxis()->SetRangeUser(0,85);
hGriff_0->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0->FindBin(E1);
bin2=hGriff_0->FindBin(E2);
bin3=hGriff_0->FindBin(E3);
bin4=hGriff_0->FindBin(E4);
Y1=hGriff_0->GetBinContent(bin1)*Above;
Y2=hGriff_0->GetBinContent(bin2)*Above;
Y3=hGriff_0->GetBinContent(bin3)*Above;
Y4=hGriff_0->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1283"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1283+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1283+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1283-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 451
All PID gated
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1248; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_all->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_all->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_all->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_all->FindBin(E1);
bin2=hGriff_0g_all->FindBin(E2);
bin3=hGriff_0g_all->FindBin(E3);
bin4=hGriff_0g_all->FindBin(E4);
Y1=hGriff_0g_all->GetBinContent(bin1)*Above;
Y2=hGriff_0g_all->GetBinContent(bin2)*Above;
Y3=hGriff_0g_all->GetBinContent(bin3)*Above;
Y4=hGriff_0g_all->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1248+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1248+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1248-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 452
All PID gated
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1251; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_all->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_all->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_all->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_all->FindBin(E1);
bin2=hGriff_0g_all->FindBin(E2);
bin3=hGriff_0g_all->FindBin(E3);
bin4=hGriff_0g_all->FindBin(E4);
Y1=hGriff_0g_all->GetBinContent(bin1)*Above;
Y2=hGriff_0g_all->GetBinContent(bin2)*Above;
Y3=hGriff_0g_all->GetBinContent(bin3)*Above;
Y4=hGriff_0g_all->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1251"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1251+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1251-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 453
All PID gated
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1254; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_all->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_all->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_all->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_all->FindBin(E1);
bin2=hGriff_0g_all->FindBin(E2);
bin3=hGriff_0g_all->FindBin(E3);
bin4=hGriff_0g_all->FindBin(E4);
Y1=hGriff_0g_all->GetBinContent(bin1)*Above;
Y2=hGriff_0g_all->GetBinContent(bin2)*Above;
Y3=hGriff_0g_all->GetBinContent(bin3)*Above;
Y4=hGriff_0g_all->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1254"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1254+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1254-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 454
All PID gated
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1265; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_all->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_all->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_all->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_all->FindBin(E1);
bin2=hGriff_0g_all->FindBin(E2);
bin3=hGriff_0g_all->FindBin(E3);
bin4=hGriff_0g_all->FindBin(E4);
Y1=hGriff_0g_all->GetBinContent(bin1)*Above;
Y2=hGriff_0g_all->GetBinContent(bin2)*Above;
Y3=hGriff_0g_all->GetBinContent(bin3)*Above;
Y4=hGriff_0g_all->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1265"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1265+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1265+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 455
All PID gated
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1283; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_all->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_all->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_all->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_all->FindBin(E1);
bin2=hGriff_0g_all->FindBin(E2);
bin3=hGriff_0g_all->FindBin(E3);
bin4=hGriff_0g_all->FindBin(E4);
Y1=hGriff_0g_all->GetBinContent(bin1)*Above;
Y2=hGriff_0g_all->GetBinContent(bin2)*Above;
Y3=hGriff_0g_all->GetBinContent(bin3)*Above;
Y4=hGriff_0g_all->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1283"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1283+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1283+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1283-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 456
α gated (no time gate)
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1248; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_alphas->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_alphas->FindBin(E1);
bin2=hGriff_0g_alphas->FindBin(E2);
bin3=hGriff_0g_alphas->FindBin(E3);
bin4=hGriff_0g_alphas->FindBin(E4);
Y1=hGriff_0g_alphas->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_alphas->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1248+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1248+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1248-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 457
α gated (no time gate)
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1251; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_alphas->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_alphas->FindBin(E1);
bin2=hGriff_0g_alphas->FindBin(E2);
bin3=hGriff_0g_alphas->FindBin(E3);
bin4=hGriff_0g_alphas->FindBin(E4);
Y1=hGriff_0g_alphas->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_alphas->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1251"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1251+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1251-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 458
α gated (no time gate)
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1254; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_alphas->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_alphas->FindBin(E1);
bin2=hGriff_0g_alphas->FindBin(E2);
bin3=hGriff_0g_alphas->FindBin(E3);
bin4=hGriff_0g_alphas->FindBin(E4);
Y1=hGriff_0g_alphas->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_alphas->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1254"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1254+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1254-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 459
α gated (no time gate)
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1265; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_alphas->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_alphas->FindBin(E1);
bin2=hGriff_0g_alphas->FindBin(E2);
bin3=hGriff_0g_alphas->FindBin(E3);
bin4=hGriff_0g_alphas->FindBin(E4);
Y1=hGriff_0g_alphas->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_alphas->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1265"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1265+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1265+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 460
α gated (no time gate)
38Ar
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1283; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_alphas->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_alphas->FindBin(E1);
bin2=hGriff_0g_alphas->FindBin(E2);
bin3=hGriff_0g_alphas->FindBin(E3);
bin4=hGriff_0g_alphas->FindBin(E4);
Y1=hGriff_0g_alphas->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_alphas->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1283"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1283+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1283+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1283-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 461
α gated (with time gate)
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1248; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_alphas_t->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas_t->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas_t->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_alphas_t->FindBin(E1);
bin2=hGriff_0g_alphas_t->FindBin(E2);
bin3=hGriff_0g_alphas_t->FindBin(E3);
bin4=hGriff_0g_alphas_t->FindBin(E4);
Y1=hGriff_0g_alphas_t->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas_t->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas_t->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_alphas_t->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1248+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1248+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1248-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 462
α gated (with time gate)
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1251; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_alphas_t->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas_t->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas_t->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_alphas_t->FindBin(E1);
bin2=hGriff_0g_alphas_t->FindBin(E2);
bin3=hGriff_0g_alphas_t->FindBin(E3);
bin4=hGriff_0g_alphas_t->FindBin(E4);
Y1=hGriff_0g_alphas_t->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas_t->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas_t->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_alphas_t->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1251"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1251+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1251-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 463
α gated (with time gate)
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1254; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_alphas_t->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas_t->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas_t->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_alphas_t->FindBin(E1);
bin2=hGriff_0g_alphas_t->FindBin(E2);
bin3=hGriff_0g_alphas_t->FindBin(E3);
bin4=hGriff_0g_alphas_t->FindBin(E4);
Y1=hGriff_0g_alphas_t->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas_t->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas_t->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_alphas_t->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1254"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1254+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1254-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 464
α gated (with time gate)
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1265; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_alphas_t->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas_t->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas_t->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_alphas_t->FindBin(E1);
bin2=hGriff_0g_alphas_t->FindBin(E2);
bin3=hGriff_0g_alphas_t->FindBin(E3);
bin4=hGriff_0g_alphas_t->FindBin(E4);
Y1=hGriff_0g_alphas_t->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas_t->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas_t->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_alphas_t->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1265"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1265+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1265+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 465
α gated (with time gate)
38Ar
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1283; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_alphas_t->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas_t->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas_t->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_alphas_t->FindBin(E1);
bin2=hGriff_0g_alphas_t->FindBin(E2);
bin3=hGriff_0g_alphas_t->FindBin(E3);
bin4=hGriff_0g_alphas_t->FindBin(E4);
Y1=hGriff_0g_alphas_t->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas_t->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas_t->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_alphas_t->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1283"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1283+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1283+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1283-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 466
3He gated
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1248; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_He3_all->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_He3_all->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_He3_all->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_He3_all->FindBin(E1);
bin2=hGriff_0g_He3_all->FindBin(E2);
bin3=hGriff_0g_He3_all->FindBin(E3);
bin4=hGriff_0g_He3_all->FindBin(E4);
Y1=hGriff_0g_He3_all->GetBinContent(bin1)*Above;
Y2=hGriff_0g_He3_all->GetBinContent(bin2)*Above;
Y3=hGriff_0g_He3_all->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_He3_all->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1248+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1248+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1248-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 467
3He gated
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1265; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_He3_all->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_He3_all->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_He3_all->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_He3_all->FindBin(E1);
bin2=hGriff_0g_He3_all->FindBin(E2);
bin3=hGriff_0g_He3_all->FindBin(E3);
bin4=hGriff_0g_He3_all->FindBin(E4);
Y1=hGriff_0g_He3_all->GetBinContent(bin1)*Above;
Y2=hGriff_0g_He3_all->GetBinContent(bin2)*Above;
Y3=hGriff_0g_He3_all->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_He3_all->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1265"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1265+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1265+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 468
3He gated
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1283; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_He3_all->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_He3_all->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_He3_all->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_He3_all->FindBin(E1);
bin2=hGriff_0g_He3_all->FindBin(E2);
bin3=hGriff_0g_He3_all->FindBin(E3);
bin4=hGriff_0g_He3_all->FindBin(E4);
Y1=hGriff_0g_He3_all->GetBinContent(bin1)*Above;
Y2=hGriff_0g_He3_all->GetBinContent(bin2)*Above;
Y3=hGriff_0g_He3_all->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_He3_all->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1283"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1283+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1283+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1283-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 469
proton gated
proton gated
Notes: int E1, E2, E3, E4, start, end;
double Length, Above;
E1=1251; E2=E1+511; E3=E1+511*2; E4=E1-511;
start = 500; end = 2500;
hGriff_0g_protons->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_protons->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_protons->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4;
int Y1, Y2, Y3, Y4;
bin1=hGriff_0g_protons->FindBin(E1);
bin2=hGriff_0g_protons->FindBin(E2);
bin3=hGriff_0g_protons->FindBin(E3);
bin4=hGriff_0g_protons->FindBin(E4);
Y1=hGriff_0g_protons->GetBinContent(bin1)*Above;
Y2=hGriff_0g_protons->GetBinContent(bin2)*Above;
Y3=hGriff_0g_protons->GetBinContent(bin3)*Above*1.1;
Y4=hGriff_0g_protons->GetBinContent(bin4)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1251"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251+511"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1251+1022"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1251-511"); tx4->SetTextColor(2); tx4->Draw();

## Slide 470
D. T. Doherty et al., Phys. Rev. C 89, 045804 (2014).
C. E. Moss et al., Nucl. Phys. A 145, 423 (1970).
Beam-off runs
1254 might be 31S 4450 keV → 3285 keV shifted
1283
The 31S 4450 keV state was also populated by the 32S(3He,α) reaction

## Slide 471
PACE4:
32S+3He: 33S, 34Cl
32S+12C: 41Ca, 39K, 35Cl
32S+16O: 45Ti, 45Sc, 42Ca, 39K
Cathleen: 36Ar/37Ar/38Ar/39K/40Ca/42Ca/43Sc/65Cu/66Zn/67Ga/88Nb/90Zr
1251: 42Ca? Ex = 4505 keV, Eγ = 2980 keV invisible
1254: 31S? Ex = 4450 keV → 3285 keV shifted
1265: 40Ca? Ex = 6543 keV, Eγ = 2638 keV invisible
1283: 36Ar? Ex = 7140 keV, Eγ = 2699 keV invisible

## Slide 472
Ungated 90 deg detector (Griffin_4)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffin_4->GetXaxis()->SetRangeUser(start,end);
//hGriffin_4->GetYaxis()->SetRangeUser(0,85);
hGriffin_4->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffin_4->FindBin(E1);
bin2=hGriffin_4->FindBin(E2);
bin3=hGriffin_4->FindBin(E3);
bin4=hGriffin_4->FindBin(E4);
bin5=hGriffin_4->FindBin(E5);
Y1=hGriffin_4->GetBinContent(bin1)*Above;
Y2=hGriffin_4->GetBinContent(bin2)*Above;
Y3=hGriffin_4->GetBinContent(bin3)*Above;
Y4=hGriffin_4->GetBinContent(bin4)*Above;
Y5=hGriffin_4->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 473
Ungated 0 deg detector
Ungated 0 deg detector (Addback)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_0->FindBin(E1);
bin2=hGriffinAddback_0->FindBin(E2);
bin3=hGriffinAddback_0->FindBin(E3);
bin4=hGriffinAddback_0->FindBin(E4);
bin5=hGriffinAddback_0->FindBin(E5);
Y1=hGriffinAddback_0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 474
All PID gated 0 deg detector
All PID gated 0 deg detector (time gate+Addback)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriff_0g_all->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_all->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_all->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriff_0g_all->FindBin(E1);
bin2=hGriff_0g_all->FindBin(E2);
bin3=hGriff_0g_all->FindBin(E3);
bin4=hGriff_0g_all->FindBin(E4);
bin5=hGriff_0g_all->FindBin(E5);
Y1=hGriff_0g_all->GetBinContent(bin1)*Above;
Y2=hGriff_0g_all->GetBinContent(bin2)*Above;
Y3=hGriff_0g_all->GetBinContent(bin3)*Above;
Y4=hGriff_0g_all->GetBinContent(bin4)*Above;
Y5=hGriff_0g_all->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();
int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_t0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_t0->FindBin(E1);
bin2=hGriffinAddback_t0->FindBin(E2);
bin3=hGriffinAddback_t0->FindBin(E3);
bin4=hGriffinAddback_t0->FindBin(E4);
bin5=hGriffinAddback_t0->FindBin(E5);
Y1=hGriffinAddback_t0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 475
α gated 0 deg detector
α gated 0 deg detector (time gate)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriff_0g_alphas_t->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas_t->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas_t->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriff_0g_alphas_t->FindBin(E1);
bin2=hGriff_0g_alphas_t->FindBin(E2);
bin3=hGriff_0g_alphas_t->FindBin(E3);
bin4=hGriff_0g_alphas_t->FindBin(E4);
bin5=hGriff_0g_alphas_t->FindBin(E5);
Y1=hGriff_0g_alphas_t->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas_t->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas_t->GetBinContent(bin3)*Above;
Y4=hGriff_0g_alphas_t->GetBinContent(bin4)*Above;
Y5=hGriff_0g_alphas_t->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();
int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriff_0g_alphas->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_alphas->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_alphas->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriff_0g_alphas->FindBin(E1);
bin2=hGriff_0g_alphas->FindBin(E2);
bin3=hGriff_0g_alphas->FindBin(E3);
bin4=hGriff_0g_alphas->FindBin(E4);
bin5=hGriff_0g_alphas->FindBin(E5);
Y1=hGriff_0g_alphas->GetBinContent(bin1)*Above;
Y2=hGriff_0g_alphas->GetBinContent(bin2)*Above;
Y3=hGriff_0g_alphas->GetBinContent(bin3)*Above;
Y4=hGriff_0g_alphas->GetBinContent(bin4)*Above;
Y5=hGriff_0g_alphas->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 476
α gated 0 deg detector (time gate+Addback)
α gated 0 deg detector (Addback)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_alpha_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_alpha_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_alpha_t0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_alpha_t0->FindBin(E1);
bin2=hGriffinAddback_alpha_t0->FindBin(E2);
bin3=hGriffinAddback_alpha_t0->FindBin(E3);
bin4=hGriffinAddback_alpha_t0->FindBin(E4);
bin5=hGriffinAddback_alpha_t0->FindBin(E5);
Y1=hGriffinAddback_alpha_t0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_alpha_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_alpha_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_alpha_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_alpha_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();
int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_alpha0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_alpha0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_alpha0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_alpha0->FindBin(E1);
bin2=hGriffinAddback_alpha0->FindBin(E2);
bin3=hGriffinAddback_alpha0->FindBin(E3);
bin4=hGriffinAddback_alpha0->FindBin(E4);
bin5=hGriffinAddback_alpha0->FindBin(E5);
Y1=hGriffinAddback_alpha0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_alpha0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_alpha0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_alpha0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_alpha0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 477
43-MeV α gated 0 deg detector(time gate+Addback)
49-MeV α gated 0 deg detector (time gate+Addback)
42Ca
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_alpha43_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_alpha43_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_alpha43_t0->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_alpha43_t0->FindBin(E1);
bin2=hGriffinAddback_alpha43_t0->FindBin(E2);
bin3=hGriffinAddback_alpha43_t0->FindBin(E3);
bin4=hGriffinAddback_alpha43_t0->FindBin(E4);
bin5=hGriffinAddback_alpha43_t0->FindBin(E5);
Y1=hGriffinAddback_alpha43_t0->GetBinContent(bin1)*Above/1.2;
Y2=hGriffinAddback_alpha43_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_alpha43_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_alpha43_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_alpha43_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length/1.5,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length/1.5,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 478
42Ca
39-MeV α gated 0 deg detector (time gate+Addback)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_alpha43_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_alpha43_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_alpha43_t0->Draw();
Above = 1.3;
Length = 2;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_alpha43_t0->FindBin(E1);
bin2=hGriffinAddback_alpha43_t0->FindBin(E2);
bin3=hGriffinAddback_alpha43_t0->FindBin(E3);
bin4=hGriffinAddback_alpha43_t0->FindBin(E4);
bin5=hGriffinAddback_alpha43_t0->FindBin(E5);
Y1=hGriffinAddback_alpha43_t0->GetBinContent(bin1)*Above/1.2;
Y2=hGriffinAddback_alpha43_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_alpha43_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_alpha43_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_alpha43_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length/1.5,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length/1.5,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 479
<35-MeV α gated 0 deg detector (time gate+Addback)
35-39-MeV α gated 0 deg detector (time gate+Addback)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_alpha35down_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_alpha35down_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_alpha35down_t0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_alpha35down_t0->FindBin(E1);
bin2=hGriffinAddback_alpha35down_t0->FindBin(E2);
bin3=hGriffinAddback_alpha35down_t0->FindBin(E3);
bin4=hGriffinAddback_alpha35down_t0->FindBin(E4);
bin5=hGriffinAddback_alpha35down_t0->FindBin(E5);
Y1=hGriffinAddback_alpha35down_t0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_alpha35down_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_alpha35down_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_alpha35down_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_alpha35down_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();
int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_alpha5up_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_alpha5up_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_alpha5up_t0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_alpha5up_t0->FindBin(E1);
bin2=hGriffinAddback_alpha5up_t0->FindBin(E2);
bin3=hGriffinAddback_alpha5up_t0->FindBin(E3);
bin4=hGriffinAddback_alpha5up_t0->FindBin(E4);
bin5=hGriffinAddback_alpha5up_t0->FindBin(E5);
Y1=hGriffinAddback_alpha5up_t0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_alpha5up_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_alpha5up_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_alpha5up_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_alpha5up_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 480
35-45-MeV α gated 0 deg detector (time gate+Addback)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_alpha31S_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_alpha31S_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_alpha31S_t0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_alpha31S_t0->FindBin(E1);
bin2=hGriffinAddback_alpha31S_t0->FindBin(E2);
bin3=hGriffinAddback_alpha31S_t0->FindBin(E3);
bin4=hGriffinAddback_alpha31S_t0->FindBin(E4);
bin5=hGriffinAddback_alpha31S_t0->FindBin(E5);
Y1=hGriffinAddback_alpha31S_t0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_alpha31S_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_alpha31S_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_alpha31S_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_alpha31S_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length/1.2,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length/1.5,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 481
p gated 0 deg detector
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriff_0g_protons->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_protons->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_protons->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriff_0g_protons->FindBin(E1);
bin2=hGriff_0g_protons->FindBin(E2);
bin3=hGriff_0g_protons->FindBin(E3);
bin4=hGriff_0g_protons->FindBin(E4);
bin5=hGriff_0g_protons->FindBin(E5);
Y1=hGriff_0g_protons->GetBinContent(bin1)*Above;
Y2=hGriff_0g_protons->GetBinContent(bin2)*Above;
Y3=hGriff_0g_protons->GetBinContent(bin3)*Above;
Y4=hGriff_0g_protons->GetBinContent(bin4)*Above;
Y5=hGriff_0g_protons->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 482
p gated 0 deg detector (time gate+Addback)
p gated 0 deg detector (Addback)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_proton_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_proton_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_proton_t0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_proton_t0->FindBin(E1);
bin2=hGriffinAddback_proton_t0->FindBin(E2);
bin3=hGriffinAddback_proton_t0->FindBin(E3);
bin4=hGriffinAddback_proton_t0->FindBin(E4);
bin5=hGriffinAddback_proton_t0->FindBin(E5);
Y1=hGriffinAddback_proton_t0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_proton_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_proton_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_proton_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_proton_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();
int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_proton0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_proton0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_proton0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_proton0->FindBin(E1);
bin2=hGriffinAddback_proton0->FindBin(E2);
bin3=hGriffinAddback_proton0->FindBin(E3);
bin4=hGriffinAddback_proton0->FindBin(E4);
bin5=hGriffinAddback_proton0->FindBin(E5);
Y1=hGriffinAddback_proton0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_proton0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_proton0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_proton0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_proton0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 483
pα gated 0 deg detector (time gate+Addback)
d gated 0 deg detector (time gate+Addback)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_protonAlpha_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_protonAlpha_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_protonAlpha_t0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_protonAlpha_t0->FindBin(E1);
bin2=hGriffinAddback_protonAlpha_t0->FindBin(E2);
bin3=hGriffinAddback_protonAlpha_t0->FindBin(E3);
bin4=hGriffinAddback_protonAlpha_t0->FindBin(E4);
bin5=hGriffinAddback_protonAlpha_t0->FindBin(E5);
Y1=hGriffinAddback_protonAlpha_t0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_protonAlpha_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_protonAlpha_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_protonAlpha_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_protonAlpha_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length/1.2,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length/1.2,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();
int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_deuteron_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_deuteron_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_deuteron_t0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_deuteron_t0->FindBin(E1);
bin2=hGriffinAddback_deuteron_t0->FindBin(E2);
bin3=hGriffinAddback_deuteron_t0->FindBin(E3);
bin4=hGriffinAddback_deuteron_t0->FindBin(E4);
bin5=hGriffinAddback_deuteron_t0->FindBin(E5);
Y1=hGriffinAddback_deuteron_t0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_deuteron_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_deuteron_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_deuteron_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_deuteron_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 484
3He gated 0 deg detector
3He 1st excited state gated 0 deg detector
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriff_0g_He3_ex->GetXaxis()->SetRangeUser(start,end);
//hGriff_0g_He3_ex->GetYaxis()->SetRangeUser(0,85);
hGriff_0g_He3_ex->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriff_0g_He3_ex->FindBin(E1);
bin2=hGriff_0g_He3_ex->FindBin(E2);
bin3=hGriff_0g_He3_ex->FindBin(E3);
bin4=hGriff_0g_He3_ex->FindBin(E4);
bin5=hGriff_0g_He3_ex->FindBin(E5);
Y1=hGriff_0g_He3_ex->GetBinContent(bin1)*Above;
Y2=hGriff_0g_He3_ex->GetBinContent(bin2)*Above;
Y3=hGriff_0g_He3_ex->GetBinContent(bin3)*Above;
Y4=hGriff_0g_He3_ex->GetBinContent(bin4)*Above;
Y5=hGriff_0g_He3_ex->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 485
3He 1st excited state gated 0 deg detector (time gate+Addback)
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_he3ex_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_he3ex_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_he3ex_t0->Draw();
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_he3ex_t0->FindBin(E1);
bin2=hGriffinAddback_he3ex_t0->FindBin(E2);
bin3=hGriffinAddback_he3ex_t0->FindBin(E3);
bin4=hGriffinAddback_he3ex_t0->FindBin(E4);
bin5=hGriffinAddback_he3ex_t0->FindBin(E5);
Y1=hGriffinAddback_he3ex_t0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_he3ex_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_he3ex_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_he3ex_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_he3ex_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 486
Red: hGriffinAddback_proton_t0
Blue: hGriffinAddback_alpha_t0
Notes: int E1, E2, E3, E4, E5, start, end;
double Length, Above;
E1=1248; E2=1251; E3=1254; E4=1265; E5=1283;
start = 1200; end = 1350;
hGriffinAddback_proton_t0->GetXaxis()->SetRangeUser(start,end);
//hGriffinAddback_proton_t0->GetYaxis()->SetRangeUser(0,85);
hGriffinAddback_proton_t0->Draw();
hGriffinAddback_alpha_t0->Draw("same");
Above = 1.1;
Length = 1.3;
int bin1, bin2, bin3, bin4, bin5;
int Y1, Y2, Y3, Y4, Y5;
bin1=hGriffinAddback_proton_t0->FindBin(E1);
bin2=hGriffinAddback_proton_t0->FindBin(E2);
bin3=hGriffinAddback_proton_t0->FindBin(E3);
bin4=hGriffinAddback_proton_t0->FindBin(E4);
bin5=hGriffinAddback_proton_t0->FindBin(E5);
Y1=hGriffinAddback_proton_t0->GetBinContent(bin1)*Above;
Y2=hGriffinAddback_proton_t0->GetBinContent(bin2)*Above;
Y3=hGriffinAddback_proton_t0->GetBinContent(bin3)*Above;
Y4=hGriffinAddback_proton_t0->GetBinContent(bin4)*Above;
Y5=hGriffinAddback_proton_t0->GetBinContent(bin5)*Above;
TArrow *ar1 = new TArrow(E1,Y1,E1,Y1*Length,0.01,"<|"); ar1->SetLineWidth(2); ar1->SetLineColor(2); ar1->SetAngle(40); ar1->Draw();
TText *tx1=new TText(E1,Y1*Length,"1248"); tx1->SetTextColor(2); tx1->Draw();
TArrow *ar2 = new TArrow(E2,Y2,E2,Y2*Length,0.01,"<|"); ar2->SetLineWidth(2); ar2->SetLineColor(2); ar2->SetAngle(40); ar2->Draw();
TText *tx2=new TText(E2,Y2*Length,"1251"); tx2->SetTextColor(2); tx2->Draw();
TArrow *ar3 = new TArrow(E3,Y3,E3,Y3*Length,0.01,"<|"); ar3->SetLineWidth(2); ar3->SetLineColor(2); ar3->SetAngle(40); ar3->Draw();
TText *tx3=new TText(E3,Y3*Length,"1254"); tx3->SetTextColor(2); tx3->Draw();
TArrow *ar4 = new TArrow(E4,Y4,E4,Y4*Length,0.01,"<|"); ar4->SetLineWidth(2); ar4->SetLineColor(2); ar4->SetAngle(40); ar4->Draw();
TText *tx4=new TText(E4,Y4*Length,"1265"); tx4->SetTextColor(2); tx4->Draw();
TArrow *ar5 = new TArrow(E5,Y5,E5,Y5*Length,0.01,"<|"); ar5->SetLineWidth(2); ar5->SetLineColor(2); ar5->SetAngle(40); ar5->Draw();
TText *tx5=new TText(E5,Y5*Length,"1283"); tx5->SetTextColor(2); tx5->Draw();

## Slide 487
If peak is observed in spectrum | 1248 | 1251 | 1254 | 1265 | 1283 | Escape? | Sum?
Beam off runs | No | No | No | No | Yes | No | No
Ungated 90 deg | No | Yes | No | No | Yes | No | No
Ungated 0 deg | No | Yes | No | Yes | Yes | No | No
Ungated 0 deg with Addback | No | Yes | No | Yes | Yes | No | No
All PID gated 0 deg | Yes | Yes | No | Yes | Yes | No | No
All PID gated 0 deg | Yes | Yes | No | Yes | Yes | No | No
p gated 0 deg | No | Yes | No | Yes | Maybe | No | No
p gated 0 deg with Addback | No | Yes | No | Yes | Maybe | No | No
p gated 0 deg with time gate and Addback | No | Yes | No | Yes | Maybe | No | No
pα gated 0 deg with time gate and Addback | No | Yes | No | Yes | Maybe | No | No
d gated 0 deg with time gate and Addback | Yes | No | No | No | No | No | No
3He gated 0 deg | Yes | Maybe | No | Yes | Yes | No | No
3He ex gated 0 deg | Yes | No | No | Yes | Yes | No | No
3He ex gated 0 deg with time gate and Addback | Yes | Maybe | No | Yes | Yes | No | No
α gated 0 deg | Yes | Maybe | No | Yes | Yes | No | No
α gated 0 deg with time gate | Yes | Maybe | No | Yes | Yes | No | No
α gated 0 deg with Addback | Yes | Maybe | No | Yes | Yes | No | No
α gated 0 deg with time gate and Addback | Yes | Maybe | No | Yes | Yes | No | No
<35-MeV α gated 0 deg with time gate and Addback | No | Yes | No | Yes | Yes | No | No
35-39-MeV α gated 0 deg with time gate and Addback | Yes | No | No | No | Yes | No | No
35-45-MeV α gated 0 deg with time gate and Addback | Yes | No | No | No | Yes | No | No
49-MeV α gated 0 deg with time gate and Addback | Yes | No | No | No | Yes | No | No
43-MeV α gated 0 deg with time gate and Addback | Yes | Maybe | No | No | Maybe | No | No
39-MeV α gated 0 deg with time gate and Addback | Yes | No | No | No | Yes | No | No

## Slide 488
Observed in hGriffinAddback_proton_t0
But not observed in hGriffinAddback_alpha_t0
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 0 | 2 | He | 49.70% | 408 | 32S+3He→pp+33S

## Slide 489
Observed in hGriffinAddback_proton_t0
Also observed in hGriffinAddback_alpha_t0
Maybe 34Cl continues emitting particles
Z | N | A |  | Percent | σ (mb) | Reaction channels
1 | 0 | 1 | H | 36.40% | 299 | 32S+3He→p+34Cl

## Slide 490
Z | N | A |  | Percent | σ (mb) | Reaction channels
0 | 1 | 1 | n | 1.46% | 12 | 32S+3He→n+34Ar
None is observed in hGriffinAddback_0

## Slide 491
Z | N | A |  | Percent | σ (mb) | Reaction channels
1 | 1 | 2 | H | 0.71% | 5.85 | 32S+3He→d+33Cl
None observed in hGriffinAddback_deuteron_t0

## Slide 492
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 2 | 5 | Li | 0.23% | 1.87 | 32S+3He→pα+30P
Observed in hGriffinAddback_protonAlpha_t0
Observed in hGriffinAddback_alpha_t0
Observed in hGriffinAddback_proton_t0

## Slide 493
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 2 | 5 | Li | 0.23% | 1.87 | 32S+3He→pα+30P
Observed in hGriffinAddback_protonAlpha_t0
Observed in hGriffinAddback_alpha_t0
Observed in hGriffinAddback_proton_t0

## Slide 494
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 2 | 5 | Li | 27.50% | 303 | 32S+12C→pα+39K
Observed in hGriffinAddback_protonAlpha_t0
Observed in hGriffinAddback_alpha_t0
Observed in hGriffinAddback_proton_t0

## Slide 495
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 2 | 5 | Li | 27.50% | 303 | 32S+12C→pα+39K

## Slide 496
Z | N | A |  | Percent | σ (mb) | Reaction channels
5 | 4 | 9 | B | 21.60% | 238 | 32S+12C→pαα+35Cl
Maybe observed in hGriffinAddback_protonAlpha_t0
Observed in hGriffinAddback_alpha_t0
None is observed in hGriffinAddback_proton_t0

## Slide 497
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 1 | 3 | He | 18.00% | 198 | 32S+12C→3He+41Ca
None is observed in hGriffinAddback_he3ex_t0
None is observed in hGriff_0g_He3_all
None is observed in hGriff_0g_He3_ex
None is observed in hGriffinAddback_t0
None is observed in hGriffinAddback_alpha_t0

## Slide 498
Z | N | A |  | Percent | σ (mb) | Reaction channels
4 | 4 | 8 | Be | 8.67% | 95.5 | 32S+12C→αα+36Ar
Observed in hGriffinAddback_alpha_t0
1970 is observed in hGriffinAddback_proton_t0

## Slide 499
Z | N | A |  | Percent | σ (mb) | Reaction channels
4 | 2 | 6 | Be | 7.81% | 86 | 32S+12C→ppα+38Ar
Observed in hGriffinAddback_protonAlpha_t0
Observed in hGriffinAddback_alpha_t0
106 is not observed in hGriffinAddback_proton_t0

## Slide 500
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 3 | 6 | Li | 5.80% | 63.9 | 32S+12C→dα+38K
None is observed in hGriffinAddback_deuteron_t0
None is observed in hGriffinAddback_alpha_t0
None is observed in hGriffinAddback_proton_t0

## Slide 501
Z | N | A |  | Percent | σ (mb) | Reaction channels
1 | 1 | 2 | H | 3.33% | 36.7 | 32S+12C→d+42Sc
None is observed in hGriffinAddback_deuteron_t0
709 is observed in hGriffinAddback_proton_t0
709 is observed in hGriffinAddback_alpha_t0
709 is observed in both proton and alpha, but 1586/975 are not.

## Slide 502
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 0 | 2 | He | 2.89% | 31.8 | 32S+12C→pp+42Ca
Observed in hGriffinAddback_proton_t0
Observed in hGriffinAddback_alpha_t0
2129 only in alpha

## Slide 503
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 0 | 2 | He | 2.89% | 31.8 | 32S+12C→pp+42Ca
Observed in hGriffinAddback_proton_t0
Observed in hGriffinAddback_alpha_t0

## Slide 504
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 0 | 2 | He | 2.89% | 31.8 | 32S+12C→pp+42Ca
Observed in hGriffinAddback_proton_t0
Observed in hGriffinAddback_alpha_t0

## Slide 505
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 0 | 2 | He | 2.89% | 31.8 | 32S+12C→pp+42Ca
Observed in hGriffinAddback_proton_t0
Observed in hGriffinAddback_alpha_t0

## Slide 506
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 0 | 2 | He | 2.89% | 31.8 | 32S+12C→pp+42Ca
Observed in hGriffinAddback_proton_t0
Observed in hGriffinAddback_alpha_t0

## Slide 507
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 0 | 2 | He | 2.89% | 31.8 | 32S+12C→pp+42Ca
Observed in hGriffinAddback_proton_t0
Observed in hGriffinAddback_alpha_t0
1644,2554 only in alpha

## Slide 508
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 3 | 5 | He | 2.25% | 24.7 | 32S+12C→nα+39Ca
None is observed in hGriffinAddback_alpha_t0

## Slide 509
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 0 | 3 | Li | 1.05% | 11.6 | 32S+12C→ppp+41K
1293, 1581, 2167, and 1023 are observed in Addback_proton_t0
are observed in hGriffinAddback_alpha_t0

## Slide 510
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 0 | 3 | Li | 1.05% | 11.6 | 32S+12C→ppp+41K
None is observed in hGriffinAddback_proton_t0
None is observed in hGriffinAddback_alpha_t0

## Slide 511
Z | N | A |  | Percent | σ (mb) | Reaction channels
6 | 6 | 12 | C | 0.41% | 4.54 | 32S+12C→ααα+32S
None is observed in hGriffinAddback_alpha_t0

## Slide 512
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 2 | 4 | He | 0.33% | 3.64 | 32S+12C→α+40Ca
Observed in hGriffinAddback_alpha_t0
None is observed in hGriffinAddback_proton_t0

## Slide 513
Z | N | A |  | Percent | σ (mb) | Reaction channels
1 | 2 | 3 | H | 0.13% | 1.45 | 32S+12C→t+41Sc
None is observed in hGriffinAddback_alpha_t0

## Slide 514
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 1 | 3 | He | 29.40% | 324 | 32S+16O→3He+45Ti
None is observed in hGriffinAddback_alpha_t0
None is observed in hGriff_0g_He3_all

## Slide 515
Z | N | A |  | Percent | σ (mb) | Reaction channels
5 | 4 | 9 | B | 21.00% | 232 | 32S+16O→pαα+39K
Observed in hGriffinAddback_protonAlpha_t0
Observed in hGriffinAddback_alpha_t0
Observed in hGriffinAddback_proton_t0

## Slide 516
Z | N | A |  | Percent | σ (mb) | Reaction channels
5 | 4 | 9 | B | 21.00% | 232 | 32S+16O→pαα+39K
None is observed in hGriffinAddback_protonAlpha_t0
None is observed in hGriffinAddback_alpha_t0
None is observed in hGriffinAddback_proton_t0

## Slide 517
Z | N | A |  | Percent | σ (mb) | Reaction channels
4 | 2 | 6 | Be | 9.58% | 106 | 32S+16O→ppα+42Ca
Observed in hGriffinAddback_proton_t0
Observed in hGriffinAddback_alpha_t0

## Slide 518
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 0 | 3 | Li | 9.53% | 105 | 32S+16O→ppp+45Sc
1237 and 1408 are observed in hGriffinAddback_proton_t0
1408 is observed in hGriffinAddback_alpha_t0

## Slide 519
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 0 | 3 | Li | 9.53% | 105 | 32S+16O→ppp+45Sc
None is observed in hGriffinAddback_proton_t0
1788 may be observed in hGriffinAddback_alpha_t0

## Slide 520
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 3 | 6 | Li | 7.15% | 78.8 | 32S+16O→dα+42Sc
None is observed in hGriffinAddback_deuteron_t0
709 is observed in hGriffinAddback_proton_t0
709 is observed in hGriffinAddback_alpha_t0
709 is observed in both proton and alpha, but 1586/975 are not.

## Slide 521
Z | N | A |  | Percent | σ (mb) | Reaction channels
4 | 4 | 8 | Be | 5.26% | 58 | 32S+16O→αα+40Ca
Observed in hGriffinAddback_alpha_t0
None is observed in hGriffinAddback_proton_t0

## Slide 522
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 2 | 5 | Li | 5.02% | 55.3 | 32S+16O→pα+43Sc
None is observed in hGriffinAddback_alpha_t0
None is observed in hGriffinAddback_proton_t0

## Slide 523
Z | N | A |  | Percent | σ (mb) | Reaction channels
4 | 3 | 7 | Be | 3.08% | 34 | 32S+16O→pdα+41Ca
None is observed in hGriffinAddback_he3ex_t0
None is observed in hGriff_0g_He3_all
None is observed in hGriff_0g_He3_ex
None is observed in hGriffinAddback_t0
None is observed in hGriffinAddback_proton_t0
None is observed in hGriffinAddback_alpha_t0

## Slide 524
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 1 | 4 | Li | 2.30% | 25.4 | 32S+16O→ppd+44Sc
Observed in hGriffinAddback_alpha_t0
Observed in hGriffinAddback_proton_t0

## Slide 525
Z | N | A |  | Percent | σ (mb) | Reaction channels
3 | 1 | 4 | Li | 2.30% | 25.4 | 32S+16O→ppd+44Sc
None is observed in hGriffinAddback_alpha_t0
None is observed in hGriffinAddback_proton_t0

## Slide 526
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 0 | 2 | He | 2.02% | 22.3 | 32S+16O→pp+46Ti
1121 and 1289 may be observed in hGriffinAddback_alpha_t0
1289 may be observed in hGriffinAddback_proton_t0

## Slide 527
Z | N | A |  | Percent | σ (mb) | Reaction channels
1 | 1 | 2 | H | 1.73% | 19 | 32S+16O→d+46V
Observed in hGriffinAddback_alpha_t0

## Slide 528
Z | N | A |  | Percent | σ (mb) | Reaction channels
6 | 6 | 12 | C | 1.64% | 18.1 | 32S+16O→ααα+36Ar
Observed in hGriffinAddback_alpha_t0
1970 is observed in hGriffinAddback_proton_t0

## Slide 529
Z | N | A |  | Percent | σ (mb) | Reaction channels
1 | 2 | 3 | H | 0.68% | 7.52 | 32S+16O→t+45V
Observed in hGriffinAddback_alpha_t0

## Slide 530
Z | N | A |  | Percent | σ (mb) | Reaction channels
2 | 3 | 5 | He | 0.44% | 4.81 | 32S+16O→nα+43Ti
Observed in hGriffinAddback_alpha_t0
Observed in hGriffinAddback_proton_t0

## Slide 531
1121
1289
Red: Proton
Blue: Alpha

## Slide 532
197Au Coulomb excitation
Eγ = 279.01(5) keV
T1/2 = 18.6(15) ps
197Au Coulomb excitation
Eγ = 547.5(3) keV
T1/2 = ps
279
547
Blue: hGriffin0g_alphas_t
Black: hGriffin0g_alphas
Red: hGriff_0

## Slide 533
32S+12C fusion evaporation
32S(12C,pα)39K
Eγ = 2814.06(20) keV
Ex = 2814.17(16) keV
T1/2 = 47(4) ps
32S+12C fusion evaporation
32S(12C,pα)39K
Eγ = 3597.26(25) keV
Ex = 3597.41(17) keV
T1/2 = 38(3) ps
2814
3597

## Slide 534
32S+12C fusion evaporation
32S(12C,α)40Ca
Eγ = 3736.5(3) keV
Ex = 3736.69(5) keV
T1/2 = 41(4) ps
3737

## Slide 535
16O (where did it come from, who knows --- Cathleen)
Eγ = 6128.63(4) keV
Ex = 6129.89(4) keV
T1/2 = 18.4(5) ps
6129-1022
6129-511
6129
6129
6129 also observed by 90 deg detector

## Slide 536
Data: hGriffinAddback_he3ex_t0
32S(3He,3He')32S* first excited state of 32S

## Slide 537
Red: depth
Blue: depth*10
Green: depth*100

## Slide 539
Ex (keV) 31S Literature | Eγ (keV) Literature | τ (fs) DSL |  | τ (fs) Literature | Ex (keV) 31P | τ (fs)
1248.43(20) | 1248.40(20) |  |  | a | 1266.13(12) | 523(18)
 |  |  |  | b |  | 
 |  |  |  | b |  | 
 |  |  |  | c |  | 
 |  |  |  | d |  | 
2234.06(20) | 2233.97(20) |  |  | a | 2233.6(1) | 269(18)
3076.40(31) | 3076.24(20) | <11 |  | unknown | 3134.3(4) | 7.2(6)
3434.90(33) | 3434.70(32) | infinity | <14 | unknown | 3506.1(6) | 8.8(13)
3434.90(33) | 2186.33(33) | <14 |  |  |  | 
4085.4(8) | 2837.60(32) | infinity |  | unknown | 4190.9(10) | 4.9(21)
4970.7(9) | 4970.2(9) | <7 |  | unknown | 5015.2(8) | 7.6(5)
5156.1(6) | 5155.7(6) | <15 |  | unknown | 5256.8(15) | <10
5518.3(3) | 4269.5(3) | Infinity |  | unknown | 5672.1(20) | 25(6)
5775.1(15) | 3541.10(27) | <23 |  | unknown | 5987.9(14) | unknown
6390.2(7) | 5141.3(6) | infinity |  | unknown |  | 
6390.2(7) | 4155.84(31) | infinity |  | unknown |  | 
6541.9(4) | 5292.5(4) | infinity |  | unknown | 6610.4(12) | unknown
Ex (keV) 31S Literature | Eγ (keV) Literature | τ (fs) DSL |  | τ (fs) Literature | Ex (keV) 31P | τ (fs)
1248.43(20) | 1248.40(20) |  |  |  | 1266.13(12) | 523(18)
2234.06(20) | 2233.97(20) |  |  |  | 2233.6(1) | 269(18)
3076.40(31) | 3076.24(20) | <11 |  | unknown | 3134.3(4) | 7.2(6)
3434.90(33) | 3434.70(32) | infinity | <14 | unknown | 3506.1(6) | 8.8(13)
3434.90(33) | 2186.33(33) | <14 |  |  |  | 
4085.4(8) | 2837.60(32) | infinity |  | unknown | 4190.9(10) | 4.9(21)
4970.7(9) | 4970.2(9) | <7 |  | unknown | 5015.2(8) | 7.6(5)
5156.1(6) | 5155.7(6) | <15 |  | unknown | 5256.8(15) | <10
5518.3(3) | 4269.5(3) | Infinity |  | unknown | 5672.1(20) | 25(6)
5775.1(15) | 3541.10(27) | <23 |  | unknown | 5987.9(14) | unknown
6390.2(7) | 5141.3(6) | infinity |  | unknown |  | 
6390.2(7) | 4155.84(31) | infinity |  | unknown |  | 
6541.9(4) | 5292.5(4) | infinity |  | unknown | 6610.4(12) | unknown
Notes: a Engmann_NPA1971
b Doornenbal_NIMA2010
c Tonev_JPConf2011
d Herlitzius_Thesis2013

## Slide 540
Z | N | A |  | Z | N | A | Residual | Events | Percent | σ (mb) | Reaction channels
2 | 0 | 2 | He | 16 | 17 | 33 | S | 49689 | 49.70% | 408 | 32S+3He→pp+33S
1 | 0 | 1 | H | 17 | 17 | 34 | Cl | 36436 | 36.40% | 299 | 32S+3He→p+34Cl
2 | 2 | 4 | He | 16 | 15 | 31 | S | 11480 | 11.50% | 94.3 | 32S+3He→α+31S
0 | 1 | 1 | n | 18 | 16 | 34 | Ar | 1456 | 1.46% | 12 | 32S+3He→n+34Ar
1 | 1 | 2 | H | 17 | 16 | 33 | Cl | 712 | 0.71% | 5.85 | 32S+3He→d+33Cl
3 | 2 | 5 | Li | 15 | 15 | 30 | P | 227 | 0.23% | 1.87 | 32S+3He→pα+30P
32S+3He→35Ar(Ex=22.9 MeV)
32S+12C→44Ti(Ex=46.4 MeV)
32S+16O→48Cr(Ex=54.7 MeV)
32S+197Au→229Am(Ex=–15.8 MeV)
S(n)= 16332 keV 11 | S(p)= 8105 keV 8 | Q(α)= -7698 keV 8
S(n)= 16299 keV 8 | S(p)= 8649.4 keV 20 | Q(α)= -5127.1 keV 7
The αs from evaporation are isotropically emitted.
The evaporation residuals are toward a forward angle.

## Slide 541
Z | N | A |  | Z | N | A | Residual | Events | Percent | σ (mb) | Reaction channels
3 | 2 | 5 | Li | 19 | 20 | 39 | K | 27518 | 27.50% | 303 | 32S+12C→pα+39K
5 | 4 | 9 | B | 17 | 18 | 35 | Cl | 21609 | 21.60% | 238 | 32S+12C→pαα+35Cl
2 | 1 | 3 | He | 20 | 21 | 41 | Ca | 18027 | 18.00% | 198 | 32S+12C→3He+41Ca
4 | 4 | 8 | Be | 18 | 18 | 36 | Ar | 8669 | 8.67% | 95.5 | 32S+12C→αα+36Ar
4 | 2 | 6 | Be | 18 | 20 | 38 | Ar | 7812 | 7.81% | 86 | 32S+12C→ppα+38Ar
3 | 3 | 6 | Li | 19 | 19 | 38 | K | 5800 | 5.80% | 63.9 | 32S+12C→dα+38K
1 | 1 | 2 | H | 21 | 21 | 42 | Sc | 3330 | 3.33% | 36.7 | 32S+12C→d+42Sc
2 | 0 | 2 | He | 20 | 22 | 42 | Ca | 2888 | 2.89% | 31.8 | 32S+12C→pp+42Ca
2 | 3 | 5 | He | 20 | 19 | 39 | Ca | 2245 | 2.25% | 24.7 | 32S+12C→nα+39Ca
3 | 0 | 3 | Li | 19 | 22 | 41 | K | 1053 | 1.05% | 11.6 | 32S+12C→ppp+41K
6 | 6 | 12 | C | 16 | 16 | 32 | S | 412 | 0.41% | 4.54 | 32S+12C→ααα+32S
2 | 2 | 4 | He | 20 | 20 | 40 | Ca | 331 | 0.33% | 3.64 | 32S+12C→α+40Ca
1 | 2 | 3 | H | 21 | 20 | 41 | Sc | 132 | 0.13% | 1.45 | 32S+12C→t+41Sc
4 | 5 | 9 | Be | 18 | 17 | 35 | Ar | 58 | 0.06% | 0.639 | 32S+12C→nαα+35Ar
4 | 3 | 7 | Be | 18 | 19 | 37 | Ar | 43 | 0.04% | 0.473 | 32S+12C→pdα+37Ar
1 | 0 | 1 | H | 21 | 22 | 43 | Sc | 35 | 0.04% | 0.385 | 32S+12C→p+43Sc
0 | 2 | 2 | n | 22 | 20 | 42 | Ti | 22 | 0.02% | 0.242 | 32S+12C→nn+42Ti
0 | 1 | 1 | n | 22 | 21 | 43 | Ti | 11 | 0.01% | 0.121 | 32S+12C→nn+43Ti
7 | 6 | 13 | N | 15 | 16 | 31 | P | 3 | 0.00% | 0.033 | 32S+12C→pααα+31P
5 | 2 | 7 | B | 17 | 20 | 37 | Cl | 2 | 0.00% | 0.022 | 32S+12C→pppα+37Cl

## Slide 542
Z | N | A |  | Z | N | A | Residual | Events | Percent | σ (mb) | Reaction channels
2 | 1 | 3 | He | 22 | 23 | 45 | Ti | 29386 | 29.40% | 324 | 32S+16O→3He+45Ti
5 | 4 | 9 | B | 19 | 20 | 39 | K | 21008 | 21.00% | 232 | 32S+16O→pαα+39K
4 | 2 | 6 | Be | 20 | 22 | 42 | Ca | 9583 | 9.58% | 106 | 32S+16O→ppα+42Ca
3 | 0 | 3 | Li | 21 | 24 | 45 | Sc | 9532 | 9.53% | 105 | 32S+16O→ppp+45Sc
3 | 3 | 6 | Li | 21 | 21 | 42 | Sc | 7147 | 7.15% | 78.8 | 32S+16O→ddd+42Sc
4 | 4 | 8 | Be | 20 | 20 | 40 | Ca | 5260 | 5.26% | 58 | 32S+16O→αα+40Ca
3 | 2 | 5 | Li | 21 | 22 | 43 | Sc | 5018 | 5.02% | 55.3 | 32S+16O→pα+43Sc
4 | 3 | 7 | Be | 20 | 21 | 41 | Ca | 3085 | 3.08% | 34 | 32S+16O→pdα+41Ca
3 | 1 | 4 | Li | 21 | 23 | 44 | Sc | 2300 | 2.30% | 25.4 | 32S+16O→ppd+44Sc
2 | 0 | 2 | He | 22 | 24 | 46 | Ti | 2018 | 2.02% | 22.3 | 32S+16O→pp+46Ti
1 | 1 | 2 | H | 23 | 23 | 46 | V | 1726 | 1.73% | 19 | 32S+16O→d+46V
6 | 6 | 12 | C | 18 | 18 | 36 | Ar | 1637 | 1.64% | 18.1 | 32S+16O→ααα+36Ar
1 | 2 | 3 | H | 23 | 22 | 45 | V | 682 | 0.68% | 7.52 | 32S+16O→t+45V
2 | 3 | 5 | He | 22 | 21 | 43 | Ti | 436 | 0.44% | 4.81 | 32S+16O→nα+43Ti
7 | 6 | 13 | N | 17 | 18 | 35 | Cl | 360 | 0.36% | 3.97 | 32S+16O→pααα+35Cl
2 | 2 | 4 | He | 22 | 22 | 44 | Ti | 298 | 0.30% | 3.29 | 32S+16O→α+44Ti
4 | 5 | 9 | Be | 20 | 19 | 39 | Ca | 214 | 0.21% | 2.36 | 32S+16O→pαα+39Ca
5 | 2 | 7 | B | 19 | 22 | 41 | K | 151 | 0.15% | 1.67 | 32S+16O→pppα+41K
6 | 4 | 10 | C | 18 | 20 | 38 | Ar | 65 | 0.07% | 0.717 | 32S+16O→10C+38Ar
4 | 0 | 4 | Be | 20 | 24 | 44 | Ca | 59 | 0.06% | 0.651 | 32S+16O→4Be+44Ca
0 | 2 | 2 | n | 24 | 22 | 46 | Cr | 19 | 0.02% | 0.21 | 32S+16O→2n+46Cr
5 | 5 | 10 | B | 19 | 19 | 38 | K | 10 | 0.01% | 0.11 | 32S+16O→10B+38K
1 | 0 | 1 | H | 23 | 24 | 47 | V | 2 | 0.00% | 0.0221 | 32S+16O→1H+47V
3 | 4 | 7 | Li | 21 | 20 | 41 | Sc | 2 | 0.00% | 0.0221 | 32S+16O→7Li+41Sc
0 | 1 | 1 | n | 24 | 23 | 47 | Cr | 1 | 0.00% | 0.011 | 32S+16O→1n+47Cr
2 | 4 | 6 | He | 22 | 20 | 42 | Ti | 1 | 0.00% | 0.011 | 32S+16O→6He+42Ti

## Slide 543
C
B
0
A
~fs
~ps
~ps
unshifted

## Slide 545
Experiment Number | Contact Spokesperson | Title | Beam on Target Hours Approved | Beam Tuning Hours
21024 | Crawford, H. | Reaction Cross-Section Measurement in 40Mg: A Halo Candidate? | 144 | 24
21010 | Fynbo, H. | Study of the beta-decays of 22Al and 26P | 48 | 36

## Slide 546
Proposal | Case | Feasibility | FRIB-PAC1
Andy Rogers | 71Kr(βpγ)70S | Terrible | Failed
 | 72Rb(pγ)71Kr | Terrible | 
Hans Fynbo | 22Al(βpγ)21Na | Excellent | Succeeded
 | 26P(βpγ)25Al | Excellent | 
 | 22Al(β2pγ)20Ne | Excellent | 
 | 26P(β2pγ)24Mg | Excellent | 
Vandana Tripathi Heather Crawford | 43P(βnγ)42S | Good | Succeeded
 | 44P(βnγ)43S | Fair | 
 | 31Ne(βnγ)30Na | Fair | 
 | 29F(βnγ)28Ne | Fair | 
 | 41Si(βnγ)40P | Fair | 
 | 42Si(βnγ)41P | Fair | 
Miguel Madurga | 31F(βnγ)30Ne | Terrible | Failed
 | 34Ne(βnγ)33Na | Terrible | 
 | 32Ne(βnγ)31Na | Bad | 
Notes: The feasibility of applying the Doppler broadening analysis to their data.

## Slide 547
6390
2234
0
4156
2234
10 fs
4156
0
4156
10 fs
Make sure they have the same effective Q value: Q – Ex = –0.86 MeV
32S+3He→α+31S
Identical Doppler shift regardless of final states.
Verified.

## Slide 548
3983
2721
0
1262
2721
Esimu = 1351
Ecalc = 1379
131 fs
2721
32S+3He→p+34Cl

## Slide 549
3334
2158
0
1176
2158
Esimu = 1266
2158
Ecalc = 1285
47 fs
32S+3He→p+34Cl

## Slide 550
2376
1230
0
1146
1230
150 fs
32S+3He→p+34Cl

## Slide 551
1986
811
0
1176
811
55 fs
32S+3He→d+33Cl

## Slide 552
5249
3904
0
1344
3904
83 fs
Esimu = 1406
Ecalc = 1441
32S+12C→α+40Ca
Esimu = 1278
Ecalc = 1310
4116
2887
0
1229
2887
110 fs
32S+16O→α+44Ti

## Slide 553
3731
2576
0
1156
2576
45 fs
Esimu = 1215
Ecalc = 1240
32S+12C→3He+41Ca
3740
2605
0
1135
2605
<35 fs
Esimu = 1196
Ecalc = 1217
32S+12C→3He+41Ca

## Slide 554
5249
3904
0
1344
3904
83 fs
Esimu = 1406
Ecalc = 1441
32S+12C→α+40Ca
0 deg
E32S = 127 MeV, V = 2.8 cm/ns, P = 2764 MeV/c
Q = 6 MeV
Ex = 5 MeV
E(44Ti) = 93 MeV, V = 2.0 cm/ns, P = 2764 MeV/c
E(40Ca) = 102 MeV, V = 2.2 cm/ns, P = 2764 MeV/c
Eα = 74 MeV, V = 5.9 cm/ns, P = 746 MeV/c
E(40Ca) = 54 MeV, V = 1.6 cm/ns, P = 2006 MeV/c
1421

## Slide 555
1127→1182 keV
1127→1184 keV

## Slide 556
E_p1= 0.138 MeV theta_p1= 90 deg P_p1= 32.09 MeV/c
E_recoil= 132.147 MeV theta_recoil= 0.66 deg P_recoil= 2765.74 MeV/c
E_p1= 53.7747 MeV theta_p1= 0 deg P_p1= 635.31 MeV/c
E_recoil= 78.510 MeV theta_recoil= 0 deg P_recoil= 2130.81 MeV/c
E_p1= 0.00035 MeV theta_p1= 180 deg P_p1= 1.63 MeV/c
E_recoil= 132.285 MeV theta_recoil= 0 deg P_recoil= 2767.18 MeV/c
1247
1338
1367
120 keV

## Slide 557
153 reaction channels populated 153 states that could generate γ rays within 1.1-1.3 MeV.
C
B
0
A
~fs
~ps
~ps
unshifted
153
23
11

## Slide 558
σ (mb) | Reaction channel | Residual | Ei (keV) | Ef (keV) | τ | Eγ (keV)
299 | 32S+3He→1H+34Cl | 34Cl | 3631.8 | 2375.7 | 194 ps 42 | 1256.1
86 | 32S+12C→6Be+38Ar | 38Ar | 5083.6 | 3810.2 | 39 fs 10 | 1273.4
0.72 | 32S+16O→10C+38Ar |  |  |  |  | 
86 | 32S+12C→6Be+38Ar | 38Ar | 5157.3 | 3936.5 | 23 fs 7 | 1220.8
0.72 | 32S+16O→10C+38Ar |  |  |  |  | 
86 | 32S+12C→6Be+38Ar | 38Ar | 7350 | 6250 |  | 1100
0.72 | 32S+16O→10C+38Ar |  |  |  |  | 
86 | 32S+12C→6Be+38Ar | 38Ar | 7376 | 6250 |  | 1126
0.72 | 32S+16O→10C+38Ar |  |  |  |  | 
86 | 32S+12C→6Be+38Ar | 38Ar | 7508.12 | 6408.12 | ≥ 42 fs | 1100 1
0.72 | 32S+16O→10C+38Ar |  |  |  |  | 
86 | 32S+12C→6Be+38Ar | 38Ar | 7858.9 | 6674.4 |  | 1184.5 0.4
0.72 | 32S+16O→10C+38Ar |  |  |  |  | 
86 | 32S+12C→6Be+38Ar | 38Ar | 7899 | 6674 |  | 1225
0.72 | 32S+16O→10C+38Ar |  |  |  |  | 
303 | 32S+12C→5Li+39K | 39K | 5010.9 | 3883.2 | 35 fs 10 | 1127.7
232 | 32S+16O→9B+39K |  |  |  |  | 
303 | 32S+12C→5Li+39K | 39K | 5164.22 | 3944.12 | 55 fs 14 | 1220.1 0.2
232 | 32S+16O→9B+39K |  |  |  |  | 
303 | 32S+12C→5Li+39K | 39K | 5801.5 | 4520.8 | 14 fs 7 | 1280.7 0.4
232 | 32S+16O→9B+39K |  |  |  |  | 
31.8 | 32S+12C→2He+42Ca | 42Ca | 3999.66 | 2752.46 |  | 1247.2
106 | 32S+16O→6Be+42Ca |  |  |  |  | 
31.8 | 32S+12C→2He+42Ca | 42Ca | 4505 | 3253.9 |  | 1251.1
106 | 32S+16O→6Be+42Ca |  |  |  |  | 
36.7 | 32S+12C→2H+42Sc | 42Sc | 1873.7 | 611.2 | < 70 fs | 1262.5 0.7
78.8 | 32S+16O→6Li+42Sc |  |  |  |  | 
36.7 | 32S+12C→2H+42Sc | 42Sc | 2833.2 | 1586.6 | 0.21 ps 0.11 | 1246.6 0.9
78.8 | 32S+16O→6Li+42Sc |  |  |  |  | 
36.7 | 32S+12C→2H+42Sc | 42Sc | 2847.7 | 1586.5 | 0.20 ps 0.13 | 1261.2 1.1
78.8 | 32S+16O→6Li+42Sc |  |  |  |  | 
36.7 | 32S+12C→2H+42Sc | 42Sc | 3884.04 | 2606.94 |  | 1277.1 0.1
78.8 | 32S+16O→6Li+42Sc |  |  |  |  | 

## Slide 559
S2193 23Mg resonance lifetime

## Slide 560: 451 keV state in 23Mg, 5 bins/keV (counts/0.2 keV)
LLNL Target
TRIUMF Target

## Slide 561: Comparison of run 1 data gated on all alphas to Oliver’s data
Counts / 12.8 keV

## Slide 562: Comparison of run 1 data gated on 19-23 MeV alphas to Oliver’s
Counts / 12.8 keV

## Slide 564
19-23 MeV gate applied to charged particle spectrum, all runs
19-23 MeV alpha gate applied to charged particle spectrum, single sample run

## Slide 565
24Mg+12C
24Mg+16O