## Slide 1: E21010 Ge calibration and preliminary analysis

## Slide 2
Run 121 152Eu calibration 89 mins
Run 015 152Eu calibration 31 mins
North
Run 121 152Eu calibration 89 mins
Run 015 152Eu calibration 31 mins
South
Zoom in
scaled

## Slide 3
Source | Eγ (keV) | σEγ (keV) | 
40K→40Ar | 1460.820 | 0.005 | peak0
208Tl→208Pb | 2614.511 | 0.010 | peak1
152Eu→152Sm | 121.7817 | 0.003 | peak2
152Eu→152Sm | 244.6974 | 0.008 | peak3
152Eu→152Gd | 344.2785 | 0.012 | peak4
152Eu→152Gd | 778.9045 | 0.024 | peak5
152Eu→152Sm | 964.057 | 0.05 | peak6
152Eu→152Sm | 1408.013 | 0.03 | peak7
214Pb→214Bi | 351.9320 | 0.0021 | peak8
214Bi→214Po | 609.321 | 0.007 | peak9
214Bi→214Po | 1120.294 | 0.006 | peak10
214Bi→214Po | 1764.491 | 0.014 | peak11
214Bi→214Po | 2204.10 | 0.04 | peak12
214Bi→214Po | 2447.69 | 0.03 | peak13

## Slide 4
An exponentially modified Gaussian (EMG) function of the form:
was used to fit each γ -ray line in the spectrum. The EMG is characterized by an exponential decay constant τ , width σ, mean μ, energy x, and area below the curve N. Also, a linear function is added to this formula to model the local background.

## Slide 5
40K 1460.820 ± 0.005 keV
Run 120

## Slide 6
208Tl 2614.511 ± 0.010 keV
Run 120

## Slide 7
Identical data

## Slide 8
152Eu
uncalibrated
Run 121

## Slide 9
Run 121

## Slide 10
Run 121

## Slide 11
Run 121

## Slide 12
Run 121

## Slide 13
Run 121

## Slide 14
Run 121

## Slide 15
226Ra
uncalibrated
Run 122

## Slide 16
Run 122

## Slide 17
Run 122

## Slide 18
Run 122

## Slide 19
Run 122

## Slide 20
Run 122

## Slide 21
Run 122

## Slide 22
North_G0
Source | Eγ (keV) | σEγ | 
40K→40Ar | 1460.820 | 0.005 | peak0
208Tl→208Pb | 2614.511 | 0.010 | peak1
152Eu→152Sm | 121.7817 | 0.003 | peak2
152Eu→152Sm | 244.6974 | 0.008 | peak3
152Eu→152Gd | 344.2785 | 0.012 | peak4
152Eu→152Gd | 778.9045 | 0.024 | peak5
152Eu→152Sm | 964.057 | 0.05 | peak6
152Eu→152Sm | 1408.013 | 0.03 | peak7
214Pb→214Bi | 351.9320 | 0.0021 | peak8
214Bi→214Po | 609.321 | 0.007 | peak9
214Bi→214Po | 1120.294 | 0.006 | peak10
214Bi→214Po | 1764.491 | 0.014 | peak11
214Bi→214Po | 2204.10 | 0.04 | peak12
214Bi→214Po | 2447.69 | 0.03 | peak13

## Slide 23
South_G1

## Slide 24
To determine calibration uncertainty at any energies, we need an uncertainty band.
y_err
x_err_proj
In case of a TGraphErrors object, ex, the error along x, is projected along the y-direction by calculating the function at the points x-exlow and x+exhigh.
The chisquare is computed as the sum of the quantity below at each point:
(y - f(x))**2
-----------------------------------
ey**2 + (0.5*(exl + exh)*f'(x))**2
where x and y are the point coordinates and f'(x) is the derivative of function f(x). This method to approximate the uncertainty in y because of the errors in x, is called "effective variance" method. The improvement, compared to the previously used method (f(x+ exhigh) - f(x-exlow))/2 is of (error of x)**2 order.
x_err

## Slide 25
Zoom in to see the Uncertainty Band
emcee:
ROOT:

## Slide 27
By 5 runs

## Slide 28
Run 046-074
All 22Al runs
North hG0
South hG1
Run 085-117
All 26P runs
North hG0
South hG1

## Slide 29
452
25Al
493
25Al
239
212Pb
295
214Pb
352
214Pb
583
208Tl
609
214Bi
911
228Ac
965
969
228Ac
945
25Al
Raw γ-ray spectrum (hG0+hG1)
829
26Al

## Slide 30
1120
214Bi
1238
214Bi
1369
24Mg
205370
1408
214Bi
1461
40K
1509
214Bi
1612
25Al
1588
228Ac
1730
214Bi
1764
214Bi
1789
25Al
1797
26Si
1847
214Bi
1077
24Mg
33962
N1369 = 220387 based on counts in 1077

## Slide 31
2119
214Bi
2615*
208Tl
2204
214Bi
2754*
24Mg
2448
214Bi
2615
208Tl
2754
24Mg