## Slide 1: Likelihood function revisited yet again

## Slide 2: Likelihood Function for a Single Trace
Let be the value which would be read out of time bin in the absence of any errors.
Assume that the value actually read out if .
m is a Gaussian random variable with expectation value 1 and variance which represents uncertainty in pad gain matching. It takes the same value for all time bins in a given trace.
represents noise and other systematics, and is different and assumed independent for each time bin. It has expected value 0 and variance .
Given , the likelihood of observing is a multivariate Gaussian:
Where is the covariance matrix:

## Slide 3: Likelihood Function for a Single Trace
We now need to calculate :
, so because and .
Now for :
is Gaussian with variance and expected value 1, so:
And
because m and are independent, and
And similarly
So

## Slide 4: Likelihood Function of Multiple Traces
Assume the systematic uncertainty’s for pad gains are uncorrelated (this is likely not a perfect assumption). The if the likelihood function of observing trace is , the likelihood function of observing all recorded traces is .

## Slide 5: Estimate and
Procedure:
fit 50 event in each of the 4 categories, minimizing residuals squared
For each trace with both simulated and observed peaks above 100 adc units, and where the observed and actual peak are no more than 3 time bins apart:
  Calculate 2*(simulated_peak – observed_peak)/(simulated + observed)
Assume is the standard deviation of this array
Perform maximum likelihood to determin
Result:
,
Mean=-0.27 (why isn’t this 0?)
Increasing threshold for selecting peaks reduces offset towards 0
Standard deviation=0.382

## Slide 6
Bad background subtraction?
Simulated values 19% smaller
Could be adc scale, pressure, or shaping time

## Slide 7: Background subtraction ok
Certainly not 45 adc counts off

## Slide 8: 2 Particle Events

## Slide 9: Candidate Images from Tyler
These are not event numbers. The image numbers seem to be from run_0124/len900_ic6000000_pads5_eps1_samps1_poly2. Conversion to event numbers is on the right.:
Image # | Event # | Notes
47081 | 87480 | High z, hard to tell what’s going on
10451 | 19699 | Small peak part way along the track
27734 | 51777 | Peak part way along track, nice otherwise
36513 | 68192 | Nice candidate event
36455 | 68087 | 
5501 | 10356 | 
11453 | 21640 | 
51906 | 96369 | 
11465 | 21662 | 
13910 | 26303 | 
27058 | 50543 | 
14332 |  | 
39948 |  | 
13392 |  | 
20716 |  | 
56386 |  | 
23388 |  | 
27860 |  | 
51511 |  | 
52912 |  | 

## Slide 11: Event 68192

## Slide 12: Event 68129 after 600 steps
This blob is in the right place
For 21Mg p-alpha