## Slide 1
237Np Lifetime Measurements

## Slide 2
lege_low–lege
msd12–lege
msd26–lege
north–lege
south–lege
Run45
Notes: TFile *_file0 = TFile::Open("run0045-00_LEGe_MSD_XtRa_241Am_3mmcollimator_152Eu_120min_window1.5us_cal.root");
Run0045 is not optimized. Use run0046 instead.
TCanvas* canvaspeak = new TCanvas("ctimestamps", "ctimestamps", 1400, 540);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.02);
canvaspeak->SetLeftMargin(0.08);
canvaspeak->SetBottomMargin(0.13);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetLineColor(8);
//htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.05);
htimestamps->GetYaxis()->SetLabelSize(0.05);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.0);
htimestamps->GetYaxis()->SetTitleOffset(0.66);
htimestamps->GetXaxis()->SetTitleSize(0.06);
htimestamps->GetYaxis()->SetTitleSize(0.06);
htimestamps->GetXaxis()->SetRangeUser(-1500,1500);
//htimestamps->GetYaxis()->SetRangeUser(1,5500);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(8);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>5&&lege_e<400&&msd26_e>10&&msd26_e<6000");
//tree->Draw("msd26_t-lege_t","lege_e>58&&lege_e<61&&msd26_e>5300&&msd26_e<5600","same");
tree->SetLineColor(6);
tree->Draw("msd12_t-lege_t","lege_e>5&&lege_e<400&&msd12_e>100&&msd12_e<10000","same");
tree->SetLineColor(2);
tree->Draw("north_t-lege_t","lege_e>5&&lege_e<400&&north_e>20&&north_e<2100","same");
tree->SetLineColor(4);
tree->Draw("south_t-lege_t","lege_e>5&&lege_e<400&&south_e>20&&south_e<2100","same");
tree->SetLineColor(1);
tree->Draw("lege_t_low-lege_t","lege_e>5&&lege_e<400","same");

## Slide 4
Notes: Timing coincidence ranges:
msd12_t-lege_t>-500&&msd12_t-lege_t<100
msd26_t-lege_t>-1000&&msd26_t-lege_t<-500
msd12_t-msd26_t>200&&msd12_t-msd26_t<650
north_t-lege_t>-200&&north_t-lege_t<650
south_t-lege_t>-200&&south_t-lege_t<650
north_t-south_t>-500&&north_t-south_t<600

## Slide 5
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0075_LEGe_MSD_XtRa_241Am_inChamber_nocollimator_152Eu_outChamber_CFDdelay_adjusted_1511min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-1000,1000);
//htimestamps->GetYaxis()->SetRangeUser(0,1200);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>10&&lege_e<400&&msd26_e>500&&msd26_e<6000");
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>10&&lege_e<400&&msd12_e>500&&msd12_e<6000","same");
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t","lege_e>100&&lege_e<400&&north_e>100&&north_e<1600","same");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>100&&lege_e<400&&south_e>100&&south_e<1600","same");
tree->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>100&&north_e<1600&&south_e>100&&south_e<1600","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-msd26_t","msd12_e>500&&msd12_e<6000&&msd26_e>500&&msd26_e<6000","same",2e6);

## Slide 6
γ-γ
South 1332 – North 1173
North 1332 – South 1173
X-γ
North 1408 – LEGe 40,46
South 1408 – LEGe 40,46
α-γ
LEGe 59 – MSD12 2000
LEGe 59 – MSD26 3500
γ-γ
South 1332 – North 1173
North 1332 – South 1173
X-γ
North 1408 – LEGe 40,46
South 1408 – LEGe 40,46
α-γ
LEGe 59 – MSD12 2000
LEGe 59 – MSD26 3500

## Slide 7
Notes: Best figure Timing coincidence 241Am, 152Eu, 60Co
TFile *_file0 = TFile::Open("F:/e21010/pxct/run0263_LEGe_XtRa_60Co_I7281_OnLEGeCap_window1us_TrigRise0.064us_TrigGap0.952us_ThL150_N300_S700_CFDDelay0.120us_Scale7_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
gStyle->SetFrameLineWidth(3);
canvaspeak->SetFrameLineWidth(3);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 1500,-1500,1500);
htimestamps->SetLineWidth(3);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 2 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-400,800);
htimestamps->GetYaxis()->SetRangeUser(0,600);
htimestamps->GetYaxis()->SetNdivisions(505);
htimestamps->GetYaxis()->SetTickLength(0.015);
htimestamps->SetLineColor(kRed+1);
tree->Draw("north_t-south_t>>htimestamps","south_e>1170&&south_e<1176&&north_e>1330&&north_e<1336","",5e7); // second decay - first decay
htimestamps->Sumw2(kFALSE);
htimestamps->SetBinErrorOption(TH1::kPoisson);//TH1::kNormal or TH1::kPoisson
tree->SetLineColor(kGreen+1);
tree->SetMarkerColor(kGreen+1);
tree->SetLineWidth(3);
tree->Draw("south_t-north_t","north_e>1170&&north_e<1176&&south_e>1330&&south_e<1336","same",5e7);
TFile *_file0 = TFile::Open("F:/e21010/pxct/run0276_LEGe_XtRa_152Eu_Z2707_OnLEGeCap_window1us_TrigRise0.064us_TrigGap0.952us_ThL310_N300_S730_CFDDelay0.304us_Scale7_cal.root");
tree->SetLineColor(kViolet+1);
tree->SetMarkerColor(kViolet+1);
tree->SetLineWidth(3);
tree->Draw("north_t-lege_t","north_e>1405&&north_e<1411&&((lege_e>38.8&&lege_e<40.8)||(lege_e>44.8&&lege_e<47.2))","same");
tree->SetLineColor(kOrange-3);
tree->SetMarkerColor(kOrange-3);
tree->SetLineWidth(3);
tree->Draw("south_t-lege_t","south_e>1405&&south_e<1411&&((lege_e>38.8&&lege_e<40.8)||(lege_e>44.8&&lege_e<47.2))","same");
TFile *_file0 = TFile::Open("F:/e21010/pxct/run0299_LEGe_MSD_241Am_Z7117_ChamberCenter_window1us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_cal.root");
//TFile *_file0 = TFile::Open("F:/e21010/pxct/run0075_LEGe_MSD_XtRa_241Am_inChamber_nocollimator_152Eu_outChamber_CFDdelay_adjusted_1511min_cal.root");
tree->SetLineColor(kAzure);
tree->SetMarkerColor(kAzure);
tree->SetLineWidth(3);
tree->Draw("lege_t-msd12_t","lege_e>59&&lege_e<60.1&&msd12_e>1700&&msd12_e<2200","same",7e7);
tree->SetLineWidth(3);
tree->SetLineColor(kMagenta);
tree->SetMarkerColor(kMagenta);
tree->Draw("lege_t-msd26_t","lege_e>59&&lege_e<60.1&&msd26_e>3300&&msd26_e<3800","same",7e7);
gPad->RedrawAxis();
canvaspeak->SaveAs("F:/e21010/pxct/Fig_Timing_All.png");

## Slide 8
Notes: Timing coincidence 241Am in Chamber with no collimator 152Eu outside of Chamber wall MSD LEGe XtRa
TFile *_file0 = TFile::Open("F:/e21010/pxct/run0075_LEGe_MSD_XtRa_241Am_inChamber_nocollimator_152Eu_outChamber_CFDdelay_adjusted_1511min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
gStyle->SetFrameLineWidth(3);
canvaspeak->SetFrameLineWidth(3);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 1500,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 2 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-850,550);
htimestamps->GetYaxis()->SetRangeUser(0,1700);
htimestamps->GetYaxis()->SetNdivisions(505);
htimestamps->GetYaxis()->SetTickLength(0.015);
htimestamps->SetLineColor(kViolet);
htimestamps->SetLineWidth(3);
tree->Draw("north_t-lege_t>>htimestamps","lege_e>10&&lege_e<430&&north_e>100&&north_e<1600","");
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(3);
tree->Draw("south_t-lege_t","lege_e>10&&lege_e<430&&south_e>100&&south_e<1600","same");
tree->SetLineColor(kRed);
tree->SetLineWidth(3);
tree->Draw("msd12_t-lege_t","lege_e>10&&lege_e<430&&msd12_e>500&&msd12_e<6000","same");
tree->SetLineWidth(3);
tree->SetLineColor(kAzure);
tree->Draw("msd26_t-lege_t","lege_e>10&&lege_e<430&&msd26_e>500&&msd26_e<6000","same");
gPad->RedrawAxis();
canvaspeak->SaveAs("F:/e21010/pxct/Timing_Run0075.png");

## Slide 9
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0216_0217_0218_LEGe_XtRa_MSD26_60Co_I7281_inChamber_vacuum_XtRa_12mm_away_window1us_CFDdelay_adjusted_AnalogGain1.0_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 1500,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 2 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-850,550);
htimestamps->GetYaxis()->SetRangeUser(0,1700);
htimestamps->GetYaxis()->SetNdivisions(505);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kRed);
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t>>htimestamps","lege_e>1150&&lege_e<1350&&north_e>1150&&north_e<1350","");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>1150&&lege_e<1350&&south_e>1150&&south_e<1350","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>1150&&north_e<1350&&south_e>1150&&south_e<1350","same");

## Slide 10
MSD12 CFD Delay 0.304 μs
All Ch. FastTrigDelay 0.64 μs
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0064_65_66_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_1460min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-1400,1000);
htimestamps->GetYaxis()->SetRangeUser(0,1200);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>10&&lege_e<400&&msd26_e>500&&msd26_e<6000");
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>10&&lege_e<400&&msd12_e>500&&msd12_e<6000","same");
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t","lege_e>10&&lege_e<400&&north_e>100&&north_e<1600","same");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>10&&lege_e<400&&south_e>100&&south_e<1600","same");
tree->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>100&&north_e<1600&&south_e>100&&south_e<1600","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-msd26_t","msd12_e>500&&msd12_e<6000&&msd26_e>500&&msd26_e<6000","same",2e6);

## Slide 11
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0064_65_66_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_1460min_cal.root");
TCanvas* msd26_lege = new TCanvas("msd26_lege", "msd26_lege", 1300, 800);//
msd26_lege->cd();//
msd26_lege->SetTopMargin(0.03);
msd26_lege->SetRightMargin(0.04);
msd26_lege->SetLeftMargin(0.13);
msd26_lege->SetBottomMargin(0.16);
TH1D* hmsd26_lege = new TH1D("hmsd26_lege", "hmsd26_lege", 3000,-1500,1500);
hmsd26_lege->SetLineWidth(2);
hmsd26_lege->Rebin(1);
hmsd26_lege->SetStats(0);
hmsd26_lege->SetTitle("");
hmsd26_lege->GetXaxis()->SetTitle("Time difference (ns)");
hmsd26_lege->GetYaxis()->SetTitle("Counts per 1 ns");
hmsd26_lege->GetXaxis()->CenterTitle();
hmsd26_lege->GetYaxis()->CenterTitle();
hmsd26_lege->GetXaxis()->SetLabelFont(132);
hmsd26_lege->GetYaxis()->SetLabelFont(132);
hmsd26_lege->GetXaxis()->SetLabelSize(0.06);
hmsd26_lege->GetYaxis()->SetLabelSize(0.06);
hmsd26_lege->GetXaxis()->SetTitleFont(132);
hmsd26_lege->GetYaxis()->SetTitleFont(132);
hmsd26_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd26_lege->GetYaxis()->SetTitleOffset(0.95);
hmsd26_lege->GetXaxis()->SetTitleSize(0.07);
hmsd26_lege->GetYaxis()->SetTitleSize(0.07);
hmsd26_lege->GetXaxis()->SetRangeUser(-1400,1000);
//hmsd26_lege->GetYaxis()->SetRangeUser(0,1200);
hmsd26_lege->SetLineWidth(2);
hmsd26_lege->SetLineColor(1);
tree->Draw("msd26_t-lege_t>>hmsd26_lege","lege_e>58&&lege_e<61&&msd26_e>1000&&msd26_e<6000");
gStyle->SetFrameLineWidth(2);
hmsd26_lege->SaveAs("F:/e21010/pxct/msd26_lege.root");
TCanvas* msd12_lege = new TCanvas("msd12_lege", "msd12_lege", 1300, 800);//
msd12_lege->cd();//
msd12_lege->SetTopMargin(0.03);
msd12_lege->SetRightMargin(0.04);
msd12_lege->SetLeftMargin(0.13);
msd12_lege->SetBottomMargin(0.16);
TH1D* hmsd12_lege = new TH1D("hmsd12_lege", "hmsd12_lege", 3000,-1500,1500);
hmsd12_lege->SetLineWidth(2);
hmsd12_lege->Rebin(1);
hmsd12_lege->SetStats(0);
hmsd12_lege->SetTitle("");
hmsd12_lege->GetXaxis()->SetTitle("Time difference (ns)");
hmsd12_lege->GetYaxis()->SetTitle("Counts per 1 ns");
hmsd12_lege->GetXaxis()->CenterTitle();
hmsd12_lege->GetYaxis()->CenterTitle();
hmsd12_lege->GetXaxis()->SetLabelFont(132);
hmsd12_lege->GetYaxis()->SetLabelFont(132);
hmsd12_lege->GetXaxis()->SetLabelSize(0.06);
hmsd12_lege->GetYaxis()->SetLabelSize(0.06);
hmsd12_lege->GetXaxis()->SetTitleFont(132);
hmsd12_lege->GetYaxis()->SetTitleFont(132);
hmsd12_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd12_lege->GetYaxis()->SetTitleOffset(0.95);
hmsd12_lege->GetXaxis()->SetTitleSize(0.07);
hmsd12_lege->GetYaxis()->SetTitleSize(0.07);
hmsd12_lege->GetXaxis()->SetRangeUser(-1400,1000);
//hmsd12_lege->GetYaxis()->SetRangeUser(0,1200);
hmsd12_lege->SetLineWidth(2);
hmsd12_lege->SetLineColor(1);
tree->Draw("msd12_t-lege_t>>hmsd12_lege","lege_e>58&&lege_e<61&&msd12_e>1000&&msd12_e<6000");
gStyle->SetFrameLineWidth(2);
hmsd12_lege->SaveAs("F:/e21010/pxct/msd12_lege.root");

## Slide 12
MSD12 CFD Delay 0.184 μs
All Ch. FastTrigDelay 0.64 μs
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0067_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_triggerfilter_adjusting_55min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-1400,1000);
htimestamps->GetYaxis()->SetRangeUser(0,55);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>5&&lege_e<400&&msd26_e>100&&msd26_e<6000");
gStyle->SetFrameLineWidth(2);
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>5&&lege_e<400&&msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t","lege_e>5&&lege_e<400&&north_e>20&&north_e<2100","same");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>5&&lege_e<400&&south_e>20&&south_e<2100","same");
tree->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>20&&north_e<2100&&south_e>20&&south_e<2100","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-msd26_t","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");

## Slide 13
MSD12 CFD Delay 0.240 μs
FastTrigDelay adjusted to align CFD timing of each channel
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0068_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_triggerfilter_adjusting_55min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-1400,1000);
htimestamps->GetYaxis()->SetRangeUser(0,55);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>5&&lege_e<400&&msd26_e>100&&msd26_e<6000");
gStyle->SetFrameLineWidth(2);
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>5&&lege_e<400&&msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t","lege_e>5&&lege_e<400&&north_e>20&&north_e<2100","same");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>5&&lege_e<400&&south_e>20&&south_e<2100","same");
tree->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>20&&north_e<2100&&south_e>20&&south_e<2100","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-msd26_t","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");

## Slide 14
MSD12 CFD Delay 0.240 μs
FastTrigDelay adjusted to align CFD timing of each channel
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0069_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_triggerfilter_adjusting_55min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-1400,1000);
htimestamps->GetYaxis()->SetRangeUser(0,55);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>5&&lege_e<400&&msd26_e>100&&msd26_e<6000");
gStyle->SetFrameLineWidth(2);
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>5&&lege_e<400&&msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t","lege_e>5&&lege_e<400&&north_e>20&&north_e<2100","same");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>5&&lege_e<400&&south_e>20&&south_e<2100","same");
tree->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>20&&north_e<2100&&south_e>20&&south_e<2100","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-msd26_t","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");

## Slide 15
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0072_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_triggerfilter_adjusting_55min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-1400,1000);
htimestamps->GetYaxis()->SetRangeUser(0,55);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>5&&lege_e<400&&msd26_e>100&&msd26_e<6000");
gStyle->SetFrameLineWidth(2);
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>5&&lege_e<400&&msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t","lege_e>5&&lege_e<400&&north_e>20&&north_e<2100","same");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>5&&lege_e<400&&south_e>20&&south_e<2100","same");
tree->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>20&&north_e<2100&&south_e>20&&south_e<2100","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-msd26_t","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");

## Slide 16
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0073_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_triggerfilter_adjusting_55min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-1400,1000);
htimestamps->GetYaxis()->SetRangeUser(0,55);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>5&&lege_e<400&&msd26_e>100&&msd26_e<6000");
gStyle->SetFrameLineWidth(2);
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>5&&lege_e<400&&msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t","lege_e>5&&lege_e<400&&north_e>20&&north_e<2100","same");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>5&&lege_e<400&&south_e>20&&south_e<2100","same");
tree->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>20&&north_e<2100&&south_e>20&&south_e<2100","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-msd26_t","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");

## Slide 17
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0074_LEGe_MSD_XtRa_241Am_inChamber_152Eu_outChamber_triggerfilter_adjusting_55min_cal.root");
//collimator removed
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-1400,1000);
htimestamps->GetYaxis()->SetRangeUser(0,150);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>5&&lege_e<400&&msd26_e>100&&msd26_e<6000");
gStyle->SetFrameLineWidth(2);
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>5&&lege_e<400&&msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t","lege_e>5&&lege_e<400&&north_e>20&&north_e<2100","same");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>5&&lege_e<400&&south_e>20&&south_e<2100","same");
tree->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>20&&north_e<2100&&south_e>20&&south_e<2100","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-msd26_t","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");

## Slide 18
MSD12 CFD Delay 0.240 μs
FastTrigDelay adjusted to align CFD timing of each channel
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0070_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_CFDdelay_adjusted_1035min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-1400,1000);
htimestamps->GetYaxis()->SetRangeUser(0,600);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>5&&lege_e<400&&msd26_e>100&&msd26_e<6000");
gStyle->SetFrameLineWidth(2);
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>5&&lege_e<400&&msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t","lege_e>5&&lege_e<400&&north_e>20&&north_e<2100","same");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>5&&lege_e<400&&south_e>20&&south_e<2100","same");
tree->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>20&&north_e<2100&&south_e>20&&south_e<2100","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-msd26_t","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");

## Slide 19
MSD12 CFD Delay 0.240 μs
FastTrigDelay adjusted to align CFD timing of each channel
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0070_71_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_CFDdelay_adjusted_2103min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 600,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 5 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-1400,1000);
htimestamps->GetYaxis()->SetRangeUser(0,1200);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>5&&lege_e<400&&msd26_e>100&&msd26_e<6000");
gStyle->SetFrameLineWidth(2);
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>5&&lege_e<400&&msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(2);
tree->SetLineWidth(2);
tree->Draw("north_t-lege_t","lege_e>5&&lege_e<400&&north_e>20&&north_e<2100","same");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("south_t-lege_t","lege_e>5&&lege_e<400&&south_e>20&&south_e<2100","same");
tree->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>20&&north_e<2100&&south_e>20&&south_e<2100","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_t-msd26_t","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");

## Slide 20
τ = 104.4 ± 1.4 ns
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 200; //241Am Timing MSD-LEGe
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "Timing_msd26_lege.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "hmsd26_lege"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = 500; gaphigh = 170; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);//pure peak
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 80, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 10000, 25000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 10, 120);//Tau
fEMG[ii]->SetParLimits(4, 20, 100);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, -650, -560);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(kViolet);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kViolet);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kViolet);
histo[i]->SetMarkerColor(kViolet);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kViolet);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kViolet);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 21
τ = 104.1 ± 0.8 ns
τ = 96.9 ± 1.0 ns (ENSDF)
τ = 104.4 ± 1.4 ns
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 200; //241Am Timing MSD-LEGe
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "Timing_msd12_lege.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "hmsd12_lege"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = 600; gaphigh = 240; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);//pure peak
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 80, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 15000, 25000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 10, 120);//Tau
fEMG[ii]->SetParLimits(4, 10, 100);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, -100, -45);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(kViolet);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kViolet);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kGreen + 1);
histo[i]->SetMarkerColor(kGreen + 1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kGreen + 1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kGreen + 1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 22
F:/e21010/pxct/run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_TimeStamp_shifted_cal.root
F:/e21010/pxct/run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_TimeStamp_notshifted_cal.root

## Slide 23
All MSD26–LEGe
5486 α- 59.5 γ coincidence
All MSD12–LEGe
5486 α- 59.5 γ coincidence
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0070_71_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_CFDdelay_adjusted_2103min_cal.root");
TCanvas* msd26_lege = new TCanvas("msd26_lege", "msd26_lege", 1300, 800);//
msd26_lege->cd();//
msd26_lege->SetTopMargin(0.03);
msd26_lege->SetRightMargin(0.04);
msd26_lege->SetLeftMargin(0.13);
msd26_lege->SetBottomMargin(0.16);
TH1D* hmsd26_lege = new TH1D("hmsd26_lege", "hmsd26_lege", 3000,-1500,1500);
hmsd26_lege->SetLineWidth(2);
hmsd26_lege->Rebin(1);
hmsd26_lege->SetStats(0);
hmsd26_lege->SetTitle("");
hmsd26_lege->GetXaxis()->SetTitle("Time difference (ns)");
hmsd26_lege->GetYaxis()->SetTitle("Counts per 1 ns");
hmsd26_lege->GetXaxis()->CenterTitle();
hmsd26_lege->GetYaxis()->CenterTitle();
hmsd26_lege->GetXaxis()->SetLabelFont(132);
hmsd26_lege->GetYaxis()->SetLabelFont(132);
hmsd26_lege->GetXaxis()->SetLabelSize(0.06);
hmsd26_lege->GetYaxis()->SetLabelSize(0.06);
hmsd26_lege->GetXaxis()->SetTitleFont(132);
hmsd26_lege->GetYaxis()->SetTitleFont(132);
hmsd26_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd26_lege->GetYaxis()->SetTitleOffset(0.95);
hmsd26_lege->GetXaxis()->SetTitleSize(0.07);
hmsd26_lege->GetYaxis()->SetTitleSize(0.07);
hmsd26_lege->GetXaxis()->SetRangeUser(-1400,1000);
//hmsd26_lege->GetYaxis()->SetRangeUser(0,1200);
hmsd26_lege->SetLineWidth(2);
hmsd26_lege->SetLineColor(kViolet);
//tree->Draw("msd26_t-lege_t>>hmsd26_lege","lege_e>5&&lege_e<200&&msd26_e>1000&&msd26_e<6000");
tree->SetLineColor(kViolet);
//tree->Draw("msd26_t-lege_t","lege_e>58&&lege_e<61&&msd26_e>3300&&msd26_e<4000","same");
tree->Draw("msd26_t-lege_t>>hmsd26_lege","lege_e>58&&lege_e<61&&msd26_e>3300&&msd26_e<4000");
gStyle->SetFrameLineWidth(2);
hmsd26_lege->SaveAs("F:/e21010/pxct/Timing_msd26_lege_run70_71.root");
TCanvas* msd12_lege = new TCanvas("msd12_lege", "msd12_lege", 1300, 800);//
msd12_lege->cd();//
msd12_lege->SetTopMargin(0.03);
msd12_lege->SetRightMargin(0.04);
msd12_lege->SetLeftMargin(0.13);
msd12_lege->SetBottomMargin(0.16);
TH1D* hmsd12_lege = new TH1D("hmsd12_lege", "hmsd12_lege", 3000,-1500,1500);
hmsd12_lege->SetLineWidth(2);
hmsd12_lege->Rebin(1);
hmsd12_lege->SetStats(0);
hmsd12_lege->SetTitle("");
hmsd12_lege->GetXaxis()->SetTitle("Time difference (ns)");
hmsd12_lege->GetYaxis()->SetTitle("Counts per 1 ns");
hmsd12_lege->GetXaxis()->CenterTitle();
hmsd12_lege->GetYaxis()->CenterTitle();
hmsd12_lege->GetXaxis()->SetLabelFont(132);
hmsd12_lege->GetYaxis()->SetLabelFont(132);
hmsd12_lege->GetXaxis()->SetLabelSize(0.06);
hmsd12_lege->GetYaxis()->SetLabelSize(0.06);
hmsd12_lege->GetXaxis()->SetTitleFont(132);
hmsd12_lege->GetYaxis()->SetTitleFont(132);
hmsd12_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd12_lege->GetYaxis()->SetTitleOffset(0.95);
hmsd12_lege->GetXaxis()->SetTitleSize(0.07);
hmsd12_lege->GetYaxis()->SetTitleSize(0.07);
hmsd12_lege->GetXaxis()->SetRangeUser(-1400,1000);
//hmsd12_lege->GetYaxis()->SetRangeUser(0,1200);
hmsd12_lege->SetLineWidth(2);
hmsd12_lege->SetLineColor(1);
//tree->Draw("msd12_t-lege_t>>hmsd12_lege","lege_e>5&&lege_e<200&&msd12_e>300&&msd12_e<6000");
hmsd12_lege->SetLineColor(kGreen+1);
//tree->Draw("msd12_t-lege_t","lege_e>58&&lege_e<61&&msd12_e>1600&&msd12_e<2100","same");
tree->Draw("msd12_t-lege_t>>hmsd12_lege","lege_e>58&&lege_e<61&&msd12_e>1600&&msd12_e<2100");
gStyle->SetFrameLineWidth(2);
hmsd12_lege->SaveAs("F:/e21010/pxct/Timing_msd12_lege_run70_71.root");

## Slide 24
τ = 104.7 ± 1.5 ns
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 200; //241Am Timing MSD-LEGe
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "Timing_msd26_lege_run70_71.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "hmsd26_lege"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = 600; gaphigh = 240; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);//pure peak
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 80, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 20000, 30000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 10, 120);//Tau
fEMG[ii]->SetParLimits(4, 10, 100);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, -100, -20);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(kViolet);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kViolet);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kViolet);
histo[i]->SetMarkerColor(kViolet);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kViolet);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kViolet);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 25
τ = 110.3 ± 1.7 ns
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 200; //241Am Timing MSD-LEGe
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "Timing_msd12_lege_run70_71.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "hmsd12_lege"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = 600; gaphigh = 240; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);//pure peak
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 80, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 20000, 30000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 10, 120);//Tau
fEMG[ii]->SetParLimits(4, 10, 100);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, -150, -90);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(kViolet);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kViolet);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kGreen + 1);
histo[i]->SetMarkerColor(kGreen + 1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kGreen + 1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kGreen + 1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 26
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0070_71_LEGe_MSD_XtRa_241Am_inChamber_2mmcollimator_152Eu_outChamber_CFDdelay_adjusted_2103min_cal.root");
TCanvas* msd26_lege = new TCanvas("msd26_lege", "msd26_lege", 1300, 800);//
msd26_lege->cd();//
msd26_lege->SetTopMargin(0.03);
msd26_lege->SetRightMargin(0.04);
msd26_lege->SetLeftMargin(0.13);
msd26_lege->SetBottomMargin(0.16);
TH1D* hmsd26_lege = new TH1D("hmsd26_lege", "hmsd26_lege", 3000,-1500,1500);
hmsd26_lege->SetLineWidth(2);
hmsd26_lege->Rebin(1);
hmsd26_lege->SetStats(0);
hmsd26_lege->SetTitle("");
hmsd26_lege->GetXaxis()->SetTitle("Time difference (ns)");
hmsd26_lege->GetYaxis()->SetTitle("Counts per 1 ns");
hmsd26_lege->GetXaxis()->CenterTitle();
hmsd26_lege->GetYaxis()->CenterTitle();
hmsd26_lege->GetXaxis()->SetLabelFont(132);
hmsd26_lege->GetYaxis()->SetLabelFont(132);
hmsd26_lege->GetXaxis()->SetLabelSize(0.06);
hmsd26_lege->GetYaxis()->SetLabelSize(0.06);
hmsd26_lege->GetXaxis()->SetTitleFont(132);
hmsd26_lege->GetYaxis()->SetTitleFont(132);
hmsd26_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd26_lege->GetYaxis()->SetTitleOffset(0.95);
hmsd26_lege->GetXaxis()->SetTitleSize(0.07);
hmsd26_lege->GetYaxis()->SetTitleSize(0.07);
hmsd26_lege->GetXaxis()->SetRangeUser(-1000,1400);
//hmsd26_lege->GetYaxis()->SetRangeUser(0,1200);
hmsd26_lege->SetLineWidth(2);
hmsd26_lege->SetLineColor(kViolet);
//tree->Draw("lege_t-msd26_t>>hmsd26_lege","lege_e>5&&lege_e<200&&msd26_e>1000&&msd26_e<6000");
tree->SetLineColor(kViolet);
//tree->Draw("lege_t-msd26_t","lege_e>58&&lege_e<61&&msd26_e>3300&&msd26_e<4000","same");
tree->Draw("lege_t-msd26_t>>hmsd26_lege","lege_e>58&&lege_e<61&&msd26_e>3300&&msd26_e<4000");
gStyle->SetFrameLineWidth(2);
hmsd26_lege->SaveAs("F:/e21010/pxct/Timing_lege_msd26_run70_71.root");
TCanvas* msd12_lege = new TCanvas("msd12_lege", "msd12_lege", 1300, 800);//
msd12_lege->cd();//
msd12_lege->SetTopMargin(0.03);
msd12_lege->SetRightMargin(0.04);
msd12_lege->SetLeftMargin(0.13);
msd12_lege->SetBottomMargin(0.16);
TH1D* hmsd12_lege = new TH1D("hmsd12_lege", "hmsd12_lege", 3000,-1500,1500);
hmsd12_lege->SetLineWidth(2);
hmsd12_lege->Rebin(1);
hmsd12_lege->SetStats(0);
hmsd12_lege->SetTitle("");
hmsd12_lege->GetXaxis()->SetTitle("Time difference (ns)");
hmsd12_lege->GetYaxis()->SetTitle("Counts per 1 ns");
hmsd12_lege->GetXaxis()->CenterTitle();
hmsd12_lege->GetYaxis()->CenterTitle();
hmsd12_lege->GetXaxis()->SetLabelFont(132);
hmsd12_lege->GetYaxis()->SetLabelFont(132);
hmsd12_lege->GetXaxis()->SetLabelSize(0.06);
hmsd12_lege->GetYaxis()->SetLabelSize(0.06);
hmsd12_lege->GetXaxis()->SetTitleFont(132);
hmsd12_lege->GetYaxis()->SetTitleFont(132);
hmsd12_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd12_lege->GetYaxis()->SetTitleOffset(0.95);
hmsd12_lege->GetXaxis()->SetTitleSize(0.07);
hmsd12_lege->GetYaxis()->SetTitleSize(0.07);
hmsd12_lege->GetXaxis()->SetRangeUser(-1000,1400);
//hmsd12_lege->GetYaxis()->SetRangeUser(0,1200);
hmsd12_lege->SetLineWidth(2);
hmsd12_lege->SetLineColor(1);
//tree->Draw("lege_t-msd12_t>>hmsd12_lege","lege_e>5&&lege_e<200&&msd12_e>300&&msd12_e<6000");
hmsd12_lege->SetLineColor(kGreen+1);
//tree->Draw("lege_t-msd12_t","lege_e>58&&lege_e<61&&msd12_e>1600&&msd12_e<2100","same");
tree->Draw("lege_t-msd12_t>>hmsd12_lege","lege_e>58&&lege_e<61&&msd12_e>1600&&msd12_e<2100");
gStyle->SetFrameLineWidth(2);
hmsd12_lege->SaveAs("F:/e21010/pxct/Timing_lege_msd12_run70_71.root");

## Slide 27
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0076_LEGe_MSD_241Am_inChamber_window1us_742min_cal.root");
TCanvas* lege_msd26 = new TCanvas("lege_msd26", "lege_msd26", 1400, 540);//
lege_msd26->cd();//
lege_msd26->SetTopMargin(0.03);
lege_msd26->SetRightMargin(0.04);
lege_msd26->SetLeftMargin(0.13);
lege_msd26->SetBottomMargin(0.16);
gStyle->SetFrameLineWidth(2);
TH1D* hlege_msd26 = new TH1D("hlege_msd26", "hlege_msd26", 3000,-1500,1500);
hlege_msd26->SetLineWidth(2);
hlege_msd26->Rebin(1);
hlege_msd26->SetStats(0);
hlege_msd26->SetTitle("");
hlege_msd26->GetXaxis()->SetTitle("Time difference (ns)");
hlege_msd26->GetYaxis()->SetTitle("Counts per 1 ns");
hlege_msd26->GetXaxis()->CenterTitle();
hlege_msd26->GetYaxis()->CenterTitle();
hlege_msd26->GetXaxis()->SetLabelFont(132);
hlege_msd26->GetYaxis()->SetLabelFont(132);
hlege_msd26->GetXaxis()->SetLabelSize(0.06);
hlege_msd26->GetYaxis()->SetLabelSize(0.06);
hlege_msd26->GetXaxis()->SetTitleFont(132);
hlege_msd26->GetYaxis()->SetTitleFont(132);
hlege_msd26->GetXaxis()->SetTitleOffset(1.1);
hlege_msd26->GetYaxis()->SetTitleOffset(0.95);
hlege_msd26->GetXaxis()->SetTitleSize(0.07);
hlege_msd26->GetYaxis()->SetTitleSize(0.07);
hlege_msd26->GetXaxis()->SetRangeUser(-1000,1000);
//hlege_msd26->GetYaxis()->SetRangeUser(0,1200);
hlege_msd26->SetLineWidth(2);
hlege_msd26->SetLineColor(1);
tree->Draw("lege_t-msd26_t>>hlege_msd26","lege_e>5&&lege_e<200&&msd26_e>1000&&msd26_e<6000");
tree->SetLineWidth(2);
tree->SetLineColor(kViolet);
tree->Draw("lege_t-msd26_t","lege_e>58&&lege_e<61&&msd26_e>3300&&msd26_e<3800","same");
hlege_msd26->SetLineColor(kViolet);
tree->Draw("lege_t-msd26_t>>hlege_msd26","lege_e>58&&lege_e<61&&msd26_e>3300&&msd26_e<3800");
hlege_msd26->SaveAs("F:/e21010/pxct/Timing_lege_msd26_run76.root");
TCanvas* lege_msd12 = new TCanvas("lege_msd12", "lege_msd12", 1400, 540);//
lege_msd12->cd();//
lege_msd12->SetTopMargin(0.03);
lege_msd12->SetRightMargin(0.04);
lege_msd12->SetLeftMargin(0.13);
lege_msd12->SetBottomMargin(0.16);
gStyle->SetFrameLineWidth(2);
TH1D* hlege_msd12 = new TH1D("hlege_msd12", "hlege_msd12", 3000,-1500,1500);
hlege_msd12->SetLineWidth(2);
hlege_msd12->Rebin(1);
hlege_msd12->SetStats(0);
hlege_msd12->SetTitle("");
hlege_msd12->GetXaxis()->SetTitle("Time difference (ns)");
hlege_msd12->GetYaxis()->SetTitle("Counts per 1 ns");
hlege_msd12->GetXaxis()->CenterTitle();
hlege_msd12->GetYaxis()->CenterTitle();
hlege_msd12->GetXaxis()->SetLabelFont(132);
hlege_msd12->GetYaxis()->SetLabelFont(132);
hlege_msd12->GetXaxis()->SetLabelSize(0.06);
hlege_msd12->GetYaxis()->SetLabelSize(0.06);
hlege_msd12->GetXaxis()->SetTitleFont(132);
hlege_msd12->GetYaxis()->SetTitleFont(132);
hlege_msd12->GetXaxis()->SetTitleOffset(1.1);
hlege_msd12->GetYaxis()->SetTitleOffset(0.95);
hlege_msd12->GetXaxis()->SetTitleSize(0.07);
hlege_msd12->GetYaxis()->SetTitleSize(0.07);
hlege_msd12->GetXaxis()->SetRangeUser(-1400,1000);
//hlege_msd12->GetYaxis()->SetRangeUser(0,1200);
hlege_msd12->SetLineWidth(2);
hlege_msd12->SetLineColor(1);
tree->Draw("lege_t-msd12_t>>hlege_msd12","lege_e>5&&lege_e<200&&msd12_e>300&&msd12_e<6000");
tree->SetLineWidth(2);
tree->SetLineColor(kGreen+1);
tree->Draw("lege_t-msd12_t","lege_e>58&&lege_e<61&&msd12_e>1700&&msd12_e<2200","same");
hlege_msd12->SetLineColor(kGreen+1);
tree->Draw("lege_t-msd12_t>>hlege_msd12","lege_e>58&&lege_e<61&&msd12_e>1700&&msd12_e<2200");
hlege_msd12->SaveAs("F:/e21010/pxct/Timing_lege_msd12_run76.root");

## Slide 28
Run76

## Slide 29
Run76
Run76

## Slide 30
Run76
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "Timing_lege_msd26_run76.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "hlege_msd26"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = 200; gaphigh = 1000; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 80, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 40000, 70000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 10, 120);//Tau
fEMG[ii]->SetParLimits(4, 10, 100);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, -200, -80);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(kViolet);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kViolet);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kViolet);
histo[i]->SetMarkerColor(kViolet);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kViolet);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kViolet);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 31
Final timing filter parameters set for
Run 75, 77, 78, 79, 80, 81, 82, 83, 84, 85

## Slide 32
Range: 4.8 μs
Bin Size: 80 ns
Run77,78,79,80 etc

## Slide 33
Range: 4.8 μs
Bin Size: 80 ns
Run77,78,79,80 etc

## Slide 34
Range: 4.8 μs
Bin Size: 80 ns
Run77,78,79,80 etc

## Slide 35
Run77,78,79,80 etc
With a 5-mm washer in front of 241Am Z7117

## Slide 36
Run70
17 h 15 min
Run71
17 h 48 min
Run79
26 h
Run80
38 h
run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_TimeStamp_notshifted_cal.root
run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_TimeStamp_shifted_cal.root

## Slide 37
TFile *_file0 = TFile::Open("run0007.root");
.L /usr/opt/ddas/6.1-001/lib/libddaschannel.so
TTree* pTree;
_file0->GetObject("dchan", pTree);
int totalentries = pTree->GetEntries();
DDASEvent* pEvent = new DDASEvent;
std::vector <ddaschannel*> pChan;
pTree->SetBranchAddress("ddasevent", &pEvent);
pTree->GetEntry(totalentries - 1);
pChan = pEvent->GetData();
std::cout << totalentries << " " << std::fixed << std::setprecision(1) << pChan[0]->GetTime() << std::endl;
std::cout << totalentries / (pChan[0]->GetTime()/1e9) << std::endl;
std::cout << (pChan[0]->GetTime()/1e9/3600.0) << std::endl;
TH1* pHist = new TH1F("pHist", "Multiplicity; Multiplicity; Counts", 12, 0, 6);
for (int i=0; i<pTree->GetEntries(); ++i) {
pTree->GetEntry(i);
pHist->Fill(pEvent->GetNEvents());
}
pHist->Draw();
//pHist->GetYaxis()->SetRangeUser(0.5,1e6);
93581673659904.3
Notes: Formal way to get Total Entries and Time in unit of ns
Extract/get the last events/get last events/get last counts

## Slide 38
Notes: How to combine multiple root files with consecutive timestamps
const int N=tree->GetEntries();
tree->Scan("lege_t:msd12_t:msd26_t","","",20,N-20);
tree->Show(N-1);
const int N=dchan->GetEntries();
dchan->Scan("time","chanid==8","",1,N-1);
dchan->Show(N-1);
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0079_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_1560min_cal.root");

## Slide 39
Notes: TFile *_file1 = TFile::Open("F:/e21010/pxct/run0079_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_1560min_cal.root");

## Slide 40
109 ns
8 ns
MSD26
MSD12
LEGe
1948 keV
3505 keV
59.4 keV
Notes: Timestamp demonstration. This is the first ΔE-E-X triple coincidence. These coincidences only occur once per second on average.
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0079_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_1560min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 553);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.05);
canvaspeak->SetLeftMargin(0.09);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 50000000,0,50000000);
htimestamps->SetLineWidth(3);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time (#mus)");
htimestamps->GetYaxis()->SetTitle("Events per 1 #mus");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.6);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
//htimestamps->GetXaxis()->SetRangeUser(-1000,1000);
//htimestamps->GetYaxis()->SetRangeUser(0,200);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("msd26_t>>htimestamps","msd26_e>200&&msd26_e<6000");
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("msd12_t","msd12_e>200&&msd12_e<6000","same");
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("lege_t","lege_e>5&&lege_e<400","same");

## Slide 41
Notes: TFile *_file1 = TFile::Open("F:/e21010/pxct/run0079_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_1560min_cal.root");
ΔE-E-X coincidences only occur a few times per second.

## Slide 42
Run78
Run79+80 timestamp shifted thick line
Run79+80 timestamps not shifted thin line
No difference in relative time within an event
Run79 26 hours
Run80 38 hours
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 3000,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 1 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-800,300);
//htimestamps->GetYaxis()->SetRangeUser(0,200);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet+3);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>5&&lege_e<400&&msd26_e>100&&msd26_e<6000");
tree->SetLineColor(kGreen+4);
tree->SetLineWidth(2);
tree->Draw("msd12_t-lege_t","lege_e>5&&lege_e<400&&msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(kGreen+3);
tree->Draw("msd12_t-lege_t","lege_e>58.5&&lege_e<60.5&&msd12_e>1700&&msd12_e<2200","same");
tree->SetLineColor(kViolet+2);
tree->Draw("msd26_t-lege_t","lege_e>58.5&&lege_e<60.5&&msd26_e>3300&&msd26_e<3800","same");
tree->SetLineColor(kGreen+1);
tree->Draw("msd12_t-lege_t", "lege_e>58.5&&lege_e<60.5&&msd12_e>1700&&msd12_e<2200&&msd26_e>3300&&msd26_e<3800&&msd12_e+msd26_e>5370&&msd12_e+msd26_e<5560","same");
tree->SetLineColor(kViolet);
tree->Draw("msd26_t-lege_t", "lege_e>58.5&&lege_e<60.5&&msd12_e>1700&&msd12_e<2200&&msd26_e>3300&&msd26_e<3800&&msd12_e+msd26_e>5370&&msd12_e+msd26_e<5560","same");

## Slide 43
Notes: run0079_80_81_82_83_84_85_86_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_29708min_cal

## Slide 44
Notes: run0079_80_81_82_83_84_85_86_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_29708min_cal
tree->SetLineColor(2);
tree->Draw("msd26_t-lege_t>>htimestamps","lege_e>65&&msd26_e>200");
tree->SetLineColor(4);
tree->Draw("msd12_t-lege_t","lege_e>65&&msd12_e>200","same");

## Slide 45
Silicon-GeDSSD-SeGA coinc.
MSD12-MSD26-LEGe coinc.

## Slide 46
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd26"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD26 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = 400; gaphigh = 1400; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 80, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 80, 120);//Tau
fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(kViolet+1);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kViolet+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kViolet+1);
histo[i]->SetMarkerColor(kViolet+1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Time difference (ns)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kViolet+1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kViolet+1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 47
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd12"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD12 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = 400; gaphigh = 1400; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 80, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 80, 120);//Tau
fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(kGreen+1);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kGreen+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kGreen+1);
histo[i]->SetMarkerColor(kGreen+1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Time difference (ns)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kGreen+1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kGreen+1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 48
T1/2 = (67.45±0.26) ns
p value = 0.99995
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd26"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD26 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = 50; gaphigh = 1400; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 100, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 80, 120);//Tau
fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(kViolet+1);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kViolet+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kViolet+1);
histo[i]->SetMarkerColor(kViolet+1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Time difference (ns)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kViolet+1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kViolet+1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 49
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_expdecay_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd26"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD26 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = -80; gaphigh = 1400; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*0.693147/[1]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(10000,70,1);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
//fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 100, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
// fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
// fEMG[ii]->SetParLimits(3, 80, 120);//Tau
// fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
// fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
// fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("Total_decays", "Half_life", "Background");
//fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
//g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
//g[ii]->SetLineColor(kViolet+1);
//p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
//p[ii]->SetLineColor(kViolet+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
//b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
//b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kViolet+1);
histo[i]->SetMarkerColor(kViolet+1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
//b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
// peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
// peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
// peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
// inflation_factor = 1;
// constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
// tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
// sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
// mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
// FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
//
// Double_t topy, topx, lower_half, higher_half;
// topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
// topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
// lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
// higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
// FWHM[ii] = higher_half - lower_half;
//
// outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Total decays%d=%.4f%s%.4f", ii, par[ii][0], "+/-", par_err[ii][0]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Half-life%d=%.6f%s%.6f", ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Background%d=%.6f%s%.6f", ii, par[ii][2], "+/-", par_err[ii][2]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Time difference (ns)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kViolet+1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kViolet+1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 50
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_expdecay_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd26"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD26 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = -80; gaphigh = 1400; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*0.693147/[1]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(10000,70,1);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
//fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 100, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
// fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
// fEMG[ii]->SetParLimits(3, 80, 120);//Tau
// fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
// fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
// fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("Total_decays", "Half_life", "Background");
//fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
//g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
//g[ii]->SetLineColor(kViolet+1);
//p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
//p[ii]->SetLineColor(kViolet+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
//b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
//b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kViolet+1);
histo[i]->SetMarkerColor(kViolet+1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
//b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
// peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
// peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
// peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
// inflation_factor = 1;
// constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
// tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
// sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
// mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
// FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
//
// Double_t topy, topx, lower_half, higher_half;
// topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
// topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
// lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
// higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
// FWHM[ii] = higher_half - lower_half;
//
// outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Total decays%d=%.4f%s%.4f", ii, par[ii][0], "+/-", par_err[ii][0]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Half-life%d=%.6f%s%.6f", ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Background%d=%.6f%s%.6f", ii, par[ii][2], "+/-", par_err[ii][2]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Time difference (ns)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kViolet+1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kViolet+1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 51
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_expdecay_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd26"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD26 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = -180; gaphigh = 1400; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*0.693147/[1]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(10000, 70, 1);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
//fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 100, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
// fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
// fEMG[ii]->SetParLimits(3, 80, 120);//Tau
// fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
// fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
// fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("Total_decays", "Half_life", "Background");
//fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
//g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
//g[ii]->SetLineColor(kViolet+1);
//p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
//p[ii]->SetLineColor(kViolet+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
//b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
//b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kViolet + 1);
histo[i]->SetMarkerColor(kViolet + 1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
//b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
// peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
// peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
// peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
// inflation_factor = 1;
// constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
// tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
// sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
// mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
// FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
//
// Double_t topy, topx, lower_half, higher_half;
// topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
// topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
// lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
// higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
// FWHM[ii] = higher_half - lower_half;
//
// outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Total decays%d=%.4f%s%.4f", ii, par[ii][0], "+/-", par_err[ii][0]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Half-life%d=%.6f%s%.6f", ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Background%d=%.6f%s%.6f", ii, par[ii][2], "+/-", par_err[ii][2]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Time difference (ns)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kViolet + 1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kViolet + 1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 52
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_expdecay_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd26"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD26 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = -180; gaphigh = 700; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*0.693147/[1]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(10000, 70, 1);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
//fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 100, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
// fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
// fEMG[ii]->SetParLimits(3, 80, 120);//Tau
// fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
// fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
// fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("Total_decays", "Half_life", "Background");
//fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
//g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
//g[ii]->SetLineColor(kViolet+1);
//p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
//p[ii]->SetLineColor(kViolet+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
//b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
//b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kViolet + 1);
histo[i]->SetMarkerColor(kViolet + 1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
//b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
// peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
// peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
// peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
// inflation_factor = 1;
// constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
// tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
// sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
// mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
// FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
//
// Double_t topy, topx, lower_half, higher_half;
// topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
// topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
// lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
// higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
// FWHM[ii] = higher_half - lower_half;
//
// outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Total decays%d=%.4f%s%.4f", ii, par[ii][0], "+/-", par_err[ii][0]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Half-life%d=%.6f%s%.6f", ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Background%d=%.6f%s%.6f", ii, par[ii][2], "+/-", par_err[ii][2]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Time difference (ns)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kViolet + 1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kViolet + 1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 53
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_expdecay_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd12"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD12 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = -90; gaphigh = 1400; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*0.693147/[1]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(10000,70,1);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
//fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 100, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
// fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
// fEMG[ii]->SetParLimits(3, 80, 120);//Tau
// fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
// fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
// fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("Total_decays", "Half_life", "Background");
//fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
//g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
//g[ii]->SetLineColor(kGreen+1);
//p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
//p[ii]->SetLineColor(kGreen+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
//b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
//b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kGreen+1);
histo[i]->SetMarkerColor(kGreen+1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
//b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
// peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
// peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
// peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
// inflation_factor = 1;
// constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
// tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
// sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
// mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
// FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
//
// Double_t topy, topx, lower_half, higher_half;
// topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
// topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
// lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
// higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
// FWHM[ii] = higher_half - lower_half;
//
// outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Total decays%d=%.4f%s%.4f", ii, par[ii][0], "+/-", par_err[ii][0]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Half-life%d=%.6f%s%.6f", ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Background%d=%.6f%s%.6f", ii, par[ii][2], "+/-", par_err[ii][2]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Time difference (ns)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kGreen+1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kGreen+1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 54
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd26"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD26 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = 50; gaphigh = 1400; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 100, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 80, 120);//Tau
fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(kViolet+1);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kViolet+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kViolet+1);
histo[i]->SetMarkerColor(kViolet+1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kViolet+1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kViolet+1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 55
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_expdecay_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd12"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD12 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = -180; gaphigh = 1400; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*0.693147/[1]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(10000,70,1);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
//fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 100, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
// fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
// fEMG[ii]->SetParLimits(3, 80, 120);//Tau
// fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
// fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
// fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("Total_decays", "Half_life", "Background");
//fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
//g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
//g[ii]->SetLineColor(kGreen+1);
//p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
//p[ii]->SetLineColor(kGreen+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
//b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
//b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kGreen+1);
histo[i]->SetMarkerColor(kGreen+1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
//b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
// peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
// peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
// peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
// inflation_factor = 1;
// constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
// tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
// sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
// mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
// FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
//
// Double_t topy, topx, lower_half, higher_half;
// topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
// topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
// lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
// higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
// FWHM[ii] = higher_half - lower_half;
//
// outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Total decays%d=%.4f%s%.4f", ii, par[ii][0], "+/-", par_err[ii][0]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Half-life%d=%.6f%s%.6f", ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Background%d=%.6f%s%.6f", ii, par[ii][2], "+/-", par_err[ii][2]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Time difference (ns)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kGreen+1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kGreen+1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 56
Measurements | PTB, Germany, 2021 | Sofia, Bulgaria & LNHB, France, 2021 | PXCT, FRIB, 2023
α detector | Ultima Gold AB liquid scintillator | UltimaGold Cocktail liquid scintillator | Silicon
γ detector | CeBr3 | CdTe | HPGe
Digitizer | CAEN N6751C | CAEN DT5751 | XIA Pixie-16
Sampling rate (MHz) | 1000 (2000 configurable) | 1000 (2000 configurable) | 250
Timing resolution | 1 ns resolution (1 ps fine time stamp resolution with digital CFD) | 1 ns resolution (1 ps fine time stamp resolution with digital CFD) | 
T1/2 237Np, 59.54 (ns) | 67.86±0.09 | 67.60±0.25 | We'll see
Notes: Lifetime measurement of the 237Np 59.54-keV level

## Slide 57
1952Be47
1968Ob02
1971Ga16
1972Mc12
1972Mi23

## Slide 58
1971Ga16
1972Mc12
1972Mi23
2021Du16
D T
2021Ta16
LS-γ LS-LS
EMG EXP
2023PXCT
MSD26
2023PXCT
MSD12
EMG EXP

## Slide 60
Runs 79-83
271 hours

## Slide 61
Runs 79-86
495 hours

## Slide 62
Runs 79-86
495 hours

## Slide 66
520.4 hours of data
Zoom-in

## Slide 67
Notes: emcee

## Slide 68
Takacs (2021)
Dutsov (2021)
67.60 0.25
Notes: Evaluation

## Slide 69
Hi Lijie,
I spent some more time researching the Mossbauer effect, mainly to see if the improved 237Np lifetime result can be of use. One of the most specific resources I found is the attached one, which says in Section III 2 and Section VI that the 237Np resonance is normally observed to be much broader than the natural line width and it seems to be a bit of a mystery. It would be interesting to learn if anything new has been published about understanding this since then (I haven’t had a chance to look into it yet).
With the extra broadening, I can see how people don’t worry about the natural life width (i.e. lifetime) since the resolution is dominated by other factors. That makes it difficult to argue that our accurate/precise lifetime is useful for Mossbauer effect applications. On the other hand, we might be able to argue that if we want to understand/solve the extra broadening in detail, then we need to know the natural linewidth.
I looked at PRX and now I think it might be hard to publish this there. But maybe in PR Applied(?)
Best,
Chris

## Slide 70
Notes: Decay scheme of 241Am

## Slide 71
Run 92
15 hours

## Slide 73
LEGe_t – MSD12,26_t
10/30/2023 – 12/12/2023
949 hours
LEGe_t – MSD26_t
12/20/2023 – 1/3/2024
325 hours

## Slide 74
Eα = 5485.56(12) keV, Iα = 84.8(5)%
Eα = 5442.80(13) keV, Iα = 13.1(3)%
5485.56
59.54
5442.80
102.96
80(40) ps
Notes: sum_0092_0095_LEGe_MSD26_241Am_inChamber_2mmCollimator_window1.5us_CFDdelay_adjusted_cal.root TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
hmsd26_e->SetLineWidth(2);
//hmsd26_e->Rebin(2);
hmsd26_e->SetLineColor(2);
hmsd26_e->SetStats(0);
hmsd26_e->SetTitle("");
hmsd26_e->GetXaxis()->SetTitle("Energy (keV)");
hmsd26_e->GetYaxis()->SetTitle("Counts per 115 eV");
hmsd26_e->GetXaxis()->CenterTitle();
hmsd26_e->GetYaxis()->CenterTitle();
hmsd26_e->GetXaxis()->SetLabelFont(132);
hmsd26_e->GetYaxis()->SetLabelFont(132);
hmsd26_e->GetXaxis()->SetLabelSize(0.06);
hmsd26_e->GetYaxis()->SetLabelSize(0.06);
hmsd26_e->GetXaxis()->SetTitleFont(132);
hmsd26_e->GetYaxis()->SetTitleFont(132);
hmsd26_e->GetXaxis()->SetTitleOffset(1.0);
hmsd26_e->GetYaxis()->SetTitleOffset(0.72);
hmsd26_e->GetXaxis()->SetTitleSize(0.07);
hmsd26_e->GetYaxis()->SetTitleSize(0.07);
hmsd26_e->GetXaxis()->SetNdivisions(505);
hmsd26_e->GetXaxis()->SetTickLength(0.02);
hmsd26_e->GetYaxis()->SetTickLength(0.02);
hmsd26_e->GetXaxis()->SetRangeUser(5101,5600);
//hmsd26_e->GetYaxis()->SetRangeUser(1,20000);
hmsd26_e->Draw("hist");
gPad->SetFrameLineWidth(2);
gPad->SetLogy();
hlege_e->SetLineWidth(2);
hlege_e->Rebin(1);
hlege_e->SetLineColor(4);
hlege_e->SetStats(0);
hlege_e->SetTitle("");
hlege_e->GetXaxis()->SetTitle("Energy (keV)");
hlege_e->GetYaxis()->SetTitle("Counts per 7 eV");
hlege_e->GetXaxis()->CenterTitle();
hlege_e->GetYaxis()->CenterTitle();
hlege_e->GetXaxis()->SetLabelFont(132);
hlege_e->GetYaxis()->SetLabelFont(132);
hlege_e->GetXaxis()->SetLabelSize(0.05);
hlege_e->GetYaxis()->SetLabelSize(0.05);
hlege_e->GetXaxis()->SetTitleFont(132);
hlege_e->GetYaxis()->SetTitleFont(132);
hlege_e->GetXaxis()->SetTitleOffset(1.0);
hlege_e->GetYaxis()->SetTitleOffset(1.0);
hlege_e->GetXaxis()->SetTitleSize(0.06);
hlege_e->GetYaxis()->SetTitleSize(0.06);
hlege_e->GetYaxis()->SetTickLength(0.02);
hlege_e->GetXaxis()->SetRangeUser(0,65);
hlege_e->GetYaxis()->SetNdivisions(505);
//hlege_e->GetYaxis()->SetRangeUser(1,20000);
hlege_e->Draw("hist");

## Slide 75
59.5
26.3
33.2

## Slide 76
5485.56-α-gated γ spec
26.3
33.2
59.5
Notes: tree->Draw("lege_e>>hlege_e","msd26_e>5480&&msd26_e<5491")

## Slide 77
Notes: alpha gamma coincidence spec MSD LEGe
TCanvas* canvaspeak = new TCanvas("MSD", "MSD", 890, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetLogz();
canvaspeak->SetFrameLineWidth(2);
TH2D* hmsd_lege = new TH2D("hmsd_lege", "hmsd_lege", 2000,0,100,6000,0,6000); // x,y
tree->Draw("msd26_e:lege_e>>hmsd_lege","msd26_e>200&&msd26_e<6000&&lege_e>5&&lege_e<400","colz"); // y:x
//tree->Draw("(msd12_e+msd26_e):lege_e>>hmsd_lege","msd12_e>200&&msd12_e<6000&&msd26_e>200&&msd26_e<6000&&lege_e>5&&lege_e<400&&msd12_t-msd26_t>200&&msd12_t-msd26_t<650&&msd12_t-lege_t>-500&&msd12_t-lege_t<100&&msd26_t-lege_t>-1000&&msd26_t-lege_t<-500","colz"); // y:x
hmsd_lege->SetStats(0);
hmsd_lege->SetTitle("");
hmsd_lege->GetXaxis()->SetTitle("LEGe Energy (keV)");
hmsd_lege->GetYaxis()->SetTitle("MSD26 Energy (keV)");
hmsd_lege->GetXaxis()->CenterTitle();
hmsd_lege->GetYaxis()->CenterTitle();
hmsd_lege->GetXaxis()->SetLabelFont(132);
hmsd_lege->GetYaxis()->SetLabelFont(132);
hmsd_lege->GetXaxis()->SetLabelSize(0.05);
hmsd_lege->GetYaxis()->SetLabelSize(0.05);
hmsd_lege->GetXaxis()->SetTitleFont(132);
hmsd_lege->GetYaxis()->SetTitleFont(132);
hmsd_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd_lege->GetYaxis()->SetTitleOffset(1.4);
hmsd_lege->GetXaxis()->SetTitleSize(0.06);
hmsd_lege->GetYaxis()->SetTitleSize(0.06);
hmsd_lege->GetYaxis()->SetNdivisions(505);
hmsd_lege->GetXaxis()->SetRangeUser(25,63);
hmsd_lege->GetYaxis()->SetRangeUser(4600,5600);
hmsd_lege->SetMinimum(1);
//hmsd_lege->SetMaximum(100);
hmsd_lege->SetContour(99);
TPaletteAxis *palette = (TPaletteAxis*)hmsd_lege->GetListOfFunctions()->FindObject("palette");
gStyle->SetPalette(kRainbow);
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(2);

## Slide 78
Notes: tree->Draw("lege_t-msd26_t:msd26_e","lege_e > 59 && lege_e < 60.1 && msd26_e > 5200 && msd26_e < 5600 && lege_t-msd26_t>0 && lege_t-msd26_t<1000","cont4");

## Slide 79
Notes: No longer-lived states above the 59.5-keV state

## Slide 80
LEGe_t – MSD26_t
12/20/2023 – 1/3/2024
325 hours
5350 < Eα < 5600
59 < Eγ < 60.1
5480 < Eα < 5491
59 < Eγ < 60.1
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0092_93_94_95_LEGe_MSD26_241Am_inChamber_2mmCollimator_window1.5us_CFDdelay_adjusted_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
hmsd26_e->SetLineWidth(2);
//hmsd26_e->Rebin(2);
hmsd26_e->SetLineColor(2);
hmsd26_e->SetStats(0);
hmsd26_e->SetTitle("");
hmsd26_e->GetXaxis()->SetTitle("Energy (keV)");
hmsd26_e->GetYaxis()->SetTitle("Counts per 115 eV");
hmsd26_e->GetXaxis()->CenterTitle();
hmsd26_e->GetYaxis()->CenterTitle();
hmsd26_e->GetXaxis()->SetLabelFont(132);
hmsd26_e->GetYaxis()->SetLabelFont(132);
hmsd26_e->GetXaxis()->SetLabelSize(0.06);
hmsd26_e->GetYaxis()->SetLabelSize(0.06);
hmsd26_e->GetXaxis()->SetTitleFont(132);
hmsd26_e->GetYaxis()->SetTitleFont(132);
hmsd26_e->GetXaxis()->SetTitleOffset(1.0);
hmsd26_e->GetYaxis()->SetTitleOffset(0.8);
hmsd26_e->GetXaxis()->SetTitleSize(0.07);
hmsd26_e->GetYaxis()->SetTitleSize(0.07);
hmsd26_e->GetXaxis()->SetNdivisions(505);
hmsd26_e->GetXaxis()->SetTickLength(0.02);
hmsd26_e->GetYaxis()->SetTickLength(0.02);
hmsd26_e->GetXaxis()->SetRangeUser(5350,5600);
//hmsd26_e->GetYaxis()->SetRangeUser(1,20000);
hmsd26_e->Draw("hist");
gPad->SetFrameLineWidth(2);
gPad->SetLogy();
hlege_e->SetLineWidth(2);
hlege_e->Rebin(1);
hlege_e->SetLineColor(4);
hlege_e->SetStats(0);
hlege_e->SetTitle("");
hlege_e->GetXaxis()->SetTitle("Energy (keV)");
hlege_e->GetYaxis()->SetTitle("Counts per 7 eV");
hlege_e->GetXaxis()->CenterTitle();
hlege_e->GetYaxis()->CenterTitle();
hlege_e->GetXaxis()->SetLabelFont(132);
hlege_e->GetYaxis()->SetLabelFont(132);
hlege_e->GetXaxis()->SetLabelSize(0.06);
hlege_e->GetYaxis()->SetLabelSize(0.06);
hlege_e->GetXaxis()->SetTitleFont(132);
hlege_e->GetYaxis()->SetTitleFont(132);
hlege_e->GetXaxis()->SetTitleOffset(1.0);
hlege_e->GetYaxis()->SetTitleOffset(0.8);
hlege_e->GetXaxis()->SetTitleSize(0.07);
hlege_e->GetYaxis()->SetTitleSize(0.07);
hlege_e->GetYaxis()->SetTickLength(0.02);
hlege_e->GetXaxis()->SetRangeUser(57,62);
hlege_e->GetYaxis()->SetNdivisions(505);
//hlege_e->GetYaxis()->SetRangeUser(1,20000);
hlege_e->Draw("hist");
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 3000,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 1 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(0,1100);
//htimestamps->GetYaxis()->SetRangeUser(0,200);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet+1);
tree->Draw("lege_t-msd26_t>>htimestamps","lege_e > 59 && lege_e < 60.1 && msd26_e > 5480 && msd26_e < 5491");
tree->Draw("lege_t-msd26_t>>htimestamps","lege_e > 59 && lege_e < 60.1 && msd26_e > 5350 && msd26_e < 5600");

## Slide 81
5350 < Eα < 5600
59 < Eγ < 60.1
5480 < Eα < 5491
59 < Eγ < 60.1
68.20 ± 0.22 ns
68.01 ± 0.39 ns

## Slide 82
Notes: alpha gamma coincidence spec MSD LEGe
sum_0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_cal.root
TCanvas* canvaspeak = new TCanvas("MSD", "MSD", 890, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetLogz();
canvaspeak->SetFrameLineWidth(2);
TH2D* hmsd_lege = new TH2D("hmsd_lege", "hmsd_lege", 2000,0,100,6000,0,6000); // x,y
tree->Draw("(msd12_e+msd26_e):lege_e>>hmsd_lege","msd12_e>80&&msd12_e<6000&&msd26_e>200&&msd26_e<6000&&lege_e>5&&lege_e<400","colz"); // y:x
hmsd_lege->SetStats(0);
hmsd_lege->SetTitle("");
hmsd_lege->GetXaxis()->SetTitle("LEGe Energy (keV)");
hmsd_lege->GetYaxis()->SetTitle("MSD12 + MSD26 Energy (keV)");
hmsd_lege->GetXaxis()->CenterTitle();
hmsd_lege->GetYaxis()->CenterTitle();
hmsd_lege->GetXaxis()->SetLabelFont(132);
hmsd_lege->GetYaxis()->SetLabelFont(132);
hmsd_lege->GetXaxis()->SetLabelSize(0.05);
hmsd_lege->GetYaxis()->SetLabelSize(0.05);
hmsd_lege->GetXaxis()->SetTitleFont(132);
hmsd_lege->GetYaxis()->SetTitleFont(132);
hmsd_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd_lege->GetYaxis()->SetTitleOffset(1.4);
hmsd_lege->GetXaxis()->SetTitleSize(0.06);
hmsd_lege->GetYaxis()->SetTitleSize(0.06);
hmsd_lege->GetYaxis()->SetNdivisions(505);
hmsd_lege->GetXaxis()->SetRangeUser(25,63);
hmsd_lege->GetYaxis()->SetRangeUser(4600,5600);
hmsd_lege->SetMinimum(1);
//hmsd_lege->SetMaximum(100);
hmsd_lege->SetContour(99);
TPaletteAxis *palette = (TPaletteAxis*)hmsd_lege->GetListOfFunctions()->FindObject("palette");
gStyle->SetPalette(kRainbow);
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(2);

## Slide 83
Notes: tree->Draw("lege_t-msd26_t:msd12_e+msd26_e","lege_e > 59 && lege_e < 60.1 && msd12_e > 500 && msd12_e < 5200 && msd26_e > 500 && msd26_e < 5800 && msd12_e + msd26_e > 5000 && msd12_e + msd26_e < 5600 && lege_t-msd26_t>0 && lege_t-msd26_t<1000","cont4");
SetMinimum(1);
SetContour(99);

## Slide 85
Notes: TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 3000,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 1 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(0,1100);
//htimestamps->GetYaxis()->SetRangeUser(0,200);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet+1);
tree->Draw("lege_t-msd26_t>>htimestamps","lege_e > 59 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5400 && msd12_e + msd26_e < 5560&& lege_t-msd26_t>0 && lege_t-msd26_t<1000","", 1e8, 0);
tree->Draw("lege_t-msd26_t","lege_e > 59 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5400 && msd12_e + msd26_e < 5560&& lege_t-msd26_t>0 && lege_t-msd26_t<1000","same", 1e8, 7e8)

## Slide 86
if (lege_e > 59 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5410 && msd12_e + msd26_e < 5560)
sum_0079_0091.root

## Slide 87
if (lege_e > 59 && lege_e < 60.1 && msd26_e > 5410 && msd26_e < 5560)
sum_0092_0095.root

## Slide 88
1275 hours
53 days
68.0453 if fit 160-900 ns

## Slide 90
Run 0079 - 0091 (949 hours)
MSD12+MSD26
Run 0092 - 0095 (325 hours)
MSD26

## Slide 91
Notes: TH1D* htiming_lege_msd26_total = new TH1D("htiming_lege_msd26_total", "htiming_lege_msd26_total", 3000,-1500,1500);
TFile *_file0 = TFile::Open("F:/e21010/pxct/sum_0079_0091.root");
htiming_lege_msd26_total->Add(htiming_lege_msd26,1);
TFile *_file1 = TFile::Open("F:/e21010/pxct/sum_0092_0095.root");
htiming_lege_msd26_total->Add(htiming_lege_msd26,1);
htiming_lege_msd26_total->Draw();
htiming_lege_msd26_total->SaveAs("F:/e21010/pxct/sum_0079_0095_Ea5410_5560.root");

## Slide 92
The fit regions of the time spectra were varied to investigate the effect of the choice of the starting point of the exponential fits by means of fixing the end channel of a fit, and removing data points starting from the prompt peak. Similarly, channels were removed from the low-count tail with a fixed starting channel.
The fit results were insensitive to the choice of the last channel of the range used for the fit function.
The fit results did depend on the choice of the initial channel of the range used for the fit function. However, in all cases the stabilization occurred by 4 ns past the prompt peak. A sample of the channel chopping technique showing where stabilization occurs is in fig 7.
D. S. Cross et al., J. Instrum. 6, P08008 (2011). Commissioning the DANTE array of BaF2 detectors at TRIUMF-ISAC using a fast-timing lifetime measurement

## Slide 93
The first signal which defines the start, is given by the 209 keV gamma ray populating the level and the second signal, which is the stop, by the 184.6 keV gamma ray depopulating it.
The slope method was employed to obtain the lifetime of this transition. In this method, no background subtraction was applied, since the time contribution of the background usually affects the prompt distribution. By taking a fit far from the prompt region, the background time component can be avoided.
Contributions from the large fast component may falsify lifetime measurements, however, these contributions may be avoided by fitting the slope outside the region of the Compton background.
L. Msebi et al., Nucl. Instrum. Methods Phys. Res. A 1026, 166195 (2022).
The large fast component is due to the Compton background and the slow component due to full energy peak detection. It is this slow component that the half-life of the excited 2− state was calculated using the slope method.

## Slide 94
Notes: peakfit_expdecay_band_lifetime_pxct.C
graph_plot_by_xy.C

## Slide 97
MSD12+MSD26
MSD26

## Slide 98
Run101
12 hours on 1/18/2024
12 hours on 1/21/2024
12 hours on 1/24/2024
Run103
12 hours on 1/25/2024
12 hours on 1/28/2024
12 hours on 1/31/2024

## Slide 99
Run101
12 am - 12 pm 1/23/2024
12 pm - 12 am 1/23/2024
12 am - 12 pm 1/24/2024
12 pm - 6 pm 1/24/2024

## Slide 100
762 h
12/21/2023 - 2/5/2024
Res. = 0.76%
No gain matching
66 min
9/17/2023
Res. = 0.66%

## Slide 101
12/21/2023
1/19/2024
2/5/2024
Split into 192 4-hour runs

## Slide 102
Split into 192 4-hour runs

## Slide 103
Run0092-0095+0100-0105
762 h
12/21/2023 - 2/5/2024
Res. = 0.293%
Gain matched
Run0079-0091
949 h
10/30/2023 - 12/12/2023
Res. = 0.997%
Gain drift is negligible

## Slide 104
Run0330-0332
185 h
5/23/2024 - 5/30/2024
10*1e6 events
Notes: Gain drift / gain matching

## Slide 105
MSD26
949 hours
10/30/2023–12/12/2023
MSD12
949 hours
10/30/2023–12/12/2023
Notes: Gain drift / gain matching

## Slide 107
Notes: Split 762 hours into 192 runs, 4 hours per run.
Gain matching every 4 hours for 762 hours

## Slide 110
MSD26: 93171620 events; 34 / s
LEGe: 99443690; 36 / s
MSD26: 53300900 α at 5479 keV; 19 / s
LEGe: 73667700 γ at 59.5 keV; 27 /s
α-γ Coincidences: 465875; 0.17 /s

## Slide 111
5476 < Eα < 5482

## Slide 112
5449 < Eα < 5509

## Slide 117
5469 < Eα < 5489 keV
130 < Fit range < 1420 ns

## Slide 118
5469 < Eα < 5489 keV
130 < Fit range < 1420 ns

## Slide 119
5469 < Eα < 5489 keV
150 < Fit range < 1420 ns

## Slide 120
5469 < Eα < 5489 keV
150 < Fit range < 1420 ns

## Slide 121
5469 < Eα < 5489 keV
200 < Fit range < 1420 ns

## Slide 122
5469 < Eα < 5489 keV
200 < Fit range < 1420 ns

## Slide 123
5469 < Eα < 5489 keV
300 < Fit range < 1420 ns

## Slide 124
5469 < Eα < 5489 keV
300 < Fit range < 1420 ns

## Slide 125
5469 < Eα < 5489 keV
400 < Fit range < 1420 ns

## Slide 126
5469 < Eα < 5489 keV
400 < Fit range < 1420 ns

## Slide 127
ROOT
emcee
5469 < Eα < 5489 keV
540 < Fit range < 1420 ns
Notes: D:\X\out\Bayesian_VS\Bayesian_Fit_Exp

## Slide 128
5469 < Eα < 5489 keV
540 < Fit range < 1420 ns
Notes: D:\X\out\Bayesian_VS\Bayesian_Fit_Exp

## Slide 132
Fake data
True value:
N = 200,000
T = 68 ns
B = 2
Fake data
True value:
N = 200,000
T = 68 ns
B = 2

## Slide 133
Fake data
True value:
N = 200,000
T = 68 ns
B = 2
Fake data
True value:
N = 200,000
T = 68 ns
B = 2

## Slide 134
Fake data
True value:
N = 2,000,000
T = 68 ns
B = 2

## Slide 135
Fake data
True value:
N = 2,000,000
T = 68 ns
B = 2

## Slide 136
Fake data
True value:
N = 2,000,000
T = 68 ns
B = 2
Fake data
True value:
N = 200,000
T = 68 ns
B = 2
Notes: C:\Si24\root_scripts\Fill_histogram_random_decay_pxct_237Np.C
C:\Si24\root_scripts\peakfit_expdecay_band_lifetime_pxct.C
C:\Si24\root_scripts\graph_plot_by_xy_fake_test.C

## Slide 137
Bin size: 1 ns
Fit Start: 150 ns
Bin size: 1 ns
Fit Start: 450 ns

## Slide 138
Bin size: 5 ns
Fit Start: 150 ns
Bin size: 5 ns
Fit Start: 450 ns

## Slide 139
Bin size: 0.1 ns
Fit Start: 150 ns
Bin size: 0.1 ns
Fit Start: 450 ns

## Slide 144
For LEGe_t – MSD26_t
The data and exponential curve appear to deviate from each other at around 140 ns.
Run0092-0095, 0100-0105
Run0079-0091
Notes: Diverge

## Slide 145
For LEGe_t – MSD12_t
The data and exponential curve appear to deviate from each other at around 220 ns.
Run0079-0091

## Slide 146
MSD12_t
MSD12_t

## Slide 147
MSD12_t

## Slide 148
MSD12_t

## Slide 149
MSD12_t

## Slide 150
LEGe–MSD12
LEGe–MSD26
Run 0079-0091
949 hours
Notes: alpha gamma coincidence spec MSD LEGe
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_0000_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 3000,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
//htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 1 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
//htimestamps->GetXaxis()->SetRangeUser(-850,550);
//htimestamps->GetYaxis()->SetRangeUser(3,5e4);
htimestamps->GetYaxis()->SetNdivisions(505);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("lege_t-msd26_t>>htimestamps","lege_e>10&&lege_e<400&&msd26_e>500&&msd26_e<6000");
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("lege_t-msd12_t","lege_e>10&&lege_e<400&&msd12_e>500&&msd12_e<6000","same");

## Slide 151
Bleft = 9.42 ± 0.10
Bright = 9.76 ± 0.20
Bleft = 9.38 ± 0.11
Bright = 9.87 ± 0.28
MSD26
MSD12
Notes: TFile *_file1 = TFile::Open("F:/e21010/pxct/run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_0000_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 3000,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
//htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 1 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.1);
htimestamps->GetYaxis()->SetTitleOffset(0.95);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
//htimestamps->GetXaxis()->SetRangeUser(-850,550);
//htimestamps->GetYaxis()->SetRangeUser(3,5e4);
htimestamps->GetYaxis()->SetNdivisions(505);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kViolet);
tree->Draw("lege_t-msd26_t>>htimestamps","lege_e > 59 && lege_e < 60.1 && msd12_e > 1600 && msd12_e < 2050 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5361 && msd12_e + msd26_e < 5481");
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("lege_t-msd12_t>>htimestamps","lege_e > 59 && lege_e < 60.1 && msd12_e > 1600 && msd12_e < 2050 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5361 && msd12_e + msd26_e < 5481");

## Slide 152
T1/2 = (66.90±0.39) ns
p value = 0.99998
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_timing_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
lower_search_bound[0][16] = 241; upper_search_bound[0][16] = 246; //152Eu 245 XtRa
lower_search_bound[0][17] = 409; upper_search_bound[0][17] = 415; //152Eu 411 XtRa
lower_search_bound[0][18] = 441; upper_search_bound[0][18] = 447; //152Eu 444 XtRa
lower_search_bound[0][19] = 776; upper_search_bound[0][19] = 782; //152Eu 779 XtRa
lower_search_bound[0][20] = 863; upper_search_bound[0][20] = 870; //152Eu 867 XtRa
lower_search_bound[0][21] = 960; upper_search_bound[0][21] = 968; //152Eu 964 XtRa
lower_search_bound[0][22] = 1109; upper_search_bound[0][22] = 1115; //152Eu 1112 XtRa
lower_search_bound[0][23] = -1000; upper_search_bound[0][23] = 1000; //241Am Timing LEGe-MSD
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0079_80_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_3840min_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "htiming_lege_msd12"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 23; ii <= 23; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//
canvaspeak[i][ii]->cd();//
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Time difference LEGe - MSD12 (ns)");
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();
histo[i]->GetYaxis()->CenterTitle();
histo[i]->GetXaxis()->SetLabelFont(132);
histo[i]->GetYaxis()->SetLabelFont(132);
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);
histo[i]->GetYaxis()->SetTitleFont(132);
histo[i]->GetXaxis()->SetTitleOffset(1.0);
histo[i]->GetYaxis()->SetTitleOffset(0.7);
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 100; gaphigh = 60; Eg = 3182.69; }//148Gd 3183 MSD26
if (ii == 16) { gaplow = 2.0; gaphigh = 2.1; Eg = 244.6974; }//152Eu 245 XtRa
if (ii == 17) { gaplow = 2.5; gaphigh = 2.5; Eg = 411.1165; }//152Eu 411 XtRa
if (ii == 18) { gaplow = 2.5; gaphigh = 2.5; Eg = 443.9606; }//152Eu 444 XtRa
if (ii == 19) { gaplow = 2.7; gaphigh = 2.7; Eg = 778.9045; }//152Eu 779 XtRa
if (ii == 20) { gaplow = 2.7; gaphigh = 2.7; Eg = 867.380; }//152Eu 867 XtRa
if (ii == 21) { gaplow = 2.9; gaphigh = 2.9; Eg = 964.057; }//152Eu 964 XtRa
if (ii == 22) { gaplow = 3.2; gaphigh = 3.2; Eg = 1112.076; }//152Eu 1112 XtRa
if (ii == 23) { gaplow = 50; gaphigh = 1400; Eg = 59.541; }//241Am Timing MSD-LEGe
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 80, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 190000, 300000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 80, 120);//Tau
fEMG[ii]->SetParLimits(4, 10, 80);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(kGreen+1);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kGreen+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
histo[i]->SetLineColor(kGreen+1);
histo[i]->SetMarkerColor(kGreen+1);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Time difference (ns)");
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");
graph_residual[i]->GetXaxis()->CenterTitle();
graph_residual[i]->GetYaxis()->CenterTitle();
graph_residual[i]->GetXaxis()->SetLabelFont(132);
graph_residual[i]->GetYaxis()->SetLabelFont(132);
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);
graph_residual[i]->GetYaxis()->SetTitleFont(132);
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kGreen+1);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kGreen+1);
canvaspeak[i][ii]->cd();//
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 153
5479±3
5479±10
5479±20
5479±30
Run 0092 - 0095
Run 0100 - 0105
762 hours
MSD26
Notes: MSD26 only: 5479 keV based on LISE++ calculation

## Slide 154
5421±10
5421±20
5421±40
5421±60
Run 0079 - 0091
949 hours
MSD12+MSD26
Notes: MSDtotal: 5417 keV based on LISE++ calculation, but 5421 keV is obtained after all runs are merged.

## Slide 155
MSD26_t
Ea gate: 5479±20 keV
Bin size: 10 ns
Fit Start: 150 ns
MSD26_t
Ea gate: 5479±20 keV
Bin size: 2 ns
Fit Start: 150 ns
P value is questionable

## Slide 156
MSD26_t
Bin size: 1 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: ML
MSD26_t
Bin size: 1 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: χ2 min

## Slide 157
MSD26_t
Bin size: 2 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: ML
MSD26_t
Bin size: 2 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: χ2 min

## Slide 158
MSD26_t
Bin size: 10 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: ML
MSD26_t
Bin size: 10 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: χ2 min

## Slide 159
MSD26_t
Bin size: 1 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: ML
MSD26_t
Bin size: 1 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: χ2 min

## Slide 160
MSD26_t
Bin size: 0.1 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: ML
MSD26_t
Bin size: 0.1 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: χ2 min
When fitting a count spectrum, it is never advisable to use the Chi-square minimization method.
Notes: When fitting a count spectrum, it is never advisable to use the Chisquare minimization method.

## Slide 161
MSD26_t
Bin size: 0.1 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: ML
MSD26_t
Bin size: 0.1 ns
Fit start: 150 ns
Ea gate: 5479±20 keV
Fit method: Pearson χ2 min

## Slide 162
MSD26_t
Run0079-0091
Bin size: 1 ns
Fit start: 160 ns
Ea gate: 5421±10 keV
Fit likelihood: emcee χ2
Empty bins have an upper error of 1.84 but no lower error if we manually add a lower error of 1.84. the few empty bins will have less weight, and hence, the fit background level will be slightly higher than that in the figure above, in which the empty bins have more weight due to half error bars compared with other bins.
Bad likelihood definition.
Notes: Empty bins have an upper error of 1.84 but no lower error if we manually add a lower error of 1.84. the few empty bins will have less weight, and hence, the fit background level will be slightly higher than that in the figure above, in which the empty bins have more weight due to half error bars compared with other bins.

## Slide 163
MSD26_t
Run0079-0091
Bin size: 1 ns
Fit start: 160 ns
Ea gate: 5421±10 keV
Fit likelihood: Poisson ML
Define the Bayesian likelihood function as the Poisson maximum likelihood function.
Notes: D:\X\out\Bayesian_VS\Bayesian_Fit_Exp\Bayesian_Fit_Exp.py

## Slide 164
MSD26_t
Run0079-0091
Bin size: 1 ns
Fit start: 160 ns
Ea gate: 5421±20 keV
Fit likelihood: Poisson ML
Define the Bayesian likelihood function as the Poisson maximum likelihood function.
Notes: D:\X\out\Bayesian_VS\Bayesian_Fit_Exp\Bayesian_Fit_Exp.py

## Slide 165
Define the Bayesian likelihood function as the Poisson maximum likelihood function.
MSD26_t
Run0079-0091
Bin size: 1 ns
Fit start: 160 ns
Ea gate: 5421±60 keV
Fit likelihood: Poisson ML
Notes: D:\X\out\Bayesian_VS\Bayesian_Fit_Exp\Bayesian_Fit_Exp.py

## Slide 166
ROOT fit Maximum likelihood
emcee likelihood
Neyman's χ2
Pearson's χ2
L. J. Sun et al., Phys. Rev. C 103, 014322 (2021).
N. Galinski et al., Phys. Rev. C 90, 035803 (2014).
Equivalent to ROOT likelihood and
emcee likelihood
Adopted by most Bayesian-MCMC studies
Σ should include all necessary uncertainties.
L. J. Sun et al., Phys. Lett. B 839, 137801 (2023).
Notes: Likelihood formulation

## Slide 167
MSD26 949 hours
MSD12 949 hours

## Slide 168
MSD26 762 hours

## Slide 169
Notes: PXCT_237Np_timing_msdtotal_e_Eastart5361_Eastop5481_MSD12_Fitstart300_Fitstop1300_Prediction

## Slide 170
Notes: Wei Jia Ong

## Slide 171
Literature | Excited state | Fit function | T1/2 | Sources of systematic uncertainty
Cross JI 2011 TRIUMF | 152Sm 121.8 keV | Exp + Constant | 1.426(18) ns | Fit start Fit end
Msebi, NIMA 2022 Western Cape | 44Sc 234.7 keV 44Sc 349.9 keV 42Ca 3189.3 keV | Exponential | 6.160(76) ns 3.067(14) ns 2.499(15) ns 4.91(4) ns 4.29(5) ns | free of many systematic errors

## Slide 172
10/31/2023
Run 79
26 hours
5/22/2024
Run 299
10 hours
Fit range: 10*T1/2
Fit range: 10*T1/2
Notes: #include <iostream>
#include <fstream>
#include <iomanip>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_expdecay_band_lifetime_pxct_singlerun() // get histogram and exponential fit a time histogram fit Run0079 for figure 237Np half-life PXCT PRC paper
{
double binwidth = 1;
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[100], hfit_name[100];
TH1D* histo[100];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 50;//search peak numbers
TGraph* graph_residual[100];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[200][peaknum];
TCanvas* canvaspeak[100][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
// sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
// ifstream infilelowerbounds(filename, ios::in);
// sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
// ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
TFile* fin;
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::app);
int Ea_central = 0, msd_e_cut_low = 0, msd_e_cut_high = 0, Ea_gate_start = 0, Ea_gate_end = 0;
int bin_start_low = 0;
int bin_start_high = 0;
int Which_Dataset = 1; // Modify: 1 for MSDtotal; 2 for MSD26;
int Which_MSD;
if (Which_Dataset == 1)
{
Which_MSD = 26; // Modify: 12 for MSD12; 26 for MSD26;
Ea_central = 5421; // 5421 for MSDtotal, based on LISE++ calculation
if (Which_MSD == 12) bin_start_low = 240; // Don't change
if (Which_MSD == 26) bin_start_low = 160; // Don't change
Ea_gate_start = 80; // 3; 3 means +/-3 keV = 6 keV; 20 means +/-20 keV = 40 keV, which is good for MSD26
Ea_gate_end = 80; // 30; Keep end - start <= 4, due to Windows OS limitation
}
if (Which_Dataset == 2)
{
Which_MSD = 26; // 26 for MSD26;
Ea_central = 5479; // 5479 for MSD26; 5421 for MSDtotal, based on LISE++ calculation
Ea_gate_start = 20; // 3; 3 means +/-3 keV = 6 keV; 20 means +/-20 keV = 40 keV, which is good for MSD26
Ea_gate_end = 20; // 30; Keep end - start <= 4, due to Windows OS limitation
}
for (i = Ea_gate_start; i <= Ea_gate_end; i+=10) // read in many root files with different Ea gates
{
//if (i >= 96 && i <= 99) continue;
msd_e_cut_low = Ea_central - i;
msd_e_cut_high = Ea_central + i;
if (Which_Dataset == 1) sprintf(filename, "%s%s%04d%s%04d%s", pathname, "timing_msdtotal_e_", msd_e_cut_low, "_", msd_e_cut_high, "_msdtotal_t.root");
if (Which_Dataset == 2) sprintf(filename, "%s%s%04d%s%04d%s", pathname, "timing_msd26_e_", msd_e_cut_low, "_", msd_e_cut_high, "_msd26_t.root");
if (Which_Dataset == 1) sprintf(filename, "%s%s", pathname, "run0079_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_cal_5400_5560_forPRC.root");
fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
sprintf(histo_name, "%s%d%s", "htiming_lege_msd", Which_MSD, "_bin1ns");
sprintf(histo_name, "%s%d", "htiming_lege_msd", Which_MSD);
//sprintf(histo_name, "%s", "h_decay_exponential_GetRandom"); // Fake test
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
for (ii = 0; ii <= 0; ii++) // modify: ii <=39, fit one histogram with many different fit start points = ii * 20 + bin_start_low
{
sprintf(hfit_name, "%s%s%d%s%d", histo_name, "_Ea", i, "_Fitrange", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1300, 700);//建立画布
canvaspeak[i][ii]->cd();//进入画布
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.42, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.42);
// Set margins for pad1
pad1->SetTopMargin(0.04); // relative to pad1 height
pad1->SetBottomMargin(0.05); // no bottom margin
pad1->SetLeftMargin(0.12); // relative to pad1 width
pad1->SetRightMargin(0.02); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.05); // no top margin
pad2->SetBottomMargin(0.4); // relative to pad2 height
pad2->SetLeftMargin(0.12); // relative to pad2 width
pad2->SetRightMargin(0.02); // relative to pad2 width
pad1->Draw();
pad1->cd();
pad1->SetFrameLineWidth(3);
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("");// Time difference LEGe - MSD26 (ns)
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();//居中
histo[i]->GetYaxis()->CenterTitle();//居中
histo[i]->GetXaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetYaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetXaxis()->SetLabelSize(0.135);
histo[i]->GetYaxis()->SetLabelSize(0.135);
histo[i]->GetXaxis()->SetLabelOffset(1.0);//轴名偏移
histo[i]->GetXaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetYaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
histo[i]->GetYaxis()->SetTitleOffset(0.45);//轴名偏移
histo[i]->GetXaxis()->SetTitleSize(0.135);
histo[i]->GetYaxis()->SetTitleSize(0.135);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.010);
//histo[i]->GetYaxis()->SetRangeUser(0.25, 400);
histo[i]->SetLineWidth(1);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(0, 1500);
//peaky[ii] = histo[i]->GetMaximum();
//peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
//cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = bin_start_low + ii * 20; fitrange_max = bin_start_low+680; // modify
//fitrange_min = 0 + ii * 20; fitrange_max = 1420; // Fake test
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
//ibin = minbin;
//while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
//double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
//float highcounts = 0, lowcounts = 0;
//for (jj = 0; jj < 10; jj++)
//{
// highcounts += histo[i]->GetBinContent(maxbin - jj);
// lowcounts += histo[i]->GetBinContent(minbin + jj);
//}
//highcounts = highcounts / 10; lowcounts = lowcounts / 10;
//double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
//double bguess = lowcounts - fitrange_min * aguess;
//cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*0.693147/[1]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay (N, T, B)
//fEMG[ii] = new TF1("fEMG", "[0]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay (A, T, B)
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
//g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
//p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
//b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
//g[ii]->SetNpx(histoNbins * 10);
//p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
//b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
int Total_decays_guess = 2000 * i;
fEMG[ii]->SetParameters(6e6, 67.8, 1);//initial value
//fEMG[ii]->SetParameters(2e6, 68, 2);//initial value Fake test
fEMG[ii]->SetParLimits(0, 1e4, 3e5);//N
fEMG[ii]->SetParLimits(1, 40, 140);//T
fEMG[ii]->SetParLimits(2, 0, 4);//B
// fEMG[ii]->SetParLimits(3, 80, 120);//Tau
// fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
// fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
// fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("Total_decays", "Half_life", "Background");
//fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
//histo[i]->Fit("fEMG", "MLEN", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "0", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
//g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
//g[ii]->SetLineColor(kViolet+1);
//p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
//p[ii]->SetLineColor(kViolet+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
//b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
//b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
fEMG[ii]->SetLineColor(kAzure);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.683);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kAzure - 9);
histo[i]->SetLineColor(kBlack);
histo[i]->SetMarkerColor(kBlack);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
pad1->RedrawAxis();
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
//b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
// peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
// peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
// peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
// inflation_factor = 1;
// constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
// tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
// sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
// mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
// FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
//
// Double_t topy, topx, lower_half, higher_half;
// topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
// topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
// lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
// higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
// FWHM[ii] = higher_half - lower_half;
//
// outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
outfile << std::scientific << std::setprecision(10) << "msd_e_cut_low " << msd_e_cut_low << " msd_e_cut_high " << msd_e_cut_high << " fitrange_min " << fitrange_min << " fitrange_max " << fitrange_max << " " << hfit_name << " Total_decays_" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " Half-life_" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Background_" << ii << "= " << par[ii][2] << " +/- " << par_err[ii][2] << " Chi2_" << ii << "= " << parChi[ii] << " NDF_" << ii << "= " << parNDF[ii] << " p-val_" << ii << "= " << p_value[ii] << endl;
TPaveText* textgaus = new TPaveText(0.60, 0.30, 0.975, 0.95, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Total decays%d=%.1f%s%.1f", ii, par[ii][0], "+/-", par_err[ii][0]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Half-life%d=%.2f%s%.2f", ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Background%d=%.3f%s%.3f", ii, par[ii][2], "+/-", par_err[ii][2]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.1f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%.2f", p_value[ii]);
textgaus->AddText(paraprint);
//textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_values[ibin - 1] - y_fit_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
sprintf(paraprint, "Time difference LEGe #minus MSD%d (ns)", Which_MSD);
graph_residual[i]->GetXaxis()->SetTitle(paraprint);
graph_residual[i]->GetYaxis()->SetTitle("Data #minus Fit");
graph_residual[i]->GetXaxis()->CenterTitle();//居中
//graph_residual[i]->GetYaxis()->CenterTitle();//居中
graph_residual[i]->GetXaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetYaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetXaxis()->SetLabelSize(0.18);
graph_residual[i]->GetYaxis()->SetLabelSize(0.18);
graph_residual[i]->GetXaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetYaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetXaxis()->SetTitleOffset(1.11);//轴名偏移
graph_residual[i]->GetYaxis()->SetTitleOffset(0.35);//轴名偏移
graph_residual[i]->GetXaxis()->SetTitleSize(0.18);
graph_residual[i]->GetYaxis()->SetTitleSize(0.18);
graph_residual[i]->GetYaxis()->SetNdivisions(105);
graph_residual[i]->GetYaxis()->SetTickLength(0.010);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
graph_residual[i]->GetYaxis()->SetRangeUser(-53, 53);
graph_residual[i]->SetLineWidth(1);
graph_residual[i]->SetLineColor(kBlack);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kBlack);
canvaspeak[i][ii]->cd();//进入画布
pad2->SetFrameLineWidth(3);
pad2->Draw();
pad2->RedrawAxis();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->SetLineColor(kAzure);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
pad1->SetLogy(0); // residuals are wrong if logy is turn on earlier
sprintf(filename, "%s%s%s%s", pathname, "png/", hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
//outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 173
10/31/2023
Run 79
26 hours
5/22/2024
Run 299
10 hours
Fit range: 10*T1/2
Fit range: 10*T1/2

## Slide 174
run0330_0331_0332_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7

## Slide 175
5/23/2024
Run 330
21 hours
Fit range: 10*T1/2
5/23/2024
Run 330
21 hours
Fit range: 10*T1/2
Notes: Best figure T1/2 237Np half-life Run0330 / Run330 / Run 330
#include <iostream>
#include <fstream>
#include <iomanip>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_expdecay_band_lifetime_pxct_singlerun() // get histogram and exponential fit a time histogram fit Run0079 for figure 237Np half-life PXCT PRC paper
{
double binwidth = 1;
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[100], hfit_name[100];
TH1D* histo[100];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 50;//search peak numbers
TGraph* graph_residual[100];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[200][peaknum];
TCanvas* canvaspeak[100][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
// sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
// ifstream infilelowerbounds(filename, ios::in);
// sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
// ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
TFile* fin;
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::app);
int Ea_central = 0, msd_e_cut_low = 0, msd_e_cut_high = 0, Ea_gate_start = 0, Ea_gate_end = 0;
int bin_start_low = 0;
int bin_start_high = 0;
int Which_Dataset = 1; // 1 for MSDtotal; 2 for MSD26;
int Which_MSD;
if (Which_Dataset == 1)
{
Which_MSD = 26; // Modify: 12 for MSD12; 26 for MSD26;
Ea_central = 5421; // 5421 for MSDtotal, based on LISE++ calculation
if (Which_MSD == 12) bin_start_low = 239; // Don't change
if (Which_MSD == 26) bin_start_low = 230; // Don't change
Ea_gate_start = 80; // 3; 3 means +/-3 keV = 6 keV; 20 means +/-20 keV = 40 keV, which is good for MSD26
Ea_gate_end = 80; // 30; Keep end - start <= 4, due to Windows OS limitation
}
if (Which_Dataset == 2)
{
Which_MSD = 26; // 26 for MSD26;
Ea_central = 5479; // 5479 for MSD26; 5421 for MSDtotal, based on LISE++ calculation
Ea_gate_start = 20; // 3; 3 means +/-3 keV = 6 keV; 20 means +/-20 keV = 40 keV, which is good for MSD26
Ea_gate_end = 20; // 30; Keep end - start <= 4, due to Windows OS limitation
}
for (i = Ea_gate_start; i <= Ea_gate_end; i+=10) // read in many root files with different Ea gates
{
//if (i >= 96 && i <= 99) continue;
msd_e_cut_low = Ea_central - i;
msd_e_cut_high = Ea_central + i;
//if (Which_Dataset == 1) sprintf(filename, "%s%s%04d%s%04d%s", pathname, "timing_msdtotal_e_", msd_e_cut_low, "_", msd_e_cut_high, "_msdtotal_tootoot");
//if (Which_Dataset == 2) sprintf(filename, "%s%s%04d%s%04d%s", pathname, "timing_msd26_e_", msd_e_cut_low, "_", msd_e_cut_high, "_msd26_t.root");
//if (Which_Dataset == 1) sprintf(filename, "%s%s", pathname, "run0079_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_cal_5400_5560_forPRC.root");
if (Which_Dataset == 1) sprintf(filename, "%s%s", pathname, "run0330_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_cal.root");
fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
//sprintf(histo_name, "%s%d%s", "htiming_lege_msd", Which_MSD, "_bin1ns");
sprintf(histo_name, "%s%d", "htiming_lege_msd", Which_MSD);
//sprintf(histo_name, "%s", "h_decay_exponential_GetRandom"); // Fake test
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
for (ii = 0; ii <= 0; ii++) // modify: ii <=39, fit one histogram with many different fit start points = ii * 20 + bin_start_low
{
sprintf(hfit_name, "%s%s%d%s%d", histo_name, "_Ea", i, "_Fitrange", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1300, 700);//建立画布
canvaspeak[i][ii]->cd();//进入画布
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.42, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.42);
// Set margins for pad1
pad1->SetTopMargin(0.04); // relative to pad1 height
pad1->SetBottomMargin(0.05); // no bottom margin
pad1->SetLeftMargin(0.12); // relative to pad1 width
pad1->SetRightMargin(0.02); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.05); // no top margin
pad2->SetBottomMargin(0.4); // relative to pad2 height
pad2->SetLeftMargin(0.12); // relative to pad2 width
pad2->SetRightMargin(0.02); // relative to pad2 width
pad1->Draw();
pad1->cd();
pad1->SetFrameLineWidth(3);
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("");// Time difference LEGe - MSD26 (ns)
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();//居中
histo[i]->GetYaxis()->CenterTitle();//居中
histo[i]->GetXaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetYaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetXaxis()->SetLabelSize(0.135);
histo[i]->GetYaxis()->SetLabelSize(0.135);
histo[i]->GetXaxis()->SetLabelOffset(1.0);//轴名偏移
histo[i]->GetXaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetYaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
histo[i]->GetYaxis()->SetTitleOffset(0.45);//轴名偏移
histo[i]->GetXaxis()->SetTitleSize(0.135);
histo[i]->GetYaxis()->SetTitleSize(0.135);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.010);
//histo[i]->GetYaxis()->SetRangeUser(0.25, 400);
histo[i]->SetLineWidth(1);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(0, 1500);
//peaky[ii] = histo[i]->GetMaximum();
//peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
//cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = bin_start_low + ii * 20; fitrange_max = bin_start_low+680; // modify // 10*T1/2 = 10*68 = 680
//fitrange_min = 0 + ii * 20; fitrange_max = 1420; // Fake test
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
//ibin = minbin;
//while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
//double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
//float highcounts = 0, lowcounts = 0;
//for (jj = 0; jj < 10; jj++)
//{
// highcounts += histo[i]->GetBinContent(maxbin - jj);
// lowcounts += histo[i]->GetBinContent(minbin + jj);
//}
//highcounts = highcounts / 10; lowcounts = lowcounts / 10;
//double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
//double bguess = lowcounts - fitrange_min * aguess;
//cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*0.693147/[1]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay (N, T, B)
//fEMG[ii] = new TF1("fEMG", "[0]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay (A, T, B)
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
//g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
//p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
//b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
//g[ii]->SetNpx(histoNbins * 10);
//p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
//b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
int Total_decays_guess = 2000 * i;
fEMG[ii]->SetParameters(6e6, 67.8, 1);//initial value
//fEMG[ii]->SetParameters(2e6, 68, 2);//initial value Fake test
fEMG[ii]->SetParLimits(0, 1e4, 1e6);//N
fEMG[ii]->SetParLimits(1, 40, 140);//T
fEMG[ii]->SetParLimits(2, 0, 4);//B
// fEMG[ii]->SetParLimits(3, 80, 120);//Tau
// fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
// fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
// fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("Total_decays", "Half_life", "Background");
//fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
//histo[i]->Fit("fEMG", "MLEN", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "0", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
//g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
//g[ii]->SetLineColor(kViolet+1);
//p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
//p[ii]->SetLineColor(kViolet+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
//b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
//b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(3);
fEMG[ii]->SetLineColor(kRed);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.683);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 9);
histo[i]->SetLineColor(kBlack);
histo[i]->SetMarkerColor(kBlack);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
pad1->RedrawAxis();
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
//b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
// peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
// peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
// peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
// inflation_factor = 1;
// constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
// tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
// sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
// mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
// FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
//
// Double_t topy, topx, lower_half, higher_half;
// topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
// topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
// lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
// higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
// FWHM[ii] = higher_half - lower_half;
//
// outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
outfile << std::scientific << std::setprecision(10) << "msd_e_cut_low " << msd_e_cut_low << " msd_e_cut_high " << msd_e_cut_high << " fitrange_min " << fitrange_min << " fitrange_max " << fitrange_max << " " << hfit_name << " Total_decays_" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " Half-life_" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Background_" << ii << "= " << par[ii][2] << " +/- " << par_err[ii][2] << " Chi2_" << ii << "= " << parChi[ii] << " NDF_" << ii << "= " << parNDF[ii] << " p-val_" << ii << "= " << p_value[ii] << endl;
TPaveText* textgaus = new TPaveText(0.60, 0.30, 0.975, 0.95, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Total decays%d=%.1f%s%.1f", ii, par[ii][0], "+/-", par_err[ii][0]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Half-life%d=%.2f%s%.2f", ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Background%d=%.3f%s%.3f", ii, par[ii][2], "+/-", par_err[ii][2]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.1f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%.2f", p_value[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_values[ibin - 1] - y_fit_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
sprintf(paraprint, "Time difference LEGe #minus MSD%d (ns)", Which_MSD);
graph_residual[i]->GetXaxis()->SetTitle(paraprint);
graph_residual[i]->GetYaxis()->SetTitle("Data #minus Fit");
graph_residual[i]->GetXaxis()->CenterTitle();//居中
//graph_residual[i]->GetYaxis()->CenterTitle();//居中
graph_residual[i]->GetXaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetYaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetXaxis()->SetLabelSize(0.18);
graph_residual[i]->GetYaxis()->SetLabelSize(0.18);
graph_residual[i]->GetXaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetYaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetXaxis()->SetTitleOffset(1.11);//轴名偏移
graph_residual[i]->GetYaxis()->SetTitleOffset(0.35);//轴名偏移
graph_residual[i]->GetXaxis()->SetTitleSize(0.18);
graph_residual[i]->GetYaxis()->SetTitleSize(0.18);
graph_residual[i]->GetYaxis()->SetNdivisions(105);
graph_residual[i]->GetYaxis()->SetTickLength(0.010);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
graph_residual[i]->GetYaxis()->SetRangeUser(-53, 53);
graph_residual[i]->SetLineWidth(1);
graph_residual[i]->SetLineColor(kBlack);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kBlack);
canvaspeak[i][ii]->cd();//进入画布
pad2->SetFrameLineWidth(3);
pad2->Draw();
pad2->RedrawAxis();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->SetLineColor(kRed);
T1->SetLineWidth(3);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
pad1->SetLogy(0); // residuals are wrong if logy is turn on earlier
sprintf(filename, "%s%s%s%s", pathname, "png/", hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
//outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 176
5/29/2024
Run 330-332
185 hours
Fit range: 10*T1/2
5/29/2024
Run 330-332
185 hours
Fit range: 10*T1/2
Notes: #include <iostream>
#include <fstream>
#include <iomanip>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_expdecay_band_lifetime_pxct_singlerun() // get histogram and exponential fit a time histogram fit Run0079 for figure 237Np half-life PXCT PRC paper
{
double binwidth = 1;
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[100], hfit_name[100];
TH1D* histo[100];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 50;//search peak numbers
TGraph* graph_residual[100];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[200][peaknum];
TCanvas* canvaspeak[100][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
// sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
// ifstream infilelowerbounds(filename, ios::in);
// sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
// ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
TFile* fin;
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::app);
int Ea_central = 0, msd_e_cut_low = 0, msd_e_cut_high = 0, Ea_gate_start = 0, Ea_gate_end = 0;
int bin_start_low = 0;
int bin_start_high = 0;
int Which_Dataset = 1; // 1 for MSDtotal; 2 for MSD26;
int Which_MSD;
if (Which_Dataset == 1)
{
Which_MSD = 12; // Modify: 12 for MSD12; 26 for MSD26;
Ea_central = 5421; // 5421 for MSDtotal, based on LISE++ calculation
if (Which_MSD == 12) bin_start_low = 230; // Don't change
if (Which_MSD == 26) bin_start_low = 210; // Don't change
Ea_gate_start = 80; // 3; 3 means +/-3 keV = 6 keV; 20 means +/-20 keV = 40 keV, which is good for MSD26
Ea_gate_end = 80; // 30; Keep end - start <= 4, due to Windows OS limitation
}
if (Which_Dataset == 2)
{
Which_MSD = 26; // 26 for MSD26;
Ea_central = 5479; // 5479 for MSD26; 5421 for MSDtotal, based on LISE++ calculation
Ea_gate_start = 20; // 3; 3 means +/-3 keV = 6 keV; 20 means +/-20 keV = 40 keV, which is good for MSD26
Ea_gate_end = 20; // 30; Keep end - start <= 4, due to Windows OS limitation
}
for (i = Ea_gate_start; i <= Ea_gate_end; i+=10) // read in many root files with different Ea gates
{
//if (i >= 96 && i <= 99) continue;
msd_e_cut_low = Ea_central - i;
msd_e_cut_high = Ea_central + i;
//if (Which_Dataset == 1) sprintf(filename, "%s%s%04d%s%04d%s", pathname, "timing_msdtotal_e_", msd_e_cut_low, "_", msd_e_cut_high, "_msdtotal_tootoot");
//if (Which_Dataset == 2) sprintf(filename, "%s%s%04d%s%04d%s", pathname, "timing_msd26_e_", msd_e_cut_low, "_", msd_e_cut_high, "_msd26_t.root");
//if (Which_Dataset == 1) sprintf(filename, "%s%s", pathname, "run0079_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_cal_5400_5560_forPRC.root");
if (Which_Dataset == 1) sprintf(filename, "%s%s", pathname, "run0330_0331_0332_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_cal.root");
fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
//sprintf(histo_name, "%s%d%s", "htiming_lege_msd", Which_MSD, "_bin1ns");
sprintf(histo_name, "%s%d", "htiming_lege_msd", Which_MSD);
//sprintf(histo_name, "%s", "h_decay_exponential_GetRandom"); // Fake test
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
for (ii = 0; ii <= 0; ii++) // modify: ii <=39, fit one histogram with many different fit start points = ii * 20 + bin_start_low
{
sprintf(hfit_name, "%s%s%d%s%d", histo_name, "_Ea", i, "_Fitrange", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1300, 700);//建立画布
canvaspeak[i][ii]->cd();//进入画布
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.42, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.42);
// Set margins for pad1
pad1->SetTopMargin(0.04); // relative to pad1 height
pad1->SetBottomMargin(0.05); // no bottom margin
pad1->SetLeftMargin(0.12); // relative to pad1 width
pad1->SetRightMargin(0.02); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.05); // no top margin
pad2->SetBottomMargin(0.4); // relative to pad2 height
pad2->SetLeftMargin(0.12); // relative to pad2 width
pad2->SetRightMargin(0.02); // relative to pad2 width
pad1->Draw();
pad1->cd();
pad1->SetFrameLineWidth(3);
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("");// Time difference LEGe - MSD26 (ns)
histo[i]->GetYaxis()->SetTitle("Counts per 1 ns");// modify
histo[i]->GetXaxis()->CenterTitle();//居中
histo[i]->GetYaxis()->CenterTitle();//居中
histo[i]->GetXaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetYaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetXaxis()->SetLabelSize(0.135);
histo[i]->GetYaxis()->SetLabelSize(0.135);
histo[i]->GetXaxis()->SetLabelOffset(1.0);//轴名偏移
histo[i]->GetXaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetYaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
histo[i]->GetYaxis()->SetTitleOffset(0.45);//轴名偏移
histo[i]->GetXaxis()->SetTitleSize(0.135);
histo[i]->GetYaxis()->SetTitleSize(0.135);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.010);
//histo[i]->GetYaxis()->SetRangeUser(0.25, 400);
histo[i]->SetLineWidth(1);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(0, 1500);
//peaky[ii] = histo[i]->GetMaximum();
//peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
//cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = bin_start_low + ii * 20; fitrange_max = bin_start_low+680; // modify // 10*T1/2 = 10*68 = 680
//fitrange_min = 0 + ii * 20; fitrange_max = 1420; // Fake test
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
//ibin = minbin;
//while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
//double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
//float highcounts = 0, lowcounts = 0;
//for (jj = 0; jj < 10; jj++)
//{
// highcounts += histo[i]->GetBinContent(maxbin - jj);
// lowcounts += histo[i]->GetBinContent(minbin + jj);
//}
//highcounts = highcounts / 10; lowcounts = lowcounts / 10;
//double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
//double bguess = lowcounts - fitrange_min * aguess;
//cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*0.693147/[1]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay (N, T, B)
//fEMG[ii] = new TF1("fEMG", "[0]*exp(x/(-[1]/0.693147))+[2]", histomin, histomax); // exponential decay (A, T, B)
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
// fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 high-energy tail
//g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
//p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))-(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]-(x-[5])/[4]))", histomin, histomax);//pure peak low-energy tail
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
//b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
//g[ii]->SetNpx(histoNbins * 10);
//p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
//b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
int Total_decays_guess = 2000 * i;
fEMG[ii]->SetParameters(6e6, 67.8, 1);//initial value
//fEMG[ii]->SetParameters(2e6, 68, 2);//initial value Fake test
fEMG[ii]->SetParLimits(0, 1e6, 3e6);//N
fEMG[ii]->SetParLimits(1, 40, 140);//T
fEMG[ii]->SetParLimits(2, 0, 4);//B
// fEMG[ii]->SetParLimits(3, 80, 120);//Tau
// fEMG[ii]->SetParLimits(4, 10, 120);//Sigma
// fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
// fEMG[ii]->SetParLimits(5, -100, 200);//Mean
fEMG[ii]->SetParNames("Total_decays", "Half_life", "Background");
//fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
//histo[i]->Fit("fEMG", "MLEN", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "0", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
//g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
//g[ii]->SetLineColor(kViolet+1);
//p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
//p[ii]->SetLineColor(kViolet+1);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
//b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
//b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(3);
fEMG[ii]->SetLineColor(kOrange+7);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.683);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kOrange - 9);
histo[i]->SetLineColor(kBlack);
histo[i]->SetMarkerColor(kBlack);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
pad1->RedrawAxis();
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
//b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
// peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
// peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
// peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
// inflation_factor = 1;
// constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
// tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
// sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
// mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
// FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
//
// Double_t topy, topx, lower_half, higher_half;
// topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
// topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
// lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
// higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
// FWHM[ii] = higher_half - lower_half;
//
// outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
outfile << std::scientific << std::setprecision(10) << "msd_e_cut_low " << msd_e_cut_low << " msd_e_cut_high " << msd_e_cut_high << " fitrange_min " << fitrange_min << " fitrange_max " << fitrange_max << " " << hfit_name << " Total_decays_" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " Half-life_" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Background_" << ii << "= " << par[ii][2] << " +/- " << par_err[ii][2] << " Chi2_" << ii << "= " << parChi[ii] << " NDF_" << ii << "= " << parNDF[ii] << " p-val_" << ii << "= " << p_value[ii] << endl;
TPaveText* textgaus = new TPaveText(0.60, 0.30, 0.975, 0.95, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Total decays%d=%.1f%s%.1f", ii, par[ii][0], "+/-", par_err[ii][0]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Half-life%d=%.2f%s%.2f", ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Background%d=%.3f%s%.3f", ii, par[ii][2], "+/-", par_err[ii][2]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.1f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%.2f", p_value[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_values[ibin - 1] - y_fit_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
sprintf(paraprint, "Time difference LEGe #minus MSD%d (ns)", Which_MSD);
graph_residual[i]->GetXaxis()->SetTitle(paraprint);
graph_residual[i]->GetYaxis()->SetTitle("Data #minus Fit");
graph_residual[i]->GetXaxis()->CenterTitle();//居中
//graph_residual[i]->GetYaxis()->CenterTitle();//居中
graph_residual[i]->GetXaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetYaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetXaxis()->SetLabelSize(0.18);
graph_residual[i]->GetYaxis()->SetLabelSize(0.18);
graph_residual[i]->GetXaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetYaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetXaxis()->SetTitleOffset(1.11);//轴名偏移
graph_residual[i]->GetYaxis()->SetTitleOffset(0.35);//轴名偏移
graph_residual[i]->GetXaxis()->SetTitleSize(0.18);
graph_residual[i]->GetYaxis()->SetTitleSize(0.18);
graph_residual[i]->GetYaxis()->SetNdivisions(105);
graph_residual[i]->GetYaxis()->SetTickLength(0.010);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
graph_residual[i]->GetYaxis()->SetRangeUser(-170, 170);
graph_residual[i]->SetLineWidth(1);
graph_residual[i]->SetLineColor(kBlack);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kBlack);
canvaspeak[i][ii]->cd();//进入画布
pad2->SetFrameLineWidth(3);
pad2->Draw();
pad2->RedrawAxis();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->SetLineColor(kOrange+7);
T1->SetLineWidth(3);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
pad1->SetLogy(0); // residuals are wrong if logy is turn on earlier
sprintf(filename, "%s%s%s%s", pathname, "png/", hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
//outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 177
5/23/2024
Run 3
185 hours
Eα: 5400-5560 keV
Fit range: 10*T1/2

## Slide 178
hadd all the ddas root files
hadd run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted.root run00{79..91}*.root
hadd run0092_0095_0100_0109_LEGe_MSD26_241Am_inChamber_window1.5us.root run-00{92..95}*.root run-01{00..09}*.root
/user/pxct/readout/rootfile/run0079_0091_ddas2root.C for run0079-0091 and run0330-0332 calibration. Only one slope value is used because there was no gain drift.
/user/pxct/readout/rootfile/run0092_0109_GetMaximumBin.C reads in the each ddas root and fills every 2e6 events into one hmsd26_e and get maximum to a run0092_0095_0100_0109_LEGe_MSD26_241Am_window1.5us.dat file.
Manually calculate the slope in Excel and gain match every maximum bin to 5479 keV and save 128 slope values to a /user/pxct/readout/rootfile/run0092_0109_Cal_Slope.dat file.
/user/pxct/readout/rootfile/run0092_0109_ddas2root.C reads in the 128 slope values and generates 128 run0092_0095_0100_0109_LEGe_MSD26_241Am_window1.5us_0000_cal.root files
Delete last few empty cal.root files and hadd 128 cal.root files and name it. hmsd26_e has different binmax and will cause errors when merging. Ignore it.
run0092_0095_0100_0109_LEGe_MSD26_241Am_window1.5us_0000_cal.root

## Slide 179
Copy 3 Run root files to F:\e21010\pxct
Run 1:16.49 GB
run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_0000_cal.root
Run 2: 3.06 GB
run0092_0095_0100_0109_LEGe_MSD26_241Am_window1.5us_0000_cal.root
Run 3: 3.80 GB
run0330_0332_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_0000_cal.root
These 3 Run root files contain all calibrated tree/branches.
analysis_chain_pxct_241Am_237Np_timing_Run1_Run3.C generates many histo-only Run1_timing_msdtotal_e_5361_5481_msdtotal_t.root files corresponding to α gates, each contains a htiming_lege_msd12 and 1 htiming_lege_msd26 gated by the α energy gate.
hlege_e, hmsd12_e, hmsd26_e, and hmsdtotal_e are all the same for each output file.
Bin counts and errors are also output to many timing_msdtotal_e_5361_5481_msd26_t_bin1ns.csv files for later emcee fit.
analysis_chain_pxct_241Am_237Np_timing_Run2.C

## Slide 180
peakfit_expdecay_band_lifetime_pxct_241Am_237Np.C reads htiming_lege_msd26_bin1ns from many Run3_timing_msdtotal_e_5358_5478_msdtotal_t.root files and fit exponential decay. Fit results are output to peakpara.dat -> PXCT.xlsx

## Slide 181
Lifetime for MSD26 runs:
α gate: 40 keV
Too wide: potential indirect feeding
Too narrow: low statistics; big error bars
Fit start: 150 ns
Too early: potential nonexponential distortion
Too late: low statistics; big error bars
Bin size: 1 ns
Minimal effect if using the Maximum likelihood fitting method
Fit method: Maximum likelihood
When fitting a count spectrum, it is never advisable to use the Chi-square minimization method.
Lifetime for MSD total runs:
α gate: 120 keV
Too wide: potential indirect feeding
Too narrow: low statistics; big error bars
Fit start: 150 ns
Too early: potential nonexponential distortion
Too late: low statistics; big error bars
Bin size: 1 ns
Minimal effect if using the Maximum likelihood fitting method
Fit method: Maximum likelihood
When fitting a count spectrum, it is never advisable to use the Chi-square minimization method.
Notes: 237Np recap/summary

## Slide 182
1791
keV
3626
keV
5417
keV
The drift within Run 1 is negligible.
The drift within Run 3 is negligible.
Run 3 drifted a lot compared to Run 1.
5485.56-keV α deposits 5479 keV in MSD26 if only MSD26 is used.

## Slide 183
1791
3626
5417
The drift within Run 1 is negligible.
The drift within Run 3 is negligible.
Run 3 drifted a lot compared to Run 1.
Run 3 is recalibrated.
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_0000_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.029);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.15);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(3);
TH1D* he = new TH1D("he", "he", 5000, 0, 6000);
//he->Rebin(2);
he->SetLineWidth(2);
he->SetLineColor(1);
he->SetStats(0);
he->SetTitle("");
he->GetXaxis()->SetTitle("Energy (keV)");
he->GetYaxis()->SetTitle("Counts per 1 keV");
he->GetXaxis()->CenterTitle();
he->GetYaxis()->CenterTitle();
he->GetXaxis()->SetLabelFont(132);
he->GetYaxis()->SetLabelFont(132);
he->GetXaxis()->SetLabelSize(0.06);
he->GetYaxis()->SetLabelSize(0.06);
he->GetXaxis()->SetTitleFont(132);
he->GetYaxis()->SetTitleFont(132);
he->GetXaxis()->SetTitleOffset(1.0);
he->GetYaxis()->SetTitleOffset(1.1);
he->GetXaxis()->SetTitleSize(0.07);
he->GetYaxis()->SetTitleSize(0.07);
he->GetXaxis()->SetRangeUser(100,6000);
//he->GetYaxis()->SetRangeUser(0,30000);
he->GetYaxis()->SetNdivisions(505);
he->GetYaxis()->SetTickLength(0.015);
tree->SetLineColor(1);
tree->SetLineWidth(2);
tree->Draw("msd12_e+msd26_e>>he","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000");
//tree->SetLineColor(kRed+2);
//tree->Draw("msd12_e","msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(kRed);
tree->Draw("msd12_e","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");
//tree->SetLineColor(kBlue+1);
//tree->Draw("msd26_e","msd26_e>100&&msd26_e<6000","same");
tree->SetLineColor(kAzure);
tree->Draw("msd26_e","msd26_e>100&&msd26_e<6000&&msd12_e>100&&msd12_e<6000","same");
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0330_0332_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_0000_cal.root");
tree->SetLineColor(kGreen+1);
tree->Draw("msd12_e","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");
tree->SetLineColor(kOrange+7);
tree->Draw("msd26_e","msd26_e>100&&msd26_e<6000&&msd12_e>100&&msd12_e<6000","same");
tree->SetLineColor(kMagenta);
tree->Draw("msd12_e+msd26_e","msd12_e>100&&msd12_e<6000&&msd26_e>100&&msd26_e<6000","same");
gPad->RedrawAxis();

## Slide 184
Notes: Best figure X-ray 241Am LEGe Run All
TFile *file1 = TFile::Open("F:/e21010/pxct/run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_0000_cal.root");
TCanvas* canvaspeak = new TCanvas("MSD", "MSD", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.11);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(3);
gPad->RedrawAxis();
hlege_e->SetLineWidth(3);
hlege_e->Rebin(1);
hlege_e->SetLineColor(kRed);
hlege_e->SetStats(0);
hlege_e->SetTitle("");
hlege_e->GetXaxis()->SetTitle("Energy (keV)");
hlege_e->GetYaxis()->SetTitle("Counts per 7 eV");
hlege_e->GetXaxis()->CenterTitle();
hlege_e->GetYaxis()->CenterTitle();
hlege_e->GetXaxis()->SetLabelFont(132);
hlege_e->GetYaxis()->SetLabelFont(132);
hlege_e->GetXaxis()->SetLabelSize(0.06);
hlege_e->GetYaxis()->SetLabelSize(0.06);
hlege_e->GetXaxis()->SetTitleFont(132);
hlege_e->GetYaxis()->SetTitleFont(132);
hlege_e->GetXaxis()->SetTitleOffset(1.0);
hlege_e->GetYaxis()->SetTitleOffset(0.72);
hlege_e->GetXaxis()->SetTitleSize(0.07);
hlege_e->GetYaxis()->SetTitleSize(0.07);
hlege_e->GetXaxis()->SetNdivisions(505);
hlege_e->GetYaxis()->SetTickLength(0.015);
hlege_e->GetXaxis()->SetRangeUser(0,70);
hlege_e->GetYaxis()->SetNdivisions(505);
hlege_e->GetYaxis()->SetRangeUser(20,4e7);
hlege_e->Draw("hist");
gPad->SetLogy();
TFile *file2 = TFile::Open("F:/e21010/pxct/run0092_0095_0100_0109_LEGe_MSD26_241Am_window1.5us_0000_cal.root");
hlege_e->SetLineWidth(2);
hlege_e->SetLineColor(kAzure);
hlege_e->Draw("same");
TFile *file3 = TFile::Open("F:/e21010/pxct/run0330_0332_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_0000_cal.root");
hlege_e->SetLineWidth(2);
hlege_e->SetLineColor(kGreen+1);
hlege_e->Draw("same");
gPad->RedrawAxis();
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Xray_241Am_LEGe_RunAll.png");

## Slide 185
98.97(2)
237Np γ-ray
102.98(2)
237Np γ-ray
55.56(2)
237Np γ-ray
All these Iγ ≈ 0.02%

## Slide 187
Run 1
Notes: Best figure
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_0000_cal.root"); // 949 hours
TCanvas* canvaspeak = new TCanvas("MSD", "MSD", 890, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
gStyle->SetFrameLineWidth(3);
canvaspeak->SetFrameLineWidth(3);
canvaspeak->SetLogz();
TH2D* hmsd_lege = new TH2D("hmsd_lege", "hmsd_lege", 1000,0,100,6000,0,6000); // x,y
//tree->Draw("msd26_e:lege_e>>hmsd_lege","msd26_e>200&&msd26_e<6000&&lege_e>5&&lege_e<400&&lege_t-msd26_t>0&&lege_t-msd26_t<1000","colz"); // y:x
tree->Draw("(msd12_e+msd26_e):lege_e>>hmsd_lege","msd12_e>300&&msd12_e<6000&&msd26_e>300&&msd26_e<6000&&lege_e>10&&lege_e<100&&msd26_t-msd12_t>-220&&msd26_t-msd12_t<140&&lege_t-msd12_t>-200&&lege_t-msd12_t<800&&lege_t-msd26_t>0&&lege_t-msd26_t<1000","colz"); // y:x
hmsd_lege->SetStats(0);
hmsd_lege->SetTitle("");
hmsd_lege->GetXaxis()->SetTitle("LEGe Energy (keV)");
hmsd_lege->GetYaxis()->SetTitle("MSD12 + MSD26 Energy (keV)");
hmsd_lege->GetXaxis()->CenterTitle();
hmsd_lege->GetYaxis()->CenterTitle();
hmsd_lege->GetXaxis()->SetLabelFont(132);
hmsd_lege->GetYaxis()->SetLabelFont(132);
hmsd_lege->GetXaxis()->SetLabelSize(0.05);
hmsd_lege->GetYaxis()->SetLabelSize(0.05);
hmsd_lege->GetXaxis()->SetTitleFont(132);
hmsd_lege->GetYaxis()->SetTitleFont(132);
hmsd_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd_lege->GetYaxis()->SetTitleOffset(1.4);
hmsd_lege->GetXaxis()->SetTitleSize(0.06);
hmsd_lege->GetYaxis()->SetTitleSize(0.06);
hmsd_lege->GetYaxis()->SetNdivisions(505);
hmsd_lege->GetXaxis()->SetRangeUser(38,65);
hmsd_lege->GetYaxis()->SetRangeUser(4200,6000);
hmsd_lege->SetMinimum(1);
//hmsd_lege->SetMaximum(100);
hmsd_lege->SetContour(99);
TPaletteAxis *palette = (TPaletteAxis*)hmsd_lege->GetListOfFunctions()->FindObject("palette");
gStyle->SetPalette(kRainbow);
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(3);
palette->SetX1NDC(0.89);
palette->SetX2NDC(0.92);
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Alpha_Gamma_Coincidence_241Am_MSD_LEGe_Run1.png");
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Alpha_Gamma_Coincidence_241Am_MSD_LEGe_Run1.eps");

## Slide 188
Run 2
Notes: Best figure
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0092_0095_0100_0109_LEGe_MSD26_241Am_window1.5us_0000_cal.root");
TCanvas* canvaspeak = new TCanvas("MSD", "MSD", 890, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
gStyle->SetFrameLineWidth(3);
canvaspeak->SetFrameLineWidth(3);
canvaspeak->SetLogz();
TH2D* hmsd_lege = new TH2D("hmsd_lege", "hmsd_lege", 1000,0,100,6000,0,6000); // x,y
tree->Draw("msd26_e:lege_e>>hmsd_lege","msd26_e>200&&msd26_e<6000&&lege_e>5&&lege_e<400&&lege_t-msd26_t>0&&lege_t-msd26_t<1000","colz"); // y:x
//tree->Draw("(msd12_e+msd26_e):lege_e>>hmsd_lege","msd12_e>300&&msd12_e<6000&&msd26_e>300&&msd26_e<6000&&lege_e>10&&lege_e<100&&msd12_t-msd26_t>-60&&msd12_t-msd26_t<160&&lege_t-msd12_t>-100&&lege_t-msd12_t<900&&lege_t-msd26_t>0&&lege_t-msd26_t<1000","colz"); // y:x
hmsd_lege->SetStats(0);
hmsd_lege->SetTitle("");
hmsd_lege->GetXaxis()->SetTitle("LEGe Energy (keV)");
hmsd_lege->GetYaxis()->SetTitle("MSD26 Energy (keV)");
hmsd_lege->GetXaxis()->CenterTitle();
hmsd_lege->GetYaxis()->CenterTitle();
hmsd_lege->GetXaxis()->SetLabelFont(132);
hmsd_lege->GetYaxis()->SetLabelFont(132);
hmsd_lege->GetXaxis()->SetLabelSize(0.05);
hmsd_lege->GetYaxis()->SetLabelSize(0.05);
hmsd_lege->GetXaxis()->SetTitleFont(132);
hmsd_lege->GetYaxis()->SetTitleFont(132);
hmsd_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd_lege->GetYaxis()->SetTitleOffset(1.4);
hmsd_lege->GetXaxis()->SetTitleSize(0.06);
hmsd_lege->GetYaxis()->SetTitleSize(0.06);
hmsd_lege->GetYaxis()->SetNdivisions(505);
hmsd_lege->GetXaxis()->SetRangeUser(38,65);
hmsd_lege->GetYaxis()->SetRangeUser(4200,6000);
hmsd_lege->SetMinimum(1);
//hmsd_lege->SetMaximum(100);
hmsd_lege->SetContour(99);
TPaletteAxis *palette = (TPaletteAxis*)hmsd_lege->GetListOfFunctions()->FindObject("palette");
gStyle->SetPalette(kRainbow);
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(3);
palette->SetX1NDC(0.89);
palette->SetX2NDC(0.92);
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Alpha_Gamma_Coincidence_241Am_MSD_LEGe_Run2.png");
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Alpha_Gamma_Coincidence_241Am_MSD_LEGe_Run2.eps");

## Slide 189
Run 3
Notes: Best figure
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0330_0332_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_0000_cal.root");
TCanvas* canvaspeak = new TCanvas("MSD", "MSD", 890, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
gStyle->SetFrameLineWidth(3);
canvaspeak->SetFrameLineWidth(3);
canvaspeak->SetLogz();
TH2D* hmsd_lege = new TH2D("hmsd_lege", "hmsd_lege", 1000,0,100,6000,0,6000); // x,y
//tree->Draw("msd26_e:lege_e>>hmsd_lege","msd26_e>200&&msd26_e<6000&&lege_e>5&&lege_e<400&&lege_t-msd26_t>0&&lege_t-msd26_t<1000","colz"); // y:x
tree->Draw("(msd12_e+msd26_e):lege_e>>hmsd_lege","msd12_e>300&&msd12_e<6000&&msd26_e>300&&msd26_e<6000&&lege_e>10&&lege_e<100&&msd12_t-msd26_t>-60&&msd12_t-msd26_t<160&&lege_t-msd12_t>-100&&lege_t-msd12_t<900&&lege_t-msd26_t>0&&lege_t-msd26_t<1000","colz"); // y:x
hmsd_lege->SetStats(0);
hmsd_lege->SetTitle("");
hmsd_lege->GetXaxis()->SetTitle("LEGe Energy (keV)");
hmsd_lege->GetYaxis()->SetTitle("MSD12 + MSD26 Energy (keV)");
hmsd_lege->GetXaxis()->CenterTitle();
hmsd_lege->GetYaxis()->CenterTitle();
hmsd_lege->GetXaxis()->SetLabelFont(132);
hmsd_lege->GetYaxis()->SetLabelFont(132);
hmsd_lege->GetXaxis()->SetLabelSize(0.05);
hmsd_lege->GetYaxis()->SetLabelSize(0.05);
hmsd_lege->GetXaxis()->SetTitleFont(132);
hmsd_lege->GetYaxis()->SetTitleFont(132);
hmsd_lege->GetXaxis()->SetTitleOffset(1.1);
hmsd_lege->GetYaxis()->SetTitleOffset(1.4);
hmsd_lege->GetXaxis()->SetTitleSize(0.06);
hmsd_lege->GetYaxis()->SetTitleSize(0.06);
hmsd_lege->GetYaxis()->SetNdivisions(505);
hmsd_lege->GetXaxis()->SetRangeUser(38,65);
hmsd_lege->GetYaxis()->SetRangeUser(4200,6000);
hmsd_lege->SetMinimum(1);
//hmsd_lege->SetMaximum(100);
hmsd_lege->SetContour(99);
TPaletteAxis *palette = (TPaletteAxis*)hmsd_lege->GetListOfFunctions()->FindObject("palette");
gStyle->SetPalette(kRainbow);
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(3);
palette->SetX1NDC(0.89);
palette->SetX2NDC(0.92);
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Alpha_Gamma_Coincidence_241Am_MSD_LEGe_Run3.png");
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Alpha_Gamma_Coincidence_241Am_MSD_LEGe_Run3.eps");

## Slide 190
Notes: Best figure Timing 241Am LEGe-MSD Run All
TFile *file1 = TFile::Open("F:/e21010/pxct/run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_0000_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.11);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(3);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 3000,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("LEGe #minus MSD Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 1 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.0);
htimestamps->GetYaxis()->SetTitleOffset(0.72);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-500,1400);
htimestamps->GetYaxis()->SetRangeUser(1,30000);
htimestamps->GetYaxis()->SetNdivisions(505);
htimestamps->GetYaxis()->SetTickLength(0.015);
htimestamps->SetLineColor(kRed);
gPad->SetLogy();
tree->Draw("lege_t-msd12_t>>htimestamps","lege_e > 59.0 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5421 - 60 && msd12_e + msd26_e < 5421 + 60"); // second decay - first decay
htimestamps->Sumw2(kFALSE);
htimestamps->SetBinErrorOption(TH1::kPoisson);//TH1::kNormal or TH1::kPoisson
tree->SetLineColor(kRed+2);
tree->SetMarkerColor(kRed+2);
tree->SetLineWidth(2);
tree->Draw("lege_t-msd26_t","lege_e > 59.0 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5421 - 60 && msd12_e + msd26_e < 5421 + 60","same"); // second decay - first decay
TFile *file3 = TFile::Open("F:/e21010/pxct/run0330_0332_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_0000_cal.root");
tree->SetLineColor(kGreen);
tree->SetMarkerColor(kGreen);
tree->SetLineWidth(2);
tree->Draw("lege_t-msd12_t","lege_e > 59.0 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5421 - 60 && msd12_e + msd26_e < 5421 + 60","same"); // second decay - first decay
tree->SetLineColor(kGreen+2);
tree->SetMarkerColor(kGreen+2);
tree->SetLineWidth(2);
tree->Draw("lege_t-msd26_t","lege_e > 59.0 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5421 - 60 && msd12_e + msd26_e < 5421 + 60","same"); // second decay - first decay
TFile *file2 = TFile::Open("F:/e21010/pxct/run0092_0095_0100_0109_LEGe_MSD26_241Am_window1.5us_0000_cal.root");
tree->SetLineColor(kAzure);
tree->SetMarkerColor(kAzure);
tree->SetLineWidth(2);
tree->Draw("lege_t-msd26_t","lege_e > 59.0 && lege_e < 60.1 && msd26_e > 5459 && msd26_e < 5499","same"); // second decay - first decay
gPad->RedrawAxis();
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Alpha_Gamma_Timing_241Am_LEGe_MSD_RunAll.png");

## Slide 191
Notes: Timing 241Am LEGe-MSD Run All
TFile *file1 = TFile::Open("F:/e21010/pxct/run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_0000_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.11);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(3);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 3000,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("LEGe #minus MSD Time difference (ns)");
htimestamps->GetYaxis()->SetTitle("Counts per 1 ns");
htimestamps->GetXaxis()->CenterTitle();
htimestamps->GetYaxis()->CenterTitle();
htimestamps->GetXaxis()->SetLabelFont(132);
htimestamps->GetYaxis()->SetLabelFont(132);
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);
htimestamps->GetYaxis()->SetTitleFont(132);
htimestamps->GetXaxis()->SetTitleOffset(1.0);
htimestamps->GetYaxis()->SetTitleOffset(0.72);
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
htimestamps->GetXaxis()->SetRangeUser(-500,1400);
//htimestamps->GetYaxis()->SetRangeUser(1,30000);
htimestamps->GetYaxis()->SetNdivisions(505);
htimestamps->GetYaxis()->SetTickLength(0.015);
htimestamps->SetLineColor(kRed);
//gPad->SetLogy();
tree->Draw("lege_t-msd12_t>>htimestamps","lege_e > 59.0 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5421 - 60 && msd12_e + msd26_e < 5421 + 60"); // second decay - first decay
htimestamps->Sumw2(kFALSE);
htimestamps->SetBinErrorOption(TH1::kPoisson);//TH1::kNormal or TH1::kPoisson
tree->SetLineColor(kRed+2);
tree->SetMarkerColor(kRed+2);
tree->SetLineWidth(2);
tree->Draw("lege_t-msd26_t","lege_e > 59.0 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5421 - 60 && msd12_e + msd26_e < 5421 + 60","same"); // second decay - first decay
TFile *file3 = TFile::Open("F:/e21010/pxct/run0330_0332_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_0000_cal.root");
tree->SetLineColor(kGreen);
tree->SetMarkerColor(kGreen);
tree->SetLineWidth(2);
tree->Draw("lege_t-msd12_t","lege_e > 59.0 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5421 - 60 && msd12_e + msd26_e < 5421 + 60","same"); // second decay - first decay
tree->SetLineColor(kGreen+2);
tree->SetMarkerColor(kGreen+2);
tree->SetLineWidth(2);
tree->Draw("lege_t-msd26_t","lege_e > 59.0 && lege_e < 60.1 && msd12_e > 1700 && msd12_e < 2200 && msd26_e > 3300 && msd26_e < 3800 && msd12_e + msd26_e > 5421 - 60 && msd12_e + msd26_e < 5421 + 60","same"); // second decay - first decay
TFile *file2 = TFile::Open("F:/e21010/pxct/run0092_0095_0100_0109_LEGe_MSD26_241Am_window1.5us_0000_cal.root");
tree->SetLineColor(kAzure);
tree->SetMarkerColor(kAzure);
tree->SetLineWidth(2);
tree->Draw("lege_t-msd26_t","lege_e > 59.0 && lege_e < 60.1 && msd26_e > 5459 && msd26_e < 5499","same"); // second decay - first decay
gPad->RedrawAxis();
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Alpha_Gamma_Timing_241Am_LEGe_MSD_RunAll2.png");

## Slide 192
For LEGe_t – MSD26_t
The data and exponential curve appear to deviate from each other at around 140 ns.
Run0092-0095, 0100-0105
Run0079-0091
Notes: Diverge

## Slide 194
Run 1

## Slide 195
Run 2

## Slide 196
Run 3

## Slide 197
Run 1
Eα: 5290-5500

## Slide 198
Run 1
Eα: 5290-5500

## Slide 199
Run 3
Eα: 5290-5500

## Slide 200
Run 3
Eα: 5290-5500

## Slide 201
Direct decay: 5486 α → 59 → 0 γ 30.7%
Direct decay: 5486 α → 59 → 0 IC 35.6%
Cascade decay: 5443 α → 103 → 59 γ → 0 γ 0.08%
Cascade decay: 5443 α → 103 → 59 IC → 0 γ 4.7%
Notes: 13.1/84.8=0.15448

## Slide 202
Notes: Best figure alpha 241Am MSD12 MSD26 Run All;
TFile *file1 = TFile::Open("F:/e21010/pxct/run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_0000_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.062);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.11);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(3);
const int nrebin = 1;
char tempname[300];
hmsdtotal_e->Rebin(nrebin);
hmsdtotal_e->SetLineWidth(3);
hmsdtotal_e->SetLineColor(kRed);
hmsdtotal_e->SetStats(0);
hmsdtotal_e->SetTitle("");
hmsdtotal_e->GetXaxis()->SetTitle("Energy (keV)");
double binwidth;
binwidth = hmsdtotal_e->GetBinWidth(1);
sprintf(tempname, "%s%.1f%s", "Counts per ", binwidth, " keV");
hmsdtotal_e->GetYaxis()->SetTitle(tempname);
hmsdtotal_e->GetXaxis()->CenterTitle();
hmsdtotal_e->GetYaxis()->CenterTitle();
hmsdtotal_e->GetXaxis()->SetLabelFont(132);
hmsdtotal_e->GetYaxis()->SetLabelFont(132);
hmsdtotal_e->GetXaxis()->SetLabelSize(0.06);
hmsdtotal_e->GetYaxis()->SetLabelSize(0.06);
hmsdtotal_e->GetXaxis()->SetTitleFont(132);
hmsdtotal_e->GetYaxis()->SetTitleFont(132);
hmsdtotal_e->GetXaxis()->SetTitleOffset(1.0);
hmsdtotal_e->GetYaxis()->SetTitleOffset(0.72);
hmsdtotal_e->GetXaxis()->SetTitleSize(0.07);
hmsdtotal_e->GetYaxis()->SetTitleSize(0.07);
hmsdtotal_e->GetXaxis()->SetRangeUser(5085,5630);
hmsdtotal_e->GetYaxis()->SetRangeUser(0,3.5e6);
hmsdtotal_e->GetYaxis()->SetMaxDigits(3);
hmsdtotal_e->GetXaxis()->SetNdivisions(510);
hmsdtotal_e->GetYaxis()->SetNdivisions(505);
hmsdtotal_e->GetYaxis()->SetTickLength(0.015);
hmsdtotal_e->Draw();
hmsd12_e_05keVbin->Rebin(nrebin);
hmsd12_e_05keVbin->SetLineWidth(3);
hmsd12_e_05keVbin->SetLineColor(kRed);
hmsd12_e_05keVbin->Draw("same");
hmsd26_e_05keVbin->Rebin(nrebin);
hmsd26_e_05keVbin->SetLineWidth(3);
hmsd26_e_05keVbin->SetLineColor(kRed);
hmsd26_e_05keVbin->Draw("same");
TFile *file3 = TFile::Open("F:/e21010/pxct/run0330_0332_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_0000_cal.root");
hmsdtotal_e->Rebin(nrebin);
hmsdtotal_e->SetLineWidth(3);
hmsdtotal_e->SetLineColor(kGreen+1);
hmsdtotal_e->Draw("same");
hmsd12_e_05keVbin->Rebin(nrebin);
hmsd12_e_05keVbin->SetLineWidth(3);
hmsd12_e_05keVbin->SetLineColor(kGreen+1);
hmsd12_e_05keVbin->Draw("same");
hmsd26_e_05keVbin->Rebin(nrebin);
hmsd26_e_05keVbin->SetLineWidth(3);
hmsd26_e_05keVbin->SetLineColor(kGreen+1);
hmsd26_e_05keVbin->Draw("same");
TFile *file2 = TFile::Open("F:/e21010/pxct/run0092_0095_0100_0109_LEGe_MSD26_241Am_window1.5us_0000_cal.root");
hmsd26_e_05keVbin->Rebin(nrebin);
hmsd26_e_05keVbin->SetLineWidth(3);
hmsd26_e_05keVbin->SetLineColor(kAzure);
hmsd26_e_05keVbin->Draw("same");
gPad->RedrawAxis();
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Alpha_241Am_MSD_RunAll.png");

## Slide 203
Notes: Best figure alpha 241Am MSD12 MSD26 Run All;
TFile *file1 = TFile::Open("F:/e21010/pxct/run0079_0091_LEGe_MSD_241Am_inChamber_window1.5us_CFDdelay_adjusted_0000_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//
canvaspeak->cd();//
canvaspeak->SetTopMargin(0.062);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.11);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(3);
const int nrebin = 1;
char tempname[300];
hmsdtotal_e->Rebin(nrebin);
hmsdtotal_e->SetLineWidth(3);
hmsdtotal_e->SetLineColor(kRed);
hmsdtotal_e->SetStats(0);
hmsdtotal_e->SetTitle("");
hmsdtotal_e->GetXaxis()->SetTitle("Energy (keV)");
double binwidth;
binwidth = hmsdtotal_e->GetBinWidth(1);
sprintf(tempname, "%s%.1f%s", "Counts per ", binwidth, " keV");
hmsdtotal_e->GetYaxis()->SetTitle(tempname);
hmsdtotal_e->GetXaxis()->CenterTitle();
hmsdtotal_e->GetYaxis()->CenterTitle();
hmsdtotal_e->GetXaxis()->SetLabelFont(132);
hmsdtotal_e->GetYaxis()->SetLabelFont(132);
hmsdtotal_e->GetXaxis()->SetLabelSize(0.06);
hmsdtotal_e->GetYaxis()->SetLabelSize(0.06);
hmsdtotal_e->GetXaxis()->SetTitleFont(132);
hmsdtotal_e->GetYaxis()->SetTitleFont(132);
hmsdtotal_e->GetXaxis()->SetTitleOffset(1.0);
hmsdtotal_e->GetYaxis()->SetTitleOffset(0.72);
hmsdtotal_e->GetXaxis()->SetTitleSize(0.07);
hmsdtotal_e->GetYaxis()->SetTitleSize(0.07);
hmsdtotal_e->GetXaxis()->SetRangeUser(5085,5630);
hmsdtotal_e->GetYaxis()->SetRangeUser(0,3.5e6);
hmsdtotal_e->GetYaxis()->SetMaxDigits(3);
hmsdtotal_e->GetXaxis()->SetNdivisions(510);
hmsdtotal_e->GetYaxis()->SetNdivisions(505);
hmsdtotal_e->GetYaxis()->SetTickLength(0.015);
hmsdtotal_e->Draw();
hmsd12_e_05keVbin->Rebin(nrebin);
hmsd12_e_05keVbin->SetLineWidth(3);
hmsd12_e_05keVbin->SetLineColor(kRed);
hmsd12_e_05keVbin->Draw("same");
hmsd26_e_05keVbin->Rebin(nrebin);
hmsd26_e_05keVbin->SetLineWidth(3);
hmsd26_e_05keVbin->SetLineColor(kRed);
hmsd26_e_05keVbin->Draw("same");
TFile *file3 = TFile::Open("F:/e21010/pxct/run0330_0332_LEGe_MSD_241Am_Z7117_ChamberCenter_window1.5us_TrigRise0.064_0.016_0.016us_TrigGap0.952_1.000_1.000us_Th350_2700_1000_CFDDelay0.304us_Scale7_0000_cal.root");
hmsdtotal_e->Rebin(nrebin);
hmsdtotal_e->SetLineWidth(3);
hmsdtotal_e->SetLineColor(kGreen+1);
hmsdtotal_e->Draw("same");
hmsd12_e_05keVbin->Rebin(nrebin);
hmsd12_e_05keVbin->SetLineWidth(3);
hmsd12_e_05keVbin->SetLineColor(kGreen+1);
hmsd12_e_05keVbin->Draw("same");
hmsd26_e_05keVbin->Rebin(nrebin);
hmsd26_e_05keVbin->SetLineWidth(3);
hmsd26_e_05keVbin->SetLineColor(kGreen+1);
hmsd26_e_05keVbin->Draw("same");
TFile *file2 = TFile::Open("F:/e21010/pxct/run0092_0095_0100_0109_LEGe_MSD26_241Am_window1.5us_0000_cal.root");
hmsd26_e_05keVbin->Rebin(nrebin);
hmsd26_e_05keVbin->SetLineWidth(3);
hmsd26_e_05keVbin->SetLineColor(kAzure);
hmsd26_e_05keVbin->Draw("same");
gPad->RedrawAxis();
canvaspeak->SaveAs("F:/e21010/pxct/Fig_237Np_Alpha_241Am_MSD_RunAll.png");

## Slide 205
Run 1
Eα: 5290-5520

## Slide 206
Run 3
Eα: 5290-5520

## Slide 207
Run 2
Eα: 5415-5500
Run 2
Eα: 5459-5499

## Slide 209
gRandom->Exp(68 / log(2.0)) + gRandom->Gaus(0, 5);
5 ns
200 ns
30 ns
True time = 68 ns

## Slide 210
N = 1e7
T = 68.0
B = 0.0

## Slide 212
N = 1e7
T = 68.0
B = 0.0
σ = 5 ns
Fit range: 25 ns + 10T

## Slide 213
N = 1e7
T = 68.0
B = 0.0
σ = 30 ns
Fit range: 150 ns + 10T

## Slide 214
N = 1e7
T = 68.0
B = 0.0
σ = 200 ns
Fit range: 1000 ns + 10T