## Slide 1: PXCT 60Co Test
03/16/2024

## Slide 2
Our group commonly uses "North" and "South" to refer to Ge Detectors XtRa1 and XtRa2.
PXCT Setup

## Slide 3
60Co
Source
I7281
Notes: Decay scheme of 60Co
60Co decay scheme

## Slide 4: Coincidence Summing

## Slide 5
1173
60Co
1461
40K
1332
60Co
Run Time: 126712401287603 ns (35.2 hours)
North
Room background

## Slide 6
1173
60Co
1461
40K
1332
60Co
South
Run Time: 126712401287603 ns (35.2 hours)
Room background

## Slide 7
1173 1332 60Co
1461 40K
2506
North
South
LEGe
2506/1173 | 0.35%
2506/1332 | 0.38%
2506/1173 | 0.30%
2506/1332 | 0.32%
2614 208Tl
Ratios of 2506-keV sum peak vs singles

## Slide 8
1173
1332
South 1173 | 13072303 | Gated
γγ Angular Correlation 90deg | 0.95 | 
1332 | 12418688 | Emitted
North 1332 | 36243 | Detected
North 1332 ε | 0.292% | Summing free
North 1332 ε | 0.285% | Nominal
Summing Correction Factor | 1.0245 | 
South 1332 | 12189561 | Gated
γγ Angular Correlation 90deg | 0.95 | 
1173 | 11564725 | Emitted
North 1173 | 36466 | Detected
North 1173 ε | 0.315% | Summing free
North 1173 ε | 0.308% | Nominal
Summing Correction Factor | 1.0230 | 
60Co
1332
1173
60Co
Based on the counts of 1173-1332 γγ coincidences, we estimate that summing "loss" accounts for around 2.5% of the singles peaks.

## Slide 9
1173
1332
North 1173 | 14760841 | Gated
γγ Angular Correlation 90deg | 0.95 | 
1332 | 14022799 | Emitted
South 1332 | 36600 | Detected
South 1332 ε | 0.261% | Summing free
South 1332 ε | 0.254% | Nominal
Summing Correction Factor | 1.0268 | 
North 1332 | 13659715 | Gated
γγ Angular Correlation 90deg | 0.95 | 
1173 | 12959519 | Emitted
South 1173 | 36262 | Detected
South 1173 ε | 0.280% | Summing free
South 1173 ε | 0.273% | Nominal
Summing Correction Factor | 1.0251 | 
60Co
1332
1173
60Co
Based on the counts of 1173-1332 γγ coincidences, we estimate that summing "loss" accounts for around 2.5% of the singles peaks.

## Slide 10
The error bars for the data points are given by the uncertainty of the γ-ray yields and the source activity (1.4% for 152Eu, 3% for 60Co, and 3% for 137Cs), as well as 2.5% to account for summing effects. The efficiency estimates should be accurate enough for PAC proposal references. When it comes to our future experimental data analysis, we will likely use γ rays from decays of nuclei in the beam for normalization.

## Slide 11: Timing Performance

## Slide 12
This GIF is generated using oscilloscope screenshots of preamp signals from North (Yellow) and South (Cyan) Detectors, with both 152Eu and 60Co placed next to them.
The time difference varies considerably from event to event, which could explain the wide spread of timestamps (hundred ns) we saw in the data (next few slides).
No matter how I varied the filter parameters, either CFD or Leading Edge is enabled, I found that a few hundred ns coincidence window is needed to cover the time distribution between detectors.
Enabling CFD made the time distribution energy-independent in comparison to Leading Edge Timing.

## Slide 13
Run0219
60Co South 1173 and 1332 both gated
TriggerRise 0.15 μs
TriggerGap 0.10 μs
CFDdelay 0.50 μs
Run0220
60Co South 1173 and 1332 both gated
TriggerRise 0.50 μs
TriggerGap 0.50 μs
CFDdelay 0.50 μs

## Slide 14
Run0218
60Co LEGe 1173 and 1332 both gated
TriggerRise 0.15 μs
TriggerGap 0.10 μs
CFDdelay 0.16 μs
Run0219
60Co LEGe 1173 and 1332 both gated
TriggerRise 0.15 μs
TriggerGap 0.10 μs
CFDdelay 0.50 μs

## Slide 15
North 1173-gated
North 1332-gated
1173
1332

## Slide 16
South 1173-gated
South 1332-gated
1173
1332

## Slide 17
1408
245
1112
964
867
444
1213
344
122
1408
245
1112
964
867
444
1213
344
122
South 122-keV γ gated
CFD disabled in CSRA
South 122-keV γ gated
CFD enabled in CSRA
run0222
run0221

## Slide 18
411
779
1089
1299
344
122
411
779
1089
1299
344
122
South 344-keV γ gated
CFD disabled in CSRA
South 344-keV γ gated
CFD enabled in CSRA
CFD delay 0.16 μs
run0222
run0221
Notes: TFile *_file1 = TFile::Open("F:/e21010/pxct/run0222_LEGe_XtRa_152Eu_Z2707_inChamber_atmosphere_XtRa_20ishmm_away_window1us_CFDoff_AnalogGain4.0_cal.root");
TFile *_file0 = TFile::Open("F:/e21010/pxct/run0221_LEGe_XtRa_152Eu_Z2707_inChamber_atmosphere_XtRa_20ishmm_away_window1us_CFDdelay0.16us_AnalogGain4.0_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 890, 800);
canvaspeak->cd();
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(2);
//canvaspeak->SetLogz();
TH2D* het = new TH2D("het", "het", 200,-1000,1000,250,0,1500); //x,y
//tree->Draw("north_e:north_t-south_t>>het","north_e>100&&north_e<1500&&south_e>120&&south_e<123","colz"); //y:x
tree->Draw("north_e:north_t-south_t>>het","north_e>100&&north_e<1500&&south_e>342&&south_e<346","colz"); //y:x
het->SetStats(0);
het->SetTitle("");
het->GetXaxis()->SetTitle("North - South Time Difference (ns)");
het->GetYaxis()->SetTitle("North Energy (keV)");
het->GetXaxis()->CenterTitle();
het->GetYaxis()->CenterTitle();
het->GetXaxis()->SetLabelFont(132);
het->GetYaxis()->SetLabelFont(132);
het->GetXaxis()->SetLabelSize(0.05);
het->GetYaxis()->SetLabelSize(0.05);
het->GetXaxis()->SetTitleFont(132);
het->GetYaxis()->SetTitleFont(132);
het->GetXaxis()->SetTitleOffset(1.1);
het->GetYaxis()->SetTitleOffset(1.4);
het->GetXaxis()->SetTitleSize(0.06);
het->GetYaxis()->SetTitleSize(0.06);
het->GetXaxis()->SetNdivisions(505);
het->GetYaxis()->SetNdivisions(505);
//het->GetXaxis()->SetRangeUser(2001,4500);
//het->GetYaxis()->SetRangeUser(1000,2800);
//het->SetMinimum(2);
//het->SetMaximum(100);
het->SetContour(99);
gStyle->SetPalette(kRainbow);
TPaletteAxis *palette = (TPaletteAxis*)het->GetListOfFunctions()->FindObject("palette");
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(2);

## Slide 19
North 122-keV γ gated
CFD enabled in CSRA
CFD delay 0.5 μs
North 122-keV γ gated
CFD disabled in CSRA
run0224
run0223
The 122-keV signal on North is small, and it will result in a delay in the leading edge timing, which in turn will produce bigger timestamps. So North_t – South_t is positive, but when the signal on South is also small, the North_t – South_t shifts towards zero.
1408
245
1112
964
867
444
1213
344
122
1408
245
1112
964
867
444
1213
344
122

## Slide 20
run0224
run0223
411
779
1089
1299
344
122
411
779
1089
1299
344
122
North 344-keV γ gated
CFD enabled in CSRA
CFD delay 0.5 μs
North 344-keV γ gated
CFD disabled in CSRA
The 344-keV signal on North is not so small, so it will result in less delay in the leading edge timing, which in turn will produce not-so-large timestamps. So North_t – South_t is close to zero, but when the signal on South is also small, i.e., large timestamps, the North_t – South_t shifts towards negative.

## Slide 21
South 122-keV γ gated
CFD enabled in CSRA
CFD delay 0.5 μs
South 122-keV γ gated
CFD disabled in CSRA
run0224
run0223
When the signal on the North is smaller, it will result in a delay in the leading edge timing, which in turn will produce bigger timestamps.
1408
245
1112
964
867
444
1213
344
122
1408
245
1112
964
867
444
1213
344
122

## Slide 22
411
779
1089
1299
344
122
411
779
1089
1299
344
122
South 344-keV γ gated
CFD enabled in CSRA
CFD delay 0.5 μs
South 344-keV γ gated
CFD disabled in CSRA
run0224
run0223
When the signal on the North is smaller, it will result in a delay in the leading edge timing, which in turn will produce bigger timestamps.

## Slide 23
LEGe 40-keV Kα gated
CFD enabled in CSRA
CFD delay 0.3 μs
LEGe 122-keV γ gated
CFD enabled in CSRA
CFD delay 0.3 μs
run0225
run0225
1408
245
1112
964
867
444
1213
344
122
1408
245
1112
964
867
444
1213
344
122
779
779

## Slide 24
Run0225 152Eu
CFD Delay 0.3 us
RMS = 239
Run0075 152Eu
CFD Delay 0.16 us
RMS = 247

## Slide 25
Run0075 152Eu
100 < Eγ < 1600
Run0216-0218 60Co
1100 < Eγ < 1400

## Slide 26
Run0224 152Eu
CFD off
100 < Eγ < 1600
Run0223 152Eu
CFD delay 0.5 us
100 < Eγ < 1600

## Slide 27
Run0224 152Eu
CFD off
Eγ gate = 122
Run0223 152Eu
CFD delay 0.5 us
Eγ gate = 122
Run0224 152Eu
CFD off
Eγ gate = 344
Run0223 152Eu
CFD delay 0.5 us
Eγ gate = 344

## Slide 28
Run0224 152Eu
CFD off
Eγ gate = 1112
Run0223 152Eu
CFD delay 0.5 us
Eγ gate = 1112
Digitizer's Filter parameters are optimized according to the references on the next slides.
We were able to achieve the energy resolution specified by the vendor for all detectors.

## Slide 29
Figure 3.7: Example of the DDAS digital constant fraction discriminator (CFD) algorithm. A sample detector signal acquired from a LaBr3 detector by a 12-bit 500 MSPS is shown in black. The response of the DDAS CFD algorithm is shown in red along with the user-defined CFD threshold illustrated as a black dashed line. Key points in time related to precision time extraction are labeled.
Figure 3.6: Example of DDAS digital filtering algorithms. A sample detector signal acquired from the planar GeDSSD by a 14-bit 250 MSPS is shown in black. The response of the DDAS trigger-filter algorithm is shown in dark red along with the user-defined trigger filter threshold illustrated as a black dashed line. Shown in dark blue is the response of the DDAS energy filter algorithm. Key points in time related to triggering and energy extraction are labeled.
Christopher Prokop, PhD Thesis, 2016.

## Slide 30
Wu H Y, Li Z H, Wu J, et al. A general-purpose data acquisition system and a waveform analysis algorithm based on digitization
Wu H Y, Li Z H, Wu J, et al. A general-purpose data acquisition system and a waveform analysis algorithm based on digitization
H. Y. Wu et al., Nucl. Instrum. Methods Phys. Res. A 975, 164200 (2020).
C.J. Prokop et al., Nucl. Instrum. Methods Phys. Res. A 741, 163 (2014).

## Slide 32
C.J. Prokop et al., Nucl. Instrum. Methods Phys. Res. A 741, 163 (2014).