## Slide 1
Notes: Decay scheme of 152Eu
152Eu decay scheme

## Slide 2
North_t – South_t
Run0204
Event build window 1.5 μs
100-1600 keV
130-1600 keV
North_t – South_t
Run0204
Event build window 1.5 μs
Run0205
Event build window 0.3 μs
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0204_XtRa_152Eu_Z2707_inChamber_vacuum_XtRa_12mm_away_window1.5us_CFDdelay_adjusted_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1300, 800);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.04);
canvaspeak->SetLeftMargin(0.13);
canvaspeak->SetBottomMargin(0.16);
canvaspeak->SetFrameLineWidth(2);
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 3000,-1500,1500);
htimestamps->SetLineWidth(2);
htimestamps->Rebin(1);
htimestamps->SetStats(0);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");//轴名
htimestamps->GetYaxis()->SetTitle("Counts per 1 ns");//轴名
htimestamps->GetXaxis()->CenterTitle();//居中
htimestamps->GetYaxis()->CenterTitle();//居中
htimestamps->GetXaxis()->SetLabelFont(132);//坐标字体
htimestamps->GetYaxis()->SetLabelFont(132);//坐标字体
htimestamps->GetXaxis()->SetLabelSize(0.06);
htimestamps->GetYaxis()->SetLabelSize(0.06);
htimestamps->GetXaxis()->SetTitleFont(132);//轴名字体
htimestamps->GetYaxis()->SetTitleFont(132);//轴名字体
htimestamps->GetXaxis()->SetTitleOffset(1.1);//轴名偏移
htimestamps->GetYaxis()->SetTitleOffset(0.95);//轴名偏移
htimestamps->GetXaxis()->SetTitleSize(0.07);
htimestamps->GetYaxis()->SetTitleSize(0.07);
//htimestamps->GetXaxis()->SetRangeUser(-850,550);
//htimestamps->GetYaxis()->SetRangeUser(0,1700);
htimestamps->GetYaxis()->SetNdivisions(505);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(2);
tree->Draw("north_t-south_t>>htimestamps","north_e>100&&north_e<1600&&south_e>100&&south_e<1600");
tree->SetLineColor(4);
tree->SetLineWidth(2);
tree->Draw("north_t-south_t","north_e>130&&north_e<1600&&south_e>130&&south_e<1600","same");
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0205_XtRa_152Eu_Z2707_inChamber_vacuum_XtRa_12mm_away_window0.3us_CFDdelay_adjusted_cal.root");
tree->SetLineColor(4);
tree->SetLineWidth(1);
tree->Draw("north_t-south_t","north_e>100&&north_e<1600&&south_e>100&&south_e<1600","same");

## Slide 3
1408
245
1112
964
867
444
1213
South 122-keV γ gated
344
122
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0097_98_LEGe_XtRa_152Eu_inChamber_window1.5us_CFDdelay_adjusted_930min_efficiency_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 890, 800);
canvaspeak->cd();
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(2);
//canvaspeak->SetLogz();
TH2D* het = new TH2D("het", "het", 500,-1500,1500,750,0,1500); //x,y
tree->Draw("north_e:north_t-south_t>>het","north_e>100&&north_e<1500&&south_e>120&&south_e<123","colz"); //y:x
het->SetStats(0);
het->SetTitle("");
het->GetXaxis()->SetTitle("North - South Time Difference (ns)");
het->GetYaxis()->SetTitle("North Energy (keV)");
het->GetXaxis()->CenterTitle();
het->GetYaxis()->CenterTitle();
het->GetXaxis()->SetLabelFont(132);
het->GetYaxis()->SetLabelFont(132);
het->GetXaxis()->SetLabelSize(0.05);
het->GetYaxis()->SetLabelSize(0.05);
het->GetXaxis()->SetTitleFont(132);
het->GetYaxis()->SetTitleFont(132);
het->GetXaxis()->SetTitleOffset(1.1);
het->GetYaxis()->SetTitleOffset(1.4);
het->GetXaxis()->SetTitleSize(0.06);
het->GetYaxis()->SetTitleSize(0.06);
het->GetYaxis()->SetNdivisions(505);
//het->GetXaxis()->SetRangeUser(2001,4500);
//het->GetYaxis()->SetRangeUser(1000,2800);
het->SetMinimum(2);
//het->SetMaximum(100);
het->SetContour(99);
gStyle->SetPalette(kRainbow);
TPaletteAxis *palette = (TPaletteAxis*)het->GetListOfFunctions()->FindObject("palette");
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(2);

## Slide 4
South 344-keV γ gated
411
779
1089
1299
344
122
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0097_98_LEGe_XtRa_152Eu_inChamber_window1.5us_CFDdelay_adjusted_930min_efficiency_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 890, 800);
canvaspeak->cd();
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(2);
//canvaspeak->SetLogz();
TH2D* het = new TH2D("het", "het", 500,-1500,1500,750,0,1500); //x,y
tree->Draw("north_e:north_t-south_t>>het","north_e>100&&north_e<1500&&south_e>342&&south_e<346","colz"); //y:x
het->SetStats(0);
het->SetTitle("");
het->GetXaxis()->SetTitle("North - South Time Difference (ns)");
het->GetYaxis()->SetTitle("North Energy (keV)");
het->GetXaxis()->CenterTitle();
het->GetYaxis()->CenterTitle();
het->GetXaxis()->SetLabelFont(132);
het->GetYaxis()->SetLabelFont(132);
het->GetXaxis()->SetLabelSize(0.05);
het->GetYaxis()->SetLabelSize(0.05);
het->GetXaxis()->SetTitleFont(132);
het->GetYaxis()->SetTitleFont(132);
het->GetXaxis()->SetTitleOffset(1.1);
het->GetYaxis()->SetTitleOffset(1.4);
het->GetXaxis()->SetTitleSize(0.06);
het->GetYaxis()->SetTitleSize(0.06);
het->GetYaxis()->SetNdivisions(505);
//het->GetXaxis()->SetRangeUser(2001,4500);
//het->GetYaxis()->SetRangeUser(1000,2800);
het->SetMinimum(2);
//het->SetMaximum(100);
het->SetContour(99);
gStyle->SetPalette(kRainbow);
TPaletteAxis *palette = (TPaletteAxis*)het->GetListOfFunctions()->FindObject("palette");
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(2);

## Slide 5
1408
245
1112
964
867
444
1213
North 122-keV γ gated
344
122
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0097_98_LEGe_XtRa_152Eu_inChamber_window1.5us_CFDdelay_adjusted_930min_efficiency_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 890, 800);
canvaspeak->cd();
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(2);
//canvaspeak->SetLogz();
TH2D* het = new TH2D("het", "het", 500,-1500,1500,750,0,1500); //x,y
tree->Draw("south_e:north_t-south_t>>het","north_e>120&&north_e<123&&south_e>100&&south_e<1500","colz"); //y:x
het->SetStats(0);
het->SetTitle("");
het->GetXaxis()->SetTitle("North - South Time Difference (ns)");
het->GetYaxis()->SetTitle("South Energy (keV)");
het->GetXaxis()->CenterTitle();
het->GetYaxis()->CenterTitle();
het->GetXaxis()->SetLabelFont(132);
het->GetYaxis()->SetLabelFont(132);
het->GetXaxis()->SetLabelSize(0.05);
het->GetYaxis()->SetLabelSize(0.05);
het->GetXaxis()->SetTitleFont(132);
het->GetYaxis()->SetTitleFont(132);
het->GetXaxis()->SetTitleOffset(1.1);
het->GetYaxis()->SetTitleOffset(1.4);
het->GetXaxis()->SetTitleSize(0.06);
het->GetYaxis()->SetTitleSize(0.06);
het->GetYaxis()->SetNdivisions(505);
//het->GetXaxis()->SetRangeUser(2001,4500);
//het->GetYaxis()->SetRangeUser(1000,2800);
het->SetMinimum(2);
//het->SetMaximum(100);
het->SetContour(99);
gStyle->SetPalette(kRainbow);
TPaletteAxis *palette = (TPaletteAxis*)het->GetListOfFunctions()->FindObject("palette");
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(2);

## Slide 6
152Sm
122+1408
152Sm
1528
Source-to-South Distance
157 mm 13.54 hours
365 mm 13.54 hours
Bkg peaks: same
Decay peaks: ↓5.4
Sum peaks: ↓29
Notes: TFile *_file0 = TFile::Open("run0205_0212_XtRa_152Eu_Z2707_inChamber_vacuum_XtRa_12mm_away_window0.3us_CFDdelay_adjusted_cal.root");
TCanvas* canvaspeak = new TCanvas("XtRa", "XtRa", 1400, 553);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.08);
canvaspeak->SetBottomMargin(0.13);
gStyle->SetFrameLineWidth(2);
gPad->SetLogy();
TH1D* he = new TH1D("he", "he", 2005,95,2100);
tree->Draw("south_e>>he","south_t>0&&south_t<48759000000000&&south_e>95");
he->SetLineColor(4);
he->SetLineWidth(3);
he->SetStats(0);
he->SetTitle("");
he->GetXaxis()->SetTitle("Energy (keV)");//轴名
he->GetYaxis()->SetTitle("Counts per 1 keV");//轴名
he->GetXaxis()->CenterTitle();//居中
he->GetYaxis()->CenterTitle();//居中
he->GetXaxis()->SetLabelFont(132);//坐标字体
he->GetYaxis()->SetLabelFont(132);//坐标字体
he->GetXaxis()->SetLabelSize(0.05);
he->GetYaxis()->SetLabelSize(0.05);
he->GetXaxis()->SetTitleFont(132);//轴名字体
he->GetYaxis()->SetTitleFont(132);//轴名字体
he->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
he->GetYaxis()->SetTitleOffset(0.66);//轴名偏移
he->GetXaxis()->SetTitleSize(0.06);
he->GetYaxis()->SetTitleSize(0.06);
he->GetYaxis()->SetTickLength(0.015);
he->GetXaxis()->SetRangeUser(100,1900);
//he->GetYaxis()->SetRangeUser(5,4000000);
TFile *_file1 = TFile::Open("run0206_0207_XtRa_152Eu_Z2707_inChamber_vacuum_XtRa_220mm_away_window0.3us_CFDdelay_adjusted_cal.root");
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("south_e","south_t>0&&south_t<48759000000000&&south_e>100","same");
gPad->RedrawAxis();

## Slide 7
152Sm
122+245
152Gd
367
152Sm
756
152Gd
344+411

## Slide 8
We must account for all coincidences whether giving rise to a sum peak count or not.
152Gd
779+344
214Po
1120
152Sm
964+122
152Sm
1085
152Gd
1089
152Sm
1112+122
214Po
1238
Notes: inconclusive evidence/results/tests

## Slide 9
152Sm
1112+122
214Po
1238
157 mm 13.54 hours PXCT
365 mm 13.54 hours Summing-free
7 mm 0.38 hours Extreme Summing
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0213_North_152Eu_Z2707_On_Cap_window0.02us_CFDdelay_adjusted_Extreme_Summing_for_fun_cal.root");
TCanvas* canvaspeak = new TCanvas("XtRa", "XtRa", 1400, 553);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.08);
canvaspeak->SetBottomMargin(0.13);
gStyle->SetFrameLineWidth(2);
gPad->SetLogy();
TH1D* he = new TH1D("he", "he", 2005,95,2100);
tree->Draw("north_e>>he","north_t>0&&north_t<48759000000000&&north_e>95");
he->SetLineColor(2);
he->SetLineWidth(3);
he->SetStats(0);
he->SetTitle("");
he->GetXaxis()->SetTitle("Energy (keV)");//轴名
he->GetYaxis()->SetTitle("Counts per 1 keV");//轴名
he->GetXaxis()->CenterTitle();//居中
he->GetYaxis()->CenterTitle();//居中
he->GetXaxis()->SetLabelFont(132);//坐标字体
he->GetYaxis()->SetLabelFont(132);//坐标字体
he->GetXaxis()->SetLabelSize(0.05);
he->GetYaxis()->SetLabelSize(0.05);
he->GetXaxis()->SetTitleFont(132);//轴名字体
he->GetYaxis()->SetTitleFont(132);//轴名字体
he->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
he->GetYaxis()->SetTitleOffset(0.66);//轴名偏移
he->GetXaxis()->SetTitleSize(0.06);
he->GetYaxis()->SetTitleSize(0.06);
he->GetYaxis()->SetTickLength(0.015);
he->GetXaxis()->SetRangeUser(100,1900);
//he->GetYaxis()->SetRangeUser(5,4000000);
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0206_0207_XtRa_152Eu_Z2707_inChamber_vacuum_XtRa_220mm_away_window0.3us_CFDdelay_adjusted_cal.root");
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("north_e","north_t>0&&north_t<48759000000000&&north_e>100","same");
gPad->RedrawAxis();
TFile *_file2 = TFile::Open("F:/e21010/pxct/run0205_0212_XtRa_152Eu_Z2707_inChamber_vacuum_XtRa_12mm_away_window0.3us_CFDdelay_adjusted_cal.root");
tree->SetLineColor(kBlue);
tree->SetLineWidth(2);
tree->Draw("north_e","north_t>0&&north_t<48759000000000&&north_e>100","same");
gPad->RedrawAxis();

## Slide 10
152Sm
122+Kα,Kβ
152Sm
122+Kα,Kβ
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0213_North_152Eu_Z2707_On_Cap_window0.02us_CFDdelay_adjusted_Extreme_Summing_for_fun_cal.root");
TCanvas* canvaspeak = new TCanvas("XtRa", "XtRa", 1400, 553);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.08);
canvaspeak->SetBottomMargin(0.13);
gStyle->SetFrameLineWidth(2);
gPad->SetLogy();
TH1D* he = new TH1D("he", "he", 2005,95,2100);
tree->Draw("north_e>>he","north_t>0&&north_t<48759000000000&&north_e>95");
he->SetLineColor(2);
he->SetLineWidth(3);
he->SetStats(0);
he->SetTitle("");
he->GetXaxis()->SetTitle("Energy (keV)");//轴名
he->GetYaxis()->SetTitle("Counts per 1 keV");//轴名
he->GetXaxis()->CenterTitle();//居中
he->GetYaxis()->CenterTitle();//居中
he->GetXaxis()->SetLabelFont(132);//坐标字体
he->GetYaxis()->SetLabelFont(132);//坐标字体
he->GetXaxis()->SetLabelSize(0.05);
he->GetYaxis()->SetLabelSize(0.05);
he->GetXaxis()->SetTitleFont(132);//轴名字体
he->GetYaxis()->SetTitleFont(132);//轴名字体
he->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
he->GetYaxis()->SetTitleOffset(0.66);//轴名偏移
he->GetXaxis()->SetTitleSize(0.06);
he->GetYaxis()->SetTitleSize(0.06);
he->GetYaxis()->SetTickLength(0.015);
he->GetXaxis()->SetRangeUser(100,1900);
//he->GetYaxis()->SetRangeUser(5,4000000);
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0206_0207_XtRa_152Eu_Z2707_inChamber_vacuum_XtRa_220mm_away_window0.3us_CFDdelay_adjusted_cal.root");
tree->SetLineColor(kGreen+1);
tree->SetLineWidth(2);
tree->Draw("north_e","north_t>0&&north_t<48759000000000&&north_e>100","same");
gPad->RedrawAxis();
TFile *_file2 = TFile::Open("F:/e21010/pxct/run0205_0212_XtRa_152Eu_Z2707_inChamber_vacuum_XtRa_12mm_away_window0.3us_CFDdelay_adjusted_cal.root");
tree->SetLineColor(kBlue);
tree->SetLineWidth(2);
tree->Draw("north_e","north_t>0&&north_t<48759000000000&&north_e>100","same");
gPad->RedrawAxis();

## Slide 11
tree->Scan("north_t/1e9:south_t/1e9","north_e>100&&south_e>100")
Run0204
Event build window 1.5 μs
100 coincidences
12 s
Run0205
Event build window 0.3 μs
100 coincidences
13.8 s
tree->Scan("north_t/1e6:south_t/1e6","north_e>100||south_e>100")
Singles: occur once every ms
Coincidences: occur once every 100 ms

## Slide 12
Run0211 event build window 10 us
Run0209 event build window 1.5 us
Run0208 event build window 0.1 us
Run0210 event build window 0.02 us
Sm
Kα
Sm
Kβ
double
Sm
Kα
double
Sm
Kβ
Readout Event Build Window only affects coincidences between detectors and does not affect coincidences in a single detector.
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0211_LEGe_152Eu_Z2707_inChamber_vacuum_window10us_CFDdelay_adjusted_cal.root");
TCanvas* canvaspeak = new TCanvas("LEGe", "LEGe", 1400, 553);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.02);
canvaspeak->SetLeftMargin(0.08);
canvaspeak->SetBottomMargin(0.13);
canvaspeak->SetFrameLineWidth(2);
hlege_e->SetLineWidth(4);
hlege_e->Rebin(1);
hlege_e->SetLineColor(1);
hlege_e->SetStats(0);
hlege_e->SetTitle("");
hlege_e->GetXaxis()->SetTitle("Energy (keV)");//轴名
hlege_e->GetYaxis()->SetTitle("Counts per 7 eV");//轴名
hlege_e->GetXaxis()->CenterTitle();//居中
hlege_e->GetYaxis()->CenterTitle();//居中
hlege_e->GetXaxis()->SetLabelFont(132);//坐标字体
hlege_e->GetYaxis()->SetLabelFont(132);//坐标字体
hlege_e->GetXaxis()->SetLabelSize(0.05);
hlege_e->GetYaxis()->SetLabelSize(0.05);
hlege_e->GetXaxis()->SetTitleFont(132);//轴名字体
hlege_e->GetYaxis()->SetTitleFont(132);//轴名字体
hlege_e->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
hlege_e->GetYaxis()->SetTitleOffset(0.66);//轴名偏移
hlege_e->GetXaxis()->SetTitleSize(0.06);
hlege_e->GetYaxis()->SetTitleSize(0.06);
hlege_e->GetYaxis()->SetTickLength(0.02);
//hlege_e->GetXaxis()->SetRangeUser(0,65);
hlege_e->GetYaxis()->SetNdivisions(505);
//hlege_e->GetYaxis()->SetRangeUser(1,20000);
hlege_e->Draw("hist");
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0209_LEGe_152Eu_Z2707_inChamber_vacuum_window1.5us_CFDdelay_adjusted_cal.root");
hlege_e->SetLineColor(2);
hlege_e->SetLineWidth(3);
hlege_e->Draw("same");
TFile *_file2 = TFile::Open("F:/e21010/pxct/run0208_LEGe_152Eu_Z2707_inChamber_vacuum_window0.1us_CFDdelay_adjusted_cal.root");
hlege_e->SetLineColor(4);
hlege_e->SetLineWidth(2);
hlege_e->Draw("same");
TFile *_file3 = TFile::Open("F:/e21010/pxct/run0210_LEGe_152Eu_Z2707_inChamber_vacuum_window0.02us_CFDdelay_adjusted_cal.root");
hlege_e->SetLineColor(3);
hlege_e->SetLineWidth(1);
hlege_e->Draw("same");

## Slide 13
152Sm
122
122
+40
122
+45
122
+6
152Gd
345
Run0211 event build window 10 us
Run0209 event build window 1.5 us
Run0208 event build window 0.1 us
Run0210 event build window 0.02 us