## Slide 1
Ge North S/N:5593
1408-keV 152Eu(152Sm γ)
Run121 of E21010
With Pixie-16 DDAS
Rise Time: 10.2 μs
Flat Top: 1.8 μs
Resolution: 0.13%
Ge South S/N:5596
1408-keV 152Eu(152Sm γ)
Run121 of E21010
With Pixie-16 DDAS
Rise Time: 10.8 μs
Flat Top: 1.2 μs
Resolution: 0.14%
Notes: TFile *_file0 = TFile::Open("F:/e21010/sorted/run_121.root")
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1400, 540);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.09);
canvaspeak->SetBottomMargin(0.13);
TH1D* he = new TH1D("he", "he", 6000,0,3000);
a101->Draw("FE>>he","id==12")
he->SetLineWidth(2);
//he->Rebin(2);
he->SetLineColor(2);
he->SetStats(0);
he->SetTitle("");
he->GetXaxis()->SetTitle("Energy (keV)");//轴名
he->GetYaxis()->SetTitle("Counts per 0.5 keV");//轴名
he->GetXaxis()->CenterTitle();//居中
he->GetYaxis()->CenterTitle();//居中
he->GetXaxis()->SetLabelFont(132);//坐标字体
he->GetYaxis()->SetLabelFont(132);//坐标字体
he->GetXaxis()->SetLabelSize(0.05);
he->GetYaxis()->SetLabelSize(0.05);
he->GetXaxis()->SetTitleFont(132);//轴名字体
he->GetYaxis()->SetTitleFont(132);//轴名字体
he->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
he->GetYaxis()->SetTitleOffset(0.72);//轴名偏移
he->GetXaxis()->SetTitleSize(0.06);
he->GetYaxis()->SetTitleSize(0.06);
he->GetXaxis()->SetRangeUser(1350,1440);
he->GetYaxis()->SetRangeUser(1,40000);
he->GetYaxis()->SetNdivisions(505);//n = n1 + 100*n2 + 10000*n3
he->Draw("hist");
//gPad->SetLogy();
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0036-00_XtRa_152Eu_14cmAir_120min_window1us_baseline500us_cal.root");
tree->SetLineWidth(2);
tree->SetLineColor(kGreen+1);
tree->Draw("north_e","","same");
TFile *_file0 = TFile::Open("F:/e21010/sorted/run_121.root")
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1400, 540);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.09);
canvaspeak->SetBottomMargin(0.13);
TH1D* he = new TH1D("he", "he", 6000,0,3000);
a101->Draw("FE>>he","id==13")
he->SetLineWidth(2);
//he->Rebin(2);
he->SetLineColor(4);
he->SetStats(0);
he->SetTitle("");
he->GetXaxis()->SetTitle("Energy (keV)");//轴名
he->GetYaxis()->SetTitle("Counts per 0.5 keV");//轴名
he->GetXaxis()->CenterTitle();//居中
he->GetYaxis()->CenterTitle();//居中
he->GetXaxis()->SetLabelFont(132);//坐标字体
he->GetYaxis()->SetLabelFont(132);//坐标字体
he->GetXaxis()->SetLabelSize(0.05);
he->GetYaxis()->SetLabelSize(0.05);
he->GetXaxis()->SetTitleFont(132);//轴名字体
he->GetYaxis()->SetTitleFont(132);//轴名字体
he->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
he->GetYaxis()->SetTitleOffset(0.72);//轴名偏移
he->GetXaxis()->SetTitleSize(0.06);
he->GetYaxis()->SetTitleSize(0.06);
he->GetXaxis()->SetRangeUser(1350,1440);
he->GetYaxis()->SetRangeUser(1,40000);
he->GetYaxis()->SetNdivisions(505);//n = n1 + 100*n2 + 10000*n3
he->Draw("hist");
//gPad->SetLogy();
TFile *_file1 = TFile::Open("F:/e21010/pxct/run0036-00_XtRa_152Eu_14cmAir_120min_window1us_baseline500us_cal.root");
tree->SetLineWidth(2);
tree->SetLineColor(kMagenta);
tree->Draw("south_e","","same");

## Slide 2
Chart: 
| 5.89 | 6.49 | 11.89 | 13.852 | 16.96 | 21.16 | 26.3446 | 33.195999999999998 | 59.540900000000001 | 6.4 | 39.5229 | 40.118600000000001 | 45.477699999999999 | 46.697699999999998 | 121.7817
Efficiency (%) | 0.79314 | 0.87318 | 0.46046 | 0.61777 | 0.73594 | 0.79304 | 0.86631 | 0.89757 | 0.9164 | 0.58457 | 0.81643 | 0.81437 | 0.80489 | 0.83634 | 0.60492
Ge K-absorption edge: 11.103(2) keV

## Slide 3
Serial | Design | Thickness | Window Type | Serial | Design | Thickness | Window Type
3506-3-1 | MSD012 | 12 μm | 9.5P/7P | 3498-25-2 | MSD026 | 1000 μm | 9.5P/2M
3506-3-2 | MSD012 | 12 μm | 9.5P | 3498-25-1 | MSD026 | 1000 μm | 9.5P
3506-3-3 | MSD012 | 12 μm | 9.5P | 2926-19-2 | MSD026 | 1500 μm | 2M
 |  |  |  | 2926-19-3 | MSD026 | 1500 μm | 2M
 |  |  |  | 2926-19-3 | MSD026 | 1500 μm | 2M
 |  |  |  | 3485-18-2 | MSD026 | 50 μm | 2
 |  |  |  | 3485-18-5 | MSD026 | 50 μm | 2M
Hello Lijie,
If you are looking at devices of a similar thickness it looks like we have 2 x MSD012’s with a thickness of 12 um. These particular devices also have a very shallow front junction and dead layer being of the type 9.5P variety. The design style is A-5558 and is attached.
If you are looking at more robust thicker devices, we have quite a stock of MSD012 300 um wafers at type 7TT processing (type 7 implant and thinner metal entrance window metallization). These could be assembled into packages (if in stock withing 4-6 weeks).
I can also see we have a smaller number of 10 um, 150 um and 1000 um chips available.
One other option, for expediency. If you are a little flexible on device style/size, we have a whole host of MSD devices fully tested in stock on our website that we could ship very quickly. I provide a link below. If you need data/design drawings let me know and I can send them.
http://www.micronsemiconductor.co.uk/excess-stock/
Best regards
Neil
Notes: http://www.micronsemiconductor.co.uk/excess-stock/

## Slide 4
Because the noise characteristics of a typical preamplifier will deteriorate with increasing input capacitance, there is a premium on keeping the additional capacitive loading to a minimum.
This capacitive loading will increase linearly with cable length.
From a signal-to-noise standpoint, it is always preferable to minimize the capacitive loading on the preamp, and therefore long interconnecting cables between the detector and preamp should be avoided if possible.

## Slide 5
+0 V
+50 V
+130 V
MSD26
241Am
–0 V
–50 V
–130 V
1.2 μs
428 mV
180 ns
432 mV
70 ns
2.4 μs
432 mV
70 ns
428 mV
180 ns

## Slide 6
Negative bias 130 V
FWHM = 20.2 keV (uncollimated)
FWHM = 18.0 keV (5-mm collimated)
FWHM = 17.0 keV (2-mm collimated)
FWHM = 17.7 keV (2.5-mm collimated, positive bias)
FWHM = 35.4 keV (Micron test NN+, positive bias)
FWHM = 26.7 keV (Micron test P+N)
run0041-00_LEGe_MSD26_241Am_2mmcollimator_480min_window1us_CFDdelay0.16us_cal
That very respectable resolution as good as many figures we have measured here.
----Neil Clarke
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_pxct_MSD26() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 0.116;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers, modify
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0041-00_LEGe_MSD26_241Am_2mmcollimator_480min_window1us_CFDdelay0.16us_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "hmsd26_e"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 12; ii <= 12; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//建立画布
canvaspeak[i][ii]->cd();//进入画布
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
histo[i]->GetYaxis()->SetTitle("Counts per 116 eV");// modify
histo[i]->GetXaxis()->CenterTitle();//居中
histo[i]->GetYaxis()->CenterTitle();//居中
histo[i]->GetXaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetYaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetYaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
histo[i]->GetYaxis()->SetTitleOffset(0.7);//轴名偏移
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 30; gaphigh = 25; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);//pure peak
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 0.3, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 40000, 70000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 0.01, 10);//Tau
fEMG[ii]->SetParLimits(4, 0.01, 10);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, 5485, 5492);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(7);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(6);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");//轴名
graph_residual[i]->GetXaxis()->CenterTitle();//居中
graph_residual[i]->GetYaxis()->CenterTitle();//居中
graph_residual[i]->GetXaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetYaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetYaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);//轴名偏移
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kBlue + 2);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kBlue + 2);
canvaspeak[i][ii]->cd();//进入画布
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 7
Positive bias 130 V
FWHM = 20.2 keV (uncollimated)
FWHM = 18.0 keV (5-mm collimated)
FWHM = 17.0 keV (2-mm collimated)
FWHM = 17.7 keV (2.5-mm collimated, positive bias)
FWHM = 35.4 keV (Micron test NN+, positive bias)
FWHM = 26.7 keV (Micron test P+N)
run0054-00_MSD26_241Am_3mmcollimator_60min_window1.5us_positivebias_cal
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>
#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_pxct_MSD26() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 0.118;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers, modify
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0054-00_MSD26_241Am_3mmcollimator_60min_window1.5us_positivebias_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "hmsd26_e"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 12; ii <= 12; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//建立画布
canvaspeak[i][ii]->cd();//进入画布
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
histo[i]->GetYaxis()->SetTitle("Counts per 116 eV");// modify
histo[i]->GetXaxis()->CenterTitle();//居中
histo[i]->GetYaxis()->CenterTitle();//居中
histo[i]->GetXaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetYaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetYaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
histo[i]->GetYaxis()->SetTitleOffset(0.7);//轴名偏移
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 30; gaphigh = 25; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);//pure peak
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 0.3, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 5000, 11000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 0.01, 10);//Tau
fEMG[ii]->SetParLimits(4, 0.01, 10);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow / 4, peakx[ii] + gaphigh / 2);//Mean
fEMG[ii]->SetParLimits(5, 5484, 5492);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(7);
p[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][2], par[ii][3], par[ii][4], par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(6);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");//轴名
graph_residual[i]->GetXaxis()->CenterTitle();//居中
graph_residual[i]->GetYaxis()->CenterTitle();//居中
graph_residual[i]->GetXaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetYaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetYaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);//轴名偏移
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kBlue + 2);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kBlue + 2);
canvaspeak[i][ii]->cd();//进入画布
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 10
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 0.116;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers, modify
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0055-00_MSD26_148Gd_3mmcollimator_80min_window1.5us_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "hmsd26_e"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 15; ii <= 15; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//建立画布
canvaspeak[i][ii]->cd();//进入画布
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
histo[i]->GetYaxis()->SetTitle("Counts per 116 eV");// modify
histo[i]->GetXaxis()->CenterTitle();//居中
histo[i]->GetYaxis()->CenterTitle();//居中
histo[i]->GetXaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetYaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetYaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
histo[i]->GetYaxis()->SetTitleOffset(0.7);//轴名偏移
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = "<< peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 1000; gaphigh = 19; Eg = 3182.69; }//148Gd 3183 MSD26
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= "<< aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 110, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParLimits(0,-5,5);//Bkg A
fEMG[ii]->SetParLimits(1,-500,300);//Bkg B
fEMG[ii]->SetParLimits(2, 100000, 600000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 0.01, 200);//Tau
fEMG[ii]->SetParLimits(4, 0.01, 20);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow/4, peakx[ii] + gaphigh/2);//Mean
fEMG[ii]->SetParLimits(5, 3170, 3210);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(7);
p[ii]->SetParameters(par[ii][0],par[ii][1],par[ii][2],par[ii][3],par[ii][4],par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kViolet);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy/2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii]= higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");//轴名
graph_residual[i]->GetXaxis()->CenterTitle();//居中
graph_residual[i]->GetYaxis()->CenterTitle();//居中
graph_residual[i]->GetXaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetYaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetYaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);//轴名偏移
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kBlue + 2);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kBlue+2);
canvaspeak[i][ii]->cd();//进入画布
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 11
Run46 241Am
MSD12+MSD26
544k∩549k=538k
1853 keV +3608 keV = 5461 keV
Notes: TFile *_file0 = TFile::Open("run0046-00_LEGe_MSD_XtRa_241Am_3mmcollimator_152Eu_121min_window1.5us_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1400, 540);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.09);
canvaspeak->SetBottomMargin(0.13);
TH1D* hmsdtotal_e = new TH1D("hmsdtotal_e", "hmsdtotal_e", 6000,0,6000);
hmsdtotal_e->SetLineWidth(2);
//hmsdtotal_e->Rebin(2);
hmsdtotal_e->SetLineColor(1);
hmsdtotal_e->SetStats(0);
hmsdtotal_e->SetTitle("");
hmsdtotal_e->GetXaxis()->SetTitle("Energy (keV)");//轴名
hmsdtotal_e->GetYaxis()->SetTitle("Counts per 1 keV");//轴名
hmsdtotal_e->GetXaxis()->CenterTitle();//居中
hmsdtotal_e->GetYaxis()->CenterTitle();//居中
hmsdtotal_e->GetXaxis()->SetLabelFont(132);//坐标字体
hmsdtotal_e->GetYaxis()->SetLabelFont(132);//坐标字体
hmsdtotal_e->GetXaxis()->SetLabelSize(0.05);
hmsdtotal_e->GetYaxis()->SetLabelSize(0.05);
hmsdtotal_e->GetXaxis()->SetTitleFont(132);//轴名字体
hmsdtotal_e->GetYaxis()->SetTitleFont(132);//轴名字体
hmsdtotal_e->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
hmsdtotal_e->GetYaxis()->SetTitleOffset(0.72);//轴名偏移
hmsdtotal_e->GetXaxis()->SetTitleSize(0.06);
hmsdtotal_e->GetYaxis()->SetTitleSize(0.06);
//hmsdtotal_e->GetXaxis()->SetRangeUser(0,6000);
//hmsdtotal_e->GetYaxis()->SetRangeUser(1,20000);
tree->SetLineWidth(2);
tree->Draw("msd12_e+msd26_e>>hmsdtotal_e","msd12_e>80&&msd12_e<6000&&msd26_e>200&&msd26_e<6000","");
tree->SetLineColor(kGreen+1);
tree->Draw("msd12_e","msd12_e>80&&msd12_e<6000","same");
tree->SetLineColor(kViolet);
tree->Draw("msd26_e","msd26_e>200&&msd26_e<6000","same");

## Slide 12
Run57 148Gd
MSD12+MSD26
208k∩208k=208k
3025 keV +109 keV = 3152 keV
Notes: TFile *_file0 = TFile::Open("run0057-00_MSD_148Gd_2mmcollimator_120min_window1.5us_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1400, 540);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.09);
canvaspeak->SetBottomMargin(0.13);
TH1D* hmsdtotal_e = new TH1D("hmsdtotal_e", "hmsdtotal_e", 6000,0,6000);
hmsdtotal_e->SetLineWidth(2);
//hmsdtotal_e->Rebin(2);
hmsdtotal_e->SetLineColor(1);
hmsdtotal_e->SetStats(0);
hmsdtotal_e->SetTitle("");
hmsdtotal_e->GetXaxis()->SetTitle("Energy (keV)");//轴名
hmsdtotal_e->GetYaxis()->SetTitle("Counts per 1 keV");//轴名
hmsdtotal_e->GetXaxis()->CenterTitle();//居中
hmsdtotal_e->GetYaxis()->CenterTitle();//居中
hmsdtotal_e->GetXaxis()->SetLabelFont(132);//坐标字体
hmsdtotal_e->GetYaxis()->SetLabelFont(132);//坐标字体
hmsdtotal_e->GetXaxis()->SetLabelSize(0.05);
hmsdtotal_e->GetYaxis()->SetLabelSize(0.05);
hmsdtotal_e->GetXaxis()->SetTitleFont(132);//轴名字体
hmsdtotal_e->GetYaxis()->SetTitleFont(132);//轴名字体
hmsdtotal_e->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
hmsdtotal_e->GetYaxis()->SetTitleOffset(0.72);//轴名偏移
hmsdtotal_e->GetXaxis()->SetTitleSize(0.06);
hmsdtotal_e->GetYaxis()->SetTitleSize(0.06);
hmsdtotal_e->GetXaxis()->SetRangeUser(0,4000);
hmsdtotal_e->GetYaxis()->SetRangeUser(1,3000);
tree->SetLineWidth(2);
tree->Draw("msd12_e+msd26_e>>hmsdtotal_e","msd12_e>10&&msd12_e<6000&&msd26_e>10&&msd26_e<6000","");
tree->SetLineColor(kGreen+1);
tree->Draw("msd12_e","msd12_e>10&&msd12_e<6000&&msd26_e>10","same");
tree->SetLineColor(kViolet);
tree->Draw("msd26_e","msd26_e>10&&msd26_e<6000&&msd12_e>10","same");
tree->SetLineColor(kOrange+7);
tree->Draw("msd12_e","msd12_e>0&&msd26_e==0","same");
tree->SetLineColor(kAzure+7);
tree->Draw("msd26_e","msd26_e>0&&msd12_e==0","same");

## Slide 13
MSD12: 4877k (MSD26 veto)
MSD12 detected this α, but it did not make it to the active region of MSD26.
MSD26: 312k (MSD12 veto)
MSD26 detected this α, but it did not pass through MSD12.
Res.=4.67%
Notes: TFile *_file0 = TFile::Open("run0057-00_MSD_148Gd_2mmcollimator_120min_window1.5us_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1400, 540);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.09);
canvaspeak->SetBottomMargin(0.13);
TH1D* hmsdtotal_e = new TH1D("hmsdtotal_e", "hmsdtotal_e", 6000,0,6000);
hmsdtotal_e->SetLineWidth(2);
//hmsdtotal_e->Rebin(2);
hmsdtotal_e->SetLineColor(1);
hmsdtotal_e->SetStats(0);
hmsdtotal_e->SetTitle("");
hmsdtotal_e->GetXaxis()->SetTitle("Energy (keV)");//轴名
hmsdtotal_e->GetYaxis()->SetTitle("Counts per 1 keV");//轴名
hmsdtotal_e->GetXaxis()->CenterTitle();//居中
hmsdtotal_e->GetYaxis()->CenterTitle();//居中
hmsdtotal_e->GetXaxis()->SetLabelFont(132);//坐标字体
hmsdtotal_e->GetYaxis()->SetLabelFont(132);//坐标字体
hmsdtotal_e->GetXaxis()->SetLabelSize(0.05);
hmsdtotal_e->GetYaxis()->SetLabelSize(0.05);
hmsdtotal_e->GetXaxis()->SetTitleFont(132);//轴名字体
hmsdtotal_e->GetYaxis()->SetTitleFont(132);//轴名字体
hmsdtotal_e->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
hmsdtotal_e->GetYaxis()->SetTitleOffset(0.72);//轴名偏移
hmsdtotal_e->GetXaxis()->SetTitleSize(0.06);
hmsdtotal_e->GetYaxis()->SetTitleSize(0.06);
hmsdtotal_e->GetXaxis()->SetRangeUser(0,4000);
hmsdtotal_e->GetYaxis()->SetRangeUser(1,3000);
tree->SetLineWidth(2);
tree->Draw("msd12_e+msd26_e>>hmsdtotal_e","msd12_e>10&&msd12_e<6000&&msd26_e>10&&msd26_e<6000","");
tree->SetLineColor(kGreen+1);
tree->Draw("msd12_e","msd12_e>10&&msd12_e<6000&&msd26_e>10","same");
tree->SetLineColor(kViolet);
tree->Draw("msd26_e","msd26_e>10&&msd26_e<6000&&msd12_e>10","same");
tree->SetLineColor(kOrange+7);
tree->Draw("msd12_e","msd12_e>0&&msd26_e==0","same");
tree->SetLineColor(kAzure+7);
tree->Draw("msd26_e","msd26_e>0&&msd12_e==0","same");

## Slide 14
Res. = 1.02%
5461.2±2.8 keV
1853 keV + 3564 keV = 5417 keV (Calculation)
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_doublepeak_pxct() // get histogram and EMG fit two peaks
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// modify which detector
double binwidth = 1.000;
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers, modify
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * p2[peaknum], * g[peaknum], * b[peaknum], * g2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peakx2nd[peaknum], peakx2nderr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
Double_t constant2nd[peaknum], constant2nd_err[peaknum];
Double_t sig2nd[peaknum], sig2nd_err[peaknum];
Double_t tau2nd[peaknum], tau2nd_err[peaknum];
Double_t mean2nd[peaknum], mean2nd_err[peaknum];
Double_t FWHM2nd[peaknum], FWHM2nd_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0046-00_LEGe_MSD_XtRa_241Am_3mmcollimator_152Eu_121min_window1.5us_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "hmsdtotal_e"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 12; ii <= 12; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", "LEGe", i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//建立画布
canvaspeak[i][ii]->cd();//进入画布
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
histo[i]->GetYaxis()->SetTitle("Counts per 1 keV");// modify
histo[i]->GetXaxis()->CenterTitle();//居中
histo[i]->GetYaxis()->CenterTitle();//居中
histo[i]->GetXaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetYaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetYaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
histo[i]->GetYaxis()->SetTitleOffset(0.7);//轴名偏移
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0; FWHM2nd[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = " << peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.65; gaphigh = 1.1; Eg = 5895; Eg2nd = 6490;}//55Fe 5.9 and 6.5
if (ii == 3) {
gaplow = 1.05; gaphigh = 0.75; Eg = 45294; Eg2nd = 45413; }//152Eu 45.3 and 45.4
if (ii == 6) { gaplow = 1.5; gaphigh = 0.9; Eg = 40118; Eg2nd = 39522; }//152Eu 40.1 and 39.5
if (ii == 8) { gaplow = 0.6; gaphigh = 0.7; Eg = 13946; Eg2nd = 13761; }//241Am 13.9 and 13.8
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5460; Eg2nd = 5410; }//241Am 5486 and 5543 MSDtotal
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= " << aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))+[6]/2/[7]*exp(0.5*([8]*[8]/([7]*[7]))+(x-[9])/[7])*ROOT::Math::erfc(1/sqrt(2)*([8]/[7]+(x-[9])/[8]))", histomin, histomax);// Sun PRC2021 low-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
g2[ii] = new TF1("g2", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii] = new TF1("p", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);//pure peak
p2[ii] = new TF1("p2", "[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);//pure peak
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 7, sigmaguess, peakx[ii], peaky[ii], 0.04, sigmaguess, peakx[ii] + gaplow/2);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ, [6]-N2, [7]-τ2, [8]-σ2, [9]-μ2
//fEMG[ii]->SetParLimits(0,0,700);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 375000, 390000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 9, 15);//Tau
fEMG[ii]->SetParLimits(4, 17, 23);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow, peakx[ii] + gaphigh);//Mean
fEMG[ii]->SetParLimits(5, 5460, 5480);//Mean
fEMG[ii]->SetParLimits(6, 51000, 57000);//Constant_2nd,min,max
fEMG[ii]->SetParLimits(7, 9, 15);//Tau_2nd
fEMG[ii]->SetParLimits(8, 17, 23);//Sigma_2nd
fEMG[ii]->SetParLimits(9, peakx[ii] + gaplow, peakx[ii] + gaplow);//Mean_2nd
fEMG[ii]->SetParLimits(9, 5350, 5430);//Mean_2nd
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean", "Const_2nd*bin", "Tau_2nd", "Sigma_2nd", "Mean_2nd");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
par_err[ii][6] = fEMG[ii]->GetParError(6);//Obtaining the error of the 7th parameter
par_err[ii][7] = fEMG[ii]->GetParError(7);//Obtaining the error of the 8th parameter
par_err[ii][8] = fEMG[ii]->GetParError(8);//Obtaining the error of the 9th parameter
par_err[ii][9] = fEMG[ii]->GetParError(9);//Obtaining the error of the 10th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(7);
g2[ii]->SetParameters(par[ii][6], par[ii][9], par[ii][8]);//set parameters for drawing gausn
g2[ii]->SetLineColor(7);
p[ii]->SetParameters(par[ii][0],par[ii][1],par[ii][2],par[ii][3],par[ii][4],par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(4);
p2[ii]->SetParameters(par[ii][0], par[ii][1], par[ii][6], par[ii][7], par[ii][8], par[ii][9]);//set parameters for drawing peak
p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
// g[ii]->Draw("same"); // plot the gaussian
// g2[ii]->Draw("same"); // plot the gaussian_2nd
p[ii]->Draw("same");
p2[ii]->Draw("same");
b[ii]->Draw("same");
histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double Usigma2nd_Usigma2nd = fitter->GetCovarianceMatrixElement(8, 8);//(Usigma2nd)^2
double Umean2nd_Umean2nd = fitter->GetCovarianceMatrixElement(9, 9);//(Umean2nd)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
cout << rou_Usigma_Umean << endl;
double rou_Usigma2nd_Umean2nd = fitter->GetCovarianceMatrixElement(8, 9);//
cout << rou_Usigma2nd_Umean2nd << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
constant2nd[ii] = par[ii][6]; constant2nd_err[ii] = par_err[ii][6] * inflation_factor;
tau2nd[ii] = par[ii][7]; tau2nd_err[ii] = par_err[ii][7] * inflation_factor;
sig2nd[ii] = par[ii][8]; sig2nd_err[ii] = par_err[ii][8] * inflation_factor;
mean2nd[ii] = par[ii][9]; mean2nd_err[ii] = par_err[ii][9] * inflation_factor;
FWHM2nd[ii] = par[ii][8] * 2.355; FWHM2nd_err[ii] = par_err[ii][8] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii] = higher_half - lower_half;
topy = p2[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p2[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p2[ii]->GetX(topy / 2.0, fitrange_min, topx, 1E-12);
higher_half = p2[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM2nd[ii] = higher_half - lower_half;
outfile << "LEGe" << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << " Constant2*binsize" << ii << "= " << constant2nd[ii] << " +/- " << constant2nd_err[ii] << " Mean2" << ii << "= " << mean2nd[ii] << " +/- " << mean2nd_err[ii] << " Sigma2" << ii << "= " << sig2nd[ii] << " +/- " << sig2nd_err[ii] << " Tau2" << ii << "= " << tau2nd[ii] << " +/- " << tau2nd_err[ii] << " Area2" << ii << "= " << par[ii][6] / binwidth << " FWHM2" << ii << "= " << FWHM2nd[ii] << " +/- " << FWHM2nd_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Constant2nd*binsize%d=%.4f%s%.4f", ii, par[ii][6], "+/-", par_err[ii][6]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean2nd%d=%.6f%s%.6f", ii, par[ii][9], "+/-", par_err[ii][9]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma2nd%d=%.6f%s%.6f", ii, par[ii][8], "+/-", par_err[ii][8]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM2nd%d=%.6f%s%.6f", ii, FWHM2nd[ii], "+/-", FWHM2nd_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res2nd%d=%.4f%%", ii, FWHM2nd[ii] / par[ii][9] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau2nd%d=%.6f%s%.6f", ii, par[ii][7], "+/-", par_err[ii][7]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.6f%s%.6f)*x+B%d(%.5f%s%.5f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");//轴名
graph_residual[i]->GetXaxis()->CenterTitle();//居中
graph_residual[i]->GetYaxis()->CenterTitle();//居中
graph_residual[i]->GetXaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetYaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetYaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);//轴名偏移
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kBlue + 2);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kBlue + 2);
canvaspeak[i][ii]->cd();//进入画布
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 15
Res. = 2.08%
3152.1±0.7 keV
3095 keV + 26 keV = 3121 keV (Calculation)
Notes: #include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// which detector
double binwidth = 1;// modify
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 30;//search peak numbers, modify
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
double lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
lower_search_bound[i][ii] = 0;
upper_search_bound[i][ii] = 30000;
}
}
lower_search_bound[0][0] = 5; upper_search_bound[0][0] = 7; //55Fe 5.9 and 6.5 LEGe
lower_search_bound[0][1] = 6; upper_search_bound[0][1] = 7; //55Fe 6.5 LEGe
lower_search_bound[0][2] = 119; upper_search_bound[0][2] = 124; //152Eu 122 LEGe
lower_search_bound[0][3] = 44; upper_search_bound[0][3] = 46; //152Eu 45.3 and 45.4 LEGe
lower_search_bound[0][4] = 58; upper_search_bound[0][4] = 61; //241Am 59.5 LEGe
lower_search_bound[0][5] = 25; upper_search_bound[0][5] = 27; //241Am 26.3 LEGe
lower_search_bound[0][6] = 38; upper_search_bound[0][6] = 43; //152Eu 40.1 and 39.5 LEGe
lower_search_bound[0][7] = 32; upper_search_bound[0][7] = 34; //241Am 33.2 LEGe
lower_search_bound[0][8] = 12; upper_search_bound[0][8] = 14; //241Am 13.9 and 13.8 LEGe
lower_search_bound[0][9] = 119; upper_search_bound[0][9] = 125; //152Eu 122 XtRa
lower_search_bound[0][10] = 335; upper_search_bound[0][10] = 350; //152Eu 344 XtRa
lower_search_bound[0][11] = 1296; upper_search_bound[0][11] = 1302; //152Eu 1299 XtRa
lower_search_bound[0][12] = 5450; upper_search_bound[0][12] = 5500; //241Am 5486 MSD26
lower_search_bound[0][13] = 11.6; upper_search_bound[0][13] = 12.2; //241Am 11.89 LEGe
lower_search_bound[0][14] = 1405; upper_search_bound[0][14] = 1411; //152Eu 1408 XtRa
lower_search_bound[0][15] = 3100; upper_search_bound[0][15] = 3200; //148Gd 3183 MSD26
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0057-00_MSD_148Gd_2mmcollimator_120min_window1.5us_cal.root"); // modify
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to change
{
sprintf(histo_name, "%s", "hmsdtotal_e"); // modify
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to change
{
for (ii = 15; ii <= 15; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", histo_name, i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//建立画布
canvaspeak[i][ii]->cd();//进入画布
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
histo[i]->GetYaxis()->SetTitle("Counts per 1 keV");// modify
histo[i]->GetXaxis()->CenterTitle();//居中
histo[i]->GetYaxis()->CenterTitle();//居中
histo[i]->GetXaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetYaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetYaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
histo[i]->GetYaxis()->SetTitleOffset(0.7);//轴名偏移
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetNdivisions(505);
histo[i]->GetYaxis()->SetTickLength(0.02);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << " MaxX = "<< peakx[ii] << " MaxY = " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5 LEGe
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121.7817; }//152Eu 122 LEGe
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59.541; }//241Am 59.5 LEGe
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26.345; }//241Am 26.3 LEGe
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33.196; }//241Am 33.2 LEGe
if (ii == 9) { gaplow = 2.1; gaphigh = 2.1; Eg = 121.7817; }//152Eu 122 XtRa
if (ii == 10) { gaplow = 2.5; gaphigh = 2.5; Eg = 344.2785; }//152Eu 344 XtRa
if (ii == 11) { gaplow = 3.0; gaphigh = 2.9; Eg = 1299.1420; }//152Eu 1299 XtRa
if (ii == 12) { gaplow = 120; gaphigh = 90; Eg = 5486; }//241Am 5486 MSD26
if (ii == 13) { gaplow = 0.4; gaphigh = 0.4; Eg = 11.89; }//241Am 11.89 LEGe
if (ii == 14) { gaplow = 3.5; gaphigh = 3.5; Eg = 1408.013; }//152Eu 1408 XtRa
if (ii == 15) { gaplow = 110; gaphigh = 70; Eg = 3182.69; }//148Gd 3183 MSD26
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << "initial guesses= "<< aguess << ", " << bguess << ", " << sigmaguess << ", " << peakx[ii] << ", " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins * 10);
g[ii]->SetNpx(histoNbins * 10);
p[ii]->SetNpx(histoNbins * 10);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins * 10);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 40, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
//fEMG[ii]->SetParLimits(0,-5,5);//Bkg A
//fEMG[ii]->SetParLimits(1,-500,300);//Bkg B
fEMG[ii]->SetParLimits(2, 100000, 400000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 10, 50);//Tau
fEMG[ii]->SetParLimits(4, 10, 30);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow/4, peakx[ii] + gaphigh/2);//Mean
fEMG[ii]->SetParLimits(5, 3140, 3188);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(7);
p[ii]->SetParameters(par[ii][0],par[ii][1],par[ii][2],par[ii][3],par[ii][4],par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(kViolet);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
//g[ii]->Draw("same");
//p[ii]->Draw("same");
//p2[ii]->Draw("same");
b[ii]->Draw("same");
//histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum(fitrange_min, fitrange_max);
peakx[ii] = fEMG[ii]->GetMaximumX(fitrange_min, fitrange_max);
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
Double_t topy, topx, lower_half, higher_half;
topy = p[ii]->GetMaximum(fitrange_min, fitrange_max);
topx = p[ii]->GetMaximumX(fitrange_min, fitrange_max);
lower_half = p[ii]->GetX(topy/2.0, fitrange_min, topx, 1E-12);
higher_half = p[ii]->GetX(topy / 2.0, topx, fitrange_max, 1E-12);
FWHM[ii]= higher_half - lower_half;
outfile << histo_name << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, FWHM[ii] / par[ii][5] * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");//轴名
graph_residual[i]->GetXaxis()->CenterTitle();//居中
graph_residual[i]->GetYaxis()->CenterTitle();//居中
graph_residual[i]->GetXaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetYaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetYaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);//轴名偏移
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->GetYaxis()->SetTickLength(0.02);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kBlue + 2);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kBlue+2);
canvaspeak[i][ii]->cd();//进入画布
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 16
Notes: TFile *_file1 = TFile::Open("F:/e21010/pxct/run0046-00_LEGe_MSD_XtRa_241Am_3mmcollimator_152Eu_121min_window1.5us_cal.root");
TCanvas* canvaspeak = new TCanvas("MSD", "MSD", 890, 800);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.11);
canvaspeak->SetLeftMargin(0.16);
canvaspeak->SetBottomMargin(0.135);
canvaspeak->SetLogz();
TH2D* hmsd_pid = new TH2D("hmsd_pid", "hmsd_pid", 6000,0,6000,6000,0,6000);
tree->Draw("msd12_e:msd26_e>>hmsd_pid","msd12_e>80&&msd12_e<6000&&msd26_e>200&&msd26_e<6000","colz");
hmsd_pid->SetStats(0);
hmsd_pid->SetTitle("");
hmsd_pid->GetXaxis()->SetTitle("MSD26 Energy (keV)");
hmsd_pid->GetYaxis()->SetTitle("MSD12 Energy (keV)");
hmsd_pid->GetXaxis()->CenterTitle();
hmsd_pid->GetYaxis()->CenterTitle();
hmsd_pid->GetXaxis()->SetLabelFont(132);
hmsd_pid->GetYaxis()->SetLabelFont(132);
hmsd_pid->GetXaxis()->SetLabelSize(0.05);
hmsd_pid->GetYaxis()->SetLabelSize(0.05);
hmsd_pid->GetXaxis()->SetTitleFont(132);
hmsd_pid->GetYaxis()->SetTitleFont(132);
hmsd_pid->GetXaxis()->SetTitleOffset(1.1);
hmsd_pid->GetYaxis()->SetTitleOffset(1.3);
hmsd_pid->GetXaxis()->SetTitleSize(0.06);
hmsd_pid->GetYaxis()->SetTitleSize(0.06);
hmsd_pid->SetMinimum(2);
hmsd_pid->SetMaximum(100);
hmsd_pid->SetContour(100);
TPaletteAxis *palette = (TPaletteAxis*)hmsd_pid->GetListOfFunctions()->FindObject("palette");
palette->SetTitleFont(132);
palette->SetTitleSize(0.04);
palette->SetLabelFont(132);
palette->SetLabelSize(0.04);
gStyle->SetPalette(kRainbow);

## Slide 17
Notes: TFile *_file1 = TFile::Open("F:/e21010/pxct/run0057-00_MSD_148Gd_2mmcollimator_120min_window1.5us_cal.root");
TCanvas* canvaspeak = new TCanvas("MSD", "MSD", 890, 800);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.11);
canvaspeak->SetLeftMargin(0.16);
canvaspeak->SetBottomMargin(0.135);
canvaspeak->SetLogz();
TH2D* hmsd_pid = new TH2D("hmsd_pid", "hmsd_pid", 6000,0,6000,6000,0,6000);
tree->Draw("msd12_e:msd26_e>>hmsd_pid","msd12_e>10&&msd12_e<6000&&msd26_e>10&&msd26_e<6000","colz");
hmsd_pid->SetStats(0);
hmsd_pid->SetTitle("");
hmsd_pid->GetXaxis()->SetTitle("MSD26 Energy (keV)");
hmsd_pid->GetYaxis()->SetTitle("MSD12 Energy (keV)");
hmsd_pid->GetXaxis()->CenterTitle();
hmsd_pid->GetYaxis()->CenterTitle();
hmsd_pid->GetXaxis()->SetLabelFont(132);
hmsd_pid->GetYaxis()->SetLabelFont(132);
hmsd_pid->GetXaxis()->SetLabelSize(0.05);
hmsd_pid->GetYaxis()->SetLabelSize(0.05);
hmsd_pid->GetXaxis()->SetTitleFont(132);
hmsd_pid->GetYaxis()->SetTitleFont(132);
hmsd_pid->GetXaxis()->SetTitleOffset(1.1);
hmsd_pid->GetYaxis()->SetTitleOffset(1.3);
hmsd_pid->GetXaxis()->SetTitleSize(0.06);
hmsd_pid->GetYaxis()->SetTitleSize(0.06);
hmsd_pid->GetYaxis()->SetRangeUser(1000,4000);
hmsd_pid->GetXaxis()->SetRangeUser (0,800);
hmsd_pid->SetMinimum(2);
hmsd_pid->SetMaximum(-1111);
hmsd_pid->SetContour(100);
TPaletteAxis *palette = (TPaletteAxis*)hmsd_pid->GetListOfFunctions()->FindObject("palette");
palette->SetTitleFont(132);
palette->SetTitleSize(0.04);
palette->SetLabelFont(132);
palette->SetLabelSize(0.04);
gStyle->SetPalette(kRainbow);

## Slide 18
Timing resolution
FWHM = 0.46 ns
Pulse Pair ΔT = 1 μs
Notes: TFile *_file0 = TFile::Open("run0057-00_MSD_148Gd_2mmcollimator_120min_window1.5us_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 900, 500);
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.065);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.08);
canvaspeak->SetBottomMargin(0.13);
gStyle->SetStatFormat("7.5g");
tree->Draw("pulser_e>>(30,4540,4570)","pulser_e>4540&&pulser_e<4570","");
tree->SetLineColor(kOrange+7);
tree->Draw("pulser_delayed_e>>(80,15300,15380)","pulser_delayed_e>15300&&pulser_delayed_e<15380","");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1400, 540);
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.065);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.09);
canvaspeak->SetBottomMargin(0.13);
gStyle->SetStatFormat("7.5g");
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 150000,-1500,1500);
htimestamps->Rebin(1);
htimestamps->SetStats(1);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");//轴名
htimestamps->GetYaxis()->SetTitle("Counts per 20 ps");//轴名
htimestamps->GetXaxis()->CenterTitle();//居中
htimestamps->GetYaxis()->CenterTitle();//居中
htimestamps->GetXaxis()->SetLabelFont(132);//坐标字体
htimestamps->GetYaxis()->SetLabelFont(132);//坐标字体
htimestamps->GetXaxis()->SetLabelSize(0.05);
htimestamps->GetYaxis()->SetLabelSize(0.05);
htimestamps->GetXaxis()->SetTitleFont(132);//轴名字体
htimestamps->GetYaxis()->SetTitleFont(132);//轴名字体
htimestamps->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
htimestamps->GetYaxis()->SetTitleOffset(0.66);//轴名偏移
htimestamps->GetXaxis()->SetTitleSize(0.06);
htimestamps->GetYaxis()->SetTitleSize(0.06);
htimestamps->GetXaxis()->SetRangeUser(973,982);
//htimestamps->GetYaxis()->SetRangeUser(0,2e6);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("pulser_delayed_t-pulser_t>>htimestamps","pulser_delayed_e>15300&&pulser_delayed_e<15380&&pulser_e>4540&&pulser_e<4570");

## Slide 19
Timing resolution
FWHM = 0.32 ns
Pulse split with a TEE
Pixie-16 feature: Sub-nanosec timing measurements
Notes: TFile *_file0 = TFile::Open("run0059-00_Ch0_pulser_Ch1_pulser1mLemocable_window1.5us_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 900, 500);
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.065);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.08);
canvaspeak->SetBottomMargin(0.13);
gStyle->SetStatFormat("7.5g");
tree->SetLineColor(1);
tree->Draw("pulser_e>>(60,11010,11070)","pulser_e>11010&&pulser_e<11070","");
tree->SetLineColor(kOrange+7);
tree->Draw("pulser_delayed_e>>(60,11010,11070)","pulser_delayed_e>11010&&pulser_delayed_e<11070","");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 1400, 540);
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.065);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.09);
canvaspeak->SetBottomMargin(0.13);
gStyle->SetStatFormat("7.5g");
TH1D* htimestamps = new TH1D("htimestamps", "htimestamps", 300,-5,-2);
htimestamps->Rebin(1);
htimestamps->SetStats(1);
htimestamps->SetTitle("");
htimestamps->GetXaxis()->SetTitle("Time difference (ns)");//轴名
htimestamps->GetYaxis()->SetTitle("Counts per 10 ps");//轴名
htimestamps->GetXaxis()->CenterTitle();//居中
htimestamps->GetYaxis()->CenterTitle();//居中
htimestamps->GetXaxis()->SetLabelFont(132);//坐标字体
htimestamps->GetYaxis()->SetLabelFont(132);//坐标字体
htimestamps->GetXaxis()->SetLabelSize(0.05);
htimestamps->GetYaxis()->SetLabelSize(0.05);
htimestamps->GetXaxis()->SetTitleFont(132);//轴名字体
htimestamps->GetYaxis()->SetTitleFont(132);//轴名字体
htimestamps->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
htimestamps->GetYaxis()->SetTitleOffset(0.66);//轴名偏移
htimestamps->GetXaxis()->SetTitleSize(0.06);
htimestamps->GetYaxis()->SetTitleSize(0.06);
htimestamps->GetXaxis()->SetRangeUser(973,982);
//htimestamps->GetYaxis()->SetRangeUser(0,2e6);
htimestamps->SetLineWidth(2);
htimestamps->SetLineColor(kOrange+7);
tree->SetLineWidth(2);
tree->Draw("pulser_delayed_t-pulser_t>>htimestamps","pulser_delayed_e>11010&&pulser_delayed_e<11070&&pulser_e>11010&&pulser_e<11070");

## Slide 20
148Gd
241Am

## Slide 21
There is a tendency for alpha particle sources to create such contamination through the escape of recoil nuclei during some alpha decays.
---- Glenn Knoll
Before cleaning
After cleaning