## Slide 2
60Co (I7281) to tips of 4 rods 17 mm
60Co (I7281) to LEGe window 13 mm
Run0214-218
Uncertainty of I7281 activity: 3%
Clash with LEGe
I had to remove one of the holders of MSD12

## Slide 3
1173 1332 60Co
1461 40K
2506
North
South
LEGe
2506/1173 | 0.35%
2506/1332 | 0.38%
2506/1173 | 0.30%
2506/1332 | 0.32%
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0216_0217_0218_LEGe_XtRa_MSD26_60Co_I7281_inChamber_vacuum_XtRa_12mm_away_window1us_CFDdelay_adjusted_AnalogGain1.0_cal.root");
TCanvas* canvaspeak = new TCanvas("XtRa", "XtRa", 1400, 640);//建立画布
canvaspeak->cd();//进入画布
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.08);
canvaspeak->SetBottomMargin(0.13);
gStyle->SetFrameLineWidth(2);
gPad->SetLogy();
hnorth_e->SetLineWidth(2);
hnorth_e->Rebin(1);
hnorth_e->SetLineColor(2);
hnorth_e->SetStats(0);
hnorth_e->SetTitle("");
hnorth_e->GetXaxis()->SetTitle("Energy (keV)");//轴名
hnorth_e->GetYaxis()->SetTitle("Counts per 146 eV");//轴名
hnorth_e->GetXaxis()->CenterTitle();//居中
hnorth_e->GetYaxis()->CenterTitle();//居中
hnorth_e->GetXaxis()->SetLabelFont(132);//坐标字体
hnorth_e->GetYaxis()->SetLabelFont(132);//坐标字体
hnorth_e->GetXaxis()->SetLabelSize(0.05);
hnorth_e->GetYaxis()->SetLabelSize(0.05);
hnorth_e->GetXaxis()->SetTitleFont(132);//轴名字体
hnorth_e->GetYaxis()->SetTitleFont(132);//轴名字体
hnorth_e->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
hnorth_e->GetYaxis()->SetTitleOffset(0.66);//轴名偏移
hnorth_e->GetXaxis()->SetTitleSize(0.06);
hnorth_e->GetYaxis()->SetTitleSize(0.06);
hnorth_e->GetYaxis()->SetTickLength(0.015);
hnorth_e->GetXaxis()->SetRangeUser(100,2700);
hnorth_e->GetYaxis()->SetRangeUser(5,4e6);
hnorth_e->Draw("hist");
hsouth_e->Rebin(1);
hsouth_e->SetLineColor(4);
hsouth_e->Draw("same");

## Slide 4
North scaled by 0.02
North gated by MSD26
rebin(6)
β efficiency
0.33%
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0216_0217_0218_LEGe_XtRa_MSD26_60Co_I7281_inChamber_vacuum_XtRa_12mm_away_window1us_CFDdelay_adjusted_AnalogGain1.0_cal.root");
TCanvas* canvaspeak = new TCanvas("XtRa", "XtRa", 1400, 553);
canvaspeak->cd();
canvaspeak->SetTopMargin(0.025);
canvaspeak->SetRightMargin(0.03);
canvaspeak->SetLeftMargin(0.08);
canvaspeak->SetBottomMargin(0.13);
gStyle->SetFrameLineWidth(2);
gPad->SetLogy();
hnorth_e->SetLineWidth(2);
hnorth_e->Rebin(1);
hnorth_e->SetLineColor(2);
hnorth_e->SetStats(0);
hnorth_e->SetTitle("");
hnorth_e->GetXaxis()->SetTitle("Energy (keV)");//轴名
hnorth_e->GetYaxis()->SetTitle("Counts per 146 eV");//轴名
hnorth_e->GetXaxis()->CenterTitle();//居中
hnorth_e->GetYaxis()->CenterTitle();//居中
hnorth_e->GetXaxis()->SetLabelFont(132);//坐标字体
hnorth_e->GetYaxis()->SetLabelFont(132);//坐标字体
hnorth_e->GetXaxis()->SetLabelSize(0.05);
hnorth_e->GetYaxis()->SetLabelSize(0.05);
hnorth_e->GetXaxis()->SetTitleFont(132);//轴名字体
hnorth_e->GetYaxis()->SetTitleFont(132);//轴名字体
hnorth_e->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
hnorth_e->GetYaxis()->SetTitleOffset(0.66);//轴名偏移
hnorth_e->GetXaxis()->SetTitleSize(0.06);
hnorth_e->GetYaxis()->SetTitleSize(0.06);
hnorth_e->GetYaxis()->SetTickLength(0.015);
hnorth_e->GetXaxis()->SetRangeUser(100,2700);
hnorth_e->GetYaxis()->SetRangeUser(5,4e6);
//tree->SetLineColor(kGreen+1);
//tree->Draw("north_e","north_e>95&&msd26_e>100&&msd26_e<1600","same");
const Int_t numBins = hnorth_e->GetNbinsX();
const Double_t xMin = hnorth_e->GetXaxis()->GetXmin();
const Double_t xMax = hnorth_e->GetXaxis()->GetXmax();
TH1D* hnorth_e_tbkg1 = new TH1D("hnorth_e_tbkg1", "hnorth_e_tbkg1", numBins, xMin, xMax);
TH1D* hnorth_e_tbkg2 = new TH1D("hnorth_e_tbkg2", "hnorth_e_tbkg2", numBins, xMin, xMax);
TH1D* hnorth_e_purebetagated = new TH1D("hnorth_e_purebetagated", "hnorth_e_purebetagated", numBins, xMin, xMax);
TH1D* hnorth_e_betagated = new TH1D("hnorth_e_betagated", "hnorth_e_betagated", numBins, xMin, xMax);
tree->Draw("north_e>>hnorth_e_betagated","north_e>99&&north_e<3000&&msd26_e>100&&msd26_e<1600&&north_t-msd26_t>-500&&north_t-msd26_t<300","");
tree->Draw("north_e>>hnorth_e_tbkg1","north_e>99&&north_e<3000&&msd26_e>100&&msd26_e<1600&&north_t-msd26_t>-900&&north_t-msd26_t<-500","");
tree->Draw("north_e>>hnorth_e_tbkg2","north_e>99&&north_e<3000&&msd26_e>100&&msd26_e<1600&&north_t-msd26_t>400&&north_t-msd26_t<800","");
hnorth_e_purebetagated->Add(hnorth_e_betagated,hnorth_e_tbkg1,1,-1);
hnorth_e_purebetagated->Add(hnorth_e_purebetagated,hnorth_e_tbkg2,1,-1);
hnorth_e_purebetagated->SetLineColor(3);
hnorth_e_purebetagated->SetLineWidth(2);
hnorth_e->Draw("hist");
hnorth_e->Scale(0.02);
hnorth_e_purebetagated->Rebin(6);
hnorth_e_purebetagated->Draw("same");

## Slide 5
run0216_0217_0218_LEGe_XtRa_MSD26_60Co_I7281_inChamber_vacuum_XtRa_12mm_away_window1us_CFDdelay_adjusted_AnalogGain1.0_cal.root

## Slide 6
Chart: Energy (keV)
| 121.705 | 244.74700000000001 | 344.31400000000002 | 411.13799999999998 | 443.96899999999999 | 488.685 | 564.07500000000005 | 583.32899999999995 | 688.70600000000002 | 778.89499999999998 | 867.37400000000002 | 964.08500000000004 | 1005.21 | 1112.04 | 1212.9000000000001 | 1299.1199999999999 | 1408.01 | 1528.19
152Eu South | 0.0061415 | 0.0061342 | 0.0053219 | 0.0048349 | 0.0046354 | 0.0043867 | 0.0041524 | 0.0039993 | 0.0036854 | 0.003479 | 0.0032723 | 0.003163 | 0.0031017 | 0.0028566 | 0.0027691 | 0.0026132 | 0.0025611 | 0.0023277
152Eu North | 0.0072268 | 0.0071953 | 0.0061412 | 0.0054774 | 0.0052822 | 0.0050737 | 0.0046885 | 0.0044356 | 0.0040867 | 0.0038318 | 0.0035626 | 0.0034579 | 0.0033475 | 0.0030758 | 0.0029546 | 0.0028119 | 0.0027314 | 0.0024839
137Cs South | 0.0037632
60Co North | 0.0030822 | 0.0028485
60Co South | 0.0027297 | 0.002542

## Slide 7
1173
1332
South 1173 | 13072303 | Gated
γγ Angular Correlation 90deg | 0.95 | 
1332 | 12418688 | Emitted
North 1332 | 36243 | Detected
North 1332 ε | 0.292% | Summing free
North 1332 ε | 0.285% | Nominal
Summing Correction Factor | 1.0245 | 
South 1332 | 12189561 | Gated
γγ Angular Correlation 90deg | 0.95 | 
1173 | 11564725 | Emitted
North 1173 | 36466 | Detected
North 1173 ε | 0.315% | Summing free
North 1173 ε | 0.308% | Nominal
Summing Correction Factor | 1.0230 | 
60Co
1332
1173
60Co

## Slide 8
1173
1332
North 1173 | 14760841 | Gated
γγ Angular Correlation 90deg | 0.95 | 
1332 | 14022799 | Emitted
South 1332 | 36600 | Detected
South 1332 ε | 0.261% | Summing free
South 1332 ε | 0.254% | Nominal
Summing Correction Factor | 1.0268 | 
North 1332 | 13659715 | Gated
γγ Angular Correlation 90deg | 0.95 | 
1173 | 12959519 | Emitted
South 1173 | 36262 | Detected
South 1173 ε | 0.280% | Summing free
South 1173 ε | 0.273% | Nominal
Summing Correction Factor | 1.0251 | 
60Co
1332
1173
60Co

## Slide 10
Run0225
Trigger Rise: 0.15 μs
Trigger Gap: 0.10 μs
CFD Delay: 0.30 μs

## Slide 11
Figure 3.7: Example of the DDAS digital constant fraction discriminator (CFD) algorithm. A sample detector signal acquired from a LaBr3 detector by a 12-bit 500 MSPS is shown in black. The response of the DDAS CFD algorithm is shown in red along with the user-defined CFD threshold illustrated as a black dashed line. Key points in time related to precision time extraction are labeled.
Figure 3.6: Example of DDAS digital filtering algorithms. A sample detector signal acquired from the planar GeDSSD by a 14-bit 250 MSPS is shown in black. The response of the DDAS trigger-filter algorithm is shown in dark red along with the user-defined trigger filter threshold illustrated as a black dashed line. Shown in dark blue is the response of the DDAS energy filter algorithm. Key points in time related to triggering and energy extraction are labeled.

## Slide 12
Wu H Y, Li Z H, Wu J, et al. A general-purpose data acquisition system and a waveform analysis algorithm based on digitization
Wu H Y, Li Z H, Wu J, et al. A general-purpose data acquisition system and a waveform analysis algorithm based on digitization
H. Y. Wu et al., Nucl. Instrum. Methods Phys. Res. A 975, 164200 (2020).
C.J. Prokop et al., Nucl. Instrum. Methods Phys. Res. A 741, 163 (2014).

## Slide 14
South 1173-gated
South 1332-gated
1173
1332
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0215_LEGe_XtRa_MSD26_60Co_I7281_inChamber_vacuum_XtRa_12mm_away_window1us_CFDdelay_adjusted_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 890, 800);
canvaspeak->cd();
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(2);
//canvaspeak->SetLogz();
TH2D* het = new TH2D("het", "het", 400,-1000,1000,1500,0,1500); //x,y
tree->Draw("south_e:north_t-south_t>>het","north_e>1329&&north_e<1334&&south_e>100&&south_e<1500","colz"); //y:x
tree->Draw("north_e:north_t-south_t>>het","south_e>1329&&south_e<1334&&north_e>100&&north_e<1500","colz"); //y:x
tree->Draw("south_e:north_t-south_t>>het","north_e>1170&&north_e<1175&&south_e>100&&south_e<1500","colz"); //y:x
tree->Draw("north_e:north_t-south_t>>het","south_e>1170&&south_e<1175&&north_e>100&&north_e<1500","colz"); //y:x
het->SetStats(0);
het->SetTitle("");
het->GetXaxis()->SetTitle("North - South Time Difference (ns)");
//het->GetYaxis()->SetTitle("South Energy (keV)");
het->GetYaxis()->SetTitle("North Energy (keV)");
het->GetXaxis()->CenterTitle();
het->GetYaxis()->CenterTitle();
het->GetXaxis()->SetLabelFont(132);
het->GetYaxis()->SetLabelFont(132);
het->GetXaxis()->SetLabelSize(0.05);
het->GetYaxis()->SetLabelSize(0.05);
het->GetXaxis()->SetTitleFont(132);
het->GetYaxis()->SetTitleFont(132);
het->GetXaxis()->SetTitleOffset(1.1);
het->GetYaxis()->SetTitleOffset(1.4);
het->GetXaxis()->SetTitleSize(0.06);
het->GetYaxis()->SetTitleSize(0.06);
het->GetXaxis()->SetNdivisions(505);
het->GetYaxis()->SetNdivisions(505);
//het->GetXaxis()->SetRangeUser(2001,4500);
//het->GetYaxis()->SetRangeUser(1000,2800);
het->SetMinimum(2);
//het->SetMaximum(100);
het->SetContour(99);
gStyle->SetPalette(kRainbow);
TPaletteAxis *palette = (TPaletteAxis*)het->GetListOfFunctions()->FindObject("palette");
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(2);

## Slide 15
South 1173-gated
South 1332-gated
1173
1332
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0215_LEGe_XtRa_MSD26_60Co_I7281_inChamber_vacuum_XtRa_12mm_away_window1us_CFDdelay_adjusted_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 890, 800);
canvaspeak->cd();
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(2);
//canvaspeak->SetLogz();
TH2D* het = new TH2D("het", "het", 400,-1000,1000,1500,0,1500); //x,y
tree->Draw("south_e:north_t-south_t>>het","north_e>1329&&north_e<1334&&south_e>100&&south_e<1500","colz"); //y:x
tree->Draw("north_e:north_t-south_t>>het","south_e>1329&&south_e<1334&&north_e>100&&north_e<1500","colz"); //y:x
tree->Draw("south_e:north_t-south_t>>het","north_e>1170&&north_e<1175&&south_e>100&&south_e<1500","colz"); //y:x
tree->Draw("north_e:north_t-south_t>>het","south_e>1170&&south_e<1175&&north_e>100&&north_e<1500","colz"); //y:x
het->SetStats(0);
het->SetTitle("");
het->GetXaxis()->SetTitle("North - South Time Difference (ns)");
//het->GetYaxis()->SetTitle("South Energy (keV)");
het->GetYaxis()->SetTitle("North Energy (keV)");
het->GetXaxis()->CenterTitle();
het->GetYaxis()->CenterTitle();
het->GetXaxis()->SetLabelFont(132);
het->GetYaxis()->SetLabelFont(132);
het->GetXaxis()->SetLabelSize(0.05);
het->GetYaxis()->SetLabelSize(0.05);
het->GetXaxis()->SetTitleFont(132);
het->GetYaxis()->SetTitleFont(132);
het->GetXaxis()->SetTitleOffset(1.1);
het->GetYaxis()->SetTitleOffset(1.4);
het->GetXaxis()->SetTitleSize(0.06);
het->GetYaxis()->SetTitleSize(0.06);
het->GetXaxis()->SetNdivisions(505);
het->GetYaxis()->SetNdivisions(505);
//het->GetXaxis()->SetRangeUser(2001,4500);
//het->GetYaxis()->SetRangeUser(1000,2800);
het->SetMinimum(2);
//het->SetMaximum(100);
het->SetContour(99);
gStyle->SetPalette(kRainbow);
TPaletteAxis *palette = (TPaletteAxis*)het->GetListOfFunctions()->FindObject("palette");
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(2);

## Slide 16
South 1173-gated
South 1332-gated
1173
1332
Notes: TFile *_file0 = TFile::Open("F:/e21010/pxct/run0215_LEGe_XtRa_MSD26_60Co_I7281_inChamber_vacuum_XtRa_12mm_away_window1us_CFDdelay_adjusted_cal.root");
TCanvas* canvaspeak = new TCanvas("canvaspeak", "canvaspeak", 890, 800);
canvaspeak->cd();
canvaspeak->SetTopMargin(0.03);
canvaspeak->SetRightMargin(0.12);
canvaspeak->SetLeftMargin(0.17);
canvaspeak->SetBottomMargin(0.15);
canvaspeak->SetFrameLineWidth(2);
//canvaspeak->SetLogz();
TH2D* het = new TH2D("het", "het", 400,-1000,1000,1500,0,1500); //x,y
tree->Draw("south_e:north_t-south_t>>het","north_e>1329&&north_e<1334&&south_e>100&&south_e<1500","colz"); //y:x
tree->Draw("north_e:north_t-south_t>>het","south_e>1329&&south_e<1334&&north_e>100&&north_e<1500","colz"); //y:x
tree->Draw("south_e:north_t-south_t>>het","north_e>1170&&north_e<1175&&south_e>100&&south_e<1500","colz"); //y:x
tree->Draw("north_e:north_t-south_t>>het","south_e>1170&&south_e<1175&&north_e>100&&north_e<1500","colz"); //y:x
het->SetStats(0);
het->SetTitle("");
het->GetXaxis()->SetTitle("North - South Time Difference (ns)");
//het->GetYaxis()->SetTitle("South Energy (keV)");
het->GetYaxis()->SetTitle("North Energy (keV)");
het->GetXaxis()->CenterTitle();
het->GetYaxis()->CenterTitle();
het->GetXaxis()->SetLabelFont(132);
het->GetYaxis()->SetLabelFont(132);
het->GetXaxis()->SetLabelSize(0.05);
het->GetYaxis()->SetLabelSize(0.05);
het->GetXaxis()->SetTitleFont(132);
het->GetYaxis()->SetTitleFont(132);
het->GetXaxis()->SetTitleOffset(1.1);
het->GetYaxis()->SetTitleOffset(1.4);
het->GetXaxis()->SetTitleSize(0.06);
het->GetYaxis()->SetTitleSize(0.06);
het->GetXaxis()->SetNdivisions(505);
het->GetYaxis()->SetNdivisions(505);
//het->GetXaxis()->SetRangeUser(2001,4500);
//het->GetYaxis()->SetRangeUser(1000,2800);
het->SetMinimum(2);
//het->SetMaximum(100);
het->SetContour(99);
gStyle->SetPalette(kRainbow);
TPaletteAxis *palette = (TPaletteAxis*)het->GetListOfFunctions()->FindObject("palette");
palette->SetTitleFont(132);
palette->SetTitleSize(0.05);
palette->SetLabelFont(132);
palette->SetLabelSize(0.05);
palette->SetLineWidth(2);

## Slide 17
1 μs
1 μs
1 μs
Notes: 152Eu gg coincidence oscilloscope

## Slide 18
1 μs
1 μs