## Slide 1: Traces & Noise Diagnostics

## Slide 3
North High Output
South High Output
North Low Output
South Low Output

## Slide 4
North High Output
South High Output
North Low Output
South Low Output

## Slide 5
North High Output
South High Output

## Slide 6
LEGe High Output
North High Output
MSD26 Energy Output
South High Output

## Slide 7
LEGe High Output
North High Output
MSD26 Energy Output
South High Output

## Slide 8
North
South
15 cm of air between 152Eu and North/South detector
60 mins run
Notes: TH1D* hnorth_e_total = new TH1D("hnorth_e_total", "hnorth_e_total", 30000, -0.1396974536661, 2284.5486548730700); // 60000 channels, 38 eV per channel
TH1D* hsouth_e_total = new TH1D("hsouth_e_total", "hsouth_e_total", 30000, -0.0728074287689, 2277.0599376908900); // 60000 channels, 38 eV per channel
tree->Draw("north_e>>hnorth_e_total","north_e>0");
tree->Draw("south_e>>hsouth_e_total","south_e>0");

## Slide 9
North Total Entries 4872812
South Total Entries 4666931
Total Coincidences 101992

## Slide 10
North
Res.=0.38%
South
Res.=0.37%
Notes: run0030-00_XtRa_152Eu_60min_window1us_cal.root
#include <iostream>
#include <fstream>
//#include <iomanip.h>
#include <math.h>
#include <time.h>
#include <map>
#include <TROOT.h>
#include <TSystem.h>#include <TCutG.h>
#include "TChain.h"
#include "TStyle.h"
#include "TLine.h"
#include "TCanvas.h"
#include "TEllipse.h"
#include "TString.h"
#include "TGraph.h"
#include "TGraphErrors.h"
#include "TSpectrum.h"
#include "TVirtualFitter.h"
#include "TFitResult.h"
#include "TFitResultPtr.h"
#include "TMatrixDSymfwd.h"
#include "TRandom.h"
#include "TFile.h"
#include "TTree.h"
#include "TH1.h"
#include "TH1D.h"
#include "TH2.h"
#include "TF1.h"
#include "TMath.h"
#include "TPaveText.h"
#include "TPad.h"
#include "TAxis.h"
#include "TClass.h"
#include "TMatrixD.h"
#include "TVectorD.h"
#include "string.h"
#include "stdlib.h"
#include "stdio.h"
#include "TLegend.h"
using namespace std;
void peakfit_gausnerfcpol1_band_pxct() // get histogram and EMG fit one peak
{
const int ID1 = 0;// i=ID1//which detector
const int ID2 = 0;// i<=ID2// modify which detector
double binwidth = 0.038;
double fitrange_min = 0, fitrange_max = 0;
double histomin = 0, histomax = 0, histoNbins = 0;
int minbin = 0, maxbin = 0;
float Eg, Eg2nd, gaplow = 70., gaphigh = 70.;//fitting range随分辨不同调整
int i, ii, jj, ibin;
char paraprint[100], histo_name[200], hfit_name[200];
TH1D* histo[ID2 + 1];//TH1D peak search+gauss fit, create histograms
int fit_Nbins;
const int peaknum = 10;//search peak numbers, modify
TGraph* graph_residual[ID2 + 1];//create graphs
TF1* fEMG[peaknum];//create function
TF1* p[peaknum], * g[peaknum], * b[peaknum], * p2[peaknum];
Double_t peakx[peaknum], peakxerr[peaknum];
Double_t peaky[peaknum], peakyerr[peaknum];
Double_t constant[peaknum], constant_err[peaknum];
Double_t sig[peaknum], sig_err[peaknum];
Double_t tau[peaknum], tau_err[peaknum];
Double_t mean[peaknum], mean_err[peaknum];
Double_t FWHM[peaknum], FWHM_err[peaknum];
double inflation_factor = 1.0;
TH1D* h_confidence_interval[ID2 + 1][peaknum];
TCanvas* canvaspeak[ID2 + 1][peaknum];
char pathname[150];
char filename[150];
sprintf(pathname, "%s", "F:/e21010/pxct/");
sprintf(filename, "%s%s", pathname, "lower_bounds.dat");
ifstream infilelowerbounds(filename, ios::in);
sprintf(filename, "%s%s", pathname, "upper_bounds.dat");
ifstream infileupperbounds(filename, ios::in);
double par[peaknum][10], par_err[peaknum][10];
double parChi[peaknum], parNDF[peaknum], p_value[peaknum];
int lower_search_bound[ID2 + 1][peaknum], upper_search_bound[ID2 + 1][peaknum];
for (i = ID1; i <= ID2; i++)//which detector no need to modify
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
infilelowerbounds >> lower_search_bound[i][ii];
infileupperbounds >> upper_search_bound[i][ii];
}
}
for (i = ID1; i <= ID2; i++)//which detector no need to modify
{
for (ii = 0; ii < peaknum; ii++)//which peak
{
cout << lower_search_bound[i][ii] << " ";
cout << upper_search_bound[i][ii] << " ";
}
cout << endl;
}
sprintf(filename, "%s%s", pathname, "peakpara.dat");
ofstream outfile(filename, ios::out);
sprintf(filename, "%s%s", pathname, "run0030-00_XtRa_152Eu_60min_window1us_cal.root");
TFile* fin = new TFile(filename);//after this statement, you can use any ROOT command1 for this rootfile
cout << filename << endl;
for (i = ID1; i <= ID2; i++)//which detector no need to modify
{
sprintf(histo_name, "%s", "hnorth_e");
histo[i] = (TH1D*)fin->Get(histo_name); //Get spectrum
histo[i]->Rebin(1);
histo[i]->Sumw2(kFALSE);
histo[i]->SetBinErrorOption(TH1::kPoisson);
}
for (i = ID1; i <= ID2; i++) // no need to modify
{
for (ii = 9; ii <= 9; ii++)// modify which peak in one detector =0<=13
{
sprintf(hfit_name, "%s%d%s%d", "north", i, "_peak", ii);
canvaspeak[i][ii] = new TCanvas(hfit_name, hfit_name, 1400, 740);//建立画布
canvaspeak[i][ii]->cd();//进入画布
// canvaspeak[i][ii]->SetTopMargin(0.02);
// canvaspeak[i][ii]->SetRightMargin(0.03);
// canvaspeak[i][ii]->SetLeftMargin(0.09);
// canvaspeak[i][ii]->SetBottomMargin(0.13);
TPad* pad1 = new TPad("pad1", "The pad 70% of the height", 0.0, 0.3, 1.0, 1.0);
// xlow, ylow, xup, yup
TPad* pad2 = new TPad("pad2", "The pad 30% of the height", 0.0, 0.0, 1.0, 0.3);
// Set margins for pad1
pad1->SetTopMargin(0.02); // relative to pad1 height
pad1->SetBottomMargin(0.13); // no bottom margin
pad1->SetLeftMargin(0.09); // relative to pad1 width
pad1->SetRightMargin(0.025); // relative to pad1 width
// Set margins for pad2
pad2->SetTopMargin(0.03); // no top margin
pad2->SetBottomMargin(0.35); // relative to pad2 height
pad2->SetLeftMargin(0.09); // relative to pad2 width
pad2->SetRightMargin(0.025); // relative to pad2 width
pad1->Draw();
pad1->cd();
//gStyle->SetOptTitle(0);
histo[i]->SetTitle("");//图名
histo[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
histo[i]->GetYaxis()->SetTitle("Counts per 38 eV");//轴名
histo[i]->GetXaxis()->CenterTitle();//居中
histo[i]->GetYaxis()->CenterTitle();//居中
histo[i]->GetXaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetYaxis()->SetLabelFont(132);//坐标字体
histo[i]->GetXaxis()->SetLabelSize(0.05);
histo[i]->GetYaxis()->SetLabelSize(0.05);
histo[i]->GetXaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetYaxis()->SetTitleFont(132);//轴名字体
histo[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
histo[i]->GetYaxis()->SetTitleOffset(0.7);//轴名偏移
histo[i]->GetXaxis()->SetTitleSize(0.06);
histo[i]->GetYaxis()->SetTitleSize(0.06);
histo[i]->SetLineWidth(2);
histo[i]->SetStats(0);
histo[i]->Draw("e");
peaky[ii] = 0; peakx[ii] = 0; sig[ii] = 0; tau[ii] = 0; mean[ii] = 0; FWHM[ii] = 0;
histo[i]->GetXaxis()->SetRangeUser(lower_search_bound[i][ii], upper_search_bound[i][ii]);
peaky[ii] = histo[i]->GetMaximum();
peakx[ii] = histo[i]->GetBinCenter(histo[i]->GetMaximumBin());
cout << peakx[ii] << " " << peaky[ii] << endl;
if (ii == 0) { gaplow = 0.5; gaphigh = 0.4; Eg = 5895; Eg2nd = 6490; }//55Fe 5.9 and 6.5
if (ii == 2) { gaplow = 1.4; gaphigh = 1.4; Eg = 121782; }//152Eu 122
if (ii == 4) { gaplow = 1.0; gaphigh = 1.0; Eg = 59541; }//241Am 59.5
if (ii == 5) { gaplow = 0.8; gaphigh = 0.8; Eg = 26345; }//241Am 26.3
if (ii == 7) { gaplow = 0.7; gaphigh = 0.7; Eg = 33196; }//241Am 33.2
if (ii == 9) { gaplow = 3.0; gaphigh = 3.0; Eg = 3442785; }//152Eu 345
histomin = histo[i]->GetXaxis()->GetXmin();
histomax = histo[i]->GetXaxis()->GetXmax();
histoNbins = histo[i]->GetNbinsX();
fitrange_min = peakx[ii] - gaplow;
fitrange_max = peakx[ii] + gaphigh;
// cout << histomin << " " << histomax << " " << histoNbins << endl;
histo[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);//zoom the axis
//cout<<"************"<<peakx[ii]<<" "<<peaky[ii]<<endl;
minbin = histo[i]->FindBin(fitrange_min);
maxbin = histo[i]->FindBin(fitrange_max);
fit_Nbins = maxbin - minbin + 1; // Don't forget the +1, or you lose the last bin!
// cout << "minbin = " << minbin << " maxbin = " << maxbin << " fit_Nbins = " << fit_Nbins << " fitrange_min = " << fitrange_min << " fitrange_max = " << fitrange_max << endl;
ibin = minbin;
while (histo[i]->GetBinContent(ibin) < (peaky[ii] / 2)) { ibin++; if (ibin >= maxbin)break; }
double sigmaguess = 2 * (peakx[ii] - histo[i]->GetBinCenter(ibin)) / 2.355;
float highcounts = 0, lowcounts = 0;
for (jj = 0; jj < 10; jj++)
{
highcounts += histo[i]->GetBinContent(maxbin - jj);
lowcounts += histo[i]->GetBinContent(minbin + jj);
}
highcounts = highcounts / 10; lowcounts = lowcounts / 10;
double aguess = (highcounts - lowcounts) / (fitrange_max - fitrange_min);
double bguess = lowcounts - fitrange_min * aguess;
cout << aguess << " " << bguess << " " << sigmaguess << " " << peakx[ii] << " " << peaky[ii] << endl;
fEMG[ii] = new TF1("fEMG", "[0]*x+[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))", histomin, histomax);// Sun PRC2021 low-energy tail
g[ii] = new TF1("g", "gausn", histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+[2]/2/[3]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
//p2[ii] = new TF1("p2", "[0]*exp(-0.5*((x-[1])/[2])^2) / (sqrt(2*3.141592654)*[2])", histomin, histomax);//pure peak2
b[ii] = new TF1("b", "[0]*x+[1]", histomin, histomax);//pure bkg
// fEMG[ii]=new TF1("total","[0]*x+[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);// Glassman PRC2019 low-energy tail
// g[ii]=new TF1("g","gausn",histomin, histomax);// The [2]-N parameter in total is equivalent to the Constant in gausn
// p[ii]=new TF1("p","[0]*x+[1]-[0]*x-[1]+sqrt(3.141592654/2)*[2]/[3]*[4]*exp(0.5*([4]*[4]/([3]*[3]))+(x-[5])/[3])*ROOT::Math::erfc(1/sqrt(2)*([4]/[3]+(x-[5])/[4]))",histomin, histomax);//pure peak
// b[ii]=new TF1("b","[0]*x+[1]",histomin, histomax);//pure bkg
fEMG[ii]->SetNpx(histoNbins);
g[ii]->SetNpx(histoNbins);
p[ii]->SetNpx(histoNbins);
// p2[ii]->SetNpx(histoNbins);
b[ii]->SetNpx(histoNbins);
//fEMG[ii]->SetParameters(0.1,15,peaky[ii],10,10,peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
fEMG[ii]->SetParameters(aguess, bguess, peaky[ii], 0.02, sigmaguess, peakx[ii]);//initial value [0]-A, [1]-B, [2]-N, [3]-τ, [4]-σ, [5]-μ
// fEMG[ii]->SetParLimits(0,-500,500);//Bkg A
// fEMG[ii]->SetParLimits(1,-50000,300000);//Bkg B
fEMG[ii]->SetParLimits(2, 5000, 15000);//Constant,min,max
fEMG[ii]->SetParLimits(3, 0.15, 0.2);//Tau
fEMG[ii]->SetParLimits(4, 0.1, 1);//Sigma
fEMG[ii]->SetParLimits(5, peakx[ii] - gaplow/2, peakx[ii] + gaphigh/2);//Mean
fEMG[ii]->SetParLimits(5, 343.8, 345.0);//Mean
fEMG[ii]->SetParNames("BkgA", "BkgB", "Const*bin", "Tau", "Sigma", "Mean");
histo[i]->Fit("fEMG", "MLE", "", fitrange_min, fitrange_max);
TFitResultPtr Fit_result_pointer = histo[i]->Fit("fEMG", "MLES", "", fitrange_min, fitrange_max);
//"S" means the result of the fit is returned in the TFitResultPtr
//“E” Perform better errors estimation using the Minos technique.
//“M” Improve fit results, by using the IMPROVE algorithm of TMinuit.
//If the option "S" is instead used, TFitResultPtr contains the TFitResult and behaves as a smart pointer to it.
//The fit parameters, error and chi2 (but not covariance matrix) can be retrieved also from the fitted function.
fEMG[ii]->GetParameters(par[ii]);//二维数组的par[ii]是地址,pointer to the TF1, GetParameters的数组得是double类型Obtaining the value of parameters and saving them to par[];
par_err[ii][0] = fEMG[ii]->GetParError(0);//Obtaining the error of the 1st parameter
par_err[ii][1] = fEMG[ii]->GetParError(1);//Obtaining the error of the 2nd parameter
par_err[ii][2] = fEMG[ii]->GetParError(2);//Obtaining the error of the 3rd parameter
par_err[ii][3] = fEMG[ii]->GetParError(3);//Obtaining the error of the 4th parameter
par_err[ii][4] = fEMG[ii]->GetParError(4);//Obtaining the error of the 5th parameter
par_err[ii][5] = fEMG[ii]->GetParError(5);//Obtaining the error of the 6th parameter
parChi[ii] = fEMG[ii]->GetChisquare();
parNDF[ii] = fEMG[ii]->GetNDF();
p_value[ii] = fEMG[ii]->GetProb();//This probability is not the “probability that your fit is good.” If you did many fake experiments (draw many random samples of data points from the assumed distribution (your fit function)), this is the percentage of experiments that would give χ2 values ≥ to the one you got in this experiment.
g[ii]->SetParameters(par[ii][2], par[ii][5], par[ii][4]);//set parameters for drawing gausn
g[ii]->SetLineColor(7);
p[ii]->SetParameters(par[ii][0],par[ii][1],par[ii][2],par[ii][3],par[ii][4],par[ii][5]);//set parameters for drawing peak
p[ii]->SetLineColor(6);
// p2[ii]->SetParameters(par[ii][6], par[ii][7], par[ii][8]);//set parameters for drawing peak
// p2[ii]->SetLineColor(4);
b[ii]->SetParameters(par[ii][0], par[ii][1]);//set parameters for drawing bkg
b[ii]->SetLineColor(8);
fEMG[ii]->SetLineWidth(2);
// The confidence band is not always properly displayed.
// Uncertainty Band
sprintf(filename, "%s%s%d%s%d", "h_confidence_interval", "_", i, "_", ii);
h_confidence_interval[i][ii] = (TH1D*)histo[i]->Clone(filename);//Create a histogram to hold the confidence intervals
TVirtualFitter* fitter = TVirtualFitter::GetFitter();//The method TVirtualFitter::GetFitter())->Get the parameters of your fitting function after having it fitted to an histogram.
fitter->GetConfidenceIntervals(h_confidence_interval[i][ii], 0.95);//By default the intervals are inflated using the chi2/ndf value of the fit if a chi2 fit is performed
//confidence interval for the colored band: 1σ confidence interval: P=0.683, 1σ confidence interval: P=0.95, 3σ confidence interval: P=0.997
//h_confidence_interval will contain the CL result that you can draw on top of your fitted graph.
//where h_confidence_interval will hold the errors and could superimpose it on the same canvas where you plot central values.
h_confidence_interval[i][ii]->SetStats(kFALSE);
h_confidence_interval[i][ii]->SetFillColor(kRed - 10);
h_confidence_interval[i][ii]->Draw("e3 same"); // plot the uncertainty band
fEMG[ii]->Draw("same");
// g[ii]->Draw("same");
// p[ii]->Draw("same");
// p2[ii]->Draw("same");
b[ii]->Draw("same");
histo[i]->Draw("e same");
TMatrixD cov = Fit_result_pointer->GetCovarianceMatrix();//error matrix
TMatrixD cor = Fit_result_pointer->GetCorrelationMatrix();//parameter correlation coefficients
cov.Print();
cor.Print();
double Utau_Utau = fitter->GetCovarianceMatrixElement(3, 3);//(Utau)^2
double Usigma_Usigma = fitter->GetCovarianceMatrixElement(4, 4);//(Usigma)^2
double Umean_Umean = fitter->GetCovarianceMatrixElement(5, 5);//(Umean)^2
double rou_Utau_Umean = fitter->GetCovarianceMatrixElement(3, 5);//(ρ*Utau*Umean), (3,5) (5,3) doesn't matter.
double rou_Usigma_Umean = fitter->GetCovarianceMatrixElement(4, 5);//
// cout << rou_Usigma_Umean << endl;
peaky[ii] = fEMG[ii]->GetMaximum();
peakx[ii] = fEMG[ii]->GetMaximumX();
peakxerr[ii] = sqrt(Utau_Utau + Umean_Umean + 2 * rou_Utau_Umean);
//FWHM[ii] = par[ii][4] / par[ii][5] * 2.355 * Eg;
//FWHM_err[ii] = 2.355 * Eg * sqrt(Usigma_Usigma / (par[ii][5] * par[ii][5]) + Umean_Umean * (-par[ii][4] / par[ii][5] / par[ii][5]) * (-par[ii][4] / par[ii][5] / par[ii][5]) + 2 * rou_Usigma_Umean / par[ii][5] * (-par[ii][4] / par[ii][5] / par[ii][5]));
// inflation_factor = sqrt(parChi[ii] / parNDF[ii]);
// if (inflation_factor < 1)
inflation_factor = 1;
constant[ii] = par[ii][2]; constant_err[ii] = par_err[ii][2] * inflation_factor;
tau[ii] = par[ii][3]; tau_err[ii] = par_err[ii][3] * inflation_factor;
sig[ii] = par[ii][4]; sig_err[ii] = par_err[ii][4] * inflation_factor;
mean[ii] = par[ii][5]; mean_err[ii] = par_err[ii][5] * inflation_factor;
FWHM[ii] = par[ii][4] * 2.355; FWHM_err[ii] = par_err[ii][4] * 2.355 * inflation_factor;
outfile << "LEGe" << i << " Constant*binsize" << ii << "= " << constant[ii] << " +/- " << constant_err[ii] << " Mean" << ii << "= " << mean[ii] << " +/- " << mean_err[ii] << " Maximum" << ii << "= " << peakx[ii] << " +/- " << peakxerr[ii] << " Sigma" << ii << "= " << sig[ii] << " +/- " << sig_err[ii] << " Tau" << ii << "= " << tau[ii] << " +/- " << tau_err[ii] << " A" << ii << "= " << par[ii][0] << " +/- " << par_err[ii][0] << " B" << ii << "= " << par[ii][1] << " +/- " << par_err[ii][1] << " Chi2" << ii << "= " << parChi[ii] << " NDF" << ii << "= " << parNDF[ii] << " Area" << ii << "= " << par[ii][2] / binwidth << " FWHM" << ii << "= " << FWHM[ii] << " +/- " << FWHM_err[ii] << endl;
TPaveText* textgaus = new TPaveText(0.7, 0.4, 0.975, 0.98, "brNDC");//加标注left, down, right, up
textgaus->SetBorderSize(1);//边框宽度
textgaus->SetFillColor(0);//填充颜色
textgaus->SetTextAlign(12);//align = 10*HorizontalAlign + VerticalAlign, 12 means水平左对齐、垂直居中对齐
textgaus->SetTextFont(132);//font = 10 * fontID + precision, 12+2,12 means Symbol; 13+2, 13 means News Times Roman
//text->SetTextColor(2);//文本颜色
sprintf(paraprint, "Constant*binsize%d=%.4f%s%.4f", ii, par[ii][2], "+/-", par_err[ii][2]);//par数组还保持着刚才的参数
textgaus->AddText(paraprint);
sprintf(paraprint, "Mean%d=%.6f%s%.6f", ii, par[ii][5], "+/-", par_err[ii][5]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Sigma%d=%.6f%s%.6f", ii, par[ii][4], "+/-", par_err[ii][4]);
textgaus->AddText(paraprint);
sprintf(paraprint, "FWHM%d=%.6f%s%.6f", ii, FWHM[ii], "+/-", FWHM_err[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Res%d=%.4f%%", ii, par[ii][4] / par[ii][5] * 2.355 * 100);
textgaus->AddText(paraprint);
sprintf(paraprint, "Tau%d=%.6f%s%.6f", ii, par[ii][3], "+/-", par_err[ii][3]);
textgaus->AddText(paraprint);
sprintf(paraprint, "A%d(%.4f%s%.4f)*x+B%d(%.3f%s%.3f)", ii, par[ii][0], "+/-", par_err[ii][0], ii, par[ii][1], "+/-", par_err[ii][1]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Chisquare%d=%.6f", ii, parChi[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "NDF%d=%.1f", ii, parNDF[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "p-val=%e", p_value[ii]);
textgaus->AddText(paraprint);
sprintf(paraprint, "Maximum%d=%.6f%s%.6f", ii, peakx[ii], "+/-", peakxerr[ii]);
textgaus->AddText(paraprint);
textgaus->Draw();
// for residuals plot
double x_values[fit_Nbins], y_values[fit_Nbins], y_fit_values[fit_Nbins], y_residuals[fit_Nbins], x_errors[fit_Nbins], y_errors[fit_Nbins];
for (ibin = 1; ibin <= fit_Nbins; ibin++)
{ // data array starts from [0], bin starts from [1]
x_values[ibin - 1] = histo[i]->GetBinCenter(minbin + ibin - 1);
// cout << x_values[ibin - 1] << " " << minbin+ibin-1 << endl;
x_errors[ibin - 1] = binwidth / 2.0;
y_values[ibin - 1] = histo[i]->GetBinContent(minbin + ibin - 1);
y_errors[ibin - 1] = (histo[i]->GetBinErrorUp(minbin + ibin - 1) + histo[i]->GetBinErrorLow(minbin + ibin - 1)) / 2.0;
y_fit_values[ibin - 1] = fEMG[ii]->Eval(x_values[ibin - 1]);
y_residuals[ibin - 1] = y_fit_values[ibin - 1] - y_values[ibin - 1];
}
graph_residual[i] = new TGraphErrors(fit_Nbins, x_values, y_residuals, x_errors, y_errors); //TGraph(n,x,y,ex,ey);
graph_residual[i]->SetTitle("");//图名
graph_residual[i]->GetXaxis()->SetTitle("Energy (keV)");//轴名
graph_residual[i]->GetYaxis()->SetTitle("Fit - Data");//轴名
graph_residual[i]->GetXaxis()->CenterTitle();//居中
graph_residual[i]->GetYaxis()->CenterTitle();//居中
graph_residual[i]->GetXaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetYaxis()->SetLabelFont(132);//坐标字体
graph_residual[i]->GetXaxis()->SetLabelSize(0.11);
graph_residual[i]->GetYaxis()->SetLabelSize(0.11);
graph_residual[i]->GetXaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetYaxis()->SetTitleFont(132);//轴名字体
graph_residual[i]->GetXaxis()->SetTitleOffset(1.0);//轴名偏移
graph_residual[i]->GetYaxis()->SetTitleOffset(0.3);//轴名偏移
graph_residual[i]->GetXaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetTitleSize(0.14);
graph_residual[i]->GetYaxis()->SetNdivisions(505);
graph_residual[i]->SetStats(0);
graph_residual[i]->GetXaxis()->SetRangeUser(fitrange_min, fitrange_max);
// graph_residual[i]->GetYaxis()->SetRangeUser(-50, 50);
graph_residual[i]->SetLineWidth(2);
graph_residual[i]->SetLineColor(kBlue + 2);
graph_residual[i]->SetMarkerStyle(6);
graph_residual[i]->SetMarkerColor(kBlue+2);
canvaspeak[i][ii]->cd();//进入画布
pad2->Draw();
pad2->cd();
graph_residual[i]->Draw("APZ");//"A": Axis are drawn around the graph, "P": The current marker is plotted at each point, "Z": Do not draw small horizontal and vertical lines the end of the error bars. Without "Z", the default is to draw these.
TLine* T1 = new TLine(fitrange_min, 0, fitrange_max, 0);
T1->Draw("R");//"R" means the line is drawn with the current line attributes
sprintf(filename, "%s%s%s", pathname, hfit_name, ".png");
canvaspeak[i][ii]->SaveAs(filename);
}//for(ii=0;ii<peaknum;ii++)
outfile << "\n\n" << endl;
}//for (i=0;i<ID;i++)
}//peakcali main

## Slide 11
North
Res.=0.1440%
FWHM=1.870 keV
FWHM=1.879 keV (S/N5593)
FWHM=2.000 keV (GX10020)
South
Res.=0.1441%
FWHM=1.873 keV
FWHM=1.926 keV (S/N5596)
FWHM=2.000 keV (GX10020)