## Slide 1: Particle X-ray Coincidence Technique at FRIB
Chris Wrede Department of Physics and Astronomy National Superconducting Cyclotron Laboratory Michigan State University
Low Energy Community Meeting, Decay Station WG August 11th, 2020

## Slide 2: Particle X-ray Coincidence Technique (PXCT)
Following EC decay to proton unbound states, the timescales for X-ray emission and proton emission are similar (range of 0.1 to 1.0 fs)
PXCT measures X-ray spectrum in coincidence with protons to determine statistical distribution of resonance lifetimes
J. C. Hardy et al., Phys. Rev. Lett. 37, 133 (1976)
Figure credit: Lijie Sun

## Slide 3: Idea to extend PXCT method at FRIB Example: NiCu cycle in X-ray bursts
We plan to use PXCT to measure the lifetimes t of isolated resonances
Simultaneously, we plan to measure the branching ratios for proton, a, and g-ray emission: Gp/G, Ga/G, and Gg/G
Thus, we can measure resonance strengths in the 59Cu(p,g)60Zn and 59Cu(p,a)56Ni reactions using the EC decay of 60Ga to 60Zn
R. Cyburt et al., Astrophys. J. 830, 55 (2016)
Figure credit: Lijie Sun

## Slide 4: (Minimal) PXCT concept for FRIB
We have discussed using SeGA or DEGA instead of a single Ge detector for g-ray detection
Figure credit: Lijie Sun

## Slide 5: PXCT timeline
  2019 NSF proposal for PXCT accepted
  2021 Design of PXCT setup complete
  2022 Construction of PXCT setup complete & FRIB operational
  2022 Commissioning the PXCT setup with a stopped beam of 73Kr
  2024 FRIB at full power delivers 60Ga at an intensity of 1.2×105 pps
  2024 Achieve similar statistics for 60Ga decay as previous PXCT measurements
PXCT Collaboration:
Tamas Budner, Moshe Friedman, Lijie Sun, Jason Surbrook, Tyler Wheeler, Chris Wrede, … , FDS Collaboration?, …
Contact: Chris Wrede, wrede@nscl.msu.edu